## STATE OF MISSOURI

### PUBLIC SERVICE COMMISSION

At a session of the Public Service Commission held at its office in Jefferson City on the 19th day of December, 2002.

The Staff of the Missouri Public Service	)

Commission,						)

)

Complainant,	)

)	Case No. GC-2003-0076

v.					)

)

Missouri Gas Energy,			)

)

Respondent.	)

# ORDER APPROVING STIPULATION AND

# AGREEMENT AND CLOSING CASE

Syllabus:  This order approves the Stipulation and Agreement between the Staff of the Missouri Public Service Commission and Missouri Gas Energy.

In Commission Case No. GS-2002-345, Staff filed a Gas Incident Report.  Staff wanted to investigate an explosion and flash fire at one of MGE’s natural gas pipeline vaults.

Due to what it learned in Commission Case No. GS-2002-345, Staff filed a complaint on August 28, 2002, in the case at bar.  Staff claimed that MGE violated Commission rules regarding gas safety and worker training.  After the Commission granted MGE an extension of time to answer, the parties filed a Settlement Agreement and Satisfaction of Complaint on October 28, 2002.  Staff also filed Suggestions in Support on November 1, 2002.

In the Stipulation and Agreement, Staff and MGE stipulate and agree that MGE has changed its vault entry procedure to require testing for combustible gas before an employee opens the vault.  MGE has ten vaults that have tight-sealed doors and no external vents.  MGE agrees to fix the vault that is the subject of this case, as well as to inspect all ten of the above-described vaults at least semi-annually.

In addition, MGE agrees to review its procedures concerning what work its employees must do and what work MGE may hire out to contractors.  Also, MGE will revisit what training MGE should give those employees and contractors, as well as when a MGE employee should be present to assist a contractor.  MGE agrees to file two reports on its progress to Staff within 60 and 180 days, respectively, of the Commission’s order.

The Office of the Public Counsel did not sign the Stipulation and Agreement.  Commission Rule 4 CSR 24-2.115(1), however, provides that if no party requests a hearing, the Commission may treat a stipulation and agreement as a unanimous.  The Office of the Public Counsel did not ask for a hearing.  Therefore, the Commission will consider the Stipulation and Agreement to be unanimous.

Section 536.060, RSMo Supp. 2001, provides that the Commission has the legal authority to accept a stipulation and agreement to resolve this case.  The Commission finds the Stipulation and Agreement to be reasonable.  Therefore, the Commission will approve the Stipulation and Agreement of the parties and close this case.

IT IS THEREFORE ORDERED:

- That the Stipulation and Agreement the parties filed on November 1, 2002, is approved.

- That the Staff of the Commission and Missouri Gas Energy shall comply with the terms of the Stipulation and Agreement.

- That this order shall become effective on December 29, 2002.

- That this case may be closed on December 30, 2002.

## BY THE COMMISSION

Dale Hardy Roberts

Secretary/Chief Regulatory Law Judge

( S E A L )

Simmons, Ch., Murray, Lumpe, Gaw and Forbis, CC., concur

Pridgin, Regulatory Law Judge