Q.	PLEASE STATE YOUR NAME AND ADDRESS.

A.	Benjamin D. Pugh, 1780 Big Island Drive, Roach, Missouri 65787.

Q.	Briefly what is your employment background?

A.	4 years in the US Navy and 33 years with Trans World Airlines (lead electrician)

Q    WHAT IS YOUR INTEREST IN BIG ISLAND?

A.	My wife and I have been property owners on Big Island for 44 years. We have been full time                          residents since my retirement in 1986. I am very concerned that the growth of Big Island be a                        responsible and safe growth for its residents. Since Folsom Ridge came in 1998 there has been                        little consideration for the existing residents of Big Island or their health risks.

Q.	what is the purpose of your testimony?

A.     	 I filed a formal complaint case # WC 2006 0090 against Folsom Ridge, LLC owning and operating Big Island Home Owners Association (BIHOA). Mr. Golden and Mr. Rusaw created Big Island Water & Sewer Co. Inc. aka Folsom Ridge in response to those complaints. This testimony emphasizes many major violations by Folsom Ridge; but nothing could make my case any better than a statement under oath by homeowner Phil Hiley at the Camdenton, Mo. June 2, 2006 public hearing, stating:  “ Mr. Golden lets me vote  even though I’m not a member”.  Is this the type of management skills we want to operate these complex sewer and water utilities? The Big Island Sewer and Water  systems needs to be regulated. by the Public Service Commission. as each user is a customer only and it requires no membership.for the homeowners. A regulated system is the logical  solution to the membership problem. A 393 Not for Profit Corp.  as proposed by many Big Island homeowners does not address the membership problem as stated in my complaint; and  could creat some possible litigation which I’m sure would not be advantageous to anyone.

I am not a member of the BIHOA. I have not  ratified the covenants or Bylaws; however I do receive sewer service. Two attorneys, (Mr. Lewis Bridges and Mr. John Walker) I have consulted agree that I have made no commitments to be a member without  my signature   I do attend the meetings since the meetings affect my service; however, since I am not a member I do not vote, as it would not be legal or ethical. I do pay my service charges on a timely manner.

Q.   Why are you opposed to the developers owning and operation the sewer and water systems without regulation?

A.       Regardless of what name they use, the owners and operator are still Mr. Golden & Mr. Rusaw.  My concerns started on April 23, 1999 when I was informed that the Department of Natural Resources (DNR) was on Big Island issuing violations for improper installation practices on the sewer and water system by Folsom Ridge LLC, (i.e. Mr. Golden and Mr. Rusaw). It was disappointing to many homeowners that this violation had occurred..  Notice of Violation # 1315 JC issued May 25, 1999.	Residents started investigating and learned that Folsom Ridge was not only issued violations for improper installation; but by their own admission Folsom Ridge had installed 4600 feet of pipes with sewer and water pipes in the same trench without a construction permit from the DNR. These violations appeared,  not accidental, but intentional as/per a letter written November 22, 1998  by Jim Jackson (Folsom Ridge Project Engineer) to Breck Summerford  P.E. (DNR Chief  Engineering and Compliance Section, Public Drinking Water Program).  Mr. Jackson, representing the developers, requested “a permit be issued for the construction on the lines in the same trench including the lines already constructed.” Even after Mr. Summerford properly denied this request by Folsom Ridge, they continued to disregard DNR orders, and installed the complete system in an unsafe manner, with the water and sewer mains in the same trench. This was only the start of 8 years of continual and repeated violations of the State of Missouri permits, regulations and codes.

Q.	WAS IT fOLSOM RIDGE THAT BROUGHT THESE IMPROPERLY INSTALLED LINES TO THE ATTENTION OF THE DNR?

A       No, it was due to the complaints of several homeowners that the systems were not installed according to Missouri regulations and codes. In fact under individual signatures, Folsom Ridge insisted to residents that the water and sewer systems were installed properly. The homeowners complaints included many meetings with the DNR.  Two meetings included Dr. Wayne Cooper MD.,Mo.State Representative Dist 155, who had concerns for the alleged health issues on Big Island. DNR personnel Breck Summerford, John MacEachen, Elena Seon, Clinton Finn, Mike Tharpe, Mary Ann Retten, Keith Forck, Steve Jones, and Tim Neal attended various meetings with concerned homeowners of Big Island. Folsom Ridge did not attend any of these meetings.

Q.	wHEN DID THE dnr DETERMINE and confirm THAT THE SYSTEM WAS IMPROPERLY INSTALLED?

A.	. The original systems were proved to be in non-compliance by the test diggings, which were done at the insistence of concerned homeowners on January 12, 2004. That DNR test resulted in a Settlement Agreement (SA) between Folsom Ridge, DNR and the Attorney General Offices to correct the improper installation. Folsom Ridge was fined $8000, which they paid. There are still many questionable reinstallation practices that do not conform to a water system free of unnecessary health risks. Additionally, in my opinion, the following are existing problems as of the writing of this testimony.

Sewer and water valve and lines together

There are Sewer and water valves in the same upright with mere inches separation. There are             sewer and water lines in the same trench.

Shutoff valves

Only one home on the causeway has a shut off valve, (Haddock home) in an upright                                        coming off the main line to the home service line. Other homes  which have purchased a                             tap, other than those on the causeway, have a shutoff valve at or near the property                                            easement.

Causeway water main reinstallation

The relocated water main is on the lower road level, with the sewer main on the upper                      private road with water service line extensions crossing perpendicular over the sewer main               without sleeving. Logic would tell me that the sewer main should have been relocated to                   the lower level, and the water main should have remained in place in the upper private                     road. As it is currently installed any sewage leakage could gravity drain to the lower water                main and contaminate the soil surrounding the newly installed potable water main pipe.                     The causeway water main is at the lowest elevation of the complete system.

Missouri Dept of Health chart

The Missouri Dept. of Health chart states: A public water supply well should be a                          minimum of 300 feet from sewage tanks, disposal area, or lagoons. Big Island separation                  between the well and the sewer filter bed is approximately half of the 300 foot minimum.                 Why was the well and filter bed separation recommended by the Health Dept. and Folsom                Ridges own project engineer Jim Jackson not in compliance? The DNR approved the close               proximity of the well and the filter bed. It appears that the two State Departments have                     conflicting minimums with the DNR minimum increasing the risk of drinking water                          contamination on Big Island. Leaks can and do occur around the filter bed.   Example: On April 20, 2001 while digging a trench in his yard, homeowner Duane  Stoyer’s ditch filled with contaminated  water. This contaminated water pool was well above the elevation of his septic system. The Camden County Sewer Dept was called. They took samples of the polluted water and sent them to McDuffy Lab for analysis. (10,909 fecal  coliform per 100 mi)  Pictures were taken along the road directly above the  Stoyer home, of sewage water months after the first discovery on April 20 2001. Mr. Stoyer’s home is located directly below the filter bed on the lakeside of  Big Island Drive. A break in a 4-inch sewer line, buried only inches below the ground  surface, was finally located adjacent to the filter bed and repaired four months later. I would  have preferred  my friend was telling his own story; but Mr. Stoyer died of kidney cancer on  April 9, 2006 before his story could be told. In his complaint WC2006-0129 to the  commission dated  9-26-2005, Mr. Stoyer stated “I am presently under medical treatment  fighting kidney cancer. My cancer might have been caused by the raw sewage running into the lake as I, like most residents of the lake, was quite active in and around the water at the  same time this took place.”

Q.	yOU HAVE MENTIONED THERE have been MANY VIOLATION AND UNSATISFACTORY INSTALLATION PRACTICES WITH THE SEWER AND WATER LINE ON bIG iSLAND. WOULD YOU BE MORE EXPLICIT?

A         Below are many of which I am aware:

1.  Folsom Ridge (FR) received a violation review #31182-98 for installation of 4600 feet                       of sewer and water line in the same  trench without a permit from the Dept. of Natural                       Resources. November 19, 1998.

2.  FR received a notice of Violation # 1315 JC by the DNR for failure to construct water                       lines in accordance with approved plans May 25, 1999.

3.  FR received a notice of Violation by the Camden County Road and Bridge Department                                    for digging up a utility crossing to repair a leaking sewer line, not installed in a sleeve,                                    which tore up new asphalt without a permit. (9-26-2000)

4.  Folsom Ridge  received a DNR notice of Violation JC 011193 for improper disposal of                                    old roofing near the wastewater treatment plant and public water well. September 26,                                      2000. They were required to correct  this improper disposal.

5.  Settlement Agreement (SA) required Folsom Ridge LLC to correct the violations                                              observed during the digging of the test pits on January 12, 2004. The test diggings                                           proved that the water and sewer lines had been improperly installed per DNR                                                   regulations.  Folsom Ridge LLC violated # 15 of that agreement in 2005.

6.  DNR inspection March 18, 2005:  Four unsatisfactory features recommended for                                               correction:

a.  It does not appear that bedding material is being used on the service lines as shown                                          on the approved revised plans.

b.  Not all the water mains conform to the location as shown on the approved revised                                           plans. There appears to have been a change in alignment of a portion of the four-                                            inch main. Please submit as-built plans that provide the location and size of all                                                water lines valves and hydrants for this extension.

c.  There were a few water line valves that were not accessible because the valves                                                  were covered with mud and water inside of the valve box.

d.  There are a few locations where the new service lines valve boxes for the water                                                 is less than 10 feet (10)  from the existing sewer line valve boxes.

7.  Notice of Violation #11210SW by the DNR for causing or permitting the construction,                                    installation or modification of the community public water supply without written                                           authorization by extending Phase one water main off the island to the Island View                                          Estates.

8. The DNR issued a series of violations of the Missouri Safe Drinking Water                                                        Regulations:

a.  The public water system utility failed to properly collect routine samples from the                                             distribution system as required by the Safe Drinking Water Regulation

10 CSR 60-4.020(1).

b    The public water system utility dispensed water without obtaining a written                                                         permit to dispense water in violation of the Safe Drinking Water Regulation

10   CSR 60-3.0103.010

c.    The public water system utility failed to develop a written total coliform bacteria                                             sample-siting plan as required by Safe Drinking Water Regulation

10 CSR 60- 4.020(1)(A).

d.  The public water system utility failed to obtain written authorization from the                                                    department prior to the construction, alteration, or  extension of the water system,                                            in violation of safe drinking water regulation 10 CSR 60-3.010(1). June 28 2005 . Q.     HAVE YOU EVER BEEN INTIMIDATED OR ASSAULTED BY ANY PARTNER OF                         FOLSOM RIDGE  LLC?

A.     Yes, David Lees, a partner of Folsom Ridge at the time, made several attempts to physically harass                 not only me, but also other members of the “Concerned Homeowners”, a committee formed to                       represent over 20 homeowners on Big Island.  This committee was organized for the purpose of                     negotiating covenants and bylaws with Mr. Golden for the betterment of the homeowners.                              Other members of this committee had instances where Mr. Lees would swerve his truck to                             intimidate us as we were walking on the county road.  On one of these instances, May 19, 2000, Mr.             Lees came so close to me with his truck that I thought he would hit me as well as  my two dogs I had             on leash.. I reported that incident to the Camden County Sheriff’s office. May 19, 2000.   Complaint            #YR  00-1315.   My second incident with Folsom Ridge partner David Lees was on May 9, 2001. I                 was taking pictures of Mr. Lees and crew working on a reported leak 19 days after the leak was                      reported..  Mr Lees was noticeably irritated and on June I9, 2001, I was physically  assaulted with                  his fist to my jaw with the threat; “I am going to sue you for invasion of my privacy”.This incident                 was also reported June 19, 2001 as an assault 3rd degree, complaint # YR01-1567 and acted on by                  the Sheriff dept. and the Offices of the County Prosecuting attorney.  In this case I was only                           seeking damages for dental  work, (a crown and tooth pulled) and received that relief settling  out                   of court through the efforts of the Camden County Prosecuting Attorney.  Many months prior to                    these incidents I received a visit from Mr. Larry Toombs, telling me he was only the messenger for                  David  Lees who wanted me to know that David Lees intended to sue me for my involvement                         with  the residents who were dissatisfied with the installation of our new sewer and water system.  Q.     MR. PUGH , YOU HAVE BEEN CONSISTENTLY CRITICIZED FOR NOT JOINING THE             BIHOA AS YOU ARE CONNECTED TO THE SEWER  SYSTEM . WOULD YOU                              EXPLAIN THE REASONS FOR NOT  BECOMING A MEMBER AT THE TIME OF                         YOUR   CONNECTION IN NOVEMBER ,1999?

A.      There was no HOA to join. Again it is impossible to join something that doesn’t exist. I was not asked             to join anything at the time of my $4800 deposit for sewer service at the Central bank escrow                        account on January 15,1999. There was no HOA to join at the time I connected to the system                        in November 1999 .  BIHOA covenants and bylaws were not voted on until December 29, 2000. 14                months after I was connected to the system. By that time it was common knowledge on Big Island                 that the systems were illegally  installed.. Knowing of this systems potential liabilities, I chose  not to            become a member. My agreement with Folsom Ridge was that I could connect at any time of my                   choosing and there would be no charge until I received services.

Q.      IS A 393 NOT FOR PROFIT COMPANY THE BEST SOLUTION FOR  BIG ISLAND?

A.    No. There are previous commitments and agreements by Folsom Ridge with the homeowners which                are in conflict with the Statues of a 393, which requires that all  users of the system must be                             members.

Q.        WERE YOU GIVEN A SET OF THE  393 BYLAWS TO STUDY BEFORE MAKING A                        DECISION  ON THE VALUE OF A 393 NOT FOR PROFIT CO TO OPERATE  THE                          SEWER  AND WATER SYSTEM ON BIG ISLAND?

A.          No., There was a copy put on the internet a couple days before voting took place.  The bylaws are                    quite lengthy and it was impossible to study this complex  document in such a short  period                             before it was brought to a vote. This was an important vote for the residents of                                                 Big Island. There were many that didn’t have access to the internet and                                                         therefore haven’t seen a copy of the bylaws. Even those of us that did have                                                       access to the internet  were not given sufficient time to study  before the vote was taken.

. Q.       MR. PUGH, SINCE YOU WERE CONSIDERED A MEMBER OF THE BIG                                                 ISLAND SEWER & WATER INC AND WERE SENT A BALLOT FOR THE                                        JANUARY 29, 2007 VOTE, (RELATED TO THE TRANSFER OF ASSETS TO THE                           393  AND   ACEPTANCE BY THE 393) ,  DID YOU EXERCISE YOUR  RIGHT TO                            VOTE?

A       Even though I am considered a member by Folsom Ridge I have not ratified any covenants or bylaws               and consider myself a customer as I am connected to the sewer system. I consider myself a non                      member and didn’t vote on that ballot. Another ballot was circulated for non members and I voted                 on the  non member ballot. I understand that ballot was not counted .  The vote was  a moot point as                the count was by lots and not as , “one member one vote” . It would be important to know how                      many votes were by actual members who had ratified the covenants and bylaws. The intervenors                    and the commission  have tried on many occasions with data requests  to get accurate information                  from  Folsom Ridge .

Q.  	  WOULD A 393 NOT FOR PROFIT CO. GIVE THE COMPLAINANTS THE RELIEF                        THEY REQUESTED IN THEIR 9 COMPLAINTS TO THE PUBLIC SERVICE                                    COMMISSION 18 MONTHS AGO?

A.         No.. There are many objections to the bylaws including the 393 members being required to                               accept the liabilities created by Folsom Ridge over the past 8 years. Accepting the Sewer and                          Water system “AS IS” in my opinion is more liability than I would be agreeable to. With a                             sewer and water system regulated by the Public Service Commission, these liabilities would                           remain with the people that created them., under regulation  and a  watchful eye by the                                    commission.

Q.      DO YOU HAVE DOCUMENTATION TO SUPPORT THIS TESTIMONY?

A.       Yes.

Q.      IS ANY OTHER INTERVENOR GIVING  TESTIMONY?

A.      Yes

Q.   ARE YOU IN AGREEMENT WITH THE OTHER INTERVENORS SUBMITTING                                  TESTIMONIES?

A          Yes, I’m  in agreement with Ms. Orlers and Ms. Fortney’s testimonies.

Q.          DOES THIS COMPLETE YOUR  TESTIMONY?

A.          Yes , with the exception of a summary.

Summary:

In view of all the violations and controversies that exist, Big Island would be better served with a regulated utility, operated and managed by a  Public Service Commission certified company,  Folsom Ridge has shown little respect for the authority of the Dept. of Natural Resources from the time of Folsom Ridge’s arrival to Big Island in 1998. The developers should have known and done better.  The concerned homeowners who have chosen to become complainants and intervenors have tried to compile documentation for the Commission to help them make a logical and just decision in this process. It must be  considered by the commission that this documentation is only that which we, the intervenors, and complainants  are aware. The developers as documented in this testimony have shown  little respect for the State of Missouri and have given little priority to one of  our most precious assets: clean, safe drinking water. I am not inferring in this testimony that the drinking water has ever been unsafe; only that Folsom Ridge has  shown little regard for the potential health risks that are created when regulations and codes are not administered in a safe and reliable manner. The sewer and water systems  need to be regulated . The 393 Not for Profit Co. is not a satisfactory substitute for being a regulated system. Big Island has many property owners with commitments from Folsom Ridge dating back to the initial agreement  between Folsom Ridge and the existing homeowners in January 1999.  These homeowners who put their money into the escrow account for the purpose of construction of the systems  were told only that they had the right to connect to the system at a time of their choosing without  any payments until they connected to the system. At the time I connected to the sewer system in November 1999, there was no mention to me that I would be required to join any governing organization. I put my money into the Escrow account in good faith. A 393 requirement that I become a member of the 393  would be in conflict with my civil rights and  previous agreement with Folsom Ridge. My original complaint to the PSC in case WA- 2006-0082 is very explicit about this conflict with the BIHOA. The 393 Not for Profit Co. would  be no different as it requires membership by  it’s statutes. The  membership conflict  is a major problem which certainly should be addressed before any consideration for the 393.company.