M E M O R A N D U M

TO:		Missouri Public Service Commission Official Case File,

Case No. GE-2003-0007, File No. JG-2003-0873, Atmos Energy Corporation

FROM:	/s/Jennifer Markway, Energy Department - Tariffs/Rate Design

John Kottwitz, Energy Department- Gas Safety

/s/Warren Wood  11/1/02  	          	_/s/ Thomas R. Schwarz, Jr. 11/5/02

Energy Department/Date   			   General Counsel's Office/Date

SUBJECT:	Staff Recommendation for Atmos Energy: Change of Tariff Language for Meter Accuracy and Testing

DATE:	October 30, 2002

On October 15, 2002, Atmos Energy Corporation (Atmos or Company) of Franklin, Tennessee, filed a tariff sheet proposed to become effective November 14, 2002. This filing is designed to express the method of meter testing to be used by Atmos Energy Corporation.

The change in the tariff has no monetary effect on the Company’s customers.  The change reflects Atmos’ compliance with a Commission Order granting a variance on meter testing.  The Company shall test meters in accordance with the statistical sampling authorized by the Commission in Case No. GE-2003-0007 in which the Commission granted the Company a variance from the requirements of Rule 4 CSR 240-10(19) relating to the removal, testing, and inspection of gas meters.

Because this filing was made on thirty (30) days notice, no order is necessary to indicate approval.  The Commission’s Energy-Tariff/Rate Design Staff (Staff) has reviewed this filing and is unaware of any issue currently pending before the Commission that affects or is affected by this filing.  Staff therefore has no objections to allowing the following tariff sheet, as filed on October 15, 2002, to go into effect on and after November 14, 2002, the requested effective date:

# P.S.C. MO. No. 1

# 1st Revised Sheet No. 210, Cancelling Original Sheet No. 210

APPENDIX A

In addition, the Staff has verified that the Company has filed its annual report and is not delinquent on any assessment.  The following open cases involving this Company are before the Commission at this time:

GA-98-464

GR-2001-396

GO-2002-452

GR-2003-0150

GR-2001-394

GR-2001-397

GT-2003-0037

Copies:	Director - Utility Operations Division

Director - Research and Public Affairs Division

Director - Utility Services Division

General Counsel

Manager - Financial Analysis Department

Manager - Procurement Analysis Department

Manager - Gas Department

Bobby J. Cline, Manager, Rate Administration

Douglas Walther, Attorney (Atmos)

James M. Fischer - Attorney with Fischer & Dority P.C. (Atmos)

Office of the Public Counsel