M E M O R A N D U M

TO:		Missouri Public Service Commission Official Case File

Case No. GE-2005-0158, City of Perry, Missouri

FROM:		Rick Fennel

Safety/Engineering

/s/ Rick Fennel       / 2-22-05   	                     /s/ Thomas R. Schwarz, Jr.      / 2-23-05    Project Coordinator / Date		        General Counsel’s Office / Date

DATE:		February 22, 2005

SUBJECT:	Staff Recommendation for Approval of an Application for Permanent Waiver Upon Compliance with Specified Conditions to Provisions of 4 CSR 240-40.030(6)(H)3.

SUMMARY OF APPLICATION FOR PERMANENANT WAIVER

On December 7, 2004, the City of Perry, Missouri (Applicant) filed an APPLICATION FOR PERMANENT WAIVER UPON COMPLIANCE WITH SPECIFIED CONDITIONS (Waiver) pursuant to 4 CSR 240-40.030(16) and 49 USC §60118(d).  On December 9, 2004, the Commission issued an ORDER DIRECTING APPLICANT TO AMEND ITS APPLICATION.  On December 30, 2004, the City of Perry, Missouri filed an AMENDED APPLICATION FOR PERMANENT WAIVER UPON COMPLIANCE WITH SPECIFIED CONDITIONS.

The Waiver requests the Missouri Public Service Commission (Commission) to grant a waiver from provisions of 4 CSR 240-40.030(6)(H)3., which corresponds to the Federal regulation contained in 49 CFR 192.285(c).  Specifically, the provision which requires the Applicant to re-qualify an employee under an applicable plastic joining procedure if during any twelve (12)-month period that employee has not made any joints under that procedure; or had three (3) joints or three percent (3%) of the joints made, whichever is greater, under that procedure found unacceptable by testing.  The Applicant seeks a permanent waiver from these provisions upon compliance with an alternative means of ensuring re-qualification for people making such joints.  In lieu of the provisions of 4 CSR 240-40.030(6)(H)3, the Applicant proposes the alternative means of ensuring re-qualification for people making the plastic joints:

- At least once every calendar year, but at intervals not exceeding 15 months, a person must be

re-qualified under applicable procedures; or,

b.   Following the initial qualification for electrofusion and mechanical joining procedures, for

re-qualification a person must participate in a review on the proper joining procedures.  The

review must cover the appropriate knowledge needed for each specimen joint assembly and

procedure, and involve all of the steps leading up to the actual production of a joint.

The Energy Department – Safety/Engineering Section (Gas Safety or Staff), after having reviewed the Waiver, submits the following comments and recommendations.

BACKGROUND

On March 7, 2000, an application for a waiver (Case No. GE-2000-543) of these same provisions was filed by 32 Missouri natural gas distribution system operators, as a group, through the Missouri Association of Natural Gas Operators.  The Commission approved the waiver on August 29, 2000 and forwarded the information to the U.S. Department of Transportation – Office of Pipeline Safety (DOT).  DOT subsequently granted the waiver based on the information provided.

STAFF COMMENTS

Time period for re-qualification.

The majority of Missouri natural gas operators have chosen to comply with the existing provisions of 4 CSR 240-40.030(6)(H)3. by requiring their employees to re-qualify every twelve months.  The alternative for these operators is to determine whether three joints or three percent of the plastic joints made by each individual (for each joining procedure) have been found unacceptable by testing.  Through conducting on-site inspections of Missouri natural gas operators’ records and facilities, Staff is able to verify the Applicant’s assertions that they must begin training sessions within eleven months to account for scheduling conflicts.  A one-month time period does not provide adequate time for operators to accommodate for days of inclement weather and to maximize construction days.  Incorporating into this relatively short scheduling time period are holidays, sick leave, annual leave, and other planned/unplanned occurrences.  This scheduling issue is readily apparent for those operators with several employees.  In addition, effective October 26, 1999, The DOT required operators to implement an employee qualification program, which prescribes the minimum requirements for operator qualification of individuals performing covered tasks on a pipeline facility.  To meet these increasing employee-training requirements, operators must strive for even more efficiency in order to have competently trained and qualified workers operating the natural gas systems, which is essential to providing safe and economical service to the public.

Staff does not believe that safety will be compromised by allowing for timely scheduling of employees’ plastic joining re-qualifications within 15 months.  Throughout the pipeline safety regulations, language has been purposely incorporated to allow flexibility in conducting required maintenance tasks without compromising safety.  Missouri natural gas operators, as well as other states’ operators that are under DOT’s pipeline safety jurisdiction, have identified the need for flexibility in scheduling employees’ plastic joining re-qualifications. Staff references an April 26, 1999, State Industry Regulatory Review Committee (SIRRC) summary report to support this consensus.  At that time, the National Association of Pipeline Safety Representatives (NAPSR) and industry participated in SIRRC discussions to propose alternative language into Part 192.285 which, in part, is very similar to Part 1 presented above.  Staff concurs with and supports the Applicant’s request to incorporate flexibility into their employee plastic joining re-qualification programs.

Permitting re-qualification without physically making joints.

In regards to the second part of the Applicant’s request, a person making an electrofusion or mechanical joint will be required to perform a complete assembly of each type of electrofusion and mechanical joint during initial qualification.  All applicable inspections and specimen joint testing will be required during the initial qualification.  For re-qualification, a person must then participate in a review of the proper joining procedures each calendar year, not to exceed 15 months, as noted above.  The Applicant states the review will cover all of the steps leading up to the actual production of a joint.  By not expending the fittings during re-qualification, the Applicant proposes economic and time savings will be realized, without sacrificing safety.

DOT’s Part 192.285 addresses the qualification and re-qualification of persons making joints on jurisdictional plastic pipelines.  Under this rule, during annual re-qualification, operators perform a complete specimen joint for each plastic joint they were initially qualified on.  For many mechanical joints, the fittings are completely sacrificed during the re-qualification process and cannot be re-used.  During re-qualification of electrofusion procedures, the computer controls the fusion process and the fittings are always expended. Within the Applicant’s request, they state the approximate cost incurred in the making these particular plastic joints is $45 each.  While Staff has not verified the actual average cost of each fitting, it does understand that economic savings will be realized by not expending the fittings.  Staff reviewed the Waiver and placed high importance on the facts that each employee must have proper knowledge to perform each applicable plastic joint, and in no way can safety be compromised by incorporating an annual review in lieu of a complete assembly of the plastic joint during re-qualification.  Staff believes the annual re-qualification review of a particular plastic joining procedure is only as good as the review itself.  Some manufacturers have developed plastic mechanical test fittings that require a review of all steps of assembly, but the test fitting is not sacrificed and can be used by all employees re-qualifying on that particular plastic joining procedure.  Manufacturers’ test fittings are currently acceptable under the provisions of Part 192.285(c).  Re-qualifying where the employee physically handles the fitting and the manufacturer’s procedures are carried out is believed by the Staff to be an acceptable re-qualification practice.  However, Staff does believe that similar reviews of other mechanical plastic joints, where the fittings are actually handled and the joining procedures are carried out, can achieve the same outcome as using a given manufacturer’s test fitting and review of proper procedures, all without sacrificing the fitting.

Staff agrees with the Applicant’s statement that if the electrofusion system has been proven to perform in an acceptable manner, then the mechanics of the assembly process are similar to mechanical joining and the testing of the actual fusion is not necessary.  In any plastic joining re-qualification procedure, the operator must have the actual plastic fitting and review of all the manufacturer’s instructions/procedures for each type of plastic fitting.  The Staff believes its requirements for the review parallels the Applicant’s assertions that the review, under their proposal, “will cover the appropriate knowledge needed for each specimen joint assembly and procedure and involve all of the steps leading up to the actual production of a joint.”  When these steps are performed, Staff believes the employee’s level of knowledge and skill received during re-qualification will be equivalent to that which is currently received under the existing re-qualification regulatory requirements. In addition, Staff believes safety will not be compromised, and at the same time, economic savings will be realized.

As indicated previously, Staff conducts on-site inspections of all Missouri natural gas operators, which includes reviews of plastic joining re-qualification records and practices.  Staff’s statements in support of the Applicant’s proposed Waiver do not restrict any future compliance reviews of the Applicant’s plastic joining re-qualification records or practices.  The Applicant appropriately indicated that technological advances have occurred and plastic-joining procedures will most likely continue to be improved.  As new plastic joining products/fittings are introduced by the industry and used by the Applicant, the Staff and Applicant must conduct a review of such products/fittings.  The purpose of the review will be for determining whether a product/fitting is, or is not, a subject of the proposed Waiver, and whether or not safety will be jeopardized if a complete assembly is not conducted during re-qualification.

STAFF RECOMMENDATIONS

As provided in 49 USC §60118(d), the Staff recommends that the Missouri Public Service Commission waive compliance, in part, by the Applicant with 49 CFR 192.285(c), which is identical to the language contained in 4 CSR 240-40.030(6)(H)3.  Specifically, a waiver to allow an alternative means of ensuring re-qualification for people making pipeline plastic joints as shown below.

- At least once every calendar year, but at intervals not exceeding 15 months, a person must be re-qualified under the applicable joining procedure.

- Following the initial qualification for electrofusion and mechanical joining procedures, for re-qualification a person must participate in a review on the proper joining procedures.  The review must cover the appropriate knowledge needed for each specimen joint assembly and procedure, and involve all of the steps leading up to the actual production of a joint.

As noted in the BACKGROUND, the Commission approved a waiver from these same provisions in March 2000, for 32 Missouri natural gas operators.  The U.S. Department of Transportation also approved the waiver.  In accordance with, 49 USC §60118(d), such a waiver “is not inconsistent with gas pipeline safety” for the reasons, stated previously.

Since the language in the State regulation (4 CSR 240-40.030 (6)(H)3. is identical to the Federal regulation (4 CFR 192.285(c), the Commission must first agree to the waiver before it can be sent to the U.S. Department of Transportation for consideration.  Once the Commission has agreed to the waiver request, the waiver with the Commission approval will be sent to the U.S. DOT.  They will consider the waiver and determine if they will approve the waiver from the federal regulations.

As provided for in 49 USC §60118(d), the Secretary of Transportation (this should be addressed to the Director of the Office of Pipeline Safety) must receive written notice at least 60 days prior to the effective date of any waiver.  If this Waiver is granted, the Staff recommends the effective date of the order be set 75 days from the date the order is issued.  This will provide for adequate processing and mail time, and will not detract from the 60 days required for review.  The Staff recommends this notice be transmitted by overnight mail with a return receipt and that the receipt date be noted in this official case file.  Further, the Staff recommends that the Applicant’s Waiver and this memorandum be mailed in addition to the Commission order, so that all justification is provided to Office of Pipeline Safety.