Before the Public Service Commission

of the State of Missouri

| In the Matter of the Adequacy of Laclede Gas Company's Service Line Replacement Program and Leak Survey Procedures. | ))) | Case No. GO-99-155 |
| --- | --- | --- |

STAFF’S ANNUAL REPORT

COMES NOW the Staff of the Missouri Public Service Commission and, in response to the Commission’s April 27, 2004 Order Directing Filing, states:

1.  On October 14, 1998, Staff filed a motion to open a case to investigate the adequacy of Laclede Gas Company’s (Laclede or Company) current direct-buried-copper-service-line replacement program and the effectiveness of the Company’s leak survey procedures and investigations.

2.  On October 30, 1998, the Commission issued an Order Establishing Case for the purpose of receiving information relevant to the adequacy of Laclede’s copper service line replacement program and the effectiveness of the Company’s leak surveys and investigations.

3.  On February 18, 2000, the Parties filed a Unanimous Stipulation and Agreement.  Agreement 7(h) states that:  “[a]fter the third year of this program, Laclede and the Gas Safety Staff will review the progress and results of the Company’s Copper Service Safety Program to determine future relay/renewal plans, including the rate of such future actions, potential modifications to survey techniques and other related matters.”

4.  On October 28, 2002, the Staff filed a Staff Update Report to Laclede's Copper Service Line Program Pertaining to Case No. GO-99-155, that summarized data obtained during Staff's ongoing monitoring of the program's progress.  This Update Report, with information available through October 2002, indicated Laclede was in compliance with the requirements of the Unanimous Stipulation and Agreement, and Staff expected Laclede to meet their 2002-2003 (through March 1, 2003) goal of 8,000 renewals.  Staff continues to monitor the adequacy of Laclede's direct-buried-copper-service-line replacement program and the effectiveness of the leak surveys and investigations, and believes the program is progressing as designed.

5.  In the Unanimous Stipulation and Agreement, Laclede agreed to provide its annual program report to Staff no later than April 30 of each program year, which details the copper service line relays/renewals for that program year.

6.	On August 1, 2003 Staff filed its Three Year Summary Report Concerning Laclede’s Copper Service Line Replacement Program detailing the copper service line relays/renewals and annual bar-hole leak surveys for each of the first three program years.  Staff requested that the Commission approve its recommendation to continue the current requirements of the Stipulation and Agreement, with continued annual reporting from the Staff to the Commission pertaining to the matters addressed in the Stipulation.

7.	On March 5, 2004, the Commission issued its Report and Order approving Staff’s recommendation that the Commission continue the current requirements of the previously approved Stipulation and Agreement, with annual reporting from Staff to the Commission.

8.	On April 6, 2004, the Commission issued an order directing Staff to file a status report regarding the annual report.

9.	Staff filed its Status Report on April 19, 2004, requesting sufficient time of up to September 1, 2004, to file its Annual Report to complete an analysis of the service line replacement information and leak survey data so that Staff may provide the Commission with a comprehensive update report detailing the results of the copper service line replacement and bar-hole leak survey completed since Staff filed its three-year summary report on August 1, 2003.

10.	Effective April 27, 2004, the Commission approved Staff’s request for sufficient time, up to September 1, 2004, to provide the Commission with an update report detailing the results of the fourth year of Laclede’s copper service line program.

11.	Staff has verified that Laclede has filed its annual Report and is not delinquent on any assessment.  Staff has completed an analysis of Laclede’s copper service line replacements and bar-hole survey data, and submits its Annual Report attached as Exhibit A.

12.  If, at any time during its monitoring and review of this program, Staff believes that changes to the program are necessary, Staff will file a notice with the Commission to recommend that the Commission order corrective action to address Staff’s concerns.

WHEREFORE, the Staff respectfully requests that the Commission approve the  recommendation to continue the current requirements of the Stipulation and Agreement,  with continued annual reporting from Staff to the Commission pertaining to the matters addressed in the Stipulation.

Respectfully submitted,

DANA K. JOYCE									General Counsel

/s/ Lera L. Shemwell

Lera L. Shemwell

Senior Counsel

Missouri Bar No. 43792

Attorney for the Staff of the

Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-7431 (Telephone)

(573) 751-9285 (Fax)

lera.shemwell@psc.mo.gov

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, or transmitted by facsimile or electronic mail to all counsel of record this 1st day of September, 2004.

/s/ Lera L. Shemwell