May 4, 2004

Mr. Jeff Snider

Calvey Brook Water, Inc.

Calvey Brook Sewer, Inc.

2801 West Osage, Suite 5

Pacific, MO  63069

RE: Calvey Brook Water and Sewer Rates

Mr. Snider:

The purpose of this letter is to present the position of the Staff on the certification of your utility companies.  After review of your filings, the Staff is ready to make recommendation to the Commission, as I will describe herein.

Calvey Brook Sewer, Inc.

The service area will be served by small diameter gravity sewers and a manufactured media bed recirculating filter system.  As a condition of sewer service, each customer will need to provide an appropriately sized septic tank that meets the company’s specifications including location, and access to inspect and remove accumulated solids as necessary.  As is common for new subdivisions, sewer pipelines will be contributed to the utility by the developer.  The treatment facility will be a capital investment made by the utility with an offset provided by contribution-in-aid-of-construction (CIAC) funds paid by customers.  The investment portion will be funded partially by debt.  The estimated cost of the plant is $110,000.  The company has requested a $2,600 CIAC charge, which for 16 customers would offset the investment by $41,600.  In an effort to protect the utility from financial instability, if the certificated area does not develop as rapidly as projected, the rate calculation was performed with a stipulation that the investment in the system be initially placed as a burden on the subdivision developer.  Therefore $61,111 of the total plant cost, which is the cost of the plant necessary for the customers beyond the two-year level, will be considered held for future use and not included in the rate calculation for the two-year customer level.  The result is a rate base of $7,289, or $455.56 per customer at the two-year level.  Revenue required for the operation is estimated to be $6,486 per year, which in turn requires a monthly residential rate of $33.78.  The Staff and the Company arrived at this rate after discussions and modifications of estimated expenses as originally submitted.  The estimated expenses and rate calculation are enclosed.

Calvey Brook Water, Inc.

Monthly rates, assuming the second-year customer level of 16 single-family residences with a monthly usage of 6,500 gallons per customer are calculated to be as follows:

Monthly minimum, including the first 3,000 gallons:	$36.36

Commodity charge, per 1,000 gallons over 3,000 gallons:	  $2.05

In an effort to protect the utility from financial instability if the certificated area does not develop as rapidly as projected, the rate calculation was performed based on the premise that the initial cost of the system be placed as a burden on the subdivision developer.  This means that the developer will initially fund the entire utility plant, with the plant contributed to the utility.  Then, a transfer of $2,842 will be made from the utility to the developer for each customer that connects to the water system.  This dollar amount represents the rate base per customer based upon the projected build-out of 36 single-family homes.  Your estimated operating expenses were used, with some minor adjustments, for calculation of this proposed rate.  Please see the enclosed worksheet.

Total plant in service is projected to be $182,500.  Contributions in aid of construction will total $73,000, and a $200 per connection Contribution in Aid of Construction (CIAC) charge for all 36 customers totals $7,200, leaving a rate base of $102,300.  Of this amount, the company's capital structure will consist of 50 percent common equity, and 50 percent debt, assuming approximately 50 percent of the total projected customers are in place at the two-year mark as projected.  The cost of debt is estimated at six percent and return on equity is estimated at 11 percent, for an overall rate of return of 8.5 percent.

General Information

The depreciation rates for each plant account used for rate calculation are enclosed.

Since the rates for each system are based upon estimates for construction costs, operating expenses and customer numbers, the Staff believes it would be appropriate for the Company to provide periodic reports to the Staff regarding these matters.  In particular, the Staff will expect to receive the following reports: a report noting that construction of both systems is complete, and including the actual cost of constructing the system components and any other construction costs known at that time (line extensions, engineering fees, etc.); reports including customer numbers and operating expenses, with the first such report being due six months after the construction status report is submitted and subsequent reports being due every six months thereafter for the first eighteen months of operations.  These reports will allow the Staff to monitor the growth of the Company and to review the rates being established in this case for continued reasonableness based upon actual numbers vs. the estimates being used at this time.

After the Commission issues authority for your companies to operate as utilities, you will need to file a Schedule of Rates, Rules and Regulations, which we simply refer to as a tariff, for each utility.  Example water and sewer tariffs are available in electronic form as a Word document, or a hard copy can be mailed.  Please contact me if you are interested in receiving draft tariffs.

All regulated utilities are expected to keep records and books in accordance with the Uniform System of Accounts.  The Commission Staff is available to assist you in setting up a record keeping system, if you so desire.

Utilities regulated by the Missouri Public Service Commission must comply with certain obligations including, but not limited to: filing of an annual report; payment of an annual assessment fee; providing safe and adequate service at just and reasonable rates; compliance with all relevant state and federal statues and rules; and compliance with all orders of the Commission.   Failure to comply with these or other obligations may result in the assessment of penalties and/or in the placement of the company in receivership through a Circuit Court action initiated by the Commission.

Please contact this office with any questions or comments, or to submit your agreement with the proposals and conditions included in this letter so that the Staff's recommendation may be submitted to the Commission as soon as possible.

Respectfully Submitted,

Jerry Scheible, P.E.

Utility Regulatory Engineer

Water & Sewer Department

Enclosures

Copies (w/enclosures):

Steven L. Kamienski – Baylard, Billington & Dempsey, P.C.

Ruth O'Neill – Office of the Public Counsel