BEFORE THE PUBLIC SERVICE COMMISSION

OF THE STATE OF MISSOURI

In the Matter of the Request of the City of 			)

Kennett, Missouri, for a Waiver of Compliance	 	)	 Case No. GE-2003-0503

from the Requirements of 4 CSR 240-40.030(15)(C)	)

### ORDER AND NOTICE

This order gives notice of a request for the waiver of a pipeline safety rule and also sets a date for intervention.

On May 20, 2003, the City of Kennett, Missouri, filed with the Missouri Public Service Commission a request under Commission Rules 4 CSR 240-40.030(16) and 4 CSR 240-2.060(4) for a waiver of Commission Rule 4 CSR 240-40.030(15)(C), i.e., the rule governing the replacement program for unprotected steel service lines and yard lines.  The City maintains that the granting of the variance will not be inconsistent with gas pipeline safety.

The proposed waiver, according to the City, requests that a customer-owned yard line be exempted from being replaced.  The City alleged that the customer, Emerson Electric Company, is a large manufacturing firm that has its own Engineering and Maintenance Departments that are capable of maintaining their own facilities.  Emerson, the City stated, had two unprotected steel yard lines going from the meter set to the building, i.e., a 6” line and an 8” line.  Emerson, according to the City, has replaced the 8” line, installed insulators, and installed Cathodic Protection on this line as provided for in

Commission Rule 4 CSR 240-40.030(8)(B)2.  On the 6” line, the City said that Emerson has installed insulators and Cathodic Protection.

The City believes that by the City leak-surveying this line on an annual schedule, and by the City checking the Cathodic Protection level annually, safety would not be compromised by not replacing the 6” yard line.

The Commission finds that proper persons should be allowed 20 days from the issuance of this order to file an application under Commission Rule 4 CSR 240-2.075 to intervene.  The Commission’s Data Center must serve a copy of this order on the county commission of Dunklin County.  In addition, the Commission’s Public Information Office must make notice of this order available to the media serving the Company’s service area and to the members of the General Assembly representing the residents of the Company’s service area. The Commission will also order its Staff to notify the Commission of a date when it can file its memorandum and recommendation.

IT IS THEREFORE ORDERED:

- That any proper person or entity desiring to intervene in this matter must file an application no later than June 23, 2003, with:

- Dale Hardy Roberts, Secretary

- Missouri Public Service Commission

- Post Office Box 360

- Jefferson City, Missouri 65102-0360

- and send copies to:

- Terry M. McVey, Esq.

- Crow, Reynolds, Shetley & McVey, LLP

- Post Office Box 189

- Southern Missouri Bank & Trust Building

- Kennett, Missouri 63857-0189

- and:

- Office of the Public Counsel

- Post Office Box 7800

- Jefferson City, Missouri 65102-7800

- That the Staff of the Missouri Public Service Commission must file no later than June 13, 2003, a pleading stating when it will file its memorandum and recommendation.

- That the Data Center of the Missouri Public Service Commission must serve a copy of this order on the county commission of Dunklin County.

- That the Missouri Public Service Commission’s Public Information Office must make notice of this order available to the members of the General Assembly representing the residents of the City of Kennett’s service area and to the news media serving the residents of the City of Kennett’s service area.

- That this order will become effective on June 13, 2003.

###### BY THE COMMISSION

###### Dale Hardy Roberts

###### Secretary/Chief Regulatory Law Judge

( S E A L )

Bill Hopkins, Senior Regulatory Law Judge,

by delegation of authority under

Section 386.240, RSMo 2000,

as currently supplemented.

Dated at Jefferson City, Missouri,

on this 3rd day of June, 2003.