Before the Public Service Commission

Of the State of Missouri

| In the Matter of an Incident in #6 Hagers Mill Court, Manchester, Missouri | )) | Case No. GS-2004-0264 |
| --- | --- | --- |

Staff Memorandum In Support Of The Stipulation and Agreement

Comes Now the Staff of the Missouri Public Service Commission (Commission) and for its Staff Memorandum In Support Of the Stipulation and Agreement, respectfully states:

1.	On April 27, 2004, the Missouri Public Service Commission Staff (Staff) filed a Staff Incident Report in Case No. GS-2004-0264, detailing the facts found by the Staff surrounding an incident that occurred on December 11, 2003, at #6 Hagers Mill Court in Manchester, Missouri.  This report alleged a violation by Laclede Gas Company (Laclede or Company) of 49 CFR 192.281(e), as adopted by the Commission, that Laclede personnel did not use a rigid internal tubular stiffener when installing the natural gas service at #6 Hagers Mill Court on November 4, 1974.

2.	Further, as a result of its investigations in Case No. GS-2004-0264, the Staff filed a complaint against Laclede in Case No. GC-2004-0557.

3.	On June 2, 2004, Laclede and the Staff filed a Stipulation and Agreement regarding the recommendations included in the Staff Incident Report.

4.	The Staff believes that the Laclede has reasonably addressed the recommendations included in the Staff Incident Report.

Wherefore, the Staff recommends that the Commission issue an order that 1) approves the Stipulation and Agreement filed in this case and 2) closes this case.

Respectfully submitted,

DANA K. JOYCE

General Counsel

/s/ Robert V. Franson

Robert V. Franson

Senior Counsel				Missouri Bar No. 34643

Attorney for the Staff of the

Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-6651 (Telephone)

(573) 751-9285 (Fax)

email:  robert.franson@psc.mo.gov

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, or transmitted by facsimile or electronic mail to all counsel of record on this 2nd day of July 2004.

/s/ Robert V. Franson