### Exhibit No.:

Issues:	Reliability

Witness:	James L. Ketter

Sponsoring Party:	MO PSC Staff

Type of Exhibit:	Direct Testimony

Case Nos.:	ER-2004-0034 &

HR-2004-0024

(Consolidated)

Date Testimony Prepared:	December 8, 2003

MISSOURI PUBLIC SERVICE COMMISSION

Utility Operations DIVISION

Direct Testimony

## OF

James L. Ketter

AQUILA, INC.

d/b/a AQUILA NETWORKS-MPS

AND AQUILA NETWORKS– L&P

CASE NOS. ER-2004-0034 & HR-2004-0024

(CONSOLIDATED)

Jefferson City, Missouri

December 2003

DIRECT TESTIMONY

OF

JAMES L. KETTER

AQUILA, INC.

d/b/a AQUILA NETWORKS-MPS

AND AQUILA NETWORKS– L&P

CASE NOS. ER-2004-0034 & HR-2004-0024

(CONSOLIDATED)

Q.	Please state your name and give your business address.

A.	James L. Ketter, P.O. Box 360, Jefferson City, Missouri 65102.

Q.	Mr. Ketter, by whom are you employed and in what capacity?

A.	I am employed by the Missouri Public Service Commission (MPSC or Commission) as a Utility Regulatory Engineer II in the Engineering Analysis section of the Energy Department.

Q.	Please summarize your educational background and professional experience.

A.	I received a Bachelor of Science degree in Electrical Engineering from the University of Missouri-Columbia in 1970.  I served for 4 1/2 years as an officer in the United States Navy and returned to the University of Missouri-Columbia campus to pursue an advanced degree.  In December 1977 I received a Masters degree in Business Administration from the University of Missouri-Columbia.

I have been employed by the Commission since 1976.  As an engineer on the Staff, I have testified before the Commission on certificates for service areas, electric transmission and power plant certification cases, and territorial agreements.  I have also presented testimony on rate design in electric, steam, and gas rate cases.  I am a registered Professional Engineer in the state of Missouri; my registration number is 
E-20056.  I am a member of the National Society of Professional Engineers and I am a member of the Jefferson City Chapter of the Missouri Society of Professional Engineers.

Q.	To which of the Aquila, Inc. (Aquila) operations are you directing your testimony?

A.	This testimony only addresses the electric operations of Aquila in Missouri.

Q.	What is the purpose of your testimony in this case?

A.	I address reliability indices utilized within the electric utility industry that provide a measure of a utility’s overall performance in delivering electric service.  These indices have been established to provide information regarding the average number of times a customer is without electric service, the average interruption duration for all customers, the average interruption duration for those customers interrupted and the average number of momentary outages.  The Staff recommends that the Commission direct Aquila to submit reliability indices for the Missouri service area of Aquila to Staff until Aquila’s financial condition attains investment grade and the Staff determines reporting this information is no longer necessary.  This information will assist the Staff in monitoring the quality of service provided to Missouri customers in the Aquila service area.

Q.	Are other Staff witnesses filing testimony regarding quality of service?

A.	Yes.  Staff witness Lisa A. Kremer is concurrently filing direct testimony concerning customer service measurements for Aquila’s Call Center.

Q.	Please identify the reliability indices that are utilized by the electric utility industry.

A.	System Average Interruption Frequency Index (SAIFI), System Average Interruption Duration Index (SAIDI) and Customer Average Interruption Duration Index (CAIDI) are the most common reliability indices used for electric utilities.  Unadjusted indices, or actual data, reflect the total time or number of outages for the period reviewed.  Adjusted indices remove the time and frequency of events that are the result of major storms.

Q.	What benefit is gained by removing major storms from the unadjusted data?

A.	When major events, such as the ice storm of January 2002 or the tornados that struck the western part of Missouri in May 2003, cause extended outages for a utility, the day-to-day normal operations of the electric system are obscured by the extended electric outages resulting from these events.  Damage to electric facilities because of major storms and the subsequent outage that customers experience is important, but the adjusted number will better reflect the operation of the system under normal conditions.

Storms do not routinely affect the entire service area of the utility.  Removing the outages that are the result of major storms or catastrophic events provides a common basis to determine a company-wide index under normal conditions.  Adjustment for major storms in this manner is an accepted industry practice for reliability indices.

Q.	Explain these indices and how they measure reliability.

A.	SAIFI (number of occurrences per customer) reflects the average frequency of interruptions per customer and is defined as the total number of customer interruptions for the period covered, divided by the total number of customers served.  SAIDI (hours or minutes per customer served) reflects the average interruption duration for the period covered and is defined as the sum of all customer interruption durations divided by the total number of customers served.  CAIDI (hours or minutes per customer interrupted) reflects the average interruption duration and is defined as the sum of all customer interruption durations divided by the total number of customers interrupted.

These reliability indices reflect overall system performance.  These measures can help in accessing the performance of the utility in the delivery of electric service by providing a quantitative measure to help define the quality of service.  Typically, all of these indices are adjusted to eliminate the effects of major adverse weather conditions.

Q.	Does Aquila presently calculate and maintain these indices?

A.	Yes, this data is collected monthly.

Q.	Customers often complain about momentary outages on the electric system.  Is there an index to track these outages?

A.	Yes, the Momentary Average Interruption Frequency Index (MAIFI) reflects the average number of momentary outages.  These outages are the result of devices that interrupt a fault on the system and re-energize after a short delay, without outside human intervention.

Q.	Is the MAIFI information compiled by Aquila?

A.	Yes, this data is retrieved by reading counters that record the number of momentary interruptions and is compiled on a quarterly basis.  Requesting the MAIFI data on a monthly basis would add a new task for Aquila employees.  The Staff does not propose that this quarterly schedule be altered.

Q.	Has the Staff received the SAIFI, SAIDI, CAIDI and MAIFI information from Aquila in the past?

A.	Yes.  In the UtiliCorp United, Inc. – St. Joseph Light & Power Company merger, Case No. EM-2000-292, Aquila was ordered by the Commission (effective December 24, 2000) to provide Staff with monthly reports of reliability standards for one year.  Following the expiration of this period, Aquila has provided this information, on an informal basis, quarterly.

Q.	Why is it necessary for the Staff to ask that the Commission require Aquila to report this reliability data?

A.	Aquila has continued to provide this information on a voluntary basis to date, but absent a Commission order there is no assurance that Aquila will continue to do so in the future.  The financial pressure on Aquila may affect its willingness to collect, calculate and provide this data to Staff.  Therefore, Staff is requesting that Aquila be ordered by the Commission to provide its service quality measurements to Staff on a monthly basis (except MAIFI) until Aquila’s financial condition attains investment grade and the Staff determines that reporting is no longer necessary.  Staff will monitor this information to help determine the level of service that customers are receiving from Aquila.  Reporting this information monthly will provide an ongoing summary of the transmission and distribution system’s performance as measured by these reliability indices.

Q.	Did Staff request that the Commission order Aquila to file this same information on a monthly basis in Case No. EF-2003-0465?

A.	Yes.  The same information and the frequency of reporting were proposed in that case.

Q.	Are there other means to gather information concerning the quality of service provided by Aquila?

A.	Yes.  Customers call the Commission to assist them in resolving quality of service issues.  In my position in the Engineering Analysis section of the Energy Department, I respond to customer inquiries and complaints concerning quality of service.  This input from the customers may not be an accurate reflection of the overall performance of the company of providing electric service, but they voice their opinion and have personal experience concerning the provision of reliable service to their residence or business.  This information is helpful in determining the quality of service provided to Aquila customers.

Q.	What is Staff’s recommendation?

A.	Staff recommends that the Commission order Aquila to submit monthly data for Missouri customers of Aquila Networks-MPS and Aquila Networks-L&P for SAIFI, SAIDI and CAIDI in an electronic format, both unadjusted and adjusted indices to exclude major storm events, to Staff within twenty-one (21) days of the last day of the month being reported.  In addition, Staff recommends that MAIFI information be provided to Staff on a quarterly basis and transmitted with the monthly data at the end of each quarter.  Staff recommends that both reporting requirements extend until Aquila’s financial condition reaches investment grade and the Staff determines that reporting is no longer necessary.

Q.	Does this conclude your direct testimony?

A.	Yes it does.