| Issue Statement | Issue No. | Attachment and Section(s) | CLEC Language | CLEC Preliminary Position | SBC MISSOURI Language | SBC MISSOURI Preliminary Position | Arbitrator Comments |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Coalition Statement of the Issue: Should a CLEC be allowed, at its option, to place its own mini-BDFB in its virtual collocation space? RESOLVED 05/12/05 BS | Issue 1 |  | The parties agreed to the following language: CLEC shall be permitted, at its option, to place its own BDFB in its virtual collocation space; however, SBC may reject such installation if the structural integrity of the collocated space is jeopardized. |  | The parties agreed to the following language: CLEC shall be permitted, at its option, to place its own BDFB in its virtual collocation space; however, SBC may reject such installation if the structural integrity of the collocated space is jeopardized. |  |  |  |
| Coalition Statement of the Issue: Should the agreement specify that SBC will not bill for redundant power? RESOLVED 05/12/05 BS | Issue 2 |  | The parties agreed to the following language: 4.1 CLEC represents and warrants that it at no time will draw more than 50% of the combined total capacity of the DC power leads (in amperes or “AMPs”) provided by SBC OKLAHOMA for a collocation arrangement (the combined total capacity being the aggregate capacity of both leads for that collocation arrangement, including all “A” AMPs and all “B” AMPs). Based upon CLEC’s representation and warranty, SBC shall bill CLEC for DC collocation power consumption and HVAC as follows: (a) For DC collocation power consumption, a monthly recurring rate of $10.61 per AMP applied to fifty percent (50%) of the total capacity ordered and provisioned per the collocation application, and (b) For HVAC, a monthly recurring rate of $14.62 per 10 AMPs, applied to fifty percent (50%) of the total provided capacity. By way of example, where SBC OKLAHOMA has provisioned two (2) twenty (20) AMP DC power leads [for a combined total capacity of forty (40) AMPs], SBC shall bill the CLEC the monthly recurring DC Power Consumption charge of $10.61 per AMP for a total of twenty (20) AMPs (i.e., $212.20 per month), and SBC OKLAHOMA shall bill CLEC the monthly recurring HVAC charge of $14.621 per-each-ten (10) AMPs applied against twenty (20) AMPs (i.e., $29.24 per month). - SBC OKLAHOMA has the right to periodically inspect and/or, using non-intrusive methods, to test the amount of DC power CLEC actually draws. In the event CLEC is found to have breached the representation and warranty set forth in paragraph 4.1, the Parties shall resolve the issue using the dispute resolution procedures applicable to this Agreement. |  | The parties agreed to the following language: 4.1 CLEC represents and warrants that it at no time will draw more than 50% of the combined total capacity of the DC power leads (in amperes or “AMPs”) provided by SBC OKLAHOMA for a collocation arrangement (the combined total capacity being the aggregate capacity of both leads for that collocation arrangement, including all “A” AMPs and all “B” AMPs). Based upon CLEC’s representation and warranty, SBC shall bill CLEC for DC collocation power consumption and HVAC as follows: (a) For DC collocation power consumption, a monthly recurring rate of $10.61 per AMP applied to fifty percent (50%) of the total capacity ordered and provisioned per the collocation application, and (b) For HVAC, a monthly recurring rate of $14.62 per 10 AMPs, applied to fifty percent (50%) of the total provided capacity. By way of example, where SBC OKLAHOMA has provisioned two (2) twenty (20) AMP DC power leads [for a combined total capacity of forty (40) AMPs], SBC shall bill the CLEC the monthly recurring DC Power Consumption charge of $10.61 per AMP for a total of twenty (20) AMPs (i.e., $212.20 per month), and SBC OKLAHOMA shall bill CLEC the monthly recurring HVAC charge of $14.621 per-each-ten (10) AMPs applied against twenty (20) AMPs (i.e., $29.24 per month). - SBC OKLAHOMA has the right to periodically inspect and/or, using non-intrusive methods, to test the amount of DC power CLEC actually draws. In the event CLEC is found to have breached the representation and warranty set forth in paragraph 4.1, the Parties shall resolve the issue using the dispute resolution procedures applicable to this Agreement. |  |  |  |
| Coalition Statement of the Issue: Should CC, at its option, be allowed to implement power metering in its collocation space residing in SBC Kansas’ locations for the sole purpose of utilizing such equipment as a tool for SBC to bill the CLEC for power consumption ? RESOLVED 05/12/05 BS | Issue 3 |  | The CLEC Coalition withdraws Sections 4.2 to 4.2.5. This issue is therefore RESOLVED. |  | The CLEC Coalition withdraws Sections 4.2 to 4.2.5. This issue is therefore RESOLVED. |  |  |  |
| Coalition Statement of the Issue: Should a CLEC be permitted the option of having DC power charges based on the total rated ampere capacity of the equipment in the collo cage? RESOLVED 05/12/05 BS | Issue 4 |  | The CLEC Coalition withdraws Sections 4.3. This issue is therefore RESOLVED. |  | The CLEC Coalition withdraws Sections 4.3. This issue is therefore RESOLVED. |  |  |  |
| Coalition Statement of the Issue: Should the ICA delineate specific requirements for partial collocation space decommissioning and removal of unneeded cables and equipment? | Issue 5 |  | SBC and the CC (with the exception of XO) have mutually agreed to the following language: Termination Reduction 2.23.1 Complete Space Discontinuance The Collocator may discontinue an existing Physical Collocation Arrangement which may include equipment, equipment bays, interconnection facilities (e.g., power, timing, grounding and interconnection cabling) and Collocator infrastructure installed within its Physical Collocation space. The Collocator is required to provide a complete and accurate Physical Collocation Application requesting to discontinue its existing Physical Collocation Arrangement. The Collocator must complete the following activities within thirty (30) calendar days from the day the Physical Collocation application was submitted (A) Remove Collocator’s equipment bays (relay racks) from the Physical Collocation space, using a Company approved Tier 1 or Tier 2 vendor. (B) Remove Collocator’s equipment from the Physical Collocation space, using a Company approved Tier 1 or Tier 2 vendor; (C) Remove terminations at both ends of cable (e.g. power, timing, grounding, and interconnection) and cut cables up to the Company rack level. Collocator must use a Company approved Tier 1 vendor for this procedure and that vendor must follow TP76300 guidelines for cutting and capping the cable at the rack level. (D) Remove Collocator’s entrance cable between the Physical Collocation Arrangement and the first manhole in accordance with the provisions of section 2.23.1.5, using a Company approved Tier 1 vendor; (E) Remove Collocator’s miscellaneous itemsfrom within the Physical Collocation space, using an SBC approved Tier 1 or Tier 2 vendor. 2.23.1.1 For complete space discontinuance, Collocator will not be responsible for repairing floor tile damaged during removal of relay racks and equipment, nor will Collocator be responsible for cable mining (removal). Instead the company will perform those tasks. Collocator will pay for those tasks, once such tasks are performed, through rate elements listed in 2.23.6.1 2.23.1.2 If the Collocator fails to complete the items identified in 2.23.1 within thirty (30) calendar days after discontinuance or termination of the physical collocation arrangement, the Company may complete those items and charge the Collocator for any and all claims, expenses, fees or other costs associated with any such completion by SBC, including any materials used and the time spent at the hourly rate for custom work. This work will be performed at the Collocator’s risk and expense, and the Collocator will hold the Company harmless from the failure to return any equipment, property or other items. 2.23.1.3 When discontinuance of the Physical Collocation Arrangement involves the removal of fiber entrance cable, the Collocator’s Company approved Tier 1 vendor is only responsible for physically removing entrance cables housed in conduits or inner-ducts and may do so only after the Company confirms that such removal can be accomplished without damaging or endangering other cables contained in a common duct or other equipment resigning in the Central Office. 2.23.2 Space Reassignment In lieu of submitting an application to discontinue a Physical Collocation Arrangement per section 2.23.1, the Collocator (“Exiting CLEC”) may reassign the Physical Collocation Arrangement to another CLEC (“CLEC Assignee”) subject to certain terms and conditions outlined below. Any such reassignment of the Physical Collocation Arrangement may not occur without the written consent of the Company. In order to request consent to assign a Physical Collocation Arrangement, either the CLEC Assignee or Exiting CLEC may submit a Collocation Application on behalf of both the Exiting CLEC and CLEC Assignee, Space Reassignment shall be subject to the following terms and conditions: 2.23.2.1 CLEC Assignee must, as of the date of submission of the Physical Collocation Application, have an approved ICA. 2.23.2.2 Exiting CLEC will be liable to pay all nonrecurring and monthly recurring collocation charges on the Physical Collocation Arrangement to be reassigned until the date the Company turns over the Physical Collocation Arrangement to the CLEC Assignee. Any disputed charges shall be subject to the dispute resolution provisions herein. The Company’s obligation to turn over the Physical Collocation Arrangement shall not arise until all undisputed charges are paid. CLEC Assignee’s obligation to pay monthly recurring charges for a Physical Collocation Arrangement will begin on the date the Company makes available the Physical Collocation Arrangement to the CLEC Assignee. 2.23.2.3 An Exiting CLEC may not reassign Physical Collocation space in a central office where a waiting list exists for Physical Collocation space, unless all CLECs on the waiting list above the CLEC Assignee decline their position. This prohibition does not apply in the case of an acquisition, merger or complete purchase of the Exiting CLEC’s assets. 2.23.2.4 CLEC Assignee will defend and indemnify the Company from any losses, costs (including court costs), claims, damages (including fines, penalties, and criminal or civil judgments and settlements), injuries, liabilities and expenses (including attorneys' fees) if any other person, entity or regulatory authority challenges the reassignment of any Physical Collocation Arrangement(s) or otherwise claims a right to the space subject to the reassignment - CLEC Assignee or the Exiting CLEC shall submit one (1) complete and accurate application for each Physical Collocation Arrangement. By submitting an application for a Physical Collocation Arrangement, CLEC Assignee represents warrants and agrees that it has obtained an executed sale or lease agreement for and holds proper title to all non-Company equipment and other items in or otherwise associated with each Physical Collocation Arrangement. CLEC Assignee further agrees to indemnify and hold the Company harmless from any third-party claims involving allegations that CLEC Assignee does not hold proper title to such non-Company equipment and other items. 2.23.2.6 The Company will respond to the Physical Collocation Application within ten (10) calendar days of submission of the completed application, including provision of a price quote. CLEC Assignee must pay 100% of all non-recurring charges in the price quote before the Company begins to convert the Physical Collocation Arrangement being reassigned. Once CLEC Assignee has paid 100% of all such non-recurring charges, the Company shall finish the work to convert the space within thirty (30) calendar days. The Company and CLEC Assignee will coordinate all conversion work to insure that the end user customers of CLEC Assignee do not suffer disruptions of service. - CLEC Assignee may submit a security application for access to a Physical Collocation Arrangement simultaneously with the Physical Collocation Application. If a completed security application is provided at the time the Collocation Application is filed, the security cards will be made available at the time that the collocation space is turned over. If the security application is not provided at the time that the Collocation Application is filed, then CLEC Assignee may submit a security application for access at any time and the terms and conditions as provided in this Agreement will apply. In no event will the security cards be provided to the CLEC Assignee before the assigned space is turned over. - CLEC Assignee assumes each Physical Collocation Arrangement “as is” which means that the Company will make no changes to the Physical Collocation Arrangement, including no changes to power, interconnection and entrance facilities. Any modifications to such Physical Collocation Arrangement by CLEC Assignee must be submitted via a separate augment application (or as otherwise provided by the applicable ICA). - This section 2.23.2 does not affect any obligations arising outside of this Agreement. 2.23.3 Power Reduction The Collocator may request to decrease the amount of existing power available to a Physical Collocation Arrangement. This can be done either by disconnecting and removing a power cable feed or by fusing down the amperage on a power cable feed. If the Collocator desires to disconnect a power arrangement (A&B feed), the Collocator will be responsible for paying the costs to remove the A&B power cable feeds that make up the power arrangement. If the Collocator desires to reduce the amperage on a power cable feed, the Collocator will be responsible for paying the costs necessary to change the fuse that serves the A&B feeds at the Company power source. In either case, the Collocator must maintain a minimum amount of power on at least one power arrangement (A&B feed) to service their Physical Collocation Arrangement when submitting their power reduction request. The Collocator shall submit an augment application in order to process this request. If the Collocator desires to only reduce the fuse capacity on an existing power arrangement (A&B feed) rather than disconnect and remove cable to an existing power arrangement, they may only reduce the fuse size to the lowest power amp increment offered in this Agreement. Different minimum amp increments apply for power arrangements fed from either a Company BDFB or a Company Power Plant. When the Collocator is requesting to reduce the fuse capacity only, the fees referenced in section 2.23.5.3 will apply. When the Collocator has only one power arrangement (A&B feed) serving their Physical Collocation Arrangement, a fuse reduction is the only power reduction option available to the Collocator. When a power reduction request involves a fuse change only on a power arrangement serviced from the Company BDFB (i.e. power arrangements consisting of a 50 amp A feed and a 50 amp B feed and below) the Collocator must hire a Company approved power vendor to coordinate fuse changes at the Company BDFB. Applicable fees referenced in section 2.23.5.4 will still apply. When a power reduction request involves a fuse change on a power arrangement serviced from the Company Power Plant (i.e. power arrangements consisting of a 100 amp A feed and a 100 amp B feed and above), the Company shall coordinate the fuse changes at the Company Power Plant. When a power reduction request requires disconnecting and removing a power cable feed from either the Company’s BDFB or Power Plant, the Company will perform the power cable removal work above the rack level (cable mining). Applicable fees referenced in section 2.23.5.3 will apply, once such work is performed. Within 30 days after submitting its power reduction request to disconnect and remove a power arrangement, the Collocator must perform the following activity. (A) Remove terminations at both ends of the power cable feed and cut cables up to the Company rack level. Collocator must use a Company approved Tier 1 vendor for this procedure and that vendor must follow TP76300 guidelines for cutting and capping the cable at the rack level. When the Collocator has multiple power arrangement serving a Physical Collocation Arrangement (i.e., one power arrangement consisting of 50 amps on the A feed and 50 amps on the B feed and a second power arrangement consisting of 20 amps on the A feed and 20 amps on the B feed), the Collocator has the option of either fusing down the 50 amp power arrangement (A&B feed) or disconnecting and removing the power cable feed from the 50 amp power arrangement (A&B feed). If the Collocator chooses to disconnect and remove the power cable feed from a power arrangement (A&B feed), then the charges referenced in section 2.23.5.3 will apply. If the Collocator has multiple power arrangements (A&B feed) where they can request both a fuse reduction and a power cable removal for one Physical Collocation Arrangement [i.e. reduce one power arrangement from 50 amps (A&B feed) to 20 amps (A&B feed) and remove the power cable from a second power arrangement from 50 amps (A&B feed) to 0 amps (A&B feed)], then the project management fee for power cable removal referenced in section 2.23.5.3 will apply in addition to the individual charges referenced in either section 2.23.5.3, or 2.23.5.4 associated with the overall power reduction request. For any power reduction request (one which involves either a disconnect and removal, refusing only, or a combination of the two), the Collocator must submit an augment application for this request along with the appropriate application and project management fees referenced in section 2.23.5. The same augment intervals that are outlined in this Agreement for adding power will apply to power reduction requests. 2.23.4 Interconnection Termination Reduction The Collocator may request a reduction of the existing amount of interconnection terminations that service a Physical Collocation Arrangement. The Collocator shall submit an augment application in order to process this request. The Collocator must maintain at least one minimum interconnection arrangement increment. The same augment intervals that are outlined in this Agreement for adding interconnection terminations will apply to interconnection termination reductions. Interconnection termination reduction requests will always require the disconnection and removal of interconnection cable. The Company will perform the interconnection cable removal work above the rack level (cable mining). Applicable fees referenced in section 2.23.5.5 will apply, once such work is performed. Within thirty (30) days after submitting its interconnection termination reduction request to disconnect and remove an interconnection arrangement from its Physical Collocation Arrangement, the Collocator must perform the following activity. (A) Remove terminations at both ends of the interconnection cable and cut cables up to the Company rack level. Collocator must use a Company approved Tier 1 vendor for this procedure and that vendor must follow TP76300 guidelines for cutting and capping the cable at the rack level. 2.23.5 Rate Element Descriptions 2.23.5.1 Rate Element Descriptions for Complete Space Discontinuance A. Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. B. Intentionally omitted. C. Remove Fiber Jumpers – Remove four fiber jumpers from the Fiber Troughing Duct. D. Remove Fiber Cables – Remove fiber cable sheaths (1-216 fibers) on dedicated fiber racking. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, waxed cable cord/twine, gray paint for removing plotter paper for Central Office drawings and transportation and taxes as appropriate. E. Remove VF/DS0 Cable – Remove cable sheaths totaling 100 pairs and each 100 pair connecting block from the MDF or IDF. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, gray paint for removing stenciling on frame, fire stop material, 8.5”x11” paper for engineering order, plotter paper for Central Office drawings and transportation and taxes as appropriate. F. Remove DS1 Cable – Remove two sheaths, on transmit and one receive, comprising of a total of 28 DS1 circuits to an existing DSX1 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, blank labels for DSX shelf, 8.5”x11” paper for engineering job order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. G. Remove DS3 Cable (Coax) – Remove two coax cables per DS3 circuit to an existing DSX3 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, fire stop material, blank labels for DSX shelf, 8.5”x11” paper for engineering order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. H. Remove Timing Cable – Remove a single timing lead (P7 wire). Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, CO timing book sheet, 8.5”x11” paper for engineering order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. I. Remove Power Cable – Distribution from the Company BDFB (60 amp A feed and 60 amp B feed & below power arrangements) – Remove 4 power cables, including fuses and fuse panel. Removal activity also requires all costs associated with the power cable removal, packing and shipping, removing stenciling from BDFB, and updating documents as required. J. Remove Power Cable – Distribution from the Company Power Board (100 amp A feed and 100 amp B feed & above) – Remove 750 MCM cable (4 runs @ 180 feet), and remove and junk fuses and power panel. Removal activity also requires cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, gray paint for removing stenciling on Power Board, fire stop material, blank labels for BDFB, yellow job wallet, 8.5”x11” paper for engineering order, plotter paper for Central Office drawings and transportation and taxes as appropriate. K. Remove Cage Grounding Material – Remove collocation cage grounding lead and ground bar. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, yellow job wallet, 8.5”x11” paper for engineering order, plotter paper for Central Office drawings and transportation and taxes as appropriate. L. Remove Fiber Entrance Cable – Remove fiber entrance cable from 1st manhole closest to the Central Office through cable vault to its endpoint termination in the collocation space (average 300’ of cable). Removal activity also requires infrastructure maps and records, engineering work order, pump/ventilate manhole, safety inspection and removal of safety hazards, fire stops, and mechanized cable pulling tools. M. Restore Floor Tile - Standard Bay - Remove floor tile & Drive Anchors Flush with Floor Slab, install 547 Floor Patch, apply floor adhesive, and install Vinyl Composite Floor Tile (VCT). Clean & Wax Floor Tile, abatement of asbestos containing Floor Tile, and Air Monitoring for Abatement. N. Restore Floor Tile – Non-Standard Bay - Remove floor tile & Drive Anchors Flush with Floor Slab, install 547 Floor Patch, apply floor adhesive, and install Vinyl Composite Floor Tile (VCT). Clean & Wax Floor Tile, abatement of asbestos containing Floor Tile, and Air Monitoring for Abatement. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. 2.23.5.3 Rate Element Descriptions for Space Reassignment A. Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. B. Project Management Fee – Space Reassignment/Restenciling - This fee applies to Space Reassignment request when a “CLEC Assignee” chooses to assign the rights to a Physical Collocation Arrangement from an “Exiting CLEC.” The charge reflects the Company’s labor costs to project manage the changes/removals and update Central Office inventory/provisioning records, stenciling, floor plans, and DC power records associated with serving the Physical Collocation Arrangement. C. Restencil DS0/DSL Block – The charge to remove/change stenciling on MDF or IDF per 100 pair blocks. D. Restencil DS1 Block– The charge to remove/change stenciling on DSX1 panel per 28 DS1s. E. Restencil DS3 Block – The charge to remove/change stenciling on DSX3 panel per DS3. F. Restencil Fiber Cable Block - The charge to remove/change stenciling on FDF per 12 pair cable. G. Restencil Fiber Jumper Block - The charge to remove/change stenciling on FDF per 4 fiber jumpers. H. Restencil Power – The charge to remove/change stenciling on power source and tag power cables per 1-4 fuses. I. Restencil Timing – The charge to remove/change stenciling on timing source and tag timing cables per two cable feeds. J. Timing Record Book Update – The charge to update timing records when changes/removals occur. K. Interconnection Records Update – The charge to update interconnection records when changes/removals occur. L. Power Records Update – The charge to update power records when changes/removals occur. M. Vendor Engineering – The labor costs for the Company Vendor to write the specifications to perform the restenciling job including travel time and site visit. 2.23.5.4 Rate Element Descriptions for Power Reduction (cable removal) A. Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. B. Intentionally Omitted. C. Remove Power Cable – Distribution from the Company BDFB (50 amp A feed and 50 amp B feed and below power arrangements) – Remove 4 power cables, including fuses and fuse panel. Removal activity also requires all costs associated with the power cable removal, packing and shipping, removing stenciling from BDFB, and updating documents as required. D. Remove Power Cable – Distribution from the Company Power Board (100 amp A feed and 100 amp B feed and above) – Remove 4 power cables, including fuses and fuse panel. Removal activity also requires all costs associated with the power cable removal, packing and shipping, removing stenciling from Power Board, and updating documents as required. 2.23.5.4 Rate Element Descriptions for Power Reduction (refusing only) A. Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. B. Intentionally Omitted. C. Intentionally Omitted. D. Power Fuse Reductions on the Company BDFB (50 amp A feed and 50 amp B feed & below power arrangements) – The charge for the Company to tag cables and update Central Office power records associated with the fuse change on the Company BDFB per 1-4 fuses. This fee applies when the Collocator performs the fuse change at the BDFB. E. Power Fuse Reductions on the Company Power Board (100 amp A feed and 100 amp B feed & above power arrangements) - The charge for the Company to change the fuse at the Company power board, tag cables and update Central Office power records associated with fuse change on the Company Power Board per 1-4 fuses. 2.23.5.7 Rate Element Descriptions for Interconnection Termination Reduction A. Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. B. Project Management Fee – Interconnection Termination Reduction – The charge reflects the Company’s labor costs to project manage the removal of the interconnection cabling and update the interconnection block stenciling, Central Office and inventory/provisioning records associated with serving the Physical Collocation Arrangement. C. Remove VF/DS0 Cable – Remove cable sheaths totaling 100 pairs and each 100 pair connecting block from the Company Main Distribution Frame to the Physical Colloction Arrangement. D. Remove DS1 Cable – Remove two sheaths, on transmit and one receive, comprising of a total of 28 DS1 circuits to an existing DSX1 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, blank labels for DSX shelf, 8.5”x11” paper for engineering job order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. E. Remove DS3 Cable (Coax) – Remove two coax cables per DS3 circuit to an existing DSX3 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, fire stop material, blank labels for DSX shelf, 8.5”x11” paper for engineering order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. F. Remove Fiber Cables – Remove fiber cable sheaths (1-216 fibers) on dedicated fiber racking. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, waxed cable cord/twine, gray paint for removing plotter paper for Central Office drawings and transportation and taxes as appropriate. G. Remove Fiber Jumpers - Remove four fiber jumpers from the Fiber Troughing Duct. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. | XO objects to SBC’s language concerning the costs associated with cable removal and significant “Project Management” fees assessed by SBC. In the case of cable removal charges, XO proposes that it should only pay those costs when work is actually performed. In today’s environment, SBC may not have to remove the cable in all cases, and may be able to reuse the cable. In those instances, no work is done and no payment should be required. As to the “Project Management” fees, XO objects to paying a additional, overarching fee that is redundant of other decommissioning price elements already in place to cover the decommissioning work to be done. In the example of the power re-fusing activity, the “Project Management” fee is greater than the sum of the other, additional fees charged to actually change the fuses. SBC has provided no cost justification for this fee and should not be allowed to charge it. Krabill Collocation Direct at 14-17. Krabill Collocation Reguttal at 6-9 | COMPLETE SPACE DISCONTINUANCE, SPACE REASSIGNMENT, POWER REDUCTION AND INTERCONNECTION TERMINATION REDUCTION This section provides rates, terms and conditions for Complete Space Discontinuance, Space Reassignment, Power Reduction and Interconnection Termination Reduction for Virtual Collocation. 3.19.1 Complete Space Discontinuance The Collocator may discontinue an existing Virtual Collocation which may include bay space and interconnection facilities (e.g. power, timing, grounding, and interconnection) terminating in the Virtual Collocation Arrangement. The Collocator is required to provide a complete and accurate Virtual Collocation Application requesting to discontinue the Virtual Collocation Arrangement. The Collocator must complete the following activities within thirty (30) calendar days from the day the Virtual Collocation application was submitted: (A) Remove Collocator’s equipment from the Virtual Collocation Arrangement using a Company approved Tier 1 or Tier 2 vendor (B) Remove terminations at both ends of cable (e.g., power, timing, grounding, and interconnection) and cut cables up to the Company rack level. Collocator must use a Company approved Tier 1 vendor for this procedure and that vendor must follow TP76300 guidelines for cutting and capping the cable at the rack level. (C) Remove Collocator’s entrance cable between the Virtual Collocation Arrangement and the first manhole in accordance with the provisions of this Agreement. (D) Remove Collocator’s miscellaneous items from the Virtual Collocation Arrangement, using a Company approved Tier 1 or Tier 2 vendor. 3.19.1.1 For complete space discontinuance of a Virtual Collocation Arrangement, the Collocator will not be responsible for cable mining (removal). Instead the Company will perform those tasks. Collocator will pay for those tasks through rate elements listed in 3.19.5.1 3.19.1.2 If the Collocator fails to complete the items identified in 3.19.1 within thirty (30) calendar days after discontinuance of termination of the Virtual Collocation Arrangement, the Company may complete those items and charge the Collocator for any and all claims, expenses, fees or other costs associated with any such completion by the Company, including any materials used and the time spent at the hourly rate for custom work. This work will be performed at the Collocator’s risk and expense, and the Collocator will hold the Company harmless from the failure to return any equipment, property or other items. 3.19.1.3 When discontinuance of the Virtual Collocation Arrangement involves the removal of fiber entrance cable, the Collocator’s Company approved Tier 1 vendor is responsible for physically removing entrance cables housed in conduits or inner-ducts and may do so only after the Company confirms that such removal can be accomplished without damaging or endangering other cables contained in a common duct or other equipment residing in the Central Office. 3.19.2 Space Reassignment In lieu of submitting an application request to discontinue a Virtual Collocation Arrangement section 3.19.1, the Collocator (“Exiting CLEC”) may reassign the Virtual Collocation Arrangement to another CLEC (“CLEC Assignee”) subject to certain terms and conditions outlined below. Any such reassignment of the Virtual Collocation Arrangement may not occur without the written consent of the Company. In order to request consent to reassign a Virtual Collocation Arrangement, either the CLEC Assignee or Exiting CLEC may submit a Virtual Collocation Application on behalf of both the Exiting CLEC and CLEC Assignee. Space Reassignment shall be subject to the following terms and conditions: 3.19.2.1 CLEC Assignee must, as of the date of submission of the Virtual Collocation Application have an approved ICA or an effective interim ICA. 3.19.2.2 Exiting CLEC will be liable to pay all nonrecurring and monthly recurring collocation charges on each Virtual Collocation Arrangement to be reassigned until the date the Company turns over the Virtual Collocation Arrangement to the CLEC Assignee. The Company’s obligation to turn over the Virtual Collocation Arrangement shall not arise until all such charges are paid. 3.19.2.3 An Exiting CLEC may not reassign Virtual Collocation space in a central office where a collocation waiting list exists for Virtual Collocation, unless all CLECs on the waiting list above the CLEC Assignee decline their position. This prohibition does not apply in the case of an acquisition, merger, or complete purchase of the Exiting CLEC’s assets. 3.19.2.4 CLEC Assignee will defend and indemnify the Company from any losses, costs (including court costs), claims, damages (including fines, penalties, and criminal or civil judgments and settlements), injuries, liabilities and expenses (including attorneys’ fees) if any other person, entity or regulatory authority challenges the assignment of any Virtual Collocation Arrangement(s) or otherwise claims a right to the space subject to the assignment. 3.19.2.5 CLEC Assignee or the Exiting CLEC shall submit one (1) complete and accurate application for each Virtual Collocation Arrangement. By submitting an application for a Virtual Collocation Arrangement, CLEC Assignee represents, warrants and agrees that it has obtained an executed sale or lease agreement for, and holds proper title to all non-Company equipment and other items in or otherwise associated with each Virtual Collocation Arrangement. CLEC Assignee further agrees to indemnify and hold the Company harmless from any third-part claims involving allegations that CLEC Assignee does not hold proper title to such non-Company equipment and other items. 3.19.2.6 The company will respond to the Virtual Collocation Application within ten (10) calendar days of submission of the completed application, including provision of a price quote. Collocator Assignee must pay 100% of all non-recurring charges in the price quote before the Company begins to convert the Virtual Collocation Arrangement being reassigned. Once CLEC Assignee has paid 100% of all such non-recurring charges, the Company shall finish the work to convert the space within thirty (30) calendar days. The Company and CLEC Assignee will coordinate all conversion work to insure that the end-user customers of CLEC Assignee do not suffer disruptions of service. Such non-recurring charges will include some or all of the following: an application fee, project management fee, and all applicable restenciling fees reference in sections 3.19.5.2 and 3.19.6.2. 3.19.2.7 CLEC Assignee assumes each Virtual Collocation Arrangement “as is” which means that the Company will make no changes to the Virtual Collocation Arrangement, including no changes to power, interconnection and entrance facilities. Any modifications to such Virtual Collocation Arrangement must be submitted via a separate augment application (or as otherwise provided by the applicable ICA). 3.19.2.8 This section 3.19.2 does not affect any obligations arising outside of this Collocation Agreement. 3.19.3 Power Reduction The Collocator may request to decrease the amount of existing power available to a Virtual Collocation Arrangement. This can be done either by disconnecting and removing a power cable feed or by fusing down the amperage on a power cable feed. If the Collocator desires to disconnect a power arrangement (A and B feed), the Collocator will be responsible for paying the costs to remove the A and B power cable feeds that make up the power arrangement. If the Collocator desires to reduce the amperage on a power cable feed, the Collocator will be responsible for paying the costs necessary to change the fuses that serve the A and B feeds at the Company Battery Distribution Fuse Bay (BDFB). In either case, the Collocator must maintain a minimum amount of power on at least one power arrangement (A and B feed) to service their Virtual Collocation Arrangement when submitting their power reduction request. The Collocator shall submit an augment application in order to process this request. If the Collocator desires to only reduce the fuse capacity on an existing power arrangement (A and B feed) rather than disconnect and remove cable to an existing power arrangement, Collocator may only reduce the fuse size to the lowest power amp increment offered in this Agreement . When the Collocator is requesting to reduce the fuse capacity only, the fees referenced in section 3.19.5.4 will apply. When the Collocator has only one power arrangement (A and B feed) serving their Virtual Collocation Arrangement, a fuse reduction is the only power reduction option available to the Collocator. When a power reduction request involves a fuse change only on a power arrangement serviced from the Company BDFB (i.e. power arrangement consisting of a 50 amp A feed and a 50 amp B feed and below), the Collocator must hire a Company approved power vendor to coordinate fuse changes at the Company BDFB. Applicable fees referenced in section 3.19.5.4 will still apply. When a power reduction request requires disconnecting and removing a power cable feed from the Company’s BDFB, the Company will perform the power cable removal work above the rack level (cable mining). Applicable fees referenced in Section 3.19.5.3 will apply. Within thirty (30) days after submitting its power reduction request to disconnect and remove a power arrangement, the Collocator must perform the following activity: (A) Remove terminations at both ends of the power cable feed and cut cables up to the Company rack level. Collocator must use a Company approved Tier 1 vendor for this procedure and that vendor must follow TP76300 guidelines for cutting and capping the cable at the rack level. When the Collocator has multiple power arrangements serving a Virtual Collocation Arrangement (i.e., one power arrangement consisting of 50 amps on the A feed and 50 amps on the B feed and a second power arrangement consisting of 20 amps on the A feed and 20 amps on the B feed), the Collocator has the option of either fusing down the 50 amp power arrangement (A and B feed) or disconnecting and removing the power cable feed from the 50 amp power arrangement (A and B feed). If the Collocator chooses to disconnect and remove the power cable feed from a power arrangement (A and B feed), then the charges referenced in section 3.19.5.3 will apply. If the Collocator has multiple power arrangements (A and B feed) where they can request both a fuse reduction and a power cable removal for one Virtual Collocation Arrangement [i.e. reduce one power arrangement from 50 amps (A and B feed) to 20 amps (A and B feed) and remove the power cable from a second power arrangement from 50 amps (A and B feed) to 0 amps (A and B feed)], then the project management fee for power cable removal referenced in section 3.19.5.3 will apply in addition to the individual charges referenced in either section 3.19.5.3 or 3.19.5.4 associated with the overall power reduction request. For any power reduction request (one which involves either a disconnect and removal, refusing only, or a combination of the two, the Collocator must submit an augment application for this request along with the appropriate application and project management fees referenced in section 3.19.5. The same augment intervals that are outlined in this Agreement for adding power will apply to power reduction requests. 3.19.4 Interconnection Termination Reduction The Collocator may request a reduction of the existing amount of interconnection terminations that service a Virtual Collocation Arrangement. The Collocator shall submit an augment application in order to process this request. The Collocator must maintain at least one of the following minimum required interconnection arrangement authorized in Section 3.13.1. The same augment intervals that are outlined in this Agreement for adding interconnection terminations will apply to interconnection termination reductions. Interconnection termination reduction requests will also require the disconnection and removal of interconnection cable. The Company will perform the interconnection cable removal work above the rack level (cable mining). Applicable fees referenced in section 3.19.5.5 will apply. Within thirty (30) days after submitting its interconnection termination reduction request to disconnect and remove an interconnection arrangement from its Virtual Colloction Arrangement, the Collocator must perform the following activity: (A) Remove terminations at both ends of the interconnection cable and cut cables up to the Company rack level. Collocator must use a Company approved Tier 1 vendor for this procedure and that vendor must follow TP76300 guidelines for cutting and capping the cable at the rack level. 3.19.5 Rate Element Descriptions 3.19.5.1 Complete Space Discontinuance (A) Application Fee – The charge assessed by the Company to process the Collocator’s application for Virtual Collocation Arrangements. (B) Project Management Fee – Complete Space Discontinuance – Reflects the Company’s labor costs to project manage the complete discontinuance of the CLEC’s Virtual Collocation Arrangement. The labor costs include the Company engineering for planning design of space restoration, equipment removal, interconnection, power and entrance cable removal, stenciling, floor plans, and DC power records. (C) Remove Fiber Jumpers – Remove four fiber jumpers from the Fiber Troughing Duct. (D) Remove Fiber Cables – Remove fiber cable sheaths (1-216 fibers) on dedicated fiber racking. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, waxed cable cord/twine, gray paint for removing plotter paper for Central Office drawings and transportation and taxes as appropriate. (E) Remove VF/DS0 Cable – Remove cable sheaths totaling 100 pairs and each 100 pair connecting block from the MDF or IDF. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, gray paint for removing stenciling on frame, fire stop material, 8.5”x11” paper for engineering order, plotter paper for Central Office drawings and transportation and taxes as appropriate. (F) Remove DS1 Cable – Remove two sheaths, on transmit and one receive, comprising of a total of 28 DS1 circuits to an existing DSX1 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, blank labels for DSX shelf, 8.5”x11” paper for engineering job order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. (G) Remove DS3 Cable (Coax) – Remove two coax cables per DS3 circuit to an existing DSX3 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, fire stop material, blank labels for DSX shelf, 8.5”x11” paper for engineering order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. (H Remove Timing Cable – Remove a single timing lead (P7 wire). Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, CO timing book sheet, 8.5”x11” paper for engineering order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. (I) Remove Power Cable – Distribution from the Company BDFB (60 amp A feed and 60 amp B feed and below power arrangements) – Remove 4 power cables, including fuses and fuse panel. Removal activity also requires all costs associated with the power cable removal, packing and shipping, removing stenciling from BDFB, and updating documents as required. (J) Remove Fiber Entrance Cable – Remove fiber entrance cable from 1st manhole closest to the Central Office through cable vault to its endpoint termination in the collocation space (average 300’ of cable). Removal activity also requires infrastructure maps and records, engineering work order, pump/ventilate manhole, safety inspection and removal of safety hazards, fire stops, and mechanized cable pulling tools. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. 3.19.5.2 Space Reassignment (A) Application Fee – The charge assessed by the Company to process the Collocator’s application for Virtual Collocation Arrangements. (B) Project Management Fee – Space Assignment - This fee applies to Space Assignment request when a “Collocator Assignee” chooses to assign the rights to a Virtual Collocation Arrangement from an “Exiting Collocator.” The charge reflects the Company’s labor costs to project manage the changes/removals and update Central Office inventory/provisioning records, stenciling, floor plans, and DC power records associated with serving the Virtual Collocation Arrangement. (C) Restencil DS0/DSL Block – The charge to remove/change stenciling on MDF or IDF per 100 pair blocks. (D) Restencil DS1 Block– The charge to remove/change stenciling on DSX1 panel per 28 DS1s. (E) Restencil DS3 Block – The charge to remove/change stenciling on DSX3 panel per DS3. (F) Restencil Fiber Cable Block - The charge to remove/change stenciling on FDF per 12 pair cable. (G) Restencil Fiber Jumper Block - The charge to remove/change stenciling on FDF per 4 fiber jumpers. (H) Restencil Power – The charge to remove/change stenciling on power source and tag power cables per 1-4 fuses. (I) Restencil Timing – The charge to remove/change stenciling on timing source and tag timing cables per two cable feeds. (J) Timing Record Book Update – The charge to update timing records when changes/removals occur. (K) Interconnection Records Update – The charge to update interconnection records when changes/removals occur. (L) Power Records Update – The charge to update power records when changes/removals occur. (M) Vendor Engineering – The labor costs for the Company vendor to write the specifications to perform the restenciling job including travel time and site visit. 3.19.5.3 Power Reduction (cable removal) (A) Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. (B) Project Management Fee – Power Reduction (cable removal) - Reflects the Company’s labor costs to manage the removal of the individual Collocator’s power cable facilities used for or associated with serving the Virtual Collocation Arrangement. (C) Remove Power Cable – Distribution from the Company BDFB (50 amp A feed and 50 amp B feed and below power arrangements) – Remove 4 power cables, including fuses and fuse panel. Removal activity also requires all costs associated with the power cable removal, packing and shipping, removing stenciling from BDFB, and updating documents as required. 3.19.5.4 Power Reduction (refusing only) (A) Application Fee – The charge assessed by the Company to process the Collocator’s application for Physical Collocation Arrangements. (B) Project Management Fee – Power Re-Fusing Only at the Company BDFB (50 amp A feed and 50 amp B feed and below power arrangements) - Reflects the Company’s labor costs to project manage the change of the power re-fusing change on the Collocator’s power services associated with serving the Physical Collocation Arrangement when power fuses are being reduced at the Company BDFB. This fee is applicable when the Collocator is coordinating the fuse reduction at the Company BDFB. (C) Power Fuse Reductions on the Company BDFB (50 amp A feed and 50 amp B feed and below power arrangements) – The charge for the Company to tag cables and update Central Office power records associated with the fuse change on the Company BDFB per 1-4 fuses. This fee applies when the Collocator performs the fuse change at the BDFB. 3.19.5.7 Interconnection Termination Reduction (A) Application Fee – The charge assessed by the Company to process the Collocator’s application for Virtual Collocation Arrangements. (B) Project Management Fee – Interconnection Termination Reduction – The charge reflects the Company’s labor costs to project manage the changes/removals and update the interconnection block stenciling, Central Office and inventory/provisioning records associated with serving the Virtual Collocation Arrangement. (C) Remove VF/DS0 Cable – Remove cable sheaths totaling 100 pairs and each 100 pair connecting block from the Company Main Distribution Frame to the Virtual Collocation Arrangement. (D) Remove DS1 Cable – Remove two sheaths, on transmit and one receive, comprising of a total of 28 DS1 circuits to an existing DSX1 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, blank labels for DSX shelf, 8.5”x11” paper for engineering job order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. (E) Remove DS3 Cable (Coax) – Remove two coax cables per DS3 circuit to an existing DSX3 panel. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, heat shrink wrap, waxed cable cord/twine, fire stop material, blank labels for DSX shelf, 8.5”x11” paper for engineering order, yellow job wallet, plotter paper for Central Office drawings and transportation and taxes as appropriate. (F) Remove Fiber Cables – Remove fiber cable sheaths (1-216 fibers) on dedicated fiber racking. Typical material includes cable scrap boxes (see note 1 below), adjacent equipment protection material, waxed cable cord/twine, gray paint for removing plotter paper for Central Office drawings and transportation and taxes as appropriate. (G) Remove Fiber Jumpers - Remove four fiber jumpers from the Fiber Troughing Duct. Note 1 for Material: Cable scrap boxes are designed for cable cut into 3 foot lengths. This box is capable of handling 1000 pounds of weight, supporting forklift forks or floor jack lifts, moisture resistant, puncture resistant, and designed to be loaded into railroad cars for shipping. | Pool Direct 21-25 Smith Rebuttal 55-57 Pool Rebuttal 14-15 |  |  |
| Coalition Statement of the Issue: Should the ICA include requirements that SBC-MISSOURI provide to CC, at CC’s request, various collocation reports necessary for the CC to perform its ongoing activities? | Issue 6 |  | 6.0 Access to Information 6.1 At CLEC’s request, and subject to CLEC’s agreement on the data to be provided and SBC Kansas’ price quote, if any, for the request, SBC Kansas will provide CLEC with access to a complete and accurate Connecting Facility Assignment (CFA) Inventory Report. This CFA Inventory Report could be posted to a website accessible to CLEC personnel. The CFA Inventory Report should contain all the same fields as the original CFA report provided at the completion of Collocation or any subsequent Augment, and exclude any inventory that was returned as “givebacks.” The report would provide all pertinent data including but not limited to the loop facilities terminated in every Central Office in which CLEC is collocated, to be updated daily – the report should include all information necessary to complete LSRs and ASRs. The details of the report should include – Service Type, Cable ID, Unit, Facility Type, Channel Pair, Location CLLI code (8-digits) and the Collocation ATCL CLLI Code (11-digits), POI – frame, line-up bay and panel or relay rack and shelf, port/jack from and to, equivalent port assignment or span CFA, circuit ID circuit status. For Virtual Collocations – the report would include all CLEC circuits terminated within its space including bay and panel identifiers. 6.2 Upon completion of CLEC’s applications that include power, SBC Kansas shall provide a Power Feed Inventory Report “CFA” Document to the CLEC personnel who submitted the application request. This Power “CFA” Report shall include the power feed information that was just ordered, including, but not be limited to, the number of power feeds, the power feed assignments of each feed (at the A and B level of detail), the BDFB relay number, BDFB panel, fuse number, dram/load (amps), and fuse size (amps). 6.3 Upon request from CLEC, SBC Kansas will provide CLEC with access to a complete and accurate Power CFA Inventory Report by Collocation Space. The Power CFA Report would include all of the power feed information that is currently available at a given CO including, but not limited to, the number of power feeds, and the power feed assignments of each feed (at the A and B level of detail), the BDFB relay number, BDFB panel, fuse number, dram/load (amps), and fuse size (amps). 6.4 Upon request from CLEC, SBC Kansas shall provide a Collocation Footprint Master Document. This inventory document includes all pertinent data on CLEC collocation arrangements within SBC Kansas territory. Data provided shall include, but is not limited to, ACTLs, ACNAs, BANs, space square footage or number of racks, application ids or control numbers, governing authority (e.g., ICA, tariff), and decommissioned power arrangements or circuits for each collocation arrangement. 6.5 SBC Kansas shall make available to CLEC at no charge an enhancement to the APOT verification tool in TOOLBAR to permit CLEC to enter a range of APOTS. Until such time as the enhancement is available, SBC Kansas shall allow CLEC to view the online TIRKS Reports at any time without charge. | CLECs need detailed information concerning their collocation arrangements to ensure no errors occur that could jeopardize service turn-ups, and they should have access to all the data in SBC’s database. Errors in record-keeping, whether caused by the CLEC or SBC, can result in provisioning delays and service outages. Full access to data will permit errors to be reconciled. CLECs are willing to pay for access to such information, but should only be assessed charges based on SBC’s costs. As a compromise, the Coalition will drop its request for additional information if SBC will provide the existing CFA report at no charge. In the alternative, the Coalition requests the Commission order SBC to provide existing reports at cost-based rates. Krabill Collocation Direct at 17-20. Krabill Collocation Rebuttal at 9-10. | 6.1 SBC voluntarily offers the Connecting Facility Assignment (CFA) Inventory Report, even though it is the CLEC’s responsibility to maintain accurate records of their interconnection facilities. SBC is not required by any regulatory commission, order, or law to provide this report, but SBC does so as a courtesy to the CLEC Community. SBC should have no contractual duty to provide this report 6.2 There is no such report available and SBC has no knowledge that such information exist or can be made available. It is the CLEC’s responsibility to maintain accurate records of their power facilities. 6.3 The term “CFA” does not apply to power and such information is not required to be maintained by SBC, nor is it possible. 6.4 SBC is required by FCLEC Coalition to provide a Space Availability report and all required information is contained in such report. 6.5 SBC is required to provide APOT at time of turn over of collocation space and it is the CLEC’s responsibility to maintain this information in their records. SBC will not permit CLEC’s access to TIRKS because this is proprietary information. | There is a Current report available to all CLECs via the CLEC on-line website. This report contains the information necessary for CLEC Coalition to submit service orders. CLEC Coalition seeks a full inventory of each central office on a real time basis, but SBC does not have that capability and thus satisfying CLEC Coalition’s demand is not feasible. The information provided by SBC is updated weekly. The additional information requested by CLEC Coalition would require development of a unique customized report for CLEC Coalition only. SBC is not obligated to provide any additional “customized” information other than what it already provides to CLEC Coalition. Smith Direct 50-51 Smith Rebuttal 57-58 |  |  |
| Coalition Statement of the Issue: Should the Collocation Appendix, in addition to incorporating the requirements of the Collocation Tariffs, contain additional contract language addressing situations on which the Tariff is silent? | Issue 7 |  | General question, no specific language offered for this DPL. | The existing collocation tariff does not address all of the issues that have come up since the tariff was adopted. Because the tariff was developed outside the typical tariff process, it is appropriate that changes and additions to the terms of the tariff be addressed in the current generic proceeding. SBC has demanded that previous settlements of collocation issues be incorporated into the interconnection agreement, not the tariff. SBC should be estopped from raising this Issue 7 based on such an inconsistent position. Cadieux Collocation Direct at 17-19 Cadieux Collocation Rebuttal 5-12. | No language - | No. The Commission should not allow CLEC Coalition to make additions, changes or deletions outside the context of a tariff proceeding. Therefore, SBC opposes inclusion of all of CLEC Coalition’s proposed language (set forth below in Issues 2 – 6). If the Commission rules in SBC Missouri’s favor on this issue, it will not need to address the remaining issues in the DPL. This Commission has already approved the existing terms and conditions of the permanent tariff. In addition, CLEC Coalition had the opportunity to suggest additional terms and conditions collaborative proceedings. At no time did CLEC Coalition request such things like power metering, etc. To allow such individual arbitrations defeats the consistent application of the tariff. The appropriate arena for additions to the tariff is not through a CLEC specific bilateral ICA arbitration but rather through a tariff proceeding allowing SBC Missouri and other CLECs equal participation. Smith Direct 51-53 Smith Rebuttal 53-55 |  |  |
| Coalition Statement of the Issue: Should the terms and conditions concerning collocation be governed by the current SBC Missouri Local Access Tariff (Physical Collocation and Virtual Collocation) , supplemented by Appendix Collocation, or should all the terms be contained in the Agreement? | Issue 8 |  | Overarching Issue | SBC has proposed an entirely new Collocation Attachment that will supplant its current physical and virtual collocation tariffs in their entirety. SBC did not propose this global replacement in the Texas, Kansas, or Oklahoma X2A successor proceedings, and did not negotiate in any meaningful manner the need for or rationale behind these changes with the Coalition. The current collocation tariff is the result of a three-state settlement wherein CLECs and SBC agreed to virtually identical tariffs in Oklahoma, Kansas, and Missouri. CLECs see no justification for abandoning the collocation tariff as the primary source of Missouri collocation rates, terms and conditions. In addition, SBC’s brand-new amendment includes language additions, deletions, or revisions to a vast number of the provisions covered in the collocation tariff that will result in significant changes to the parties’ collocation arrangements. Because of the large number of changed terms in SBC’s new attachment, the lack of specific explanation from SBC regarding the need and intent of the proposed changes, and the very limited amount of time that has been available to the parties to discuss the substantive impact of SBC’s new proposal, it is the CLEC Coalition’s position that this arbitration proceeding is not the appropriate forum for considering a wholesale replacement of the collocation tariff with SBC’s thirteen-state proposal. Krabill Collocation Direct at 21-23 Krabill Collocation Rebuttal at 10-12. Cadieux Collocation Direct at 8-13 Cadieux Collocation Rebuttal 5-12. | APPENDIX VIRTUAL COLLOCATION 1. GENERAL DESCRIPTION 1.1 This Section of the Appendix provides for Virtual Collocation for the purpose of interconnecting to SBC-13STATE for the transmission and routing of Telephone Exchange Service and Exchange Access pursuant to 47 U.S.C. § 251 (c)(2), and for access to SBC-13STATE’s Lawful Unbundled Network Elements (“Lawful UNEs”) pursuant to 47 U.S.C. § 251(c)(3) of the Act when the virtually collocated telecommunications equipment (hereafter referred to as equipment) is provided by the Collocator. 1.2 The Parties intend that this Appendix contain the sole and exclusive terms and conditions by which CLEC will obtain Virtual Collocation from SBC-13STATE pursuant to 47 U.S.C. § 251(c)(6). Except as may be specifically permitted by this Appendix, and then only to the extent permitted, CLEC and its affiliated entities hereby fully and irrevocably waive any right or ability any of them might have to purchase Virtual Collocation directly from any SBC-13STATE tariff, and agree not to so purchase or attempt to so purchase from any SBC-13STATE tariff that provides for 251(c)(6) Virtual Collocation. Without affecting the application or interpretation of any other provisions regarding waiver, estoppel, laches, or similar concepts in other situations, the failure of SBC-13STATE to enforce the foregoing (including if SBC-13STATE fails to reject or otherwise block applications for, or provides or continues to provide, 251(c)(6) Virtual Collocation under tariff to CLEC or any of its affiliated entities) shall not act as a waiver of any part of this Section, and estoppel, laches, or other similar concepts shall not act to affect any rights or requirements hereunder. At its option, SBC-13STATE may either reject any application or order for 251(c)(6) Virtual Collocation submitted under tariff, or without the need for any further contact with or consent from CLEC, SBC-13STATE may process any order for any 251(c)(6) Virtual Collocation submitted under tariff, as being submitted under this Appendix and, further, may convert any 251(c)(6) Virtual Collocation provided under tariff, to this Appendix, effective as of the later in time of the (i) Effective Date of this Agreement/Amendment, or (ii) the submission of the order by CLEC. 1.3 Upon request from a Collocator, SBC-13STATE will provide one of the following maintenance alternates for its Virtual Collocation offering: 1.3.1 In all of SBC-13STATE's premises, SBC-13STATE will offer Virtual Collocation wherein SBC-13STATE maintains and repairs the virtually collocated equipment consistent with the rates, terms and conditions as provided for in Sections 1 through 19 of this Appendix. 1.3.2 In Controlled Environmental Vault (CEV), huts and cabinets where Physical Collocation space is not available, a Collocator may opt for Virtual Collocation wherein the Collocator maintains and repairs the virtually collocated equipment as described in Section 15 following and consistent with the rates, terms and conditions as provided for throughout this entire Appendix. SBC-13STATE may at its option, elect to offer this maintenance alternative in one or more of its Central Offices, and in one or more of its CEVs, huts and cabinets where Physical Collocation space is available. As described in Section 15 , this maintenance alternative is contingent on the provision of a security escort paid for by the Collocator. In the event the FCC determines that SBC-13STATE may not require a security escort paid for by the Collocator, then this Virtual Collocation maintenance alternative as described in this Section and in Section 15 is null and void and all Virtual Collocation will be maintained as described in Section 1 above. 1.4 Virtual Collocation in the Central Office is available for interconnection with SBC-13STATE for the transmission and routing of Telephone Exchange Service and Exchange Access as well as SBC-13STATE provided Lawful UNEs. Virtual Collocation in CEVs, huts and cabinets is available for interconnection with SBC-13STATE provided UNEs. 1.5 Rates for the individual Lawful UNEs to which the Collocator wants to gain access using Virtual Collocation can be found in the Collocator's Agreement with SBC-13STATE. 1.6 A description of the rate categories applicable to Virtual Collocation for the purpose of interconnecting to SBC-13STATE within SBC-13STATE's Central Offices is contained in 19.36.1. (Rate Elements for SBC-13STATE Central Offices). A description of the rate categories applicable to Virtual Collocation for the purpose of interconnecting to SBC-13STATE within SBC-13STATE's CEVs, huts and cabinets is contained in 19.36.2 (Rate Elements for SBC-13STATE CEVs, huts and cabinets). 1.7 Virtual Collocation provides for Interconnection to SBC-13STATE for the Transmission and Routing of Telephone Exchange Service and Exchange Access, and for Interconnection with SBC-13STATE provided Lawful UNEs when the Equipment is Provided by the Collocator. 1.8 Virtual Collocation provides for interconnection between SBC-13STATE and the facilities of a virtual Collocator and is available for the transmission and routing of Telephone Exchange Service and Exchange Access in SBC-13STATE Central Offices and for interconnection with SBC-13STATE provided Lawful UNEs in SBC-13STATE Central Offices and CEVs, huts and cabinets. 1.9 Virtual Collocation is available at SBC-13STATE wire centers as specified in the National Exchange Carrier Association, Inc., tariff F.C.C. No. 4 and in SBC-13STATE CEVs, huts and cabinets. Upon request, SBC-13STATE will provide a listing of locations of SBC-13STATE’s CEVs, huts or Cabinets. 1.10 The rate elements provided in this Appendix are required when Collocator uses Virtual Collocation equipment to access Lawful UNEs. Such access is provided through cross connects purchased from the Agreement. Lawful UNEs including associated cross connects are obtained from the Agreement between the Collocator and SBC-13STATE. Cross connects associated with Lawful UNEs establish the circuit between the virtually collocated equipment, and these cross connects are the point at which services provided and purchased from the Agreement begin. Virtually collocated equipment is available as follows: 1.10.1 A Collocator shall purchase from the vendor the equipment to be virtually collocated subject to the provisions as set forth below and the equipment conforming to industry safety standards as described in SBC-13STATE’s Technical Publication https://clec.sbc.com/clec/. 1.10.2 In accordance with Section 251(c)(6) of the Act, the Collocator may collocate equipment for Virtual Collocation if such equipment is necessary for interconnection to SBC-13STATE under 47.U.S.C. § 251(c)(2) or accessing SBC-13STATE’s Lawful UNEs under 47.U.S.C. § 251(c) (3) of the FTA 96. For purposes of this Section, "necessary" means directly related to and thus necessary, required, or indispensable to interconnection or access to Lawful UNEs. Such uses are limited to interconnection to SBC-13STATE's network "for the transmission and routing of Telephone Exchange Service or Exchange Access," or for access to SBC-13STATE's Lawful UNEs "for the provision of a telecommunications service." 1.10.3 Equipment that may be collocated solely for these purposes includes: (1) transmission equipment including, but not limited to, optical terminating equipment and multiplexers; and (2) equipment being collocated to terminate basic transmission facilities pursuant to sections 64.1401 and 64.1402 of 47 C.F.R. (Expanded Interconnection) as of August 1, 1996. SBC-13STATE is not required nor shall it permit the collocation of stand-alone switches or enhanced services equipment. 1.10.4 In addition, SBC-13STATE voluntarily permits Collocator collocation of certain Multifunctional Equipment included in the definition of "advanced services equipment" in section 1.3.d of the SBC/Ameritech Merger Conditions. Under the SBC/Ameritech Merger Condition, "advanced services equipment" is defined as follows: "(1) DSLAMs or functionally equivalent equipment; (2) spectrum splitters that are used solely in the provision of Advanced Services; (3) packet switches and multiplexers such as ATMs and Frame Relay engines used to provide Advanced Services; (4) modems used in the provision of packetized data; and (5) DACS frames used only in the provision of Advanced Services. Spectrum splitters (or the equivalent functionality) used to separate the voice grade channel from the Advanced Services channel shall not be considered Advanced Services Equipment; any such splitters installed after the Merger Closing Date that are located at the Collocator premises shall be considered network terminating equipment." 1.10.5 SBC-13STATE does not allow collocation of other Multifunctional Equipment, except that SBC-13STATE will voluntarily allow collocation of REMOTE SWITCH MODULE (RSM) solely under the following conditions: (1) the REMOTE SWITCH MODULE (RSM) may not be used as a stand-alone switch; it must report back to and be controlled by a Collocator identified host switch and direct trunking to the REMOTE SWITCH MODULE (RSM) will not be permitted; (2) the REMOTE SWITCH MODULE (RSM) equipment must be used only for the purpose of interconnection with SBC-13STATE’s network for the transmission and routing of Telephone Exchange Service or Exchange Access or for access to SBC-13STATE’s Lawful UNEs for the provision of a telecommunications service. SBC-13STATE voluntarily will allow Collocator to collocate, on a non-discriminatory basis, other multi-functional equipment only if SBC-13STATE and Collocator mutually agree to such collocation. 1.10.6 For purposes of this Section, "Multifunctional Equipment" means equipment that has (1) functions that make the equipment "necessary for interconnection or access to Lawful UNEs" and (2) additional functions that are not "necessary" for these purposes. Such additional functions include, but are not limited to, switching and enhanced service functions. SBC-13STATE will not allow collocation of stand-alone switching equipment or any enhanced services equipment. 1.10.7 SBC-13STATE voluntarily allows Collocator to place ancillary equipment, including cross-connect and other simple frames, routers, portable test equipment, equipment racks and bays, and other ancillary equipment on a non-discriminatory basis only if SBC-13STATE and Collocator mutually agree to such placement, in SBC-13STATE's premises solely to support and be used with equipment that the Collocator has legitimately collocated in the same premises. 1.10.8 Pending the FCC's reasonably timely remand proceedings in accordance with the Court's Opinion in GTE Service Corporation v. FCC, No. 99-1176, 2000 U.S. App. LEXIS 4111 (D.C. Cir. March 17, 2000) ("GTE Opinion"), SBC-13STATE voluntarily will not disturb (1) equipment and (2) connection arrangements between different Collocators' equipment in an SBC-13STATE Eligible Premises, that prior to the May 11, 2000, effective date of the GTE Opinion, were (1) in place in SBC-13STATE or (2) requested by Collocator and accepted by SBC-13STATE on the same basis as under the FCC's original, pre-vacated Collocation Order (Deployment of Wireline Services Offering Advanced Telecommunications Capability, CC Docket No. 98-147, First Report and Order (FCC 99-48), 14 FCC Rcd 4761 (1999)). SBC-13STATE’s agreement not to disturb these collocation arrangements pending timely completion of the remand proceedings will immediately expire if a federal or state court or regulatory agency attempts to apply any of the most favored nation provisions of the Act, of any state Merger Conditions, or of the FCC SBC/Ameritech Merger Conditions to such arrangements or deems such arrangements to be discriminatory vis-à-vis other carriers. 1.10.9 All types of network equipment placed in SBC-13STATE network equipment areas of Eligible Structures by SBC-13STATE or Collocator must meet SBC-13STATE minimum safety standards. The minimum safety standards are as follows: (1) Collocator’s equipment must meet Telcordia Level 1 safety requirements as set forth in Telcordia documents SR-3580 and GR-63-CORE, Network Equipment Building Systems (NEBS); or, (2) Collocator must demonstrate that its equipment has a history of safe operation defined by installation in an ILEC (including SBC-13STATE) prior to January 1, 1998 with no known history of safety problems. The Collocator will be expected to conform to the same accepted procedures and standards utilized by including SBC-13STATE and its contractors when engineering and installing equipment. 1.10.10 In the event that SBC-13STATE denied Collocation of Collocator's equipment, citing Safety Standards, SBC-13STATE will provide within five (5) business days of Collocator's written request to SBC-13STATE representative(s), a list of SBC-13STATE equipment placed since January 1, 1998 within the network areas of the Eligible Premise for which Collocation was denied together with an affidavit attesting that all of such SBC-13STATE equipment met or exceeded the then current Safety Standards when such equipment was placed in the Eligible Premise. 1.10.11 In the event SBC-13STATE believes that collocated equipment is not necessary for interconnection or access to Lawful UNEs or determines that the Collocator’s equipment does not meet the minimum safety standards, the Collocator must not collocate the equipment unless and until the dispute is resolved in its favor. The Collocator will be given ten (10) business days to comply with the requirements and/or remove the equipment from the collocation space if the equipment already improperly was collocated. If the Parties do not resolve the dispute pursuant to the dispute resolution procedures set forth in the Agreement, SBC-13STATE or Collocator may file a complaint at the Commission seeking a formal resolution of the dispute. If it is determined that the Collocator's equipment does not meet the minimum safety standards above, the Collocator must not collocate the equipment and will be responsible for removal of the equipment and all resulting damages if the equipment already was collocated improperly. 1.10.12 Regarding safety, Collocator equipment or operating practices representing a significant demonstrable technical or physical threat to SBC-13STATE's personnel, network or facilities, including the Eligible Structure, or those of others are strictly prohibited. Regarding safety, and notwithstanding any other provision hereof, the characteristics and methods of operation of any equipment or facilities placed in the Virtual Collocation space shall not create hazards for or cause damage to those facilities, the Virtual Collocation space, or the Eligible Structure in which the Virtual Collocation space is located; impair the privacy of any communications carried in, from, or through the Eligible Structure in which the Virtual Collocation space is located; or create hazards or cause physical harm to any individual or the public. Any of the foregoing would be in violation of this Appendix. Disputes regarding proper implementation of operating practices or technical standards may be resolved under the standards of Sections 1.12.3 of this Appendix. 1.11 A Collocator may arrange for a mutually agreed upon vendor/contractor to engineer and install the virtually collocated equipment the Collocator purchases and the Collocator may pay the vendor/contractor directly. The installation contractor and their activity will be under the direction and control of Collocator who will ensure that the installation contractor meets all standards and requirements for installation of equipment, as required under this Appendix. If SBC-13STATE chooses to have its personnel present when the CLEC equipment is installed, then SBC-13STATE’s presence will be at its own expense. However, if SBC-13STATE demonstrates that the CLEC contractor has or would have violated any standard or requirement for installation of equipment, as required under this Appendix, the CLEC is responsible for the quantifiable expense incurred by SBC-13STATE. 1.12 Federal Telecommunications Act of 1996 (the “Act”) 1.12.1 SBC-13STATE provides Virtual Collocation for interconnection to SBC-13STATE for the transmission and routing of Telephone Exchange Service and Exchange Access pursuant to 47 U.S.C. § 251(c)(2), and for access to SBC-13STATE’s Lawful UNEs pursuant to 47 U.S.C. § 251(c)(3). 1.12.2 The use of Virtual Collocation for (1) interconnection to SBC-13STATE or (2) access to SBC-13STATE’s Lawful UNEs, in either case pursuant to 47 U.S.C. § 251(c), is available at SBC-13STATE wire centers as specified in the National Exchange Carrier Association, Inc., tariff F.C.C. No. 4, and in SBC-13STATE CEVs, huts and cabinets. 1.12.3 In addition, the following terms and conditions contained in the SBC-13STATE’s Physical Collocation Appendix shall apply to Virtual Collocation arrangements provided under this Appendix, and are incorporated herein by reference: Section 2-Definitions, Section 3-Limitation of Liability and Force Majeure Events, Section 4.5-Casualty Loss, Section 5.1- Certification, Section 5.5-Hazardous Waste & Materials, Section 5.6-Safety, Section 6.5-Cancellation Prior to Due Date, Section 6.6-Billing, Section 6.7- Late Payment Charge, Section 6.8- Allowance for Interruptions, Section 9.4-Threat to Personnel, Network, or Facilities, Section 9.5-Interference or Impairment, Section 9.7-Alterations, Section 11-Re-entry. 2. DEFINITIONS 2.1 Act - “Act” means the Communications Act of 1934 [47 U.S.C. 153(R)], as amended by the Telecommunications Act of 1996, Public Law 104-104, 110 Stat. 56 (1996) codified throughout 47 U.S.C. 2.2 Active Collocation Space – Denotes the space within an Eligible Structure that can be designated for Physical Collocation which has sufficient telecommunications infrastructure systems, including power. Space within CEVs, huts and cabinets and similar Eligible Structures that can be designated for Physical Collocation is considered to be Active Collocation Space. 2.3 Adjacent Off-site Arrangement – Where Physical Collocation space within SBC-13STATE Eligible Structure is Legitimately Exhausted, and the Collocator’s Adjacent On-site space is not within 50 ft. of the Eligible Structure’s outside perimeter wall, the Collocator has the option and SBC-13STATE shall permit an Adjacent Structure Off-site Arrangement, to the extent technically feasible. The Adjacent Off-site Arrangement is available if the Collocator’s site is located on a property that is contiguous to or within one standard city block of SBC-13STATE’s Central Office or Eligible Structure. 2.3.1 Such arrangement shall be used for interconnection or access to Lawful UNEs. When the Collocator elects to utilize an Adjacent Off-site Arrangement, the Collocator shall provide both the AC and DC power required to operate such facility. The Collocator may provide its own facilities to SBC-13STATE’s premises or to a mutually agreeable meet point from its Adjacent Off-site location for interconnection purposes. The Collocator may subscribe to facilities available in the UNE rate schedule of the Collocator’s Agreement. The rates established in this Appendix for Adjacent Off-site Arrangement apply only if Collocator’s Adjacent off-site Arrangement is located on a property that is contiguous to or within one standard city block of SBC-13STATE’s Central Office or Eligible Structure. 2.3.2 At the time the Collocator requests this arrangement, the Collocator must provide information as to the location of the Adjacent Off-site facility, the proposed method of interconnection, and the time frame needed to complete provisioning of the arrangement. SBC-13STATE shall provide a response to Collocator within ten (10) days of receipt of the application, including a price quote, provisioning interval, and confirmation of the manner in which the Adjacent Off-site Facility will be interconnected with SBC-13STATE’s facilities. SBC-13STATE shall make best efforts to meet the time intervals requested by Collocator and, if it cannot meet the Collocator’s proposed deadline, shall provide detailed reasons, as well as proposed provisioning intervals. 2.3.3 In the event that interior space in an Eligible Structure becomes available, SBC-13STATE will provide the option to the Collocator to relocate its equipment from an Adjacent or an Adjacent Off-site Facility into the interior space. In the event the Collocator chooses to relocate its equipment into the interior space, appropriate charges applicable for collocation within the Eligible Structure will apply. 2.4 Adjacent Structure - A Collocator-provided structure placed on SBC-13STATE property (Adjacent On-site) or non-Company property (Adjacent Off-site) adjacent to an Eligible Structure. This arrangement is only permitted when space is legitimately exhausted inside the Eligible Structure and to the extent technically feasible. SBC-13STATE and telecommunications carrier will mutually agree on the location of the designated space on SBC-13STATE premises where the adjacent structure will be placed. SBC-13STATE will not unreasonably withhold agreement as to the site desired by Collocator. 2.5 Augment - A request from a Collocator to add equipment and/or cable to an existing Physical Collocation arrangement. 2.6 Custom Work Charge – Denotes the charge(s) developed solely to meet the construction requirements of the Collocator, (e.g., painting a cage). Custom work may not be charged to Collocator for any work performed which will benefit or be used by SBC-13STATE or other collocators. SBC-13STATE also may not impose a Custom Work Charge without the Collocator’s approval and agreement that the custom work is not included in the provision of collocation as provided for in the rate elements contained in this Appendix. In the event an agreement between the Collocator and SBC-13STATE is not reached regarding the Custom Work Charge, SBC-13STATE shall complete construction of the Collocator’s space pending resolution of the issue by the the appropriate Commission and the Collocator may withhold payment for the disputed charges while the issue remains unresolved; however, any disputed Custom Work Charges paid by the Collocator or owed to SBC-13STATE shall accrue interest at the rate established by the appropriate Commission. All Custom Work Charges that are approved by the the appropriate Commission will be the basis for calculating a refund to a Collocator that has overpaid or the amount due to SBC-13STATE that was not paid or underpaid. These overpaid or underpaid amounts will accrue at the above-stated interest rate on a monthly basis from the date of completion of the work or the date of payment of the disputed amount, as appropriate. In the event that the requested work will benefit all or most collocators, such work shall not be considered custom work; instead, SBC-13STATE shall file the appropriate interconnection agreement amendment. However, SBC-13STATE shall not delay completion of such work during the agreement approval process. SBC-13STATE shall perform such work based upon provisional rates, subject to true up. 2.7 Day – For purposes of application and/or installation intervals, “day” denotes calendar days unless otherwise specified. However, any time period equal to or less than five days, day denotes business day. 2.8 Dedicated Space - Denotes the space dedicated for the Collocator’s Physical Collocation arrangement located in SBC-13STATE Eligible Structure. 2.9 Eligible Structure - Eligible Structure refers to SBC-13STATE's Central Offices and serving wire centers, as well as all buildings or similar structures owned or leased by SBC-13STATE that house its network facilities, and all structures that house SBC-13STATE's facilities on public rights-of-way, including but not limited to vaults containing loop concentrators or similar structures. 2.10 Infrastructure Systems - The structural components, such as floors capable of supporting equipment loads, heating, ventilating and air conditioning (HVAC) systems, electrical systems, power, high efficiency filtration, humidity controls, remote alarms, compartmentation and smoke purge. 2.11 Legitimately Exhausted – Denotes when all space in a Central Office (CO) or other Eligible Structure that can be used to locate telecommunications equipment in any of the methods of collocation available under this Appendix is exhausted or completely occupied. Before SBC-13STATE may make a determination that space in an Eligible Structure is legitimately exhausted, SBC-13STATE must have removed all unused obsolete equipment from the Eligible Structure and made such space available for collocation; however, removal of the equipment shall not cause a delay in SBC-13STATE’s response to a Collocator’s application or in provisioning collocation arrangements. The determination of exhaustion is subject to dispute resolution as provided in Section 6.2 of this Appendix. In making this determination, SBC-13STATE may reserve space for transport equipment for current year plus two years. Additionally, SBC-13STATE may not reserve space for equipment for itself, or advanced or interLATA services affiliates or other affiliates of SBC-13STATE or for future use by SBC-13STATE or its affiliates under conditions that are more favorable than those that apply to other telecommunications carriers seeking to reserve collocation space for their own use. SBC-13STATE may reserve space for Switching, Power, Main Distribution Frame (MDF), and Digital Cross Connect System (DCS)) up to anticipated Collocator growth over a 10-year life expectancy of the ultimate footprint of the equipment. 2.12 Other (Inactive) Collocation Space - Denotes the space within the Central Office that can be designated for Physical Collocation where infrastructure systems do not currently exist and must be constructed. The designation of Other (Inactive) Collocation Space is applicable to space within Central Offices only; other Eligible Structures such as CEVs, huts, and vaults are considered Active Collocation Space for purposes of this Appendix. 2.13 Preparation Charges - Denotes those charges associated with the initial preparation of the Collocator’s Dedicated Space. 2.14 Technically Feasible - A collocation arrangement is technically feasible if, in accordance with either national standards or industry practice, there is no significant technical impediment to its establishment. A rebuttable presumption that a collocation arrangement is technically feasible shall arise if the arrangement has been deployed by any incumbent local exchange carrier in the country. 2.15 Telecommunications Infrastructure Space – Denotes the square footage or linear footage of space, including common areas, used to house telecommunications infrastructure equipment necessary to support collocation space used for interconnection with or access to Lawful UNEs of SBC-13STATE’s network. 3. PROVISIONING 3.1 Virtual Collocation for Interconnection to SBC-13STATE or access to SBC-13STATE provided Lawful UNEs is ordered as set forth in SBC-13STATE’s Interconnector's Collocation Services Handbook at https://clec.sbc.com/clec/ for Virtual Collocation in 13-STATES. SBC-13STATE will designate the location or locations within its wire centers, CEVs, huts and cabinets for the placement of all equipment and facilities associated with Virtual Collocation. Virtual Collocation does not involve the reservation of segregated Central Office or CEV, hut and Cabinet space for the use of Collocator. 3.2 SBC-13STATE will provide Virtual Collocation for comparable equipment as it provides to itself in the Central Office, wire center, CEV, hut or Cabinet, as the case may be. 4. COLLOCATOR RESPONSIBILITIES 4.1 The Collocator will provide, under this Section of this Appendix, at its expense, all facilities and equipment required to facilitate interconnection and access to SBC-13STATE’s Lawful UNEs. The Collocator will, at its expense, provide the following: 4.1.1 All plug-ins and/or circuit packs (working, spare, and replacements), 4.1.2 All unique tools and test equipment, 4.1.3 Any ancillary equipment and cabling used for remote monitoring and control, 4.1.4 Any technical publications and updates associated with all Collocator-owned and provided equipment, 4.1.5 All training as described in Section 14.4.16. 4.2 The Collocator will provide, at its expense, replacements for any recalled, obsolete, defective or damaged facilities, equipment, plug-ins, circuit packs, unique tools, test equipment, or any other item or material provided by the Collocator for placement in/on SBC-13STATE property. Suitable replacements are to be immediately provided to SBC-13STATE to restore equipment. 4.3 The Collocator will provide at least the minimum number of usable equipment spares specified by the manufacturer. Replacements must be delivered to SBC-13STATE Central Office using the equipment spare within five (5) days of notification that a spare was used or tested defective. 5. COOPERATIVE RESPONSIBILITIES 5.1 SBC-13STATE will work cooperatively with the Collocator to develop implementation plans including timelines associated with: 5.1.1 Placement of Collocator’s fiber into the Central Office vault, 5.1.2 Location and completion of all splicing, 5.1.3 Completion of installation of equipment and facilities, 5.1.4 Removal of above facilities and equipment, 5.1.5 To the extent known, the Collocator can provide forecasted information to SBC-13STATE on anticipated additional Virtual Collocation requirements, 5.1.6 To the extent known, the Collocator is encouraged to provide SBC-13STATE with a listing of the equipment types that they plan to virtually collocate in SBC-13STATE’s Central Offices or CEVs, huts and cabinets. This cooperative effort will insure that SBC-13STATE personnel are properly trained on Collocator equipment. 6. INTERVALS AND PROVISIONING 6.1 Quote Intervals 6.1.1 Upon receipt of the Collocator’s application and initial Planning Fee payment, SBC-13STATE will begin development of the quotation. SBC-13STATE will notify the Collocator as to whether its request for a Virtual Collocation arrangement has been granted or denied due to a lack of interconnection facilities or space within ten (10) calendar days of submission of the completed application. 6.1.2 In responding to an application request, SBC-13STATE shall provide the quotation of the applicable nonrecurring and recurring rates, and the estimated construction interval no later than as specified below. The Collocator has forty-five (45) calendar days from receipt of the quotation to accept the quotation. The quotation expires after forty-five (45) calendar days. After forty-five (45) calendar days, a new application and Planning Fee are required. 6.1.3 Price quote intervals are as follows and will run concurrent with the ten (10) calendar day notification interval for availability of Virtual Collocation interconnection: Number of Applications By One Collocator; Quotations Interval. 1 - 5 6 - 10 11 - 15 16 – 20; 10 Calendar Days 15 Calendar Days 20 Calendar Days 25 Calendar Days. 6.1.4 Should the Collocator submit twenty-one (21) or more applications within five (5) business days, the quotation interval will be increased by five (5) business days for every five (5) additional applications or fraction thereof. Any material revision to an application will be treated as a new application and will be subject to the time intervals set forth above. 6.1.5 A Collocator may obtain a shorter quote interval by scheduling a meeting with SBC-13STATE at least twenty (20) calendar days prior to submission of the first application to discuss, coordinate and prioritize the Collocator applications. 6.1.6 Once SBC-13STATE has completed its review of the Virtual Collocation application form inquiry, the entire completed quote package will be forwarded to the potential Collocator in writing with a cover letter. The Collocator has forty-five (45) calendar days to remit a signed confirmation form along with a check for fifty percent (50%) of all the applicable nonrecurring charges. 6.1.7 If the Collocator fails to respond within the forty-five (45) calendar day interval, should the Collocator decide at a later time to proceed with Virtual Collocation, a new application and Planning Fee will be required. 6.2 Implementation Intervals 6.2.1 A Virtual Collocation arrangement is not reserved until the quotation is accepted. When the quotation is accepted, unless otherwise mutually agreed to by the Parties in writing, SBC-13STATE will allow the Collocator’s vendor to begin equipment installation no later than ninety (90) calendar days from acceptance of the quotation. The Virtual Collocation interval ends when roughed in, unterminated DC power and interconnection cabling is provided to the Virtual Collocation area. 6.2.2 The construction intervals for Virtual Collocation arrangements are noted in Table 2-1. For Virtual Collocation in Active Collocation Space where the Collocator is requesting maximum DC Power of fifty (50) amps, either in a single or in multiple feeds of fifty (50) amps (maximum fifty (50) amps per feed), the Virtual Collocation construction intervals remain as stated below. For Virtual Collocation in Active Collocation Space where a Collocator is requesting DC Power that exceeds fifty (50) amps from a single source (e.g., 100 amps) per feed, the construction interval is ninety (90) calendar days. These same construction intervals apply for Virtual Collocation in Eligible Structures such as CEVs (Vaults), huts and cabinets. 6.2.3 When the quotation is accepted, unless otherwise mutually agreed to by the Parties in writing, the construction intervals for virtual are as follows: Table 2-1 Type; Description; Interval; Exception. Virtual Virtual; Active Collocation space Active Collocation space; 90 calendar days 90 calendar days; With SBC-13STATE installation of bay/sracks/frames With CLEC installation of bay/sracks/frames. 6.2.4 Where space is not suitable for Central Office equipment (e.g., it is not Active collocation space), SBC-13STATE shall have an additional thirty (30) calendar days to prepare the space. Virtual Collocation space is not reserved until the quotation is accepted. 6.2.5 When the quotation is accepted unless otherwise mutually agreed to by the Parties in writing, SBC-13STATE will complete construction of Active Collocation Space requests for Virtual Collocation in ninety (90) calendar days from the receipt of the Collocator’s acceptance of the quotation where power is available and the Collocator is installing all of its own bays. The Virtual Collocation construction interval ends when roughed in, unterminated DC power and interconnection cabling is provided to the collocation area. SBC-13STATE will complete construction of Active Collocation Space requests for Virtual Collocation in ninety (90) calendar days from the receipt of the Collocator’s acceptance of the quotation where SBC-13STATE will be installing all or some of the bays. SBC-13STATE considers power to be available if sufficient power plant capacity exists, the Battery Distribution Fuse Bay (BDFB) (if used) is within 100 feet of the Collocator’s space and sufficient termination capacity on the power plant and/or Battery Distribution Fuse Bay (BDFB) exists. 6.2.6 If a completion date outside the time period required herein is not agreed to by the Parties and not resolved through the Agreement’s dispute resolution procedures, the issue may be presented by either Party to the appropriate Commission for determination. 6.3 Installation of Virtual Collocation Equipment 6.3.1 SBC-13STATE does not assume any responsibility for the design, engineering, testing, or performance of the end-to-end connection of the Collocator’s equipment, arrangement, or facilities. 6.3.2 SBC-13STATE will be responsible for using the same engineering practices as it does for its own similar equipment in determining the placement of equipment and engineering routes for all connecting cabling between collocation equipment. 6.3.3 In this arrangement, telecommunications equipment (hereafter referred to as equipment) is furnished by the Collocator and engineered and installed by a mutually agreed upon vendor for the Collocator. The Collocator will have the authority to select installation vendors. All installations of equipment will be in accordance with the Collocator-provided installation design and must comply with manufacturer’s specifications and applicable published national standards approved by the FCC, and other governmental authorities that have jurisdiction. 6.3.4 The Collocator and SBC-13STATE must jointly accept the installation of the equipment and facilities prior to the installation of any services using the equipment. As part of this acceptance, SBC-13STATE will cooperatively test the collocated equipment and facilities with the Collocator. 6.3.5 SBC-13STATE will provide a Telephone Inventory Record Keeping System (TIRKS) and/or SWITCH print out of Actual Point of Termination/Connection Facilities Assignment (APOT/CFA) to the CLEC at collocation space turnover. This information is used to request access and line sharing services. The CLEC is responsible for payment of all non-recurring charges, where applicable, prior to receiving APOT/CFA information. 6.4 Revisions 6.4.1 All Revisions to an initial request for a Virtual Collocation arrangement submitted by the Collocator must be in writing via a new application form. 6.4.1.1 Major Revisions include: - adding telecommunications equipment that requires additional electrical power - adding additional Collocator bays or equipment that impact the existing/proposed floor-space area provided to the Collocator in their quote package. 6.4.1.1.1 If the revision is major, a new interval for the Virtual Collocation arrangement will be established which shall not exceed two months. 6.4.1.2 Minor Revisions include: - adding bays of equipment that do not significantly impact the existing/proposed electrical systems - adding light fixtures and outlets which do not exceed the capacity of the existing/proposed electrical system - adjustments to the heat release projection which do not cause a change in the proposed/existing mechanical system 6.4.1.2.1 However, minor revisions will not require that a new interval be established. No additional Planning Fees shall be applicable if the revision is minor. 6.4.1.2.2 This list is not all-inclusive. Any revisions to the Collocator’s application not specified above must be reviewed by SBC-13STATE to determine whether the revision is major or minor. 6.5 Augments 6.5.1 In order to request an augment, the Collocator must submit a Virtual Collocation Application Form to SBC-13STATE Collocation Service Center (CSC) indicating in Section 3 of the application that this is an “Augmentation to an Existing Arrangement.” The price quote will contain the charges and the construction interval for that application. 6.5.2 SBC-13STATE will work cooperatively with Collocator to negotiate mutually agreeable implementation intervals for augments. 7. EQUIPMENT PROVISIONING 7.1 The Collocator will arrange to deliver to SBC-13STATE Central Office where the equipment is located a reasonable number, as recommended by the manufacturer, of all appropriate plug-ins, circuit packs and cards and any other equipment, plus all necessary circuit design and provisioning information on an agreed-upon date which is no later than two (2) business days prior to the scheduled turn-up of the Collocator’s equipment. 7.2 For the disconnection of circuits, the Collocator will provide all circuit information no later than two (2) business days prior to the scheduled disconnection of the Collocator’s circuit. 7.3 SBC-13STATE does not assume any responsibility for the design, engineering, testing, or performance of the end-to-end connection of the Collocator’s circuits. 8. REPAIR OF EQUIPMENT 8.1 Except in emergency situations, the Collocator-owned fiber optic facilities and Central Office terminating equipment will be repaired only upon the request of the Collocator. In an emergency, SBC-13STATE may perform necessary repairs without prior notification. The labor rates specified in Section 14.4.17 apply to SBC-13STATE Central Offices and SBC-13STATE CEVs, huts and cabinets and are applicable for all repairs performed by SBC-13STATE on the Collocator’s facilities and equipment. 8.2 When initiating repair requests on Collocator owned equipment, the Collocator must provide SBC-13STATE with the location and identification of the equipment and a detailed description of the trouble. 8.3 Upon notification by the Collocator and availability of spare parts as provided by the Collocator, SBC-13STATE will be responsible for repairing the Virtually Collocated equipment at the same standards that it repairs its own equipment. 9. MAINTENANCE OF EQUIPMENT 9.1 The Collocator will request any and all maintenance by SBC-13STATE on its Virtually Collocated facilities or equipment. When initiating requests for maintenance on collocated equipment, the Collocator must provide SBC-13STATE with the location and identification of the equipment and a detailed description of the maintenance requested. 9.2 Upon notification by the Collocator and availability of spare parts as provided by the Collocator, SBC-13STATE will be responsible for maintaining the Virtually Collocated equipment at the same standards that it maintains its own equipment. 10. ALARM COLLECTION 10.1 The Collocator has the ability to purchase its own remote monitoring and alarming equipment. 10.2 Since the maintenance of the Collocator’s equipment is at the direction and control of the Collocator, SBC-13STATE will not be responsible for responding to alarms and will only conduct maintenance and repair activities at the direction of the Collocator. 11. TERMINATION OF VIRTUAL COLLOCATION 12. RATE REGULATIONS 12.1 This Section contains specific regulations governing the rates and charges that apply to Virtual Collocation for the purpose of interconnecting to SBC-13STATE under section 251(c)(2) and for access to SBC-13STATE provided Lawful UNEs under 251(c)(3), when the Collocator provides the equipment. 12.2 There are two types of rates and charges that apply to the various rate elements for Virtual Collocation. These are non-recurring charges and monthly recurring rates. 12.3 Rates and charges specific to Virtual Collocation for interconnection with SBC-13STATE for the transmission and routing of Telephone Exchange Service and Exchange Access under section 251(c)(2), and for access to SBC-13STATE provided Lawful UNEs under 251(c)(3) in SBC-13STATE’s Central Offices are set forth on Atttachment 2 (Rates and Charges for SBC-13STATE Central Offices). Rates and charges specific to Virtual Collocation for access to SBC-13STATE provided Lawful UNEs in SBC-13STATE CEVs, huts and cabinets are set forth on the Collocation Rate Summary of this Appendix (Rates and Charges for SBC-13STATE CEVs, huts and cabinets). 12.4 Rate Elements for SBC-13STATE Central Offices Consistent with provisions in Section 6 of this Appendix, the following provides a list of the specific rate elements for Virtual Collocation for interconnection with SBC-13STATE for the transmission and routing of Telephone Exchange Service and Exchange Access, and for access to SBC-13STATE’s provided Lawful UNEs to be used in conjunction with Virtual Collocation in SBC-13STATE’s Central Offices. 12.4.1 Planning Fee 12.4.1.1 The Planning Fee recovers SBC-13STATE costs incurred to estimate the quotation of charges, project management costs, engineering costs, and other related planning activities for the Collocator’s request for a Virtual Collocation arrangement. The Planning Fee also provides for SBC-13STATE personnel to survey each requested location for availability of space for the placement of entrance cables as well as to determine floor space to physically place Collocator-designated equipment expressed as a non-recurring charge. The Planning Fee is applied on an initial and subsequent basis. The initial charge will apply to the Collocator’s request for a Virtual Collocation arrangement or the addition of cable. The subsequent planning charge will apply to any additional interconnection or power arrangements. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.2 Floor Space 12.4.2.1 This sub-element provides for the “occupancy” cost per bay framework associated with using the floor space in SBC-13STATE’s Central Offices expressed as a monthly rate. Charges for the sub-elements are specified on the Collocation Rate Summary of this Appendix . 12.4.3 Relay Rack (Optional) 12.4.3.1 This sub-element provides the cost per Standard Bay relay rack when provided by SBC-13STATE expressed as a monthly rate. SBC-13STATE's Standard Bay dimensions are 7' 0" high, and have a 23" interior width, 25" exterior width, and up to 15" deep. In those cases where an individual relay rack and associated floor space are shared by SBC-13STATE and the Collocator or among Collocators, the floor space and relay rack associated will be apportioned on a quarter rack basis. When the standard bay relay rack is provided by the Collocator, this rate element will not apply. Charges for this element are specified on the Collocation Rate Summary of this Appendix . 12.4.4 Common Systems Materials 12.4.4.1 This sub-element provides the infrastructure installation and maintenance of ironwork, racking, and lighting above the equipment bays. Charges for the sub-elements are specified on the Collocation Rate Summary. The common systems sub-element is distinct for standard and non-standard. In those cases where common systems materials for an individual relay rack and associated floor space are shared with the Collocator or among Collocators, the common systems materials for the floor space and relay rack associated will be apportioned on a quarter rack basis. 12.4.5 Real Estate 12.4.5.1 These rate elements provide for SBC-13STATE to recover the costs associated with preparing the Eligible Structure for telecommunications equipment (Site Conditioning) and securing the space (Safety and Security). 12.4.5.2 Site Conditioning 12.4.5.2.1 Permits SBC-13STATE to recover costs associated with preparing space within the Eligible Structure for telecommunications equipment. The nonrecurring charge for this sub-element is specified on the Collocation Rate Summary of this Appendix 12.4.5.3 Safety and Security 12.4.5.3.1 Permits SBC-13STATE to recover costs associated with securing the telecommunications area used for Virtual Collocation. The nonrecurring charge for this sub-element is specified on the Collocation Rate Summary of this Appendix . 12.4.6 Entrance Fiber Optic Arrangement 12.4.6.1 This sub-element provides for SBC-13STATE pulling and splicing fiber cable between the manhole and cable vault, and the subsequent routing of fiber riser cable between the cable vault and Fiber Distribution Frame (FDF). (Note: virtually collocated equipment may also be connected to dedicated transport facilities provided as Lawful UNEs in lieu the entrance fiber. When Virtually Collocated Equipment is connected to dedicated transport facilities in lieu of the entrance fiber, the terms, conditions and charges for such dedicated transport facilities are pursuant to the Agreement. No recurring or non-recurring charges for dedicated transport facilities provided as used are applicable pursuant to this Appendix). Charges for this rate element are on the Collocation Rate Summary of this Appendix. 12.4.6.2 Entrance Conduit, per sheath 12.4.6.2.1 This sub-element represents any reinforced passage or opening in, on, under, over or through the ground between the first manhole and the cable vault through which the fiber optic cable is placed. Charges for this element are specified on the Collocation Rate Summary of this Appendix. 12.4.7 DC Power Arrangement Provisioning 12.4.7.1 This sub-element is the cable and cable rack including support and fabrication material necessary to support the virtually collocated equipment expressed as a monthly rate for either 2-20 AMP feeds or 2-50 AMP feeds. Fuse panels necessary for terminating power feeds at the Collocator’s equipment bay are provided by the Collocator. In the event that a Collocator requires a power arrangement that exceeds 50 AMPS from a single source, SBC-13STATE will cooperatively work with the Collocator using comparable rate elements as the basis for such arrangements. Cable sizing is based on List 2 design loads. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.8 DC Power Amperage Charge 12.4.8.1 DC Power per AMP 12.4.8.1.1 This is a monthly recurring charge which is determined by multiplying the per DC amp rate by the total amount of DC amps provided over one of the two power feeds ordered by the Collocator for its power arrangement. By way of example, where CLEC orders DC Power in a 20-amp increment, it will be considered to have ordered two 20-amp power feeds and SBC will provision two (2) twenty (20) AMP DC power leads that have been fused (for a combined total of forty (40) AMPs),but SBC shall only bill CLEC the monthly recurring charge applicable to DC Power for a total of twenty (20) AMPs. The DC power charge per amp consists of the use of: DC power plant, backup generator, batteries & rectifiers, Battery Distribution Fuse Bay (BDFB), associated hardware & cabling, and AC energy to convert to DC power. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.8.2 Heating, Ventilating, and Air Conditioning (HVAC) 12.4.8.2.1 This sub-element consists of the elements necessary to provide HVAC within the Eligible Structure to the collocation arrangement and is based on the heat dissipation required for each 10 AMPS of DC Power. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix . 12.4.8.3 Ground Cable Arrangement 12.4.8.3.1 The Ground Cable Arrangement is the cabling arrangement designed to provide grounding for equipment per frame expressed as a monthly rate. Separate Ground Cable Arrangements are required for Integrated and Isolated Ground Planes. Charges for this element are specified on the Collocation Rate Summary of this Appendix. 12.4.9 DS0 Voice Grade Interconnection Cable Arrangement 12.4.9.1 This sub-element provides for the cost associated with providing DS0 voice grade (100 pairs) non-shielded or shielded between SBC-13STATE’s Distributing Frame and the virtually collocated equipment expressed as a combination of a non-recurring charge and a monthly rate. Charges for these sub-elements are specified on the Collocation Rate Summary of this Appendix . 12.4.10 DS-1 Interconnection Cable Arrangement to Digital Cross Connect System (DCS) 12.4.10.1 This sub-element provides for the cost associated with providing 28 DS-1 cabling arrangement between SBC-13STATE’s Digital Cross Connect System (DCS) functionality purchased from the Collocator’s Agreement and the virtually collocated equipment expressed as a combination of a non-recurring charge and a monthly rate. 12.4.10.2 Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.11 DS-1 Interconnection Cable Arrangement to Digital System Cross-Connect Frame (DSX) 12.4.11.1 This sub-element provides for the cost associated with providing 28 DS-1 cabling arrangement between SBC-13STATE’s Digital System Cross-Connect Frame (DSX) functionality purchased from the Collocator’s Agreement and the virtually collocated equipment expressed as a combination of a non-recurring charge and a monthly rate. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.12 DS-3 Interconnection Cable Arrangement to Digital Cross Connect System (DCS) 12.4.12.1 This sub-element provides for the cost associated with providing one DS-3 cabling arrangement between SBC-13STATE’s Digital Cross Connect System (DCS) functionality purchased from the Collocator’s Agreement and the virtually collocated equipment expressed as a combination of a non-recurring charge and a monthly rate. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.13 DS-3 Interconnection Cable Arrangement to Digital System Cross-Connect Frame (DSX) 12.4.13.1 This sub-element provides for the cost associated with providing one DS-3 cabling arrangement between SBC-13STATE’s Digital System Cross-Connect Frame functionality purchased from the Collocator’s Agreement and the virtually collocated equipment expressed as a combination of a non-recurring charge and a monthly rate. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix . 12.4.14 Fiber Interconnection Cable Arrangement 12.4.14.1 This sub-element provides for the cost associated with providing 12 fibers pairs between SBC-13STATE’s FDF and the virtually collocated equipment expressed as a combination of a non-recurring charge and a monthly rate. Charges for this sub-element are specified on the Collocation Rate Summary of this Appendix . 12.4.15 Timing Source Arrangement (Optional) 12.4.15.1 SBC-13STATE provided single signal from SBC-13STATE’s timing source to provide synchronization between a Collocator’s single network element and SBC-13STATE's equipment expressed as a recurring and non-recurring rate. Charges for this sub-element, if requested by the Collocator are specified on the Collocation Rate Summary of this Appendix . 12.4.16 Training 12.4.16.1 SBC-13STATE is responsible for determining when training is necessary and how many of SBC-13STATE’s employees require training to provide 24 hour a day, seven day a week coverage for the installation, maintenance and repair of Collocator's designated equipment not currently used in a wire center selected by the Collocator for Virtual Collocation. SBC-13STATE will be limited to request training for four (4) of SBC-13STATE’s personnel per location, unless a different number is mutually agreed upon by SBC-13STATE and Collocator. 12.4.16.2 The Collocator may have SBC-13STATE arrange for the required training of SBC-13STATE’s personnel. The non-recurring charges applicable for training are listed on the Collocation Rate Summary of this Appendix . 12.4.16.3 If SBC-13STATE chooses not to coordinate the required training, the Collocator will assume the responsibility for providing the training. It is then the responsibility of the Collocator to: 12.4.16.3.1 arrange and pay to the supplier all costs for training sessions, including the cost of the trainer(s), transportation and lodging of such trainer(s), and required course material, and 12.4.16.3.2 arrange and pay to each individual supplier all costs associated with lodging and other than domestic transportation, such as airfare, required for SBC-13STATE employee training. 12.4.16.3.3 arrange and pay all costs associated with SBC-13STATE employee(s) attendance at the training, including lodging and other than local transportation, such as airfare, and employee(s) labor rate for time away from the job, required for SBC-13STATE employee training. 12.4.16.4 SBC-13STATE will work cooperatively with the Collocator to schedule SBC-13STATE’s personnel training time required for the installation, maintenance and repair of the Collocator’s designated equipment. The Collocator will be assessed two hours of the technician additional labor charge for SBC-13STATE’s personnel time required to coordinate training activities with the Collocator. The Collocator will be responsible for reimbursement of applicable Company contractual compensation obligations for time spent as a result of the necessary training. All other charges, if applicable, specified in Collocation Rate Summary of this Appendix will be assessed to the Collocator. 12.4.17 Maintenance and Repair Labor Rates 12.4.17.1 Maintenance of Equipment 12.4.17.1.1 This rate element is a labor rate charged by SBC-13STATE to the Collocator for ongoing maintenance of the Collocator’s equipment. Any maintenance requirements will be initiated by the Collocator. Labor rates are based upon a 1/4 hour basis and are dependent upon day of week and time of day. 12.4.17.1.2 For purposes of this Appendix, normal weekday is defined as 8:00 a.m. through 5:00 p.m., Monday through Friday, excluding holidays. Non-recurring charges for this sub-element are specified on the Collocation Rate Summary of this Appendix . 12.4.17.2 Repair of Equipment 12.4.17.2.1 This rate element is a labor rate charged by SBC-13STATE to the Collocator for repair of the Collocator’s equipment. All repair will be at the direction of the Collocator. 12.4.17.2.2 Labor rates are based upon a charge for Network Operations Center (NOC) personnel to take the trouble report, create a trouble ticket, and dispatch a technician. Labor rates for actual repair of the trouble are based upon a 1/4 hour basis and are dependent upon day of week and time of day. 12.4.17.2.3 For purposes of this Appendix, normal weekday is defined as 8:00 a.m. through 5:00 p.m., Monday through Friday excluding holidays. Non-recurring charges for this sub-element are specified on the Collocation Rate Summary of this Appendix. 12.4.18 Collocation-to-Collocation Connection This rate element includes virtual-to-virtual, and virtual-to-physical connection options. 12.4.18.1 Fiber Cable (12 Fiber Pair) 12.4.18.1.1 This sub-element provides for direct cabling using fiber cable (12 fibers pairs) between two collocation arrangements at an Eligible Structure. This sub-element is expressed as a combination of a non-recurring charge and a monthly rate and these charges are specified on the Collocation Rate Summary of this Appendix. 12.4.18.2 Copper Cable (28 DS1s) 12.4.18.2.1 This sub-element provides for direct cabling using copper cable (28 DS1s) between two collocation arrangements at an Eligible Structure. This sub-element is expressed as a combination of a non-recurring charge and a monthly rate and these charges are specified on the Collocation Rate Summary of this Appendix. 12.4.18.3 Coax Cable (1 DS3) 12.4.18.3.1 This sub-element provides for direct cabling using coaxial cable (1 DS3) between two collocation arrangements at an Eligible Structure. This sub-element is expressed as a combination of a non-recurring charge and a monthly rate and these charges are specified on the Collocation Rate Summary of this Appendix. 12.4.18.4 Cable Racking and Hole 12.4.18.4.1 This sub-element provides for cable rack space and hole for copper, coax and optical cabling between two collocation arrangements at an Eligible Structure. This sub-element is expressed as a monthly rate specified on the Collocation Rate Summary of this Appendix. 12.4.18.5 Route Design 12.4.18.5.1 This sub-element provides the route design for collocation-to-collocation connections. This sub-element is expressed as a non-recurring charge and this charge is specific on the Collocation Rate Summary of this Appendix. 12.4.19 Equipment Evaluation Cost 12.4.19.1 This rate element is a labor rate charged by SBC-13STATE to the Collocator for evaluating the Collocator's equipment when not meeting Level 1 Safety requirements as set forth in Telcordia Network Equipment - Building Systems (NEBS). Charges for this element are specified on the Collocation Rate Summary of this Appendix. 12.4.20 Test and Acceptance 12.4.20.1 This rate element is a labor rate charged by SBC-13STATE to the Collocator for cooperative assisting the Collocator's approved vendor in testing and accepting the installed virtually collocated equipment. Charges for this element are specified on the Collocation Rate Summary of this Appendix. 12.5 Rate Elements for SBC-13STATE’s CEVs, huts and cabinets The following provides a list of the specific rate elements for Virtual Collocation for access to SBC-13STATE’s provided Lawful UNEs in SBC-13STATE’s CEVs, huts and cabinets. 12.5.1 Entrance Cable Fiber 12.5.1.1 This sub-element provides for the engineering of a point of appearance cable termination, preparation of work order drawings, postings of the work order and cable data in the appropriate databases for inventory and provisioning purposes, excavation to expose existing subsurface facilities, pulling the Collocator-provided cable into the Eligible Structure, routing, securing and preparing the end for splicing or termination. 12.5.1.2 Charges for these sub-elements are specified on the Collocation Rate Summary of this Appendix. 12.5.2 Entrance Conduit 12.5.2.1 Any reinforced passage or opening placed for the Collocator provided facility in, on, under/over or through the ground between SBC-13STATE CEV, hut, or Cabinet and the Collocator structure. Rates and charges are as found on the Collocation Rate Summary of this Appendix. 12.5.3 DC Power Amperage Charge 12.5.3.1 This sub-element provides for the use of power in the hut, CEV, or cabinet based on the amount of mounting space that is used by the Collocator as measured in 2-inch increments. Charges for this sub-element are expressed as a recurring charge and can be found on the Collocation Rate Summary of this Appendix . 12.5.4 24-Foot CEV 12.5.4.1 This sub-element provides for the use of mounting space within a 24-foot CEV. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary of this Appendix. 12.5.5 16-Foot CEV 12.5.5.1 This sub-element provides for the use of mounting space within a 16-Foot CEV. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary of this Appendix. 12.5.6 Maxi-Hut 12.5.6.1 This sub-element provides for the use of mounting space within a maxi-hut. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary of this Appendix. 12.5.7 Mini-Hut 12.5.7.1 This sub-element provides for the use of mounting space within a mini-hut. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary of this Appendix. 12.5.8 Large Cabinet 12.5.8.1 This sub-element provides for the use of mounting space within a Large Cabinet. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary. 12.5.9 Medium Cabinet 12.5.9.1 This sub-element provides for the use of mounting space within a Medium Cabinet. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary of this Appendix. 12.5.10 Small Cabinet 12.5.10.1 This sub-element provides for the use of mounting space within a Small Cabinet. This element is expressed as a monthly rate. The charge for this sub-element is specified on the Collocation Rate Summary of this Appendix. 12.5.11 Project Coordination Fee 12.5.11.1 The project coordination fee provides for SBC-13STATE personnel to survey each requested CEV, Hut and Cabinet for availability of space for placement of copper or fiber cables as well as to determine space for any Collocator-designated equipment. This sub-element is expressed as a non-recurring charge and is specified on the Collocation Rate Summary of this Appendix. 13. ALTERNATIVE VIRTUAL COLLOCATION ARRANGEMENT DESCRIPTION 13.1 Virtual Collocation wherein the Collocator maintains and repairs the virtually collocated equipment. 13.2 For purposes of virtually collocating equipment, SBC-13STATE shall determine which Eligible Structures require access to CEVs, huts, or manholes containing concentrated cabling and other forms of equipment that requires drawings, schematics, or other engineering documents that aide in the prevention of accidental network outages. The drawings, schematics, or other engineering documents shall denote the location of the requesting Collocator’s equipment and cabling without disclosing identity of equipment and cabling belonging to SBC-13STATE and other Collocators. 13.3 After Collocator has been provided with written notification by SBC-13STATE that access to CEVs, huts, or manholes containing concentrated cabling and other forms of equipment requires drawings, schematics, or other engineering documents that aide in the prevention of accidental network outages, Collocator may not enter an Eligible Structures without obtaining updated copies of drawings, schematics, or other engineering documents. Upon request, SBC-13STATE shall immediately make available to Collocator those drawings, schematics, or other engineering documents that identify the location of the requesting Collocator’s equipment and cabling. In the event the requested documents are not immediately available, SBC-13STATE shall not prevent the Collocator from entering the Eligible Structure. If SBC-13STATE does not immediately make the requested documents available to a Collocator and the Collocator enters the Eligible Structure, SBC-13STATE shall deliver the requested documents to Collocator immediately upon locating same. 13.4 SBC-13STATE will provide a security escort with the Collocator paying the expense for the escort. SBC-13STATE will provide the security escort as soon as reasonably possible, or within the time frame agreed to by the Parties, at the time of notice. In the event the FCC determines that SBC-13STATE may not require a security escort paid for by the Collocator, then this Virtual Collocation maintenance alternative as described in this Section and in Section 1.24 of this Appendix is null and void, and all Virtual Collocation will be maintained by SBC-13STATE as described in Section 1.3 of this Appendix. 13.5 Prior to entering an Eligible Structure that requires drawings, schematics, or other engineering documents, Collocator must provide SBC-13STATE with reasonable notice of the entry. Notice will be provided to SBC-13STATE’s Local Operations Center, which will be available to receive notice twenty-four (24) hours a day, seven (7) days a week. Collocator providing notice to SBC-13STATE’s Local Operations Center must specify the title and date of all drawings, schematics, or other engineering documents that will be used while in the Eligible Structure. 13.6 The Collocator shall conduct background checks of the technicians who have access to the collocation space. Collocator technicians will be security qualified by the Collocator and will be required to be knowledgeable of SBC-13STATE security standards. Disciplinary procedures shall be established in accordance with Section 16.3 of this Appendix to ensure the safety and integrity of the Eligible Structure, including, e.g., procedures that require the responsible employee to be terminated for certain specified actions that damage or place the equipment of SBC-13STATE or other Collocators in jeopardy. 13.7 SBC-13STATE may use security devices, e.g., identification swipe cards, keyed access, and/or logs, as appropriate for the Eligible Structure where collocation will take place. 13.8 SBC-13STATE shall be permitted to recover the cost of such security devices from the Collocator in a reasonable manner. The Collocator shall provide indemnification and insurance to cover any damages caused by the Collocator’s technicians at a level commensurate with the indemnification and insurance provided by SBC-13STATE’s equipment suppliers with equivalent access. 13.9 Provisioning of equipment required for Virtual Collocation, e.g., power arrangements and interconnection arrangements will be provided in accordance with this Appendix. 14. OBLIGATIONS OF THE COLLOCATOR 14.1 Indemnification of SBC-13STATE 14.1.1 Except as otherwise provided, the indemnity provisions of the Agreement between SBC-13STATE and the Collocator shall apply and are incorporated herein by this reference. However, in no event will the provisions in this Section supersede or override the indemnification provisions contained in the Agreement between SBC-13STATE and Collocator. Additionally, in the event of a conflict between indemnification provisions in the Agreement and this Appendix, the provisions in the Agreement will control. 14.1.2 Collocator shall indemnify and hold harmless SBC-13STATE, the agents, employees, officers, directors and shareholders of any of them ("Indemnities"), from and against any and all liabilities, obligations, claims, causes of action, fines, penalties, losses, costs, expenses (including court costs and reasonable attorney's fees), damages, injuries, of any kind, (individually and collectively "Liabilities"), including but not limited to, Liabilities as a result of (a) injury to or death of any person; (b) damage to or loss or destruction of any property; or (c) Liabilities related in any manner to employee benefits, workers compensation, payroll tax, and any other employer obligations which may be asserted against SBC-13STATE where such liabilities arise in connection with Collocator's use of persons that it classifies as an independent contractor or subcontractor to perform obligations under this Appendix; (d) attachments, liens or claims of material persons or laborers arising out of or resulting from or in connection with this Appendix or the performance of or failure to perform and directly or indirectly caused, in whole or part, by acts of omissions, negligent or otherwise, of Collocator or a contractor or a representative of Collocator or an employee of any one of them, except to the extent such Liabilities arise from the negligence or willful or intentional misconduct of SBC-13STATE or its employees. The provisions in this Section are reciprocal and applicable also to SBC-13STATE. 14.1.3 SBC-13STATE shall make best efforts to promptly notify Collocator of any suit or other legal proceeding asserting a claim for Liabilities. Upon request, Collocator shall, at no cost or expense to the Indemnitee, defend any such suit or legal proceeding asserting a claim for Liabilities, and Collocator shall pay any costs and attorneys' fees that may be incurred by any Indemnitee in connection with any such claim, proceeding or suit. Collocator shall also (a) keep SBC-13STATE and any other Indemnitee subject to any such claim fully informed as to the progress of such defense, and (b) afford SBC-13STATE and such Indemnitee, each at its own expense, an opportunity to participate on an equal basis with Collocator in the defense or settlement of any such claim. 14.2 Insurance The Collocator agrees to maintain, at all times, the following minimum insurance coverages and limits and any additional insurance and/or bonds required by law: 14.2.1 Workers' Compensation insurance with benefits afforded under the laws of the State of SBC-13STATE and Employers Liability insurance with minimum limits of $100,000 for Bodily Injury-each accident, $500,000 for Bodily Injury by disease-policy limits and $100,000 for Bodily Injury by disease-each employee. 14.2.2 Commercial General Liability insurance with minimum limits of: $2,000,000 General Aggregate limit; $1,000,000 each occurrence sub-limit for all bodily injury or property damage incurred in any one occurrence; $1,000,000 each occurrence sub-limit for Personal Injury and Advertising; $2,000,000 Products/Completed Operations Aggregate limit, with a $1,000,000 each occurrence sub-limit for Products/Completed Operations. 14.2.2.1 Fire Legal Liability sub-limits of $300,000 are required for lease agreements. SBC-13STATE will be named as an Additional Insured on the Commercial General Liability policy. 14.2.3 If use of an automobile is required, Automobile Liability insurance with minimum limits of $1,000,000 combined single limits per occurrence for bodily injury and property damage, which coverage shall extend to all owned, hired and non-owned vehicles. All Risk Property coverage on a full replacement cost basis insuring all of Collocator’s personal property situated on or within the Eligible Structure. 14.2.4 Collocator releases SBC-13STATE from and waives any and all right of recovery, claim, action or cause of action against SBC-13STATE, its agents, directors, officers, employees, independent contractors, and other representatives for any loss or damage that may occur to equipment or any other personal property belonging to Collocator or located on or in the space at the request of Collocator when such loss or damage is by reason of fire or water or the elements or any other risks that would customarily be included in a standard all risk casualty insurance policy covering such property, regardless of cause or origin, including negligence of SBC-13STATE, its agents, directors, officers, employees, independent contractors, and other representatives. Property insurance on Collocator’s fixtures and other personal property shall contain a waiver of subrogation against SBC-13STATE, and any rights of Collocator against SBC-13STATE for damage to Collocator’s fixtures or personal property are hereby waived. Collocator may also elect to purchase business interruption and contingent business interruption insurance, knowing that SBC-13STATE has no liability for loss of profit or revenues should an interruption of service occur that is attributable to any Virtual Collocation arrangement provided under this Appendix. 14.2.5 SBC-13STATE requires that companies affording insurance coverage have a B+ VII or better rating, as rated in the A.M. Best Key rating Guide for Property and Casualty Insurance Companies. 14.2.6 A certificate of insurance stating the types of insurance and policy limits provided the Collocator must be received prior to commencement of any work. The insurance provisions and requirements are reciprocal to SBC-13STATE as well. If a certificate is not received, SBC-13STATE will notify the Collocator and the Collocator will have five (5) business days to cure the deficiency. 14.2.7 If the Collocator does not cure the deficiency within five (5) business days, Collocator hereby authorizes SBC-13STATE, and SBC-13STATE may, but is not required to, obtain insurance on behalf of the Collocator as specified herein. SBC-13STATE will invoice Collocator for the costs incurred to so acquire insurance. 14.2.8 The cancellation clause on the certificate of insurance will be amended to read as follows: "SHOULD ANY OF THE ABOVE DESCRIBED POLICIES BE CANCELLED OR MATERIALLY CHANGED, THE ISSUING COMPANY WILL MAIL 30 DAYS WRITTEN NOTICE TO THE CERTIFICATE HOLDER." 14.2.9 The Collocator shall also require all contractors who may enter the Eligible Structure to maintain the same insurance requirements listed above. 14.2.10 Self-insurance in lieu of the insurance requirements listed preceding shall be permitted if the Collocator 1) has a tangible net worth of Fifty (50) Million dollars or greater, and 2) files a financial statement annually with the Securities and Exchange Commission and/or having a financial strength rating of 4A or 5A assigned by Dun & Bradstreet. The ability to self-insure shall continue so long as the Collocator meets all of the requirements of this Section. If the Collocator subsequently no longer satisfies this Section, the coverage requirements described above shall immediately apply. 14.3 Conduct While in SBC-13STATE Eligible Structures 14.3.1 Collocator and SBC-13STATE will each establish disciplinary procedures up to and including dismissal or denial of access to the Eligible Structure and other property of SBC-13STATE for certain specified actions that damage, or place the equipment, facilities, or the network or the personnel of the Collocator or SBC-13STATE in jeopardy. The following are actions that could damage or place the Eligible Structure, or the network or the personnel of the Collocator or SBC-13STATE in jeopardy and may justify disciplinary action up to and including dismissal or the denial of access to the Eligible Structure and other property of SBC-13STATE: 14.3.1.1 Theft or destruction of SBC-13STATE's or Collocator's property; 14.3.1.2 Use/sale or attempted use/sale of alcohol or illegal drugs on SBC-13STATE’s property; 14.3.1.3 Threats or violent acts against other persons on SBC-13STATE’s property; 14.3.1.4 Knowing violations of any local, state or federal law on SBC-13STATE’s property; 14.3.1.5 Permitting unauthorized persons access to SBC-13STATE or Collocator's equipment on SBC-13STATE’s property; and 14.3.1.6 Carrying a weapon on SBC-13STATE’s property. 14.3.2 In addition, Collocator and SBC-13STATE will take appropriate disciplinary steps as determined by each Party to address any violations reported by SBC-13STATE or the Collocator of SBC-13STATE's policies and practices on security, safety, network reliability, and business conduct as defined in SBC-13STATE's Interconnector's Collocation Services Handbook at https://clec.sbc.com/clec for Virtual Collocation in 13-STATES, provided the Handbook and any and all updates to it are timely provided to Collocator at no charge. 14.3.3 Collocator technicians will be security qualified by the Collocator and will be required to be knowledgeable of SBC-13STATE security standards. Collocator personnel and technicians will undergo the same level of security training, or its equivalent that SBC-13STATE's own employees and authorized contractors must undergo. SBC-13STATE will not, however, require Collocator to receive security training from SBC-13STATE, but will provide information to Collocator on the specific type of training required. Collocator can then provide its employees with their own security training. Qualification program and security training details shall be included in SBC-13STATE's Interconnector's Collocation Services Handbook for Virtual Collocation in SBC-13STATE. 15. COOPERATIVE RESPONSIBILITIES 15.1 Qualification of Collocator 15.1.1 Collocator technicians will be security qualified by the Collocator and will be required to be knowledgeable of SBC-13STATE’s security standards. Collocator personnel and technicians will undergo the same level of security training, or its equivalent that SBC-13STATE's own employees and authorized contractors must undergo. SBC-13STATE will not, however, require Collocator to receive security training from SBC-13STATE, but will provide information to Collocator on the specific type of training required. Collocator can then provide its employees with their own security training. Qualification program and security training details shall be included in SBC-13STATE's Interconnector's Collocation Services Handbook at https://clec.sbc.com/clec/ for Virtual Collocation in 13-STATES. 16. RATE REGULATIONS The rate element descriptions and rates and charges included in Section 14 preceding apply to this Virtual Collocation alternative wherein the Collocator maintains and repairs the virtually collocated equipment. Additional rate elements and rates apply to this alternative as provided for below. 16.1 Rate Elements for SBC-13STATE’s Offices 16.1.1 This security escort charge consists of the charges for SBC-13STATE provided security escorts for Collocator Vendor’s access to their Virtual Collocation space in staffed and unstaffed Central Offices. Any escort requirements will be initiated by the Collocator. Labor rates are based upon a ¼ hour basis and are dependent upon day of week and time of day. For purposes of this Appendix, normal week day is defined as 8:00 a.m. through 5:00 p.m., Monday through Friday, excluding holidays. The billing period will start at the time the technician is contacted. This will allow for travel time to reach the agreed meet point. Access requests outside of normal business hours or for unstaffed Central Offices which are cancelled will be subject to the minimum four (4) hour call out charge. Non-recurring charges for this sub-element are specified on the Collocation Rate Summary. 16.2 Rate Element for SBC-13STATE’s CEV, Hut, and Cabinets 16.2.1 The security escort charge consists of the charges for SBC-13STATE provided security escorts for Collocator Vendor’s access to their Virtual Collocation space in CEVs, huts and cabinets. Any escort requirements will be initiated by the Collocator. Labor rates are based upon a 1/4 hour basis. The billing period will start at the time the technician is contacted. This will allow for travel time to reach the agreed upon meet point. Access requests which are cancelled will be subject to the minimum four (4) hour call-out charge. Rates and charges are as found on the Collocation Rate Summary. 16.3 Application of Rates and Charges 16.3.1 Beginning on and after the Effective Date [OF THIS AGREEMENT OR AMENDMENT, AS APPLICABLE], the Parties agree that the rates and charges for Collocation shall be as set forth in this Appendix and in the Pricing Schedule applicable to collocation (“Collocation Rates”). The Parties agree that the Collocation Rates shall apply, on a prospective basis only, beginning on the Effective Date [OF THIS AGREEMENT OR AMENDMENT, AS APPLICABLE], to all existing CLEC collocation arrangements, including those established before the Effective Date [OF THIS AGREEMENT OR AMENDMENT, AS APPLICABLE]. Because the Collocation Rates will apply on a prospective basis only, neither Party shall have a right to retroactive application of the Collocation Rates to any time period before the Effective Date, and there shall be no retroactive right of true-up for any time period before the Effective Date. 17. CDOW (CLECs DOING OWN WORK) - COLLOCATOR RESPONSIBILITIES When the Collocator selects the option to provide, install, and terminate its interconnection and power cabling with an SBC-13STATE Approved Vendor, the following Sections will apply. However, the terms and conditions within CDOW are not comprehensive. There are terms and conditions from the preceding Sections of this same Appendix that still apply for CDOW for rate elements that are not specifically addressed within Section 19 following. 17.1 Interconnection Cable 17.1.1 The Collocator has the option to provide, install and terminate its interconnection cabling between the Collocator’s dedicated space and SBC-13STATE Main Distribution Frame (MDF) or its equivalent by SBC-13STATE Approved Vendor. This option is only available if Collocator does all three (3) activities associated with interconnection cabling: provide, install and terminate. The Collocator may not elect to do some but not all the activities. Collocator must indicate on its Virtual Collocation application that it has selected this option to apply to all interconnection cabling requested on the application. If Collocator selects this option, the Collocator must also select the option to provide, install and terminate its power cable leads described in Section 19.2. If Collocator selects this option, SBC-13STATE will install and stencil termination blocks or panels at SBC-13STATE Main Distribution Frame (MDF) or its equivalent for the handoff of the Actual Point of Termination (APOT) Connection(s) to the Collocator’s SBC-13STATE Approved Vendor. Intervals and provisioning for this offering are found in Section 19.3.1 through 19.3.5. The Collocator’s SBC-13STATE Approved Vendor must obtain an approved Method Procedure (MOP) from SBC-13STATE and follow SBC-13STATE’s Technical Publication TP 76300MP for installation of equipment and cable facilities. 17.2 DC Power Arrangement Provisioning 17.2.1 The Collocator has the option to provide, install and terminate its power cable leads between the Collocator’s Dedicated Space and SBC-13STATE’s Battery Distribution Fuse Bay (BDFB) by SBC-13STATE Approved Power Installation Vendor. When SBC-13STATE designated power termination point is at the Power Plant Primary Distribution, the Collocator’s SBC-13STATE Approved Power Installation Vendor will provide and install the power cable leads, but not terminate. 17.2.2 The Collocator must contact SBC-13STATE project manager five (5) business days prior to scheduling a request for the termination of the Collocator’s power cable leads to SBC-13STATE Power Plant Primary Distribution, which will be performed by SBC-13STATE. This option is only available if the Collocator does all three (3) activities associated with the power cable lead unless described otherwise within this Section. 17.2.3 The Collocator may not elect to do some but not all the activities unless otherwise permitted in this Section. If Collocator selects this option, the Collocator must also select the option to provide, install and terminate its interconnection cabling described in Section 19.1. Intervals and provisioning for this offering are found in Section 19.3.1 through 19.3.5. The Collocator’s SBC-13STATE Approved Power Installation Vendor must obtain an approved Method of Procedures (MOP) from SBC-13STATE and follow SBC-13STATE’s Technical Publication TP 76300MP for installation of equipment and cable facilities. 17.3 Intervals and Provisioning 17.3.1 Implementation Intervals when CLEC hires SBC-13STATE Approved Vendor Installs Interconnection and Power Cabling. 17.3.1.1 SBC-13STATE will provide Virtual Collocation arrangements in Eligible Structures on a “first-come, first-served” basis. The determination whether there is sufficient space to accommodate Virtual Collocation at a particular Eligible Structure will be made initially by SBC-13STATE. SBC-13STATE will notify Collocator as to whether its request for space has been granted or denied due to a lack of space within ten (10) calendar days from receipt of a Collocator's accurate and complete Virtual Collocation Application. If SBC-13STATE determines that Collocator's Virtual Collocation Application is unacceptable, SBC-13STATE shall advise Collocator of any deficiencies within this ten (10) calendar day period. SBC-13STATE shall provide Collocator with sufficient detail so that Collocator has a reasonable opportunity to cure each deficiency. To retain its place in the queue to obtain the Virtual Collocation arrangement, Collocator must cure any deficiencies in its Application and resubmit such Application within ten (10) calendar days after being advised of the deficiencies. Any changes to the amount or type of floor space, interconnection terminations, and power requested from the originally submitted Virtual Collocation Application will not be considered a deficiency, but rather as a new Virtual Collocation Application with a new ten (10) calendar day space notification and a new delivery interval. The delivery intervals set forth in this Section 19.3 is for new and augment Virtual Collocation Applications and apply only when the Collocator installs interconnection and power cabling. 17.3.1.2 The delivery interval relates to the period in which SBC-13STATE shall construct and turnover to the Collocator’s SBC-13STATE Approved Vendor the requested Virtual Collocation Space. The delivery interval begins on the date SBC-13STATE receives a complete and accurate Virtual Collocation Application from the Collocator. The Collocator must provide SBC-13STATE, within seven (7) calendar days from the date of notification granting the application request, a confirmatory response in writing to continue construction along with the fifty percent (50%) payment of non-recurring charges (unless payment was received with application) or the delivery interval provided in table below will not commence until such time as SBC-13STATE has received such response and payment. If the Collocator has not provided SBC-13STATE such response and payment by the twelfth (12th) calendar day after the date SBC-13STATE notified Collocator its request has been granted, the application will be canceled. Dedicated space is not reserved until SBC-13STATE’s receipt of the confirmatory response in writing from the Collocator with applicable fees. The delivery interval for Virtual Collocation is determined by SBC-13STATE taking into consideration the various factors set forth in Table (1) below including, without limitation, the number of all Virtual Collocation Applications submitted by Collocator and the need for additional preparation of the space such as overhead racking, additional power or HVAC. The delivery interval assigned will be provided to the Collocator by SBC-13STATE with the ten (10) calendar day space notification. Each complete and accurate Virtual Collocation Application received by SBC-13STATE from the Collocator will be processed in the order received unless the Collocator provides a priority list, whichever is applicable. Table 1 Number of All Applications submitted by One Collocator per state or metering region; Overhead Iron/Racking Exists for Virtual Collocation Space Use; Overhead Iron/Racking Does Not Exist for Virtual Collocation Space Use; Additional Power or HVAC is Required for Virtual Collocation Space Use. 1 – 10 11 - 20; 60 calendar days 65 calendar days; 80 calendar days 85 calendar days; 180 calendar days 185 calendar days. 17.3.1.3 Should the Collocator submit twenty-one (21) or more applications within ten (10) business days, the above delivery intervals will be increased by five (5) days for every five (5) additional applications or fraction thereof. Any material revision to an application will be treated as a new application and the delivery intervals set forth in Table (1) above will be re-started. All Virtual Collocation Applications received by SBC-13STATE from a Collocator within a ten (10) business day period shall be treated as submitted at the same time for purposes of administering the above staggering intervals. The Virtual Collocation delivery interval ends when roughed in and the assigned space has been distinctly marked by SBC-13STATE. 17.3.1.4 For example, but not by way of limitation, if a Collocator submits twelve (12) complete and accurate Virtual Collocation Applications in a state, the delivery intervals assigned by SBC-13STATE will depend on which variables apply within each Eligible Structure Virtual Collocation is requested: 17.3.1.5 If Applications (1-4) are for Virtual Collocation Space where overhead racking exists, the delivery intervals assigned will be sixty (60) days. If Applications (5-11) are for Virtual Collocation Space where overhead racking does not exist, the delivery intervals assigned to Applications (5-10) will be eighty (80) calendar days and Application (11) will be assigned eighty five (85) calendar days. The Virtual Collocation Application (12) was requested in an Eligible Structure that needs additional HVAC added and would be assigned one hundred and eight five (185) calendar days. 17.3.2 Payment 17.3.2.1 The second fifty percent (50%) payment must be received by SBC-13STATE prior to the space being turned over to the Collocator’s SBC-13STATE Approved Vendor. At space turnover, the Actual Point of Termination (APOT) Connection(s) will be provided to the Collocator’s SBC-13STATE Approved Vendor by SBC-13STATE. 17.3.3 Cable Augments 17.3.3.1 For the following interconnection cabling Augments, the Collocator must submit a complete and accurate Virtual Collocation Application: 17.3.3.1.1 168 DS1 connections and/or 17.3.3.1.2 48 DS3 connections and/or 17.3.3.1.3 400 Copper (shielded or nonshielded) cable pair connections and/or 17.3.3.1.4 12 fiber pair connections 17.3.3.2 This application must include an up-front payment of the Application Fee and fifty percent (50%) of all applicable non-recurring charges. 17.3.3.3 The cabling Augment interval is determined by SBC-13STATE taking into consideration the various factors set forth in Table (2) below including, without limitation, the number of all Virtual Collocation Applications for the above Augments submitted by Collocator, the type of infrastructure available for collocation, and the need for additional preparation of the infrastructure such as overhead racking and additional power. The cabling Augment interval assigned will be provided to the Collocator by SBC-13STATE with the ten (10) calendar day Augment notification. Each complete and accurate Virtual Collocation Application received by SBC-13STATE from the Collocator will be processed in the order received unless the Collocator provides a priority list, whichever is applicable. Number of All Applications submitted by One Collocator per state or metering region; Necessary Elements such as Iron/Racking and Power exist for Virtual Collocation Use; Necessary Elements such as Iron/Racking and Power does not exist for Virtual Collocation Use. 1 – 10 11 - 20; 30 calendar days 35 calendar days; 60 calendar days 65 calendar days. 17.3.3.4 Should the Collocator submit twenty-one (21) or more Virtual Collocation Applications for cabling Augments within ten (10) business days, the above cabling Augment intervals will be increased by five (5) days for every five (5) additional application or fraction thereof. Any material revision to a Virtual Collocation Application for cabling Augments will be treated as a new application and the cabling Augment delivery intervals set forth in Table (2) above. All cabling Augment applications received by SBC-13STATE from a Collocator within a ten (10) business day period shall be treated as submitted at the same time for purposes of administering the above staggering intervals. 17.3.3.5 For example, but not by way of limitation, if a Collocator submits twelve (12) Virtual Collocation Applications for cabling Augments in a state, the delivery intervals assigned will depend on which variables apply within each Eligible Structure requested: 17.3.3.6 If Applications (1-4) are for Virtual Collocation cabling Augments where necessary elements such as overhead racking and power exists, the delivery interval assigned will be thirty (30) calendar days. If Applications (5-12) are for Physical Collocation where necessary elements such as overhead racking and power does not exists, the delivery interval assigned to Applications (5-10) will be sixty (60) calendar days and for Applications (11-12) sixty five (65) calendar days. 17.3.4 All Other Augments 17.3.4.1 For all Augments other than provided above, SBC-13STATE will work cooperatively with Collocator to negotiate a mutually agreeable delivery intervals. 17.3.5 Walk-Through Visit 17.3.5.1 Within twenty (20) calendar days or mutually agreed upon time, from SBC-13STATE’s receipt of the confirmatory response in writing to continue construction on the Virtual Collocation job requested along with the 50% payment of non-recurring charges (unless payment was received with application), Network Support and/or appropriate departments will schedule a walk through visit with the CLEC and/or vendor to provide floor plans of space and the preliminary route design for the interconnection and power cabling. 17.4 Rates Elements for SBC-13STATE Central Offices 17.4.1 DC Power Arrangement Provisioning 17.4.1.1 When the Collocator selects the option to install the power cable by SBC-13STATE Approved Power Installation vendor, only the rack occupancy and on-going maintenance of the rack charge will apply. This is expressed as a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.2 DS0 Voice Grade Cable Arrangement 17.4.2.1 When the Collocator selects the option to provide and install the interconnection cabling by a SBC-13STATE approved vendor, the DS0 Voice Grade Terminal blocks at the MDF, rack occupancy, and on-going maintenance charges will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.3 DS-1 Interconnection Cable Arrangement to Digital Cross Connect System (DCS) 17.4.3.1 When the Collocator selects the option to provide and install the interconnection cabling by SBC-13STATE approved vendor, the DS-1 Port, rack occupancy, and on-going maintenance charges will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix . 17.4.4 DS-1 Interconnection Cable Arrangement to Digital System Cross-Connect Frame 17.4.4.1 When the Collocator selects the option to provide and install the interconnection cabling by SBC-13STATE approved vendor, the Digital System Cross-Connect Frame at the MDF, rack occupancy, and on-going maintenance charges will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.5 DS-3 Interconnection Cable Arrangement to Digital Cross Connect System (DCS) 17.4.5.1 When the Collocator selects the option to provide and install the interconnection cabling by SBC-13STATE approved vendor, the DS-3 Port, rack occupancy, and on-going maintenance charges will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.6 DS-3 Interconnection Cable Arrangement to Digital System Cross-Connect Frame 17.4.6.1 When the Collocator selects the option to provide and install the interconnection cabling by SBC-13STATE approved vendor, the Digital System Cross-Connect Frame at the MDF, rack occupancy, and on-going maintenance charges will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary. of this Appendix 17.4.7 Fiber Interconnection Cable Arrangement 17.4.7.1 When the Collocator selects the option to provide and install the interconnection cabling by a SBC-13STATE approved vendor, the Fiber terminating panel at the FDF-1 Port, rack occupancy, and on-going maintenance charges will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.8 Collocation to Collocation Connection 17.4.8.1 This rate element include virtual to virtual and virtual to physical connection options. 17.4.8.1.1 Fiber Cable (12 Fiber Pair) 17.4.8.1.1.1 When the Collocator selects the option to provide and install the interconnection cabling by a SBC-13STATE approved vendor, the charge for on-going maintenance of the rack will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.8.2.1 Copper Cable 17.4.8.2.1.1 When the Collocator selects the option to provide and install the interconnection cabling by a SBC-13STATE approved vendor, the charge for on-going maintenance of the rack will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.8.3.1 Coax Cable 17.4.8.3.1.1 When the Collocator selects the option to provide and install the interconnection cabling by a SBC-13STATE approved vendor, the charge for on-going maintenance will apply. This is expressed as a combination of a non-recurring charge and a monthly rate as specified on the Collocation Rate Summary of this Appendix. 17.4.8.4.1 Cable Racking and Hole 17.4.8.4.1.1 This sub-element provides for cable rack space and hole for copper, coax and optical cabling between two collocation arrangements and the required terminations at each Virtual Collocation arrangement(s) at an Eligible Structure. This sub-element is expressed as a monthly rate specified on the Collocation Rate Summary of this Appendix. 17.4.8.5.1 Route Design 17.4.8.5.1.1 This sub-element provides the route design for collocation-to-collocation connections. This sub-element is expressed as a non-recurring charge and this charge is specific on the Collocation Rate Summary of this Appendix. | The CLEC Coalition should not be allowed to use the document it provided which does not contain comprehensive terms, conditions and rates for establishing Virtual Collocation. SBC Missouri wants the Commission to require the CLEC Coalition to use the comprehensive Virtual Collocation Appendix documentation provided by SBC Missouri which was developed from the Missouri State Tariff. Smith Direct 51-53 |  |  |
| Coalition statement of the Issue: Should SBC be permitted to implement new collocation rates that are contrary to, or omitted from, the current collocation tariff, absent cost studies or other justification for same? | Issue 9 |  | None. | The current Collocation tariff contains rates approved by the Commission. The Coalition is opposed to any rates SBC proposes in its new rate schedule, to the extent they differ from or are in addition to tariffed rates. SBC should not be permitted to arbitrarily establish rates and should demonstrate that the rates are reasonable and cost-based before they are approved. Krabill Collocation Direct at 21-23 Krabill Collocation Rebuttal at 10-12. Cadieux Collocation Direct at 8-13 Cadieux Collocation Rebuttal 5-12. |  | SBC Missouri wants the Commission to require the CLEC Coalition to use the comprehensive Pricing Appendix documentation provided by SBC Missouri which was developed from the Missouri State Tariff. Smith Direct 51-53, 55-56 |  |  |