## Pipeline Safety
EXHIBIT B
Legend for State or Federal Safety Requirements
|  | Regulatory Section Description | Description of Capital Expenditure Rehabilitation or Replacement
A | 393.130 RSMo | Safe and Adequate Service | Replace, repair or remove unsafe pipeline segments
B | 4 CSR 240-40.030(13)(B) | General Requirements for Maintenance | Replace, repair or remove unsafe pipeline segments
C | 4 CSR 240-40.030(15) | Replacement Programs | Replacement program requirements for certain pipelines
D | 4 CSR 240-40.030(14) | Gas Leaks | Repair of system leaks through pipeline rehabilitation and replacements
E | 4 CSR 240-40.030(9)(T) and (U) | Corrosion Control | Remedial action in response to graphitization and corrosion through pipeline rehabilitation and replacements
F | 4 CSR 240-40.030(13)(Z) | Protecting or Replacing Disturbed Cast Iron Pipelines | Replacement of cast iron pipelines where support has been disturbed
G | 4 CSR 240-40.030(7) | Construction requirements | Construction expense associated with relocating and replacing pipelines
H | 4 CSR 240-40.030(10) | Testing Requirements | Testing expense associated with relocating and replacing pipelines
I | 4 CSR 240-40.030(13)(Y) | Maintenance - Caulked Bell and Spigot Joints | Install clamps and other sealing on exposed cast iron joints
J | 4 CSR 240-40.030(16) | Gas Transmission Pipeline Integrity Management | Replace, repair or remove unsafe transmission pipeline segments
K | 4 CSR 240-40.030(17) | Gas Distribution Pipeline Integrity Management | Replace, repair or remove unsafe distribution pipeline segments
References to state safety rules should be interpreted to include the corresponding federal safety rule.

## ISRS
EXHIBIT B
ISRS Statute 393.1009(5):
(a) | Mains, valves, service lines, regulator stations, vaults and other pipeline system components installed to comply with state or federal safety requirements as replacements for existing facilities that have worn out or are in deteriorated condition;
(b) | Main relining projects, service line insertion projects, joint encapsulation projects, and other similar projects extending the useful life or enhancing the integrity of pipeline system components undertaken to comply with state or federal safety requirements;
( c) | Facilities relocations required due to construction or improvement of a highway, road, street, public way, or other public work;