Exhibit No.:

Issues:	Weather Normalization

Witness:	Lena M. Mantle

Sponsoring Party:	MoPSC Staff

Type of Exhibit:	Direct Testimony

Case No.:	ER-2002-424

Date Testimony Prepared:	August 16, 2002

MISSOURI PUBLIC SERVICE COMMISSION

UTILITY OPERATIONS DIVISION

DIRECT TESTIMONY

OF

LENA M. MANTLE

THE EMPIRE DISTRICT ELECTRIC

COMPANY

CASE NO. ER-2002-424

Jefferson City, Missouri

August, 2002

### DIRECT TESTIMONY

OF

- LENA M. MANTLE

- THE EMPIRE DISTRICT ELECTRIC COMPANY

- CASE NO. ER-2002-424

Q.	Please state your name and business address.

A.	My name is Lena M. Mantle and my business address is Missouri Public Service Commission, P. O. Box 360, Jefferson City, Missouri 65102.

Q.	What is your present position with the Missouri Public Service Commission (Commission)?

A.	I am the Utility Engineering Supervisor of the Engineering Analysis Section of the Energy Department, Utility Operations Division.

Q.	Would you please review your educational background and work experience?

A.	I received a Bachelor of Science Degree in Industrial Engineering from the University of Missouri, at Columbia, in May 1983.  I joined the Commission Staff (Staff) in August 1983.  I have been weather normalizing electricity usage and hourly loads for the Staff since 1988.  I am a registered Professional Engineer in the State of Missouri.

Q.	Have you previously filed testimony before this Commission?

A.	Yes, I have.  Please see Schedule 1 attached to this testimony for a list of cases in which I have previously filed testimony.

Q.	What is the purpose of your direct testimony?

A.	The purpose of my testimony is to describe the method that was used to calculate the daily normal weather variables that were used in both the weather normalization of class usage and the normalization of hourly net system loads.

Q.	What did you use to represent normal weather in these calculations?

A.	The normal weather used in both the normalization of class usage and hourly net system loads was calculated using Staff’s ranking method and daily weather values for the time period January 1, 1971 through December 31, 2000.  Staff’s ranking method estimates daily normal values for the test year, which range from the temperature value that is “normally” the hottest to the temperature value that is “normally” the coldest.

Using ranked normals to estimate the weather adjustment to usage is important because electricity use does not respond to temperature by a constant factor.  Customer response to a change in temperature of one degree from 70 to 71 is very different from a change in temperature of one degree from 90 to 91.  The ranking method of calculating normals allows for a more accurate estimate of changes in usage due to deviations from normal weather.

Using ranked normals is also important in estimating fuel and purchased power expense because these expenses are greatly impacted by daily weather extremes.  Since every year has days with extreme temperatures, the daily normals should also contain extremes.  The ranking method that was used estimates normal extremes.

Q.	How are the daily normals derived?

A.	The daily normal variables are calculated by ranking the temperatures in each year of the history.  These temperatures are then averaged by rank, not by the day of the year. This results in the normal extreme being the average of the most extreme temperatures in each year of the history.  The second extreme normal variable is based on the average of the second most extreme day of each year and so forth.  The normal variables calculated from this ranking are then assigned to the days in the test year based on the rankings of the actual temperatures in the year.  This assignment results in as little weather normalization occurring on each day as is possible.

Q.	Who supplied the history of daily temperatures used in your calculation of daily normals?

A.	Staff witness Dennis Patterson supplied the history of daily temperatures that

I used in calculating the daily normal weather values.

Q.	Does this conclude your direct testimony?

A.	Yes, it does.

PREVIOUS TESTIMONY OF

LENA M. MANTLE

CASE	TYPE OF	ISSUES

NUMBER	TESTIMONY

ER-84-105	Direct	Demand-Side Update

ER-85-20	Direct	Demand-Side Update

ER-85-128, et. al	Direct	PURPA Standards

EC-87-114, et. al.	Surrebuttal	Annualization  & Normalization of Sales

EO-90-101	Direct, 	Weather Normalization of Sales

Rebuttal, and 	Normalization of Net System

Surrebuttal

ER-90-138	Direct	Normalization of Net System

EO-90-251	Rebuttal	Promotional Practice Variance

EO-91-74, et. al.	Direct	Weather Normalization of Class Sales

Normalization of Net System

ER-93-37	Direct	Weather Normalization of Class Loads

Normalization of Net System

ER-94-163	Direct	Normalization of Net System

ER-94-174	Direct	Weather Normalization of Class Sales

Normalization Net System

EO-94-199	Direct	Weather Normalization of Sales

ET-95-209	Rebuttal and 	New Construction Pilot

Surrebuttal

ER-95-279	Direct	Normalization of Net System

ER-97-81	Direct	Weather Normalization of Class Hourly

Loads, TES Tariff, Normalization of Net System

PREVIOUS TESTIMONY

OF LENA M. MANTLE (cont.)

CASE NUMBER	TYPE OF	ISSUES

TESTIMONY

EO-97-144	Direct	Weather Normalization of Class Loads

Normalization of Net System

ER-97-394, et. al. 	Direct,	Weather Normalization of Class Loads

Rebuttal and 	Normalization of Net System	Surrebuttal	Energy Audit Tariff

EM-97-575	Direct	Normalization of Net System

EM-2000-292	Direct	Normalization of Net System

Load Research

ER-2001-299	Direct	Weather Normalization of Class Loads

Normalization of Net System

EM-2000-369	Direct	Load Research

ER-2002-1	Direct	Weather Normalization of Class Loads

Normalization of Net System

ER-2001-672	Direct and	Weather Normalization of Class Loads

Rebuttal	Normalization of Net System

EC-2002-1	Direct	Weather Normalization of Class Loads

Rebuttal	Normalization of Net System