M E M O R A N D U M

TO:		Missouri Public Service Commission Official Case File

Case No. ET-2004-0089, Tariff File No. YE-2004-0167

The Empire District Electric Company

FROM:	James C. Watkins, Regulatory Economist IV, Project Coordinator

Richard Campbell, Utility Regulatory Engineer I

Mack McDuffey, Rate & Tariff Examiner II

James C. Watkins 08/19/03	/s/ Dan Joyce 08/19/03

Energy Department / Date	General Counsel's Office / Date

SUBJECT:	Staff Recommendation for Expedited Approval of Tariff Sheets Filed to Implement A Net Metering Program To Comply With The Commission’s Net Metering Rule (4 CSR 240-20.065) and the Consumer Clean Energy Act (Section 386.887, RSMo Supp. 2002)

DATE:	August 19, 2003

On July 29, 2003, The Empire District Electric Company (Empire or Company) of Joplin, Missouri, filed with the Commission five (5) tariff sheets to implement a Net Metering Program with a proposed effective date of August 28, 2003.  Those sheets did not amend Empire’s table of contents to reflect the net metering tariff sheets.  Empire withdrew those sheets and on August 12, 2003, refiled the sheets to include a revised table of contents with a proposed thirty-day effective date of September 11, 2003.  On August 12, 2003, the Company also filed its Motion For Expedited Treatment, requesting an effective date of August 28, 2003, as required by the Consumer Clean Energy Act.

This filing proposes for Commission approval Net Metering tariffs submitted to comply with the Consumer Clean Energy Act, which was enacted by House Bill 1402.  The Consumer Clean Energy Act requires each retail electric supplier to adopt rates, charges, conditions and contract terms for the purchase from and sale of electric energy to customer-generators, by August 28, 2003.

The Commission, per the Consumer Clean Energy Act, has developed and adopted a rule which includes a simple contract (interconnection agreement) that must be used by retail electric suppliers and customer-generators.  This contract standardizes much of the interconnection process and related requirements in an effort to simplify the process for small customer-generators.  The proposed net metering tariff sheets are the contract (Interconnection Application / Agreement For Net Metering Systems With A Capacity Of 100 KW Or Less) as developed and adopted by the Commission in its rule.

The Missouri Public Service Commission Energy Department Staff (Staff) has reviewed the filed tariff sheets and recommends issuing an order approving the following tariff sheets, as filed on August 12, 2003, to go into effect for service on and after August 28, 2003, as requested by Company in its Motion for Expedited Treatment, for good cause:

## P .S .C. Mo. No. 5

Section A, 18th 	Revised Sheet No.   1, Canceling, 17th 	Revised Sheet No.   1

Section 4,    2nd 	Revised Sheet No. 12, Canceling    1st 	Revised Sheet No. 12

## Section 4,    2nd 	Revised Sheet No. 13, Canceling    1st 	Revised Sheet No. 13

## Section 4,    2nd 	Revised Sheet No. 14, Canceling    1st 	Revised Sheet No. 14

Section 4,    3rd 	Revised Sheet No. 15, Canceling    2nd 	Revised Sheet No. 15

Section 4,    4th 	Revised Sheet No. 16, Canceling    3rd 	Revised Sheet No. 16

The staff has verified that the Company has filed its annual report and is not delinquent on any assessment.  Staff is not aware of any other matter before the Commission that affects or is affected by this filing; however, each of the electric utilities have, or should have, similar net metering tariff filings before the Commission.  Company has the following  electric cases pending before the Commission at this time:

# EF-94-259

# ER-2002-424