STATE OF MISSOURI

### PUBLIC SERVICE COMMISSION

At a session of the Public Service Commission held at its office in Jefferson City on the 30th day of December, 2003.

In the Matter of an Investigation into City 	)

Utilities of Springfield Plastic Pipe 		)

Failures and the Adequacy of its Leak 		)	Case No. GS-2004-0257

Survey Procedures, Installation Procedures 	)

and Replacement Criteria			)

# ORDER ESTABLISHING CASE

On December 16, 2003, the Staff of the Commission filed a motion to open a case.  Staff states that City Utilities of Springfield is a municipal gas corporation subject to the jurisdiction of the Commission, and that the Commission has the authority to require every gas utility, including municipal gas systems, to operate its system in a manner that promotes and safeguards the public safety.  Staff notes that two explosions involving plastic pipe failures have recently occurred, and that it has just filed its final investigation report involving one of those incidents.  Staff recommends a more in-depth examination and evaluation of City Utilities’ plastic natural gas mains and service line piping failures, leak survey techniques over certain identified plastic natural gas mains and service lines, and examination and evaluation of the current program replacements.  Specifically, Staff asks that the Commission:

(1) identify the plastic mains and service pipes that may be susceptible to brittle-like cracking because of rock impingements, (2) determine the criteria that should be used to identify plastic mains and service lines as potential risks for brittle-like failure due to rock impingement such as installation, operating and environmental conditions and piping failure characteristics, (3) evaluate the effectiveness and the need to increase or expand the leak surveys over the identified plastic mains and service lines (example:  the need for bar hole surveys over piping under continuous pavement), (4) recommend replacement of plastic mains and service lines found in need of remedial action, (5) recommend and monitor completion of the replacement of all plastic service lines identified as having the potential for failure due to rock impingement or other factors.

Staff states that it will investigate these issues, and file a report and recommendations within six months.  The Commission will establish this case to investigate the issues concerning plastic mains and service lines used by City Utilities of Springfield, and order the filing of the Staff report.

IT IS THEREFORE ORDERED:

1.	That Case No. GS-2004-0257 is hereby established for the purpose of conducting an investigation into plastic mains and service lines used by City Utilities of Springfield.

2.	That the Commission's Staff shall file, through the General Counsel's Office, its report no later than June 16, 2004.

3.	That this order shall become effective on December 30, 2003.

BY THE COMMISSION

Dale Hardy Roberts

Secretary/Chief Regulatory Law Judge

( S E A L )

Gaw, Ch., Murray and Clayton, CC., concur

Mills, Deputy Chief Regulatory Law Judge