**R. D. Sewer Company, LLC**

**P O Box 302**

**Wappapello, Missouri 63966**

573-293-5792

rnlowens@newwavecomm.net

December 20, 2010

Re: Semi Annual Compliance Report

Case No. SO-2008-0289

Dear Commission;

 This letter is in regards to the R. D. Sewer Co., L.L.C. Semi-annual Compliance Report explaining the steps it has and is presently taking to resolve repair, maintenance and effluent problems that have been documented in the above case.

**ORDER REGARDING STATUS REPORTS**

As part of the Report and Order issued on October 23, 2008 and effective date of November 2, 2008 the Commission required that the R. D. Sewer Co., L.L.C. (Company) file a semi-annual compliance report with the Commission in regards to the compliance issues that the company faces.

**INFORMATION REGARDING THE PLANT OPERATIONS**

On May 14, 2010 the Company filed its third semi-annual compliance report with Commission this is a 6 month follow-up of the updated information the Company has made regarding the compliance issues the Company faces.

**SEWER PLANT**

Since last report at the treatment plant as stated in the prior report the landlord has had the dead trees cut down next door to the plant so they would not fall on the fence. The Company has started scraping and painting the catwalk and piping.

**INFORMATION REGARDING LIFT STATION #1 AND #2**

The Company has also purchased a new steel cover for the number 2 lift station. And have talked to the manager at the Grant’s Apartment complex about the over abundance of grease that is building up in the number 1 lift station at the apartment complex. And have also been having a foam substance that keeps building up in the lift number 2. No one seems to know what could be causing this.

**REGARDING THE CLEANOUTS AND MAINS UPKEEP**

Still fixing and finding cleanouts and manholes in the area. We have had a couple of customers call us on the infiltration issues and have fixed those. There has been lots of boring and digging going on in the area with the new public district going in and have had to fix a couple of lines that contractors have hit. The plan is to do the smoke testing in the spring of 2011.

**BILLING AND OFFICE ISSUES**

The Company has spoke with a public district that has billing software and has checked it out on the website, sounds like a smart investment, and is planning on getting with someone with the Woods Company after the first of the year and hopefully making that purchase.

**DNR COMPLIANCE ISSUES**

As stated in the prior report, the Department was just at the treatment facility on May 13th to do their inspection the report has been issued and is in compliance for the first time in many years as we understand. We are enclosing a copy of that report to you for your viewing. The Company has not, at this time heard any response from the Department or the Attorney Generals’ Office, hoping no news is good news.

 Sincerely,

 /s/ **Rodger Owens**

 Rodger Owens