## Energy MWh
2013 IRP Update
Annual Energy Level of DSM Load Alternatives
KCPL | KCPL
DSM Load Alternative | DSM Annual Energy Level(MWhr)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - RAP | 0 | 60448.4186 | 141634.39 | 241877.881 | 358371.2794 | 488280.6857 | 608912.0804 | 723482.9099 | 820504.5773 | 900990.9562 | 966339.0126 | 1014107.1086 | 1050191.5861 | 1077667.1709 | 1092956.7504 | 1103134.0058 | 1098301.8396 | 1085075.002 | 1066886.5626 | 1043424.6148 | 1018073.7902 | 1018073.7902 | 1018073.7902
B - MAP | 0 | 70821.036 | 166588.2135 | 286005.9731 | 426455.0888 | 585974.0162 | 740377.5928 | 890493.9472 | 1028768.3187 | 1153264.8882 | 1264374.7925 | 1360200.0405 | 1445032.1997 | 1522566.5716 | 1585926.2217 | 1638899.6239 | 1668363.9668 | 1681915.7079 | 1682936.4306 | 1671749.9298 | 1652867.1415 | 1652867.1415 | 1652867.1415
C - RAP+1/3(MAP-RAP) | 0 | 66601.925 | 156033.2073 | 267052.7584 | 396983.6644 | 543063.8788 | 681616.4744 | 814751.4348 | 931752.1629 | 1032469.4153 | 1117860.8053 | 1185584.8248 | 1241244.1351 | 1288276.687 | 1321820.6711 | 1348245.0553 | 1355821.8741 | 1351884.3344 | 1339988.6189 | 1319972.5735 | 1295818.7404 | 1295818.7404 | 1295818.7404
D - RAP+2/3(MAP-RAP) | 0 | 72755.4315 | 170432.0246 | 292227.6358 | 435596.0494 | 597847.0718 | 754320.8684 | 906019.9598 | 1042999.7485 | 1163947.8743 | 1269382.5981 | 1357062.541 | 1432296.6841 | 1498886.2031 | 1550684.5917 | 1593356.1047 | 1613341.9086 | 1618693.6669 | 1613090.6751 | 1596520.5321 | 1573563.6906 | 1573563.6906 | 1573563.6906
E - Long Term Load Loss | 0 | 57558.934 | 113888.5807 | 172293.3689 | 276905.9267 | 393133.8948 | 499445.032 | 599682.2958 | 683576.2174 | 752683.824 | 808432.7567 | 848675.9882 | 878657.4698 | 901169.1605 | 913024.2525 | 920333.4117 | 914746.8673 | 902007.1435 | 885150.7622 | 864030.3486 | 841477.6115 | 841477.6115 | 841477.6115
F - MEEIA-RAP | 0 | 57558.934 | 113888.5807 | 172293.3689 | 276905.9267 | 393133.8948 | 499445.032 | 599682.2958 | 683576.2174 | 752683.824 | 808432.7567 | 848675.9882 | 878657.4698 | 901169.1605 | 913024.2525 | 920333.4117 | 914746.8673 | 902007.1435 | 885150.7622 | 864030.3486 | 841477.6115 | 841477.6115 | 841477.6115
G - MEEIA-1/2 RAP | 0 | 57558.934 | 113888.5807 | 172293.3689 | 230540.0681 | 295494.7712 | 355810.4686 | 413095.8833 | 461606.717 | 501849.9065 | 534523.9347 | 558407.9827 | 576450.2214 | 590188.0138 | 597832.8036 | 602921.4313 | 600505.3481 | 593891.9294 | 584797.7097 | 573066.7358 | 560391.3235 | 506885.4902 | 560391.3235
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GMO | DSM Annual Energy Level(MWhr) 2013: GMO
DSM Load Alternative | DSM Annual Energy Level(MWhr) 2013: DSM Annual Energy Level(MWhr)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - MEEIA-RAP | 0 | 44891 | 88172 | 197342.7614 | 326096.2757 | 465670.6073 | 602251.8073 | 725164.6713 | 835681.2158 | 932336.5089 | 1016767.9789 | 1086586.2332 | 1150361.6396 | 1207404.0012 | 1253316.6953 | 1296903.1617 | 1326915.6369 | 1347244.2524 | 1362483.1677 | 1372047.3709 | 1379598.3481 | 1379598.3481 | 1379598.3481
B - MEEIA-MAP | 0 | 44891 | 88172 | 222492.2671 | 384384.5236 | 565102.8113 | 746746.8573 | 918605.1586 | 1079502.6011 | 1227669.3816 | 1364021.3106 | 1487906.007 | 1607027.1825 | 1719460.176 | 1815783.5586 | 1905197.7812 | 1972810.4828 | 2023015.3585 | 2061124.1515 | 2086973.7374 | 2105765.5225 | 2105765.5225 | 2105765.5225
C - MEEIA-RAP+1/3(MAP-RAP) | 0 | 44891 | 88172 | 205725.93 | 345525.6916 | 498814.6753 | 650416.8239 | 789644.8337 | 916955.0109 | 1030780.7998 | 1132519.0895 | 1220359.4911 | 1302583.4873 | 1378089.3928 | 1440805.6498 | 1499668.0349 | 1542213.9189 | 1572501.2877 | 1595363.4957 | 1610356.1598 | 1621654.0729 | 1621654.0729 | 1621654.0729
D - MEEIA-RAP+2/3(MAP-RAP) | 0 | 44891 | 88172 | 214109.0985 | 364955.1076 | 531958.7433 | 698581.8406 | 854124.9962 | 998228.806 | 1129225.0907 | 1248270.2 | 1354132.7491 | 1454805.3349 | 1548774.7844 | 1628294.6042 | 1702432.908 | 1757512.2008 | 1797758.3231 | 1828243.8236 | 1848664.9486 | 1863709.7977 | 1863709.7977 | 1863709.7977
E - Long Term Load Loss | 0 | 44891 | 88172 | 197342.7614 | 326096.2757 | 465670.6073 | 602251.8073 | 725164.6713 | 835681.2158 | 932336.5089 | 1016767.9789 | 1086586.2332 | 1150361.6396 | 1207404.0012 | 1253316.6953 | 1296903.1617 | 1326915.6369 | 1347244.2524 | 1362483.1677 | 1372047.3709 | 1379598.3481 | 1379598.3481 | 1379598.3481
F - MEEIA-1/2 RAP | 0 | 44891 | 88172 | 142757.3807 | 207134.1378 | 276921.3036 | 345211.9036 | 406668.3357 | 461926.6079 | 510254.2544 | 552469.9895 | 587379.1166 | 619266.8198 | 647788.0006 | 670744.3477 | 692537.5809 | 707543.8185 | 717708.1262 | 725327.5839 | 730109.6855 | 733885.174 | 733885.174 | 733885.174
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MPS | DSM Annual Energy Level(MWhr) 2013: MPS
DSM Load Alternative | DSM Annual Energy Level(MWhr) 2013: DSM Annual Energy Level(MWhr)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - MEEIA-RAP | 0 | 33668.25 | 66129 | 148007.0711 | 244572.2068 | 349252.9554 | 451688.8554 | 543873.5035 | 626760.9119 | 699252.3817 | 762575.9842 | 814939.6749 | 862771.2297 | 905553.0009 | 939987.5215 | 972677.3713 | 995186.7277 | 1010433.1893 | 1021862.3758 | 1029035.5282 | 1034698.7611 | 1034698.7611 | 1034698.7611
B - MEEIA-MAP | 0 | 33668.25 | 66129 | 166869.2003 | 288288.3927 | 423827.1084 | 560060.1429 | 688953.8689 | 809626.9508 | 920752.0362 | 1023015.9829 | 1115929.5053 | 1205270.3869 | 1289595.132 | 1361837.6689 | 1428898.3359 | 1479607.8621 | 1517261.5189 | 1545843.1136 | 1565230.303 | 1579324.1419 | 1579324.1419 | 1579324.1419
C - MEEIA-RAP+1/3(MAP-RAP) | 0 | 33668.25 | 66129 | 154294.4475 | 259144.2687 | 374111.0064 | 487812.6179 | 592233.6253 | 687716.2582 | 773085.5998 | 849389.3171 | 915269.6183 | 976937.6154 | 1033567.0446 | 1080604.2373 | 1124751.0261 | 1156660.4392 | 1179375.9658 | 1196522.6217 | 1207767.1198 | 1216240.5547 | 1216240.5547 | 1216240.5547
D - MEEIA-RAP+2/3(MAP-RAP) | 0 | 33668.25 | 66129 | 160581.8239 | 273716.3307 | 398969.0574 | 523936.3804 | 640593.7471 | 748671.6045 | 846918.818 | 936202.65 | 1015599.5618 | 1091104.0012 | 1161581.0883 | 1221220.9531 | 1276824.681 | 1318134.1506 | 1348318.7423 | 1371182.8677 | 1386498.7114 | 1397782.3483 | 1397782.3483 | 1397782.3483
E - Long Term Load Loss | 0 | 33668.25 | 66129 | 148007.0711 | 244572.2068 | 349252.9554 | 451688.8554 | 543873.5035 | 626760.9119 | 699252.3817 | 762575.9842 | 814939.6749 | 862771.2297 | 905553.0009 | 939987.5215 | 972677.3713 | 995186.7277 | 1010433.1893 | 1021862.3758 | 1029035.5282 | 1034698.7611 | 1034698.7611 | 1034698.7611
F - MEEIA-1/2 RAP | 0 | 33668.25 | 66129 | 107068.0355 | 155350.6034 | 207690.9777 | 258908.9277 | 305001.2517 | 346444.9559 | 382690.6908 | 414352.4921 | 440534.3374 | 464450.1149 | 485841.0004 | 503058.2608 | 519403.1856 | 530657.8638 | 538281.0946 | 543995.6879 | 547582.2641 | 550413.8805 | 550413.8805 | 550413.8805
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SJLP | DSM Annual Energy Level(MWhr) 2013: SJLP
DSM Load Alternative | DSM Annual Energy Level(MWhr) 2013: DSM Annual Energy Level(MWhr)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - MEEIA-RAP | 0 | 11222.75 | 22043 | 49335.6904 | 81524.0689 | 116417.6518 | 150562.9518 | 181291.1678 | 208920.304 | 233084.1272 | 254191.9947 | 271646.5583 | 287590.4099 | 301851.0003 | 313329.1738 | 324225.7904 | 331728.9092 | 336811.0631 | 340620.7919 | 343011.8427 | 344899.587 | 344899.587 | 344899.587
B - MEEIA-MAP | 0 | 11222.75 | 22043 | 55623.0668 | 96096.1309 | 141275.7028 | 186686.7143 | 229651.2896 | 269875.6503 | 306917.3454 | 341005.3276 | 371976.5018 | 401756.7956 | 429865.044 | 453945.8896 | 476299.4453 | 493202.6207 | 505753.8396 | 515281.0379 | 521743.4343 | 526441.3806 | 526441.3806 | 526441.3806
C - MEEIA-RAP+1/3(MAP-RAP) | 0 | 11222.75 | 22043 | 51431.4825 | 86381.4229 | 124703.6688 | 162604.206 | 197411.2084 | 229238.7527 | 257695.1999 | 283129.7724 | 305089.8728 | 325645.8718 | 344522.3482 | 360201.4124 | 374917.0087 | 385553.4797 | 393125.3219 | 398840.8739 | 402589.0399 | 405413.5182 | 405413.5182 | 405413.5182
D - MEEIA-RAP+2/3(MAP-RAP) | 0 | 11222.75 | 22043 | 53527.2746 | 91238.7769 | 132989.6858 | 174645.4601 | 213531.249 | 249557.2015 | 282306.2727 | 312067.55 | 338533.1873 | 363701.3337 | 387193.6961 | 407073.651 | 425608.227 | 439378.0502 | 449439.5808 | 457060.9559 | 462166.2371 | 465927.4494 | 465927.4494 | 465927.4494
E - Long Term Load Loss | 0 | 11222.75 | 22043 | 49335.6904 | 81524.0689 | 116417.6518 | 150562.9518 | 181291.1678 | 208920.304 | 233084.1272 | 254191.9947 | 271646.5583 | 287590.4099 | 301851.0003 | 313329.1738 | 324225.7904 | 331728.9092 | 336811.0631 | 340620.7919 | 343011.8427 | 344899.587 | 344899.587 | 344899.587
F - MEEIA-1/2 RAP | 0 | 11222.75 | 22043 | 35689.3452 | 51783.5345 | 69230.3259 | 86302.9759 | 101667.0839 | 115481.652 | 127563.5636 | 138117.4974 | 146844.7791 | 154816.705 | 161947.0001 | 167686.0869 | 173134.3952 | 176885.9546 | 179427.0315 | 181331.896 | 182527.4214 | 183471.2935 | 183471.2935 | 183471.2935
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Demand MW
2013 IRP Update
Annual Peak Energy Level of DSM Load Alternatives
KCPL | KCPL
DSM Load Alternative | DSM Annual Peak Energy Level(MW)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - RAP* | 0 | 77.8688 | 107.4586 | 146.3985 | 186.7115 | 231.606 | 275.0659 | 316.4998 | 351.9457 | 381.4633 | 405.4794 | 424.4818 | 429.7202 | 433.1469 | 434.0703 | 432.8288 | 430.4245 | 427.4903 | 424.6923 | 421.6705 | 418.784 | 418.784 | 418.784
B - MAP* | 0 | 82.1972 | 131.1852 | 210.7608 | 293.0397 | 379.451 | 465.8871 | 547.3351 | 623.947 | 695.998 | 762.1601 | 822.4813 | 856.7946 | 868.8806 | 881.4631 | 892.1488 | 900.1256 | 906.4404 | 910.7706 | 914.4264 | 918.007 | 918.007 | 918.007
C - RAP+1/3(MAP-RAP)* | 0 | 79.9716 | 116.8408 | 170.37 | 225.9603 | 286.1809 | 345.5518 | 401.8841 | 452.433 | 497.3725 | 536.4788 | 570.0845 | 585.6934 | 592.5938 | 597.863 | 601.0285 | 602.3311 | 602.5698 | 602.0853 | 601.4378 | 600.83 | 600.83 | 600.83
D - RAP+2/3(MAP-RAP)* | 0 | 82.0743 | 126.223 | 194.3416 | 265.2091 | 340.7559 | 416.0376 | 487.2684 | 552.9203 | 613.2816 | 667.4782 | 715.6872 | 741.6666 | 752.0407 | 761.6557 | 769.2281 | 774.2377 | 777.813 | 780.029 | 781.533 | 782.9328 | 782.9328 | 782.9328
E - Long Term Load Loss | 0 | 58.1538 | 78.0107 | 98.0624 | 135.6163 | 177.3301 | 217.4186 | 255.5774 | 288.2203 | 315.4231 | 337.6547 | 355.4461 | 359.8862 | 362.7893 | 363.4991 | 362.0912 | 359.8396 | 357.1773 | 354.6978 | 352.108 | 349.673 | 349.673 | 349.673
F - MEEIA-RAP | 0 | 58.1538 | 78.0107 | 98.0624 | 135.6163 | 177.3301 | 217.4186 | 255.5774 | 288.2203 | 315.4231 | 337.6547 | 355.4461 | 359.8862 | 362.7893 | 363.4991 | 362.0912 | 359.8396 | 357.1773 | 354.6978 | 352.108 | 349.673 | 349.673 | 349.673
G - MEEIA-1/2 RAP | 0 | 58.1538 | 78.0107 | 98.0624 | 118.2189 | 140.6661 | 162.3961 | 183.1131 | 200.836 | 215.5948 | 227.6028 | 237.104 | 239.7232 | 241.4366 | 241.8983 | 241.2776 | 240.0754 | 238.6083 | 237.2093 | 235.6984 | 234.2551 | 234.2551 | 234.2551
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
GMO | DSM Annual Peak Energy Level(MW) 2013: GMO
DSM Load Alternative | DSM Annual Peak Energy Level(MW) 2013: DSM Annual Peak Energy Level(MW)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - MEEIA-RAP | 0 | 21 | 40 | 91.1962 | 147.2966 | 206.8999 | 267.5705 | 325.236 | 377.6207 | 426.0719 | 469.5848 | 508.488 | 524.5772 | 537.5906 | 549.0822 | 560.3129 | 570.5659 | 578.8814 | 587.1443 | 595.0406 | 603.0505 | 603.0505 | 603.0505
B - MEEIA-MAP* | 0 | 21 | 40 | 112.2099 | 190.1389 | 301.1119 | 412.6751 | 517.4019 | 617.5001 | 714.922 | 805.3325 | 893.2101 | 945.4805 | 998.0977 | 1049.5715 | 1069.9058 | 1095.5524 | 1116.1446 | 1136.6799 | 1155.7181 | 1173.4896 | 1173.4896 | 1173.4896
C - MEEIA-RAP+1/3(MAP-RAP)* | 0 | 21 | 40 | 98.2008 | 161.5774 | 238.3039 | 315.9387 | 389.2913 | 457.5805 | 522.3553 | 581.5007 | 636.7287 | 664.8783 | 691.093 | 715.912 | 730.1772 | 745.5614 | 757.9692 | 770.3228 | 781.9331 | 793.1969 | 793.1969 | 793.1969
D - MEEIA-RAP+2/3(MAP-RAP)* | 0 | 21 | 40 | 105.2053 | 175.8581 | 269.7079 | 364.3069 | 453.3466 | 537.5403 | 618.6387 | 693.4166 | 764.9694 | 805.1794 | 844.5953 | 882.7417 | 900.0415 | 920.5569 | 937.0569 | 953.5013 | 968.8256 | 983.3432 | 983.3432 | 983.3432
E - Long Term Load Loss | 0 | 21 | 40 | 91.1962 | 147.2966 | 206.8999 | 267.5705 | 325.236 | 377.6207 | 426.0719 | 469.5848 | 508.488 | 524.5772 | 537.5906 | 549.0822 | 560.3129 | 570.5659 | 578.8814 | 587.1443 | 595.0406 | 603.0505 | 603.0505 | 603.0505
F - MEEIA-1/2 RAP | 0 | 21 | 40 | 65.5981 | 93.6483 | 123.4499 | 153.7852 | 182.618 | 208.8104 | 233.036 | 254.7924 | 274.244 | 282.2886 | 288.7953 | 294.5411 | 300.1564 | 305.283 | 309.4407 | 313.5721 | 317.5203 | 321.5253 | 321.5253 | 321.5253
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MPS | DSM Annual Peak Energy Level(MW) 2013: MPS
DSM Load Alternative | DSM Annual Peak Energy Level(MW) 2013: DSM Annual Peak Energy Level(MW)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - MEEIA-RAP | 0 | 15.75 | 30 | 68.3972 | 110.4725 | 155.1749 | 200.6778 | 243.927 | 283.2155 | 319.554 | 352.1886 | 381.366 | 393.4329 | 403.193 | 411.8117 | 420.2347 | 427.9244 | 434.1611 | 440.3582 | 446.2805 | 452.2879 | 452.2879 | 452.2879
B - MEEIA-MAP | 0 | 15.75 | 30 | 84.1574 | 142.6042 | 225.8339 | 309.5063 | 388.0514 | 463.1251 | 536.1915 | 603.9994 | 669.9076 | 709.1104 | 748.5733 | 787.1786 | 802.4293 | 821.6643 | 837.1085 | 852.5099 | 866.7886 | 880.1172 | 880.1172 | 880.1172
C - MEEIA-RAP+1/3(MAP-RAP) | 0 | 15.75 | 30 | 73.6506 | 121.183 | 178.7279 | 236.954 | 291.9685 | 343.1854 | 391.7665 | 436.1255 | 477.5465 | 498.6587 | 518.3197 | 536.934 | 547.6329 | 559.1711 | 568.4769 | 577.7421 | 586.4498 | 594.8977 | 594.8977 | 594.8977
D - MEEIA-RAP+2/3(MAP-RAP) | 0 | 15.75 | 30 | 78.904 | 131.8936 | 202.2809 | 273.2302 | 340.0099 | 403.1552 | 463.979 | 520.0625 | 573.727 | 603.8845 | 633.4465 | 662.0563 | 675.0311 | 690.4177 | 702.7927 | 715.126 | 726.6192 | 737.5074 | 737.5074 | 737.5074
E - Long Term Load Loss | 0 | 15.75 | 30 | 68.3972 | 110.4725 | 155.1749 | 200.6778 | 243.927 | 283.2155 | 319.554 | 352.1886 | 381.366 | 393.4329 | 403.193 | 411.8117 | 420.2347 | 427.9244 | 434.1611 | 440.3582 | 446.2805 | 452.2879 | 452.2879 | 452.2879
F - MEEIA-1/2 RAP | 0 | 15.75 | 30 | 49.1986 | 70.2362 | 92.5875 | 115.3389 | 136.9635 | 156.6078 | 174.777 | 191.0943 | 205.683 | 211.7165 | 216.5965 | 220.9058 | 225.1173 | 228.9622 | 232.0805 | 235.1791 | 238.1402 | 241.1439 | 241.1439 | 241.1439
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SJLP | DSM Annual Peak Energy Level(MW) 2013: SJLP
DSM Load Alternative | DSM Annual Peak Energy Level(MW) 2013: DSM Annual Peak Energy Level(MW)
| 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035
A - MEEIA-RAP | 0 | 5.25 | 10 | 22.7991 | 36.8242 | 51.725 | 66.8926 | 81.309 | 94.4052 | 106.518 | 117.3962 | 127.122 | 131.1443 | 134.3977 | 137.2706 | 140.0782 | 142.6415 | 144.7204 | 146.7861 | 148.7602 | 150.7626 | 150.7626 | 150.7626
B - MEEIA-MAP | 0 | 5.25 | 10 | 28.0525 | 47.5347 | 75.278 | 103.1688 | 129.3505 | 154.375 | 178.7305 | 201.3331 | 223.3025 | 236.3701 | 249.5244 | 262.3929 | 267.4764 | 273.8881 | 279.0362 | 284.17 | 288.9295 | 293.3724 | 293.3724 | 293.3724
C - MEEIA-RAP+1/3(MAP-RAP) | 0 | 5.25 | 10 | 24.5502 | 40.3943 | 59.576 | 78.9847 | 97.3228 | 114.3951 | 130.5888 | 145.3752 | 159.1822 | 166.2196 | 172.7732 | 178.978 | 182.5443 | 186.3904 | 189.4923 | 192.5807 | 195.4833 | 198.2992 | 198.2992 | 198.2992
D - MEEIA-RAP+2/3(MAP-RAP) | 0 | 5.25 | 10 | 26.3013 | 43.9645 | 67.427 | 91.0767 | 113.3366 | 134.3851 | 154.6597 | 173.3542 | 191.2423 | 201.2948 | 211.1488 | 220.6854 | 225.0104 | 230.1392 | 234.2642 | 238.3753 | 242.2064 | 245.8358 | 245.8358 | 245.8358
E - Long Term Load Loss | 0 | 5.25 | 10 | 22.7991 | 36.8242 | 51.725 | 66.8926 | 81.309 | 94.4052 | 106.518 | 117.3962 | 127.122 | 131.1443 | 134.3977 | 137.2706 | 140.0782 | 142.6415 | 144.7204 | 146.7861 | 148.7602 | 150.7626 | 150.7626 | 150.7626
F - MEEIA-1/2 RAP | 0 | 5.25 | 10 | 16.3995 | 23.4121 | 30.8625 | 38.4463 | 45.6545 | 52.2026 | 58.259 | 63.6981 | 68.561 | 70.5722 | 72.1988 | 73.6353 | 75.0391 | 76.3207 | 77.3602 | 78.393 | 79.3801 | 80.3813 | 80.3813 | 80.3813
X - Persistence DSM | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Cost
Net Present Value DSM Program Costs
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | NPV
KCPL
A - RAP*
| Program Costs | 15.0965 | 21.6136 | 28.0062 | 34.0069 | 39.2379 | 42.9619 | 45.5219 | 45.36 | 44.5816 | 43.2588 | 42.1997 | 39.2546 | 38.4903 | 37.4682 | 36.3206 | 35.3016 | 33.8095 | 33.24 | 32.8908 | 32.9147 | 362.6942
| Performance Incentive | 0 | 0 | 1.5602 | 1.5602 | 0 | 4.3032 | 4.3032 | 0 | 5.6884 | 5.6884 | 0 | 5.5267 | 5.5267 | 0 | 4.8966 | 4.8966 | 0 | 4.4808 | 4.4808 | 0 | 24.1179
| Total | 15.0965 | 21.6136 | 29.5664 | 35.567 | 39.2379 | 47.265 | 49.8251 | 45.36 | 50.27 | 48.9472 | 42.1997 | 44.7813 | 44.017 | 37.4682 | 41.2172 | 40.1982 | 33.8095 | 37.7209 | 37.3717 | 32.9147 | 386.812
F - 'MEEIA / RAP
| Program Costs | 12.6248 | 13.51 | 14.621 | 29.7412 | 35.0273 | 38.8138 | 41.4838 | 41.6312 | 40.9457 | 39.7221 | 38.781 | 36.1563 | 35.5487 | 34.6737 | 33.6418 | 32.7433 | 31.3653 | 30.9056 | 30.664 | 30.7861 | 315.8622
| Performance Incentive | 0 | 0 | 1.1107 | 1.1107 | 0 | 3.3741 | 3.3741 | 0 | 5.182 | 5.182 | 0 | 5.0766 | 5.0766 | 0 | 4.5211 | 4.5211 | 0 | 4.1544 | 4.1544 | 0 | 20.907
| Total | 12.6248 | 13.51 | 15.7317 | 30.8519 | 35.0273 | 42.1879 | 44.8578 | 41.6312 | 46.1277 | 44.904 | 38.781 | 41.2329 | 40.6253 | 34.6737 | 38.1629 | 37.2644 | 31.3653 | 35.06 | 34.8184 | 30.7861 | 336.7691
B - MAP*
| Program Costs | 52.8548 | 75.339 | 113.9691 | 137.4823 | 160.5716 | 163.0379 | 171.5444 | 169.9884 | 164.9512 | 153.5848 | 142.9437 | 131.3807 | 131.278 | 132.5095 | 131.0528 | 129.6813 | 125.6117 | 123.0621 | 119.8968 | 116.7736 | 1343.9253
| Performance Incentive | 0 | 0 | 5.4482 | 5.4482 | 0 | 17.511 | 17.511 | 0 | 21.4442 | 21.4442 | 0 | 19.6129 | 19.6129 | 0 | 16.7946 | 16.7946 | 0 | 16.4197 | 16.4197 | 0 | 89.4763
| Total | 52.8548 | 75.339 | 119.4173 | 142.9305 | 160.5716 | 180.5488 | 189.0554 | 169.9884 | 186.3955 | 175.029 | 142.9437 | 150.9936 | 150.8908 | 132.5095 | 147.8475 | 146.4759 | 125.6117 | 139.4818 | 136.3165 | 116.7736 | 1433.4016
C - 'RAP + 1/3 (MAP-RAP)*
| Program Costs | 28.4459 | 40.6218 | 58.09 | 70.4522 | 81.9904 | 85.6746 | 90.3754 | 89.8187 | 87.5352 | 82.677 | 78.2081 | 72.1404 | 71.4944 | 71.1437 | 69.8441 | 68.6948 | 66.2923 | 65.1093 | 63.8745 | 62.9361 | 710.7923
| Performance Incentive | 0 | 0 | 2.9354 | 2.9354 | 0 | 8.9476 | 8.9476 | 0 | 11.2994 | 11.2994 | 0 | 10.5579 | 10.5579 | 0 | 9.1281 | 9.1281 | 0 | 8.7053 | 8.7053 | 0 | 47.2973
| Total | 28.4459 | 40.6218 | 61.0253 | 73.3876 | 81.9904 | 94.6223 | 99.323 | 89.8187 | 98.8346 | 93.9764 | 78.2081 | 82.6982 | 82.0523 | 71.1437 | 78.9722 | 77.8229 | 66.2923 | 73.8146 | 72.5798 | 62.9361 | 758.0896
D - 'RAP + 2/3 (MAP-RAP)*
| Program Costs | 40.6503 | 57.9804 | 86.0295 | 103.9672 | 121.281 | 124.3563 | 130.9599 | 129.9036 | 126.2432 | 118.1309 | 110.5759 | 101.7605 | 101.3862 | 101.8266 | 100.4485 | 99.188 | 95.952 | 94.0857 | 91.8856 | 89.8549 | 1027.3588
| Performance Incentive | 0 | 0 | 4.1918 | 4.1918 | 0 | 13.2293 | 13.2293 | 0 | 16.3718 | 16.3718 | 0 | 15.0854 | 15.0854 | 0 | 12.9614 | 12.9614 | 0 | 12.5625 | 12.5625 | 0 | 68.3868
| Total | 40.6503 | 57.9804 | 90.2213 | 108.1591 | 121.281 | 137.5856 | 144.1892 | 129.9036 | 142.615 | 134.5027 | 110.5759 | 116.8459 | 116.4715 | 101.8266 | 113.4098 | 112.1494 | 95.952 | 106.6482 | 104.4481 | 89.8549 | 1095.7456
MEEIA - 1/2 RAP
| Program Costs | 12.6248 | 13.51 | 14.621 | 17.1434 | 19.8162 | 21.6776 | 23.0735 | 23.0458 | 22.7183 | 22.1241 | 21.6543 | 20.2108 | 19.8386 | 19.2984 | 18.6662 | 18.0895 | 17.2733 | 16.9198 | 16.6902 | 16.6534 | 191.7651
| Performance Incentive | 0 | 0 | 1.1107 | 1.1107 | 0 | 2.1922 | 2.1922 | 0 | 2.8814 | 2.8814 | 0 | 2.8261 | 2.8261 | 0 | 2.5223 | 2.5223 | 0 | 2.2962 | 2.2962 | 0 | 12.7992
| Total | 12.6248 | 13.51 | 15.7317 | 18.2542 | 19.8162 | 23.8697 | 25.2657 | 23.0458 | 25.5997 | 25.0055 | 21.6543 | 23.0369 | 22.6647 | 19.2984 | 21.1885 | 20.6118 | 17.2733 | 19.216 | 18.9864 | 16.6534 | 204.5643
Net Present Value DSM Program Costs
|  | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | NPV
GMO
A - 'MEEIA / RAP
| Program Costs | 13.6213 | 13.5574 | 28.5079 | 34.9404 | 41.5568 | 47.1519 | 50.0406 | 51.4297 | 51.784 | 51.0274 | 52.0532 | 51.1411 | 51.1781 | 50.5394 | 50.8301 | 50.7161 | 49.6619 | 49.8981 | 50.5392 | 51.7303 | 422.3364
| Performance Incentive | 0 | 0 | 1.7203 | 1.7203 | 0 | 4.4627 | 4.4627 | 0 | 6.3164 | 6.3164 | 0 | 6.5817 | 6.5817 | 0 | 6.4965 | 6.4965 | 0 | 6.4263 | 6.4263 | 0 | 28.2414
| Total | 13.6213 | 13.5574 | 30.2282 | 36.6607 | 41.5568 | 51.6147 | 54.5033 | 51.4297 | 58.1005 | 57.3438 | 52.0532 | 57.7229 | 57.7598 | 50.5394 | 57.3266 | 57.2126 | 49.6619 | 56.3244 | 56.9656 | 51.7303 | 450.5778
B - 'MEEIA / MAP*
| Program Costs | 13.6213 | 13.5574 | 87.6087 | 111.3884 | 149.8499 | 166.5802 | 179.6594 | 168.3127 | 169.2524 | 165.5146 | 170.7336 | 171.5755 | 175.3923 | 175.5715 | 179.6882 | 179.2321 | 174.2852 | 171.8168 | 169.6114 | 171.0988 | 1371.8708
| Performance Incentive | 0 | 0 | 1.7203 | 1.7203 | 0 | 14.826 | 14.826 | 0 | 21.8685 | 21.8685 | 0 | 21.4838 | 21.4838 | 0 | 22.2079 | 22.2079 | 0 | 22.6612 | 22.6612 | 0 | 89.2984
| Total | 13.6213 | 13.5574 | 89.3291 | 113.1087 | 149.8499 | 181.4062 | 194.4854 | 168.3127 | 191.1209 | 187.3831 | 170.7336 | 193.0593 | 196.8761 | 175.5715 | 201.8961 | 201.44 | 174.2852 | 194.4781 | 192.2727 | 171.0988 | 1461.1692
C - 'MEEIA / RAP + 1/3 (MAP-RAP)*
| Program Costs | 13.6213 | 13.5574 | 49.5836 | 62.2427 | 79.9286 | 89.5632 | 96.1804 | 93.5115 | 94.1033 | 92.3453 | 94.8186 | 94.4906 | 95.8389 | 95.4755 | 97.1361 | 96.9698 | 94.5923 | 94.0113 | 93.8195 | 95.2729 | 763.0396
| Performance Incentive | 0 | 0 | 1.7203 | 1.7203 | 0 | 8.1496 | 8.1496 | 0 | 11.8683 | 11.8683 | 0 | 11.9539 | 11.9539 | 0 | 12.1467 | 12.1467 | 0 | 12.2697 | 12.2697 | 0 | 50.1195
| Total | 13.6213 | 13.5574 | 51.3039 | 63.9631 | 79.9286 | 97.7128 | 104.33 | 93.5115 | 105.9716 | 104.2136 | 94.8186 | 106.4444 | 107.7928 | 95.4755 | 109.2828 | 109.1165 | 94.5923 | 106.281 | 106.0892 | 95.2729 | 813.1591
D - 'MEEIA / RAP + 2/3 (MAP-RAP)*
| Program Costs | 13.6213 | 13.5574 | 68.5961 | 86.8155 | 114.8893 | 128.0717 | 137.9199 | 130.9121 | 131.6778 | 128.9299 | 132.7761 | 133.033 | 135.6156 | 135.5235 | 138.4121 | 138.1009 | 134.4388 | 132.9141 | 131.7155 | 133.1859 | 1067.4552
| Performance Incentive | 0 | 0 | 1.7203 | 1.7203 | 0 | 11.4878 | 11.4878 | 0 | 16.8684 | 16.8684 | 0 | 16.7188 | 16.7188 | 0 | 17.1773 | 17.1773 | 0 | 17.4654 | 17.4654 | 0 | 69.709
| Total | 13.6213 | 13.5574 | 70.3165 | 88.5359 | 114.8893 | 139.5595 | 149.4077 | 130.9121 | 148.5462 | 145.7983 | 132.7761 | 149.7519 | 152.3344 | 135.5235 | 155.5895 | 155.2782 | 134.4388 | 150.3795 | 149.1809 | 133.1859 | 1137.1642
MEEIA - 1/2 RAP
| Program Costs | 13.6213 | 13.5573 | 14.2539 | 17.5077 | 20.8168 | 23.6904 | 25.1749 | 25.9107 | 26.1326 | 25.7947 | 26.3328 | 25.8863 | 25.8894 | 25.5353 | 25.6405 | 25.5413 | 24.9727 | 25.0581 | 25.3498 | 25.9235 | 224.7606
| Performance Incentive | 0 | 0 | 1.7203 | 1.7203 | 0 | 2.2346 | 2.2346 | 0 | 3.178 | 3.178 | 0 | 3.3261 | 3.3261 | 0 | 3.2857 | 3.2857 | 0 | 3.2366 | 3.2366 | 0 | 15.5595
| Total | 13.6213 | 13.5573 | 15.9743 | 19.228 | 20.8168 | 25.925 | 27.4095 | 25.9107 | 29.3106 | 28.9727 | 26.3328 | 29.2124 | 29.2154 | 25.5353 | 28.9262 | 28.827 | 24.9727 | 28.2947 | 28.5864 | 25.9235 | 240.3201

## KCPL DSM Capacity
KCP&L-Missouri
Demand-Side Management Options
RAP = REALISTIC ACHIEVABLE POTENTIAL MAP = MAXIMUM ACHIEVABLE POTENTIAL
* Developed to comply with 2012 KCP&L IRP Joint Filing resolution

## GMO DSM Capacity
GMO
Demand-Side Management Options
RAP = REALISTIC ACHIEVABLE POTENTIAL MAP = MAXIMUM ACHIEVABLE POTENTIAL
* Developed to comply with 2012 KCP&L IRP Joint Filing resolution

## KCPL DSM Cost
KCP&L-Missouri
Demand-Side Management Annual Cost
* Developed to comply with 2012 KCP&L IRP Joint Filing resolution
RAP = REALISTIC ACHIEVABLE POTENTIAL MAP = MAXIMUM ACHIEVABLE POTENTIAL

## GMO DSM Cost
GMO
Demand-Side Management Annual Cost
* Developed to comply with 2012 KCP&L IRP Joint Filing resolution
RAP = REALISTIC ACHIEVABLE POTENTIAL MAP = MAXIMUM ACHIEVABLE POTENTIAL