## Slide 1: Clean Power Plan Compliance Lanny Nickell Presentation to MOPSC EW-2012-0065 Environmental Compliance Workshop

## Slide 2
SPP’S CPP ASSESSMENTS

## Slide 3: Quantitative CPP Assessments
SPP performed three quantitative assessments
  Reliability Impact Assessment: Assessed impact of EPA’s projected generator retirements on transmission system and resource adequacy (Oct 2014)
  Regional Compliance Assessment: Evaluate changes to existing resources and resource plans needed to comply with CPP under a regional compliance approach (Apr 2015)
  State-by-State Compliance Assessment: Evaluate changes to existing resources and resource plans needed to comply with CPP under a regional compliance approach (Jul 2015)
All quantitative assessments to date performed on draft rule

## Slide 4: Qualitative CPP Assessments
SPP has performed two qualitative assessments since the final CPP rule was issued
  Mass-based versus rate-based compliance approach
  Draft Federal Plan
SPP has developed whitepapers that describe its assessments, primarily focusing on reliability and market efficiency concerns
Latest versions of these whitepapers can be found at:
    http://www.spp.org/spp-documents-filings/?id=28580

## Slide 5: Conclusions from SPP’s Assessments*
New generation and transmission infrastructure likely needed to facilitate reliable compliance with CPP
State approaches to compliance that do not rely on market-based carbon trading are more costly and less reliable than regional approach or market-based approaches
State approaches to compliance that do not rely on market-based carbon trading are likely to require more new generation and transmission infrastructure than regional or market-based approaches
*In SPP’s quantitative assessments of the draft rule, the state-by-state approach was characterized by a lack of interstate carbon trading. State plans that incorporate trading ready provisions that are compatible can achieve similar results as the regional approach evaluated by SPP.

## Slide 6: Conclusions from SPP’s Assessments
Both mass-based and rate-based approaches to compliance have advantages and disadvantages
SPP is not currently advocating for one approach but does point out the following:
  An approach that incents addition of more generation and/or retirements of existing generation will impact need for more transmission expansion
  An approach that increases carbon market liquidity improves SPP’s ability to dispatch reliably and efficiently
Flexibility afforded by compliance plan impacts reliability and cost effectiveness more than the mass-based/rate-based decision

## Slide 7
PATH FORWARD

## Slide 8: CPP Compliance Considerations
SPP studies indicate a regional approach to compliance is more cost effective than a state-by-state approach and less disruptive of SPP’s reliability & economic benefits
A regional compliance approach does not have to depend on a single compliance plan for a region, but could be accomplished with compatible state compliance plans that rely on market-based solutions
States are encouraged to develop plans, even if litigating, rather than waiting for EPA’s Federal Plan to be imposed

## Slide 9: CPP Compliance Considerations
SPP is responsible for planning and operating the electric transmission system across its 14-state region and is best equipped to assess reliability impacts of state compliance plans to the SPP region
SPP can best assess reliability impacts to its region by performing a consolidated review of the compliance plans for states operating in SPP
SPP stands ready to assist any way that it can to ensure a reliable, cost effective approach to compliance
SPP is working with its neighbors to develop a coordination plan

## Slide 10: SPP’s Transmission Build Cycle
GI Study (12 mo.)
NTC Process (3-12 mo.)
Construction (2-6 yr.)
Planning Study (12-18 mo.)
TS Study (6 mo.)
NTC Process (3-12 mo.)
Construction (2-6 yr.)
3 ¼ yr.
8 ½ yr.
3 ½ yr.
8 ½ yr.
Transmission Planning Process
GI and Transmission Service Process

## Slide 11
Additional Information
SPP’s 2014 Reliability Assessment Report
http://www.spp.org/documents/23336/CPP%20Reliability%20Analysis%20Results%20Final%20Version.pdf
    SPP’s 2015 Regional Compliance Assessment Report
http://www.spp.org/documents/28611/SPP%20Regional%20Compliance%20Assessment%20Report.pdf
    SPP’s 2015 State-by-State Compliance Assessment Report
http://www.spp.org/Documents/29180/SPP_State_by_State_Compliance_Assessment_Report_20150727.pdf
SPP’s Comparison of Mass-based and Rate-based Approaches
http://www.spp.org/documents/33058/mass-based%20and%20rate-based%20comparison_clean.pdf
SPP’s Assessment of EPA’s Proposed Federal Plan
http://www.spp.org/documents/33057/spp%20assessment%20of%20proposed%20federal%20plan_clean.pdf
11
Notes: 11