M E M O R A N D U M

TO:			Missouri Public Service Commission Official Case File

Case No. SR-2004-0532  (Tariff Work ID No. YS-2004-1264 and

Small Company Rate Increase Request Work ID No. QS-2004-0001)

Timber Creek Sewer Company, Inc.

FROM:		Dale W. Johansen – Project Coordinator

Manager – Water & Sewer Department

Steve Traxler – Auditing Department

Bill Harris – Auditing Department

Nila Hagemeyer – Engineering & Management Services Department

Lisa Kremer – Engineering & Management Services Department

Matthew Barnes – Financial Analysis Department

Bill Nickle – Water & Sewer Department

Steve Jungmeyer – Water & Sewer Department

/s/  Dale W. Johansen			05/21/04

Project Coordinator				   Date

/s/  Cliff E. Snodgrass			05/21/04

General Counsel's Office			   Date

SUBJECT:	Staff's Recommendation for Approval of Tariff Revisions to Effect Changes in Rates for Sewer Service, New & Modified Service Charges and Connection Fees, for Approval of Depreciation Rates, and for Approval of Agreement Regarding Disposition of Small Company Rate Increase Request

DATE:		May 21, 2004

# Background

Timber Creek Sewer Company, Inc. ("Company") initiated the subject small company rate increase request ("Request") by submitting a letter to the Secretary of the Commission, which was received at the Commission's offices on July 15, 2003 (see Attachment A).  The Company submitted its Request under the provisions of Commission Rule 4 CSR 240-3.330, Sewer Utility Small Company Rate Increase Procedure ("Small Company Procedure").

By its Request, the Company was seeking Commission approval of customer rates intended to generate an increase of $80,000 in its total annual sewer service operating revenues, and approval of an increase in its service connection CIAC fee from $1,000 to $1,600.  As stated by the Company in its Request letter, the reasons for the requested increase in its sewer service operating revenues were to meet current operating expenses and to provide an adequate return on investment.

The Company provides sewer service to approximately 640 retail customers in its certificated service areas, the vast majority of which are residential customers, and also provides contract wholesale treatment service to the City of Platte City for approximately 365 residential dwelling units.  The Company's current rates (those set by the Commission in the Company's initial service area certificate case) went into effect on July 1, 1995.

Upon receipt of the Company's letter that initiated the Request, personnel in the Commission's Data Center scanned the letter and entered it into the Commission's electronic filing and information system ("EFIS") and the system assigned Work I.D. No. QS-2004-0001 to the Request.  The Company's letter was then forwarded to the Commission's Water & Sewer Department ("W/S Dept") for processing under the Small Company Procedure.

By a letter dated August 15, 2003, which Staff members in the W/S Dept had previously approved, the Company notified its customers of the Request (see Attachment B).  As a part of this initial customer notice, the Company requested that its customers' questions or comments be directed to the Staff and/or the Office of the Public Counsel ("OPC").

# Staff's Investigation and Conclusions

As noted at the beginning of this Memorandum, Staff members from the Auditing, Engineering & Management Services, Financial Analysis and Water & Sewer Departments, and the General Counsel's Office, participated in the Staff’s investigation of the Company’s Request.  All Staff participants, and their respective up-line supervisors, were provided the opportunity to review and comment on this Memorandum prior to it being filed.  Dale Johansen of the W/S Dept created the initial draft of this Memorandum, and incorporated comments received from the reviewers into the initial draft to create this final version of the Memorandum.

In response to the Company's initial customer notice, the W/S Dept Staff received 5 phone calls and 21 letters regarding the Company's Request.  These customer responses addressed the level of the proposed increase and the design of the Company's rates.  None of these responses addressed service-related problems.  The W/S Dept's customer contact log pertaining to these responses is attached hereto as Attachment C.  The W/S Dept Staff provided copies of the customers' letters to the OPC shortly after the customer comment period ended.

Based upon an audit of the Company's books and records, a determination of the Company's rate base investments and necessary operating expenses, an evaluation of the Company's depreciation rates and an analysis of the Company's capital structure and cost of capital, and an investigation of the Company's business and system operations, the Staff concluded that an increase of $80,000 in the Company's annual sewer service operating revenues is warranted.  (The Staff’s audit results would actually have supported an increase of over $125,000 in the Company’s operating revenues; however, the Company’s Request specified a requested increase of $80,000 and that is thus the maximum increase that can be granted.)

In addition to its conclusion regarding the increase in the Company's annual operating revenues, the Staff concluded that modified depreciation rates need to be prescribed for the Company, and that certain changes in the Company’s miscellaneous service charges, service connection CIAC fees and business operations are warranted.

Subsequent to completing its audit and investigation, the Staff forwarded its results and conclusions, and various supporting documents, to representatives of the Company and the OPC for their review and response.

# Responses to Staff's Findings and Subsequent Actions

Pursuant to negotiations held subsequent to the Company's and the OPC's receipt of the above-referenced information regarding the results of the Staff’s audit and investigation of the Company's Request, a written Agreement Regarding Disposition of Small Company Rate Increase Request (“Disposition Agreement”) was reached between the Company and the Staff.  The Company and the Staff also reached an agreement regarding the tariff revisions needed to implement the terms of the Disposition Agreement.

The Disposition Agreement reflects the following agreements: (1) that an increase of $80,000 in the Company’s annual sewer service operating revenues is appropriate; (2) that an increase in the Company's service connection CIAC fees is appropriate; (3) that certain changes to the Company’s miscellaneous service charges are appropriate; (4) that certain changes to the Company's business operations are appropriate; (5) that modified depreciation rates need to be prescribed for the Company; (6) that the rates included in the above-referenced agreed-upon tariff revisions are designed to generate revenues sufficient to recover the agreed-upon operating revenue increase of $80,000; and (7) that the rates included in the above-referenced agreed-upon tariff revisions are just and reasonable.  The specific agreements between the Company and the Staff are set out on pages 2 & 3 of the Disposition Agreement, which the Staff filed in this case on April 19, 2004 (hereafter all dates refer to the year 2004 unless otherwise noted) and which can be found in the case file as EFIS item no. 3.

By a letter that was stamped received by personnel in the Commission’s Data Center on April 15, 
the Company submitted revised tariff sheets including the agreed-upon tariff revisions that are necessary to implement the terms of the Disposition Agreement.  Upon receipt of that tariff filing, Data Center personnel scanned the filing and entered it into EFIS, and the instant case was created (the transmittal letter and revised tariff sheets are EFIS item no. 1 in the case file).

As required by the Small Company Procedure, the subject revised tariff sheets bore an effective date that was more than 45 days past the issue date.  As is also required by the Small Company Procedure, the above-referenced Disposition Agreement has been filed in the case papers.  (As noted previously, the Staff filed the Disposition Agreement, EFIS item no. 3, on April 19.)

Since the above-referenced Disposition Agreement was only between the Company and the Staff, 
the Small Company Procedure requires that a notice regarding the terms of the Disposition Agreement be sent to the Company's customers.  However, before the Company filed its tariff revisions, the OPC had advised the Company and the Staff that it intended to request a local public hearing regarding the Company's Request and the Staff/Company Disposition Agreement shortly after the Company filed its tariff revisions.  As a result, the OPC suggested that a single customer notice pertaining to the Disposition Agreement and the local public hearing would be appropriate in this instance, and the Company and the Staff agreed.  Accordingly, the Company did not immediately send a notice to its customers regarding the Disposition Agreement, but instead waited for the OPC to file its request for a local public hearing.

On April 19, the OPC filed its request for a local public hearing in this case (EFIS item no. 4 in the case file).  On April 27, in response to an Order that the Commission issued on April 22, the OPC filed additional information in support of its request for a local public hearing (EFIS item no. 6 in the case file), which mainly consisted of copies of customer letters received in response to the Company's initial customer notice.  On April 30, the Commission issued its Order scheduling a local public hearing and directing the Company to send notice of that hearing to its customers.

By a notice dated May 7, which Staff members in the W/S Dept had previously approved, the Company notified its customers of the local public hearing and the terms of the Disposition Agreement.  As a part of that notice, the Company requested that its customers' questions or comments be directed to the Staff and/or the OPC.  In response to this customer notice, which is attached hereto as Attachment D, the W/S Dept Staff received 1 phone call, 1 letter, and 1 e-mail message.  These customer responses generally addressed the amount of the increase, but also addressed some additional matters such as the type of information included in the notice.  None of these responses addressed service-related matters.  A copy of the letter and a printout of the e-mail correspondence are included as Attachment E to this Memorandum.

On May 17, the Commission held the local public hearing for this case as scheduled.

# Issues Raised at the Local Public Hearing

At the local public hearing on May 17, customers raised four issues to which the Staff believes responsive comments are warranted.  These issues are: (1) the customer numbers used in the Staff's calculations of the Company's revenues and customer rates; (2) the use of a monthly "flat" rate vs. a volumetric rate; (3) the increase in the Company's service connection CIAC fee; and (4) reviews of the Staff's audit results.  A brief overview of the testimony and the Staff's responsive comments regarding each of these issues are set out below.

Issue 1	Regarding the customer numbers used by the Staff to calculate the Company’s revenues and customer rates, one witness stated that research of information available from the Platte County Planning and Zoning Department indicated that there are approximately 890 residences in the portion of Platte County outside the city limits of Platte City in which the Company’s service areas are located.  However, it was not clear exactly what type of inquiries the customer made to arrive at this number, nor was it clear whether the customer’s research only included the Company’s established service areas.

Regarding this matter, the Staff notes that the customer numbers it used in its calculations of the Company’s revenues and customer rates are based upon a detailed review of the Company’s billing records of customers receiving service from the Company.

Issue 2	Regarding the matter of "flat" rates vs. volumetric rates, one customer testified that it would be fairer to the Company's customers if volumetric rates were established.  In this regard, the Staff notes that the Company provides only sewer service to its customers and thus does not directly possess the water usage information needed to develop volumetric rates.  Additionally, Company representatives have advised the Staff that the water service provider in its service areas has been reluctant to enter into an agreement whereby it would provide customer usage information to the Company.

The Staff notes that it agrees with the customer's preference for a usage based rate, and thus believes it would be appropriate for the Company to pursue an agreement with the water service provider for the provision of customer water usage information.  However, the Staff also notes that such an agreement would most likely come with a price for the information and thus that such an agreement, if available, should be implemented in conjunction with the Company's plans for its next rate increase request.

Issue 3	Regarding the matter of the proposed increase in the Company's service connection CIAC fee, one customer expressed concerns that the increase might dampen development in the Company's service area.  Additionally, another customer was apparently confused as to how this fee is applied.  First, the Staff notes that this fee is intended to recover the costs that the Company incurs when establishing service to new customers, and that the amount of the fee is based upon the Company's current costs for doing so.  Second, this fee applies only to new service connections and is paid by the applicant for the service connection, whether that is a developer, a builder or a customer.  And third, this is not a recurring fee and the proposed increase in the fee will have no impact on the Company's existing customers.

Additionally, generally speaking, the proper reflection of current costs for such CIAC fees is a benefit to existing customers of a company, in that these fees offset plant investments related to providing service to a specific customer.  Absent such fees, such plant investments would be included in the company's ratemaking rate base and thus recovered through the rates paid by all customers.  Lastly, it should also be noted that there is no long-term benefit to a company, nor long-term detriment to ratepayers, if these types of fees exceed the actual costs they are intended to recover.  In such situations, any "excess fees" collected are reflected as an offset to plant investments for future ratemaking purposes.

Issue 4	Regarding the matter of the review of the Staff's audit results, one customer stated the opinion that it is "abhorrent" that the Staff's audit is not reviewed by an "outside" party.

In this regard, the Staff simply notes, as the Commission is well aware (and as the attendees at the local public hearing were advised during the informal question-and-answer session before the hearing) that its audit results are in fact reviewed by "outside" parties in that they are reviewed by the involved company and the OPC, which obviously have different interests, and the Commission itself.  As a result, any concerns regarding the lack of review, independence or accuracy of the Staff's audit results are misplaced.

# Additional Information

In addition to the previously referenced Attachments and case filings, the following work papers and documents are included with this Memorandum: (1) the Staff’s ratemaking income statement, rate design worksheet and customer bill comparison are included in Attachment F; (2) the Staff's cost of capital worksheet is included in Attachment G; (3) the Staff's revenue requirement audit work papers are included in Attachment H; and (4) the Staff's overview of the Company and its customer service procedures and practices is included in Attachment I.

Pursuant to a review of available electronic information maintained by the Commission's Budget & Fiscal Services Department and Data Center, and in EFIS, the Staff notes that the Company was current on the payment of its Commission assessments and on the submission of its Commission annual reports when it submitted its Request, as is required by the Small Company Procedure.  The Staff also notes that the Company remains current on those matters as of the date of this Memorandum.  The assessment information reviewed covers fiscal years 1996 through 2004, and the annual report information reviewed covers calendar years 1997 through 2003.

Additionally, the Staff notes that the Company currently has no other matters pending before the Commission, and that approval of the subject tariff revisions will thus not affect any other matter before the Commission with regard to the Company.

# Staff's Recommendations

Based upon the above, the Staff recommends that the Commission issue an order in this case that:

(1)	Approves the revised tariff sheets that the Company filed on April 15, 2004, to be effective for service rendered on and after June 1, 2004;

(2)	Approves the Disposition Agreement submitted in this case;

(3)	Prescribes the depreciation rates set out on Attachment D to the Disposition Agreement as the depreciation rates authorized for the Company's use;

(4)	Directs the Company to comply with the terms of the Disposition Agreement;

(5)	Directs the Company to investigate whether an agreement for obtaining the customer water usage data needed to develop a volumetric customer rate can be reached with the water service provider in its service areas, and, if so, the costs associated with such an agreement; and

(6)	Directs the Company to provide the results of the investigation referenced in recommendation (5) to the Manager of the Water & Sewer Department within 6 months after this case is closed.

## List of Attachments

Attachment A:		Letter Requesting Rate Increase

Attachment B:		Initial Customer Notice

Attachment C:		Customer Contact Log re: Initial Customer Notice

Attachment D:		Customer Notice re: Local Public Hearing

Attachment E:		Customer Contacts re: Notice of Local Public Hearing

Attachment F:		Ratemaking Income Statement, Rate Design

Worksheet and Customer Bill Comparison

Attachment G:		Cost of Capital Worksheet

Attachment H:		Revenue Requirement Audit Work Papers

Attachment I:		Overview of Company and Customer Service Operations