# Residential New Construction Program

## Program Description

The Residential New Construction Program is designed to promote the construction of energy-efficient homes by providing incentives to developers, builders or buyers to install high-efficiency heating, cooling and water-heating systems, as well as ENERGY STAR-certified lighting and appliances. This program promotes a comprehensive approach to overall efficiency that is designed to minimize the lost opportunities for energy savings in each structure. The program provides both a prescriptive path and a performance path to ensure homes meet the program standards for efficiency. All qualifying equipment for the program will be required to be ENERGY STAR-certified or, for measures for which ENERGY STAR certification is not applicable, comparably rated for high efficiency.

## Measures and Incentives

Builders, developers, and buyers of participating homes may meet the program’s efficiency standards by either installing a prescribed set of energy efficiency measures or by demonstrating that the homes conform to the program’s specified energy-consumption standards. While the prescriptive path does offer some trade-offs between measures, a specific set of measures was used determine measure applicability, to develop program savings estimates, and to assess the program’s cost-effectiveness. Table 1 shows the variety of measures that may be installed to meet either prescriptive or performance requirements.

Table 1. Residential New Construction

Measure Description

CFL fixtures

CFL bulbs

LED interior lighting

ENERGY STAR dishwashers

ENERGY STAR clothes washers

ENERGY STAR refrigerators

Leak proof duct fittings

Drain water heat recovery

Low-flow showerheads

Faucet aerators

ENERGY STAR windows

ENERGY STAR room air conditioners

High-efficiency air source heat pumps

ENERGY STAR ceiling fans

Incentives of $1,000 per home will be offered for homes that meet the program’s prescriptive requirements, or that demonstrate they meet the program’s performance requirements through a Home Energy Rating. These homes must have a heat pump with a minimum SEER of 13 and a minimum HSPF of 8.5.

Builders, developers, and buyers of new homes with central non-electric heating will be eligible for incentives for high-efficiency hard-wired lighting, and hard-wired appliances (including appliances such as dishwashers and refrigerators that are commonly builder/developer-installed).

## Target Market and Participation

The program will target builders, developers, and individual end-use customers who are constructing new residential facilities in Aquila’s Missouri service area. The program will make a concerted effort to include new multi-family structures in the program.

Projected participation in the program is shown in Table 2.

Table 2. Program Participation

|  | ENERGY STAR Home Participants |
| --- | --- |
| Year 1 | 581 |
| Year 2 | 1,464 |
| Year 3 | 2,343 |
| Year 4 | 1,987 |
| Year 5 | 1,850 |

## Program Promotion and Delivery

Residential new construction programs have historically been challenging to implement because builders and developers make decisions that affect the homes’ energy consumption, yet it is home buyers who reap the benefits (or costs) of those decisions (i.e., these programs suffer from split incentives). To help overcome this difficulty, residential new construction program managers across the U.S. have found that employing a “market brand” helps create a demand for new energy-efficient homes. Such branding can be used to successfully give credibility and trustworthiness to new homes programs and the residences they certify. A key component of Aquila’s promotional effort will therefore involve the development of a “brand” that differentiates its energy-efficient homes from standard new homes in its service area. Aquila will then use the brand in its promotional activities with consumers, contractors, builders, developers, and home rating professionals.

Extensive outreach to private sector trade allies, in the form of phone, mail, email, in-person visits, and a presence at industry meetings and events, will be conducted to gain trade allies’ buy-in and support of the program. Aquila’s marketing and communications efforts will emphasize targeted, education-oriented marketing materials to customers to stimulate increased demand for energy-efficient new homes. Such outreach and education has proven crucial to the success of new construction programs offered elsewhere in the county.

For trade allies who are interested in participating, Aquila’s outreach efforts will also include training sessions and document-preparation and submission assistance.

After participating builders submit the initial program documentation, a HERS rating will be required for each candidate home.

All participating homes will be required to be inspected at project completion. Based on the experience of others, Aquila will convey that the inspections are viewed as partnership-building events, rather than as policing activities. Builders will be given the opportunity to resolve any issues identified during the inspections.

Along with using its new home “brand” to market the program, Aquila will use the brand in its certification and labeling of qualifying new homes. Participating homes will receive the energy-efficient label, and participating builders will receive incentive checks, once the homes have passed the final inspection.

## Annual Energy and Demand Savings

Projected annual kW and kWh savings are shown in Table 3.

Table 3. Annual Program Impacts

|  | Incremental Impacts |  | Cumulative Impacts |  |
| --- | --- | --- | --- | --- |
|  | kW | kWh | kW | kWh |
| Year 1 | 164 | 641,496 | 164 | 641,496 |
| Year 2 | 378 | 1,481,958 | 542 | 2,123,454 |
| Year 3 | 644 | 2,523,902 | 1,186 | 4,647,356 |
| Year 4 | 608 | 2,384,571 | 1,794 | 7,031,927 |
| Year 5 | 609 | 2,388,324 | 2,403 | 9,420,251 |

## Tracking and Evaluation

Aquila will use an electronic database to track program parameters and performance. To the extent possible, the tracking system will be developed to include quality control on data entry and processing, automate repetitive or routine tasks, and simplify overall program administration. The database will track the number of homes participating in each component of the program. For each participating home, the database will also contain fairly thorough documentation about the home’s size, thermal insulation, and hard-wired appliances.

Impact evaluations will be used to assess the per-participant savings assumptions. The impact  assessments will draw on input from trade allies and customers regarding baseline construction practices, and possibly some short-term monitoring and/or bill analysis from sample customer systems.

Market changes attributed to the program, such as increased market share of energy-efficient  homes, increased availability of Home Energy Rating providers, and growing recognition and demand for energy-efficient new construction will also be assessed through ongoing surveys of builders representing at least 25% of the new home construction within Aquila’s service territory. The surveys will ascertain current practice for insulation, windows, HVAC, water heating and appliance efficiency levels.

Aquila’s implementation staff will be included in the evaluation process. Aquila will use information and recommendations gleaned from the evaluations to make adjustments and improvements to the Residential New Construction Program as opportunities for program revisions arise.

## Program Budget

The proposed budget for year one of the program is $198,700 and is comprised of the components shown in Table 4. The total budgets for program years two through five are shown in Table 5.

Table 4. Program Budget—Year 1

| Total Annual Budget | $198,700 |
| --- | --- |
| Incentives | $76,400 |
| Home Ratings or Inspections | $23,200 |
| Program Administration | $37,500 |
| Marketing & Communications | $32,000 |
| Evaluation | $29,600 |

Table 5. Program Budget—Years 2 to 5

| Year 2 | $350,200 |
| --- | --- |
| Year 3 | $517,800 |
| Year 4 | $489,500 |
| Year 5 | $490,200 |

## Cost-effectiveness Results

The cost-effectiveness results of the Residential New Construction Program are shown in Table 6.

Table 6. Residential New Construction Program 
Cost-effectiveness Results

|  | Benefits | Costs | Net Benefits | B/C |
| --- | --- | --- | --- | --- |
| Total Resource | $23,696,859 | $11,499,578 | $12,197,281 | 2.06 |
| Utility | $23,696,859 | $6,074,602 | $17,622,257 | 3.90 |
| Participant | $31,979,679 | $5,424,977 | $26,554,703 | 5.89 |
| Ratepayer Impact | $23,696,859 | $38,054,281 | $(14,357,422) | 0.62 |

Quantum Consulting, Vol. R8, p. R8-2.

Quantum Consulting, Vol. R8, p. R8-36.