Before the Public Service Commission

of the State of Missouri

| In the Matter of the Adequacy of Laclede Gas Company's Service Line Replacement Program and Leak Survey Procedures. | ))) | Case No. GO-99-155 |
| --- | --- | --- |

UPDATE TO THE COMMISSION CONCERNING 
FILING OF THREE-YEAR STATUS REPORT

COMES NOW the Staff of the Missouri Public Service Commission and, in response to the Commission’s February 16, 2002 Order Acknowledging Report and Directing Filing, states:

1.  On October 14, 1998, Staff filed a motion to open a case to investigate the adequacy of Laclede Gas Company’s (Laclede or Company) current direct-buried-copper-service-line replacement program and the effectiveness of the Company’s leak survey procedures and investigations.

2.  On October 30, 1998, the Commission issued an Order Establishing Case for the purpose of receiving information relevant to the adequacy of Laclede’s copper service line replacement program and the effectiveness of the Company’s leak surveys and investigations.

3.  On January 3, 2000, the Parties to the case filed a Partial Unanimous Stipulation and Agreement.

4.  On February 18, 2000, the Parties filed a Unanimous Stipulation and Agreement.  Agreement 7(h) states that:  “[a]fter the third year of this program, Laclede and the Gas Safety Staff will review the progress and results of the Company’s Copper Service Safety Program to determine future relay/renewal plans, including the rate of such future actions, potential modifications to survey techniques and other related matters.”

5.  On October 28, 2002, the Staff filed a Staff Update Report to Laclede's Copper Service Line Program Pertaining to Case No. GO-99-155, that summarized data obtained during Staff's ongoing monitoring of the program's progress.  This Update Report, with information available through October 2002, indicated Laclede was in compliance with the requirements of the Unanimous Stipulation and Agreement, and Staff expected Laclede to meet their 2002-2003 (through March 1, 2003) goal of 8,000 renewals.  Staff continues to monitor the adequacy of Laclede's direct-buried-copper-service-line replacement program and the effectiveness of the leak surveys and investigations, and believe the program is progressing as designed.

6.  In the Unanimous Stipulation and Agreement, Laclede agreed to provide its annual program report to Staff no later than April 30, 2003.

7.  The Company’s 2003 annual bar-hole survey will begin in early spring and will be completed by July 1st.  Staff believes that information from the results of that survey are pertinent to and a necessary part of the three-year review of the program.

8.  Staff therefore requests sufficient time, of up to August 1, 2003, to complete its analysis and to provide the Commission with a comprehensive update report detailing the results of the first three years of Laclede’s copper-service-line program as required by the Unanimous Stipulation and Agreement in GO-99-155.

9.  Staff sponsors the August 1st deadline to allow time for thorough review of Laclede’s April 30 report and to permit the 2003 bar-hole survey results to be incorporated within Staff’s report to the Commission.

10.  If, at any time during its monitoring and review of this program, Staff believes that changes to the program are necessary, Staff will file a notice with the Commission to recommend that the Commission order corrective action to address staff’s concerns.

WHEREFORE, the Staff respectfully requests that the Commission approve the August 1, 2003 deadline for its report to the Commission so that Staff’s report can include up-to-date and pertinent information.

Respectfully submitted,

DANA K. JOYCE									General Counsel

/s/ Lera L. Shemwell

Lera L. Shemwell

Senior Counsel

Missouri Bar No. 43792

Attorney for the Staff of the

Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-7431 (Telephone)

(573) 751-9285 (Fax)

lerashemwell@psc.state.mo.us

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, sent by facsimile, sent by email or hand-delivered to all counsel of record this 5th day of March, 2003.

/s/ Lera L. Shemwell