Before the Public Service Commission

Of the State of Missouri

| In the Matter of the Application of Calvey Brook Water, Inc. for a Certificate of Convenience and Necessity Authorizing It to Construct, Install, Own, Operate, Control, Manage, and Maintain a Water System for the Public, Located in an Unincorporated Area of Franklin County, Missouri. | )))))))) | # Case No. WA-2004-0280 |
| --- | --- | --- |

STAFF RECOMMENDATION

COMES NOW the Staff of the Missouri Public Service Commission and, for its Staff Recommendation, states to the Missouri Public Service Commission as follows:

1.  On January 8, 2004, Calvey Brook Water, Inc. filed an Application with the Commission, requesting that it be granted a Certificate of Convenience and Necessity to provide water service to the public in an unincorporated portion of Franklin County, Missouri.

2.  Section 393.170 (3), RSMo 2000 provides, among other things, that the Commission may issue a certificate if it is “necessary or convenient for the public service.”  See also In the Matter of Tartan Energy Company, et al., 3 Mo. PSC 3d 173, 177 (1994), wherein the Commission set forth five criteria that should be met before a certificate may be issued.

3.  The Staff believes that Calvey Brook has met the criteria established by the Commission and specified in Section 393.170 (3).

4.  In the attached Memorandum, which is labeled Appendix A, the Staff recommends that the Commission issue an order that:

- Grants a Certificate of Convenience and Necessity for Calvey Brook to provide water service to the unincorporated portion of Franklin County, Missouri that is described in the Application;

- Requires Calvey Brook to submit a complete tariff specifying a monthly minimum rate of $36.36 (including 3,000 gallons of usage) plus $2.05 for each additional 1,000 gallons used per month, and specifying the agreed-upon connection fees;

- Approves the depreciation schedule that is attached to the Memorandum;

- Requires Calvey Brook to submit semi-annual customer connection reports to the Staff; and

- Recognizes that nothing in this Staff Recommendation shall bind the Commission on any future ratemaking issue in any future proceeding.

WHEREFORE, the Staff submits this Staff Recommendation to the Commission.

Respectfully submitted,

DANA K. JOYCE

General Counsel

/s/ Keith R. Krueger

____________________________________

Keith R. Krueger

Deputy General Counsel

Missouri Bar No. 23857

Attorney for the Staff of the

Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-4140 (Telephone)

(573) 751-9285 (Fax)

keith.krueger@psc.mo.gov

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, transmitted by facsimile or electronically mailed to all counsel of record this 6th day of May 2004.

/s/ Keith R. Krueger

____________________________________