## Tariff Rate
The Empire District Electric Company (d.b.a. Liberty)
Net Metering Rate Calculation
January 2023
Line No. | Description: |  | Summer | Winter | Source
1. | Avoided Energy Cost |  | 0.051745 | 0.047477 | Calculation derived from EnCompass Model Data
2. | Transmission Loss Factor |  | 1.0393 | 1.0393 | 2021 Loss Study (2020 Data) performed pursuant to 20 CSR 4240-20.090(13).
3. | Cogeneration Purchase Rate |  | 0.053779 | 0.049344 | Calculated: Line 1 * Line 2
4. | Summer / Winter Differential |  | 8.988%
Note: | Costs are averaged for 2023-2024 cost years.
Note: | The Summer period is the four months of June through September.
Note: | The Winter period is the remaining eight months.
Average Marginal Costs
|  | 2023 |  |  | 2024
| SUMMER | Avg Marg $ | Hours |  | Avg Marg $ | Hours
| Average Marginal Costs On-Peak | 68.2444 | 1360 |  | 52.9538 | 1344
| Average Marginal Costs Off-Peak | 48.998 | 1568 |  | 39.2709 | 1584
|  |  | 2928 |  |  | 2928
WINTER
| Average Marginal Costs On-Peak | 61.0756 | 2704 |  | 45.6177 | 2752
| Average Marginal Costs Off-Peak | 48.1546 | 3128 |  | 36.5465 | 3104
|  |  | 5832 |  |  | 5856
AVOIDED ENERGY COST
( Marginal cost *on-peak/off-peak hours ) / total hours
| SUMMER | 2023 |  |  | 2024
| On-Peak | 31.6982 |  |  | 24.3067
| Off-Peak | 26.2394 |  |  | 21.2449 |  | 2023-2024 Average
|  | 57.9376 |  |  | 45.5516 |  | 51.7446
| WINTER | 2023 |  |  | 2024
| On-Peak | 28.3176 |  |  | 21.4378
| Off-Peak | 25.8278 |  |  | 19.3716 |  | 2023-2024 Average
|  | 54.1454 |  |  | 40.8095 |  | 47.4774

## Marginal Cost Summary
Assumptions
*Winter months are January-May, October - December
*Summer months are June-September
*On peak hours are M-F 06:00-22:00
*Off peak hours are M-F 00:00-06:00, 22:00-24:00, weekends,
and NERC holidays
Average Marginal Costs $/Mwh
Year | Annual Avg Marg Cost | Summer On-Peak Avg Marg Cost | Summer Off-Peak Avg Marg Cost | Winter On-Peak Avg Marg Cost | Winter Off-Peak Avg Marg Cost
2023 | 56.5998 | 68.2444 | 48.998 | 61.0756 | 48.1546
2024 | 43.2264 | 52.9538 | 39.2709 | 45.6177 | 36.5465
2025 | 42.7195 | 53.2455 | 39.9066 | 44.0162 | 36.1471
2026 | 41.7346 | 52.8172 | 40.2318 | 42.4373 | 34.9412
2027 | 40.3245 | 51.8512 | 39.8149 | 40.1156 | 33.8934
2028 | 39.6092 | 52.2135 | 40.5493 | 38.3926 | 33.0559
2023
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1360 | 15.53% | 68.2444
Summer Off-Peak |  | 1568 | 17.9% | 48.998
Total Summer |  | 2928 | 33.42% | 56.2989
Winter On-Peak |  | 2704 | 30.87% | 61.0756
Winter Off-Peak |  | 3128 | 35.71% | 48.1546
Total Winter |  | 5832 | 66.58% | 56.8147
Total |  | 8760 | 100% | 56.5998
2024
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1344 | 15.34% | 52.9538
Summer Off-Peak |  | 1584 | 18.08% | 39.2709
Total Summer |  | 2928 | 33.42% | 44.2439
Winter On-Peak |  | 2752 | 31.42% | 45.6177
Winter Off-Peak |  | 3104 | 35.43% | 36.5465
Total Winter |  | 5856 | 66.85% | 42.4996
Total |  | 8784 | 100% | 43.2264
2025
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1360 | 15.53% | 53.2455
Summer Off-Peak |  | 1568 | 17.9% | 39.9066
Total Summer |  | 2928 | 33.42% | 44.6529
Winter On-Peak |  | 2720 | 31.05% | 44.0162
Winter Off-Peak |  | 3112 | 35.53% | 36.1471
Total Winter |  | 5832 | 66.58% | 41.3386
Total |  | 8760 | 100% | 42.7195
2026
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1392 | 15.89% | 52.8172
Summer Off-Peak |  | 1536 | 17.53% | 40.2318
Total Summer |  | 2928 | 33.42% | 44.1225
Winter On-Peak |  | 2704 | 30.87% | 42.4373
Winter Off-Peak |  | 3128 | 35.71% | 34.9412
Total Winter |  | 5832 | 66.58% | 40.029
Total |  | 8760 | 100% | 41.7346
2027
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1376 | 15.71% | 51.8512
Summer Off-Peak |  | 1552 | 17.72% | 39.8149
Total Summer |  | 2928 | 33.42% | 43.0547
Winter On-Peak |  | 2720 | 31.05% | 40.1156
Winter Off-Peak |  | 3112 | 35.53% | 33.8934
Total Winter |  | 5832 | 66.58% | 38.3744
Total |  | 8760 | 100% | 40.3245
2028
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1360 | 15.53% | 52.2135
Summer Off-Peak |  | 1568 | 17.9% | 40.5493
Total Summer |  | 2928 | 33.42% | 43.4559
Winter On-Peak |  | 2720 | 31.05% | 38.3926
Winter Off-Peak |  | 3136 | 35.8% | 33.0559
Total Winter |  | 5856 | 66.85% | 36.8616
Total |  | 8784 | 100% | 39.6092

## Price Pivot
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)

## Price Data
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)
Scenario | RunID | BA | Area | Year | Month | Peak (MW) | Coincident Peak (MW) | Capacity (MW) | Firm Capacity (MW) | Net Capacity Imports (MW) | Reserve Margin (%) | Load Factor (%) | Energy (GWh) | Sales (GWh) | Purchases (GWh) | Net Generation (GWh) | Total Production Cost ($000) | Profitability ($000) | Average Production Cost ($/MWh) | Load Wt Price ($/MWh) | Optimized Production Cost ($000) | Energy Market Cost ($000) | Capacity Market Cost ($000) | Sales Value ($000) | Purchase Cost ($000) | RTC Price ($/MWh) | On-Peak Price ($/MWh) | Off-Peak Price ($/MWh) | Non-Spin Price ($/MWh) | Spin Price ($/MWh) | Reg Up Price ($/MWh) | Reg Down Price ($/MWh) | Supp Up Price ($/MWh) | Supp Down Price ($/MWh) | Capacity Price ($/kW-mth) | LOLH (hours) | LOLE (days) | EUE (MWh) | Curtailed (MWh) | Peak After EE (MW) | Peak After Solar (MW) | Peak After Batteries (MW) | Non Spinning (GWh) | Spinning (GWh) | Reg Up (GWh) | Reg Down (GWh) | Supp Offline (GWh) | Supp Up Online (GWh) | Supp Down (GWh)

## Hour Data
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)

## Load & Capability
Liberty - Empire District Electric | [11 empty] | Liberty - Empire District Electric
Load and Capability Forecast (SUMMER) | [11 empty] | Load and Capability Forecast (WINTER)
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4) | [11 empty] | HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)
Year | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | Year | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033
Projected : | [11 empty] | Projected :
Gross Peak(1) | [11 empty] | Gross Peak(1)
Interruptible | [11 empty] | Interruptible
Net Peak with Interruptible | [11 empty] | Net Peak with Interruptible
Iatan | [11 empty] | Iatan
Iatan 2 | [11 empty] | Iatan 2
Plum Point (own) | [11 empty] | Plum Point (own)
Riverton 10 | [11 empty] | Riverton 10
Riverton 11 | [11 empty] | Riverton 11
Riverton 12 | [11 empty] | Riverton 12
Riverton RICE (3) | [11 empty] | Riverton RICE (3)
Energy Center 1 | [11 empty] | Energy Center 1
Energy Center 2 | [11 empty] | Energy Center 2
Energy Center 3 | [11 empty] | Energy Center 3
Energy Center 4 | [11 empty] | Energy Center 4
State Line 1 | [11 empty] | State Line 1
State Line C.C. | [11 empty] | State Line C.C.
Ozark Beach | [11 empty] | Ozark Beach
Plum Point PPA (50 MW) | [11 empty] | Plum Point PPA (50 MW)
Elk River Wind Farm PPA (150 MW) | [11 empty] | Elk River Wind Farm PPA (150 MW)
Meridian Way Windfarm PPA (105 MW) | [11 empty] | Meridian Way Windfarm PPA (105 MW)
Neosho Ridge Wind (301 MW)(2) | [11 empty] | Neosho Ridge Wind (301 MW)(2)
North Fork Ridge Wind (149 MW)(2) | [11 empty] | North Fork Ridge Wind (149 MW)(2)
King's Point Wind (149 MW)(2) | [11 empty] | King's Point Wind (149 MW)(2)
System Sale | [11 empty] | System Sale
Total Capacity | [11 empty] | Total Capacity
Reserve Margin Required | [11 empty] | Reserve Margin Required
Capacity Margin Required | [11 empty] | Capacity Margin Required
Capacity Responsibility | [11 empty] | Capacity Responsibility
Capacity Balance | [11 empty] | Capacity Balance
Reserve Margin | [11 empty] | Reserve Margin
Capacity Margin | [11 empty] | Capacity Margin
(1) New Community Solar and Distributed Solar projects (per 2022 IRP) are included as a reduction to peaks and load
(2) ELCC accreditation per SPP Planning Criteria wind generators
(3) From 2022 IRP
CM = (Total Cap - Peak)/Total Cap
RM = (Total Cap - Peak)/Peak

## Avoided Capacity
SPP CONE |  | Avoided Capacity
$/kW-yr | Months | $/kW-month
85.61 | 12 | 7.1342

## 2021 NSI
THE EMPIRE DISTRICT ELECTRIC COMPANY -- SUMMARY OF FUEL AND PURCHASED POWER
YEAR TO DATE - DECEMBER 2021
HIGHLY CONFIDENTIAL 20 CSR 4240-2.135(4)
| Peak (MW) | A
B
YEAR TO DATE - DECEMBER 2021
|  |  | GENERATION COST |  |  | REVENUE |  | NET
|  |  | MWH | $ | $/MWH | $ | $/MWH | $ | $/MWH
GENERATING UNITS | Asbury | A
B
| Iatan 1 | A
B
| Iatan 2 | A
B
| Plum Point Own | A
B
| Riverton 12 (CC) | A
B
| Riverton 10-11 | A
B
| EC 1-2 | A
B
| EC 3-4 | A
B
| State Line 1 | A
B
| State Line CC | A
B
| Nat. Gas Trans/Stor | A
B
| TOTAL THERMAL | A
B
| Ozark Beach | A
B
| TOTAL GENERATION | A
B
PPA | Plum Point PPA | A
B
| Elk River PPA | A
B
| Meridian Way PPA | A
B
| Spot/EIS/MISO | A
B
| TOTAL PPA | A
B
RESOURCE | Resettlements/Adjustments | A
B
| Capacity | A
B
| TOTAL W DMD | A
B
| TOTAL W/O DMD | A
B
LOAD CHARGES | SPP Chg - EDE Load | A
B
| Ancillary/Other | A
B
| ARR/TCR/FTR (SPP/MISO) | A
B
| Transmission | A
B
| NATIVE LOAD COST | A
B
NET FPP
| NET FPP W DMD | A
B1
| NET FPP W/O DMD | A
B
MO FAC (Total Company Basis):
TRANS | Transmission Exp | A
B
| Transmission Rev | A
B