## Sensitivities
Table 5-1
Ranges of Key Uncertainty Variables and Sources of Data
Critical Factor | Base Case | High Case | Low Case | None
1. Emissions/CO2 Tax | Sargent & Lundy Base Case | Sargent & Lundy High Case | Sargent & Lundy Low Case | Sargent & Lundy Base Case w CO2 set to Zero
2. Gas Prices | Global Energy Decisions - Spring Ref Case | Global Energy Decisions - Terrorism & Turmoil Scenario | Global Energy Decisions - Global Economy Scenario | N/A
3. Construction Cost Forecast | Multiple Sources | +40% coal +75% nuclear +25% gas | -10% on all Technologies | N/A
4. Load Forecast | ANM Base Case (See IRP Part 1) | ANM High Case (See IRP Part 1) | ANM Low Case (See IRP Part 1) | N/A
5. Coal Prices | Global Energy Decisions - Spring Reference Case | Global Energy Decisions - Return to Reliability Scenario | Global Energy Decisions - Global Economy/ Technology Evolution Scenarios | N/A
6. Cost of Capital | Debt Wt- 52.5% Debt Rate - 7.75% Equity Rate - 11.5% ROR - 9.53% Tax - 38.39% WACC - 7.97% Based on ANM estimates | Debt Wt- 51.73% Debt Rate - 9.21% Equity Rate - 13.42% ROR - 11.24% Tax - 38.39% WACC - 9.41% Based on ANM estimates | Debt Wt- 63.84% Debt Rate - 7.28% Equity Rate - 8.5% ROR - 7.72% Tax - 38.39% WACC - 5.94% Based on ANM estimates | N/A
7. O&M Costs | Multiple Sources | Varies by technology as outlined in Appendix 2-G | Varies by technology as outlined in Appendix 2-G | N/A
8. DSM Impact | Base Case DSM Impact from Quantec | High Case DSM Impact from Quantec | Low Case DSM Impact from Quantec | N/A
10. Forced Outage Rates | Multiple Sources | 10% | 4% | N/A
11. Spot Power | Global Energy Decisions - Spring Reference Case | Global Energy Decisions - Technology Evolution Scenario | Global Energy Decisions - Return to Reliability Scenario | N/A
12. Contract Purchases | ANM Estimate Based on Recent Power Supply Proposals | +40% of fixed cost from base case | -10% of fixed cost from base case | N/A

## 1) Base PPA's '09
Base with PPA's through 2009
Cost/
| Overlay | (Savings)
Case | Name | from Base | Level | NPV | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Base | Base |  | Base | 10065.5574 | 609 | 655 | 643 | 778 | 848 | 891 | 948 | 1039 | 1098 | 1158 | 1206 | 1270 | 1326 | 1409 | 1461 | 1522 | 1578 | 1637 | 1683 | 1733
Emissions Cost | NCO2 | -1095.0714 | None | 8970.4861 | 609 | 655 | 643 | 742 | 794 | 820 | 858 | 924 | 961 | 1000 | 1027 | 1069 | 1105 | 1176 | 1217 | 1277 | 1321 | 1380 | 1404 | 1440
Emissions Cost | LCO2 | -740.5193 | Low | 9325.0381 | 609 | 655 | 643 | 739 | 798 | 831 | 877 | 953 | 999 | 1047 | 1083 | 1135 | 1180 | 1258 | 1308 | 1373 | 1428 | 1492 | 1530 | 1578
Emissions Cost | HCO2 | 549.817 | High | 10615.3744 | 609 | 655 | 644 | 816 | 890 | 936 | 995 | 1089 | 1151 | 1212 | 1261 | 1327 | 1385 | 1560 | 1614 | 1669 | 1728 | 1783 | 1836 | 1888
Gas Prices | LGAS | -41.2136 | Low | 10024.3438 | 600 | 646 | 640 | 781 | 846 | 887 | 944 | 1033 | 1095 | 1154 | 1202 | 1266 | 1322 | 1405 | 1456 | 1519 | 1576 | 1634 | 1679 | 1727
Gas Prices | HGAS | 326.6724 | High | 10392.2298 | 618 | 700 | 717 | 883 | 902 | 939 | 986 | 1063 | 1113 | 1173 | 1218 | 1283 | 1339 | 1422 | 1473 | 1531 | 1584 | 1640 | 1682 | 1727
Construction Cost | LCON1 | -78.9851 | Low | 9986.5723 | 609 | 655 | 643 | 775 | 842 | 886 | 943 | 1031 | 1087 | 1147 | 1195 | 1259 | 1315 | 1393 | 1445 | 1501 | 1558 | 1613 | 1660 | 1710
Construction Cost | HCON1 | 338.0663 | High | 10403.6237 | 609 | 655 | 644 | 784 | 861 | 904 | 961 | 1064 | 1135 | 1193 | 1243 | 1311 | 1367 | 1488 | 1537 | 1635 | 1686 | 1784 | 1824 | 1868
Load Forecast | LLF | -89.2635 | Low | 9976.2939 | 609 | 655 | 643 | 775 | 844 | 887 | 942 | 1031 | 1090 | 1147 | 1194 | 1256 | 1311 | 1391 | 1440 | 1498 | 1551 | 1609 | 1651 | 1701
Load Forecast | HLF | 125.7067 | High | 10191.2641 | 609 | 655 | 643 | 779 | 851 | 896 | 955 | 1048 | 1109 | 1171 | 1221 | 1289 | 1349 | 1436 | 1492 | 1557 | 1618 | 1682 | 1734 | 1795
Coal Prices | LCOAL | -150.0944 | Low | 9915.463 | 603 | 641 | 625 | 755 | 824 | 867 | 923 | 1014 | 1076 | 1138 | 1189 | 1256 | 1316 | 1403 | 1457 | 1519 | 1576 | 1637 | 1683 | 1733
Coal Prices | HCOAL | 155.8623 | High | 10221.4197 | 610 | 655 | 647 | 786 | 858 | 903 | 961 | 1055 | 1117 | 1178 | 1228 | 1294 | 1353 | 1438 | 1492 | 1554 | 1613 | 1674 | 1725 | 1778
O&M Costs | LOM1 | -16.2503 | Low | 10049.3071 | 609 | 655 | 643 | 777 | 847 | 890 | 947 | 1038 | 1096 | 1156 | 1204 | 1268 | 1324 | 1406 | 1458 | 1517 | 1573 | 1632 | 1677 | 1727
O&M Costs | HOM1 | 49.4943 | High | 10115.0517 | 609 | 655 | 643 | 778 | 849 | 893 | 950 | 1042 | 1103 | 1163 | 1211 | 1275 | 1332 | 1420 | 1472 | 1538 | 1595 | 1661 | 1707 | 1758
Forced Outage Rates | LFOR1 | -11.1243 | Low | 10054.4332 | 609 | 655 | 643 | 778 | 848 | 891 | 948 | 1037 | 1097 | 1156 | 1205 | 1269 | 1325 | 1407 | 1458 | 1518 | 1573 | 1633 | 1678 | 1728
Forced Outage Rates | HFOR1 | 22.0096 | High | 10087.567 | 609 | 655 | 643 | 778 | 848 | 891 | 948 | 1040 | 1100 | 1161 | 1209 | 1273 | 1330 | 1413 | 1466 | 1529 | 1586 | 1648 | 1695 | 1744
Spot Power | PPL | -56.8927 | Low | 10008.6647 | 611 | 665 | 660 | 776 | 842 | 883 | 935 | 1024 | 1085 | 1143 | 1190 | 1253 | 1308 | 1396 | 1447 | 1513 | 1568 | 1629 | 1674 | 1722
Spot Power | PPH | 126.2438 | High | 10191.8012 | 614 | 668 | 666 | 798 | 858 | 903 | 960 | 1050 | 1106 | 1168 | 1218 | 1283 | 1341 | 1423 | 1477 | 1534 | 1593 | 1648 | 1694 | 1746
Contract Power | LPPA1 | -1.6523 | Low | 10063.9051 | 609 | 654 | 642 | 778 | 848 | 891 | 948 | 1039 | 1098 | 1158 | 1206 | 1270 | 1326 | 1409 | 1461 | 1522 | 1578 | 1637 | 1683 | 1733
Contract Power | HPPA1 | 5.157 | High | 10070.7144 | 611 | 657 | 645 | 778 | 848 | 891 | 948 | 1039 | 1098 | 1158 | 1206 | 1270 | 1326 | 1409 | 1461 | 1522 | 1578 | 1637 | 1683 | 1733
DSM Impact | LDSM | -10.761 | Low | 10054.7964 | 610 | 656 | 646 | 780 | 849 | 892 | 949 | 1039 | 1098 | 1156 | 1204 | 1267 | 1323 | 1405 | 1455 | 1515 | 1570 | 1629 | 1673 | 1722
DSM Impact | HDSM | 39.1754 | High | 10104.7328 | 609 | 653 | 640 | 775 | 846 | 890 | 949 | 1041 | 1101 | 1162 | 1211 | 1277 | 1336 | 1421 | 1475 | 1537 | 1596 | 1657 | 1706 | 1759
Cost of Capital |  |  | Base | 880.2147
Cost of Capital |  | -224.4267 | Low | 655.788
Cost of Capital |  | 159.532 | High | 1039.7467
Case |  | None | Low | High | 2009: Range; 2011: Base; 2014: No CO2 Tax; 2015: Low; 2016: High
Emissions Cost |  | -1095.0714 | -740.5193 | 549.817 | 2009: 1644.8883; 2011: 10065.5574; 2013: 8970.4861; 2014: 354.552; 2015: 740.5193; 2016: 549.817
Constr. Cost |  |  | -78.9851 | 338.0663 | 2009: 417.0514; 2011: 10065.5574; 2013: 9986.5723; 2014: 0; 2015: 78.9851; 2016: 338.0663
Cost of Capital |  |  | -224.4267 | 159.532 | 2009: 383.9587; 2011: 10065.5574; 2013: 9841.1307; 2014: 0; 2015: 224.4267; 2016: 159.532
Gas Prices |  |  | -41.2136 | 326.6724 | 2009: 367.886; 2011: 10065.5574; 2013: 10024.3438; 2014: 0; 2015: 41.2136; 2016: 326.6724
Coal Prices |  |  | -150.0944 | 155.8623 | 2009: 305.9567; 2011: 10065.5574; 2013: 9915.463; 2014: 0; 2015: 150.0944; 2016: 155.8623
Load Forecast |  |  | -89.2635 | 125.7067 | 2009: 214.9702; 2011: 10065.5574; 2013: 9976.2939; 2014: 0; 2015: 89.2635; 2016: 125.7067
Spot Power |  |  | -56.8927 | 126.2438 | 2009: 183.1365; 2011: 10065.5574; 2013: 10008.6647; 2014: 0; 2015: 56.8927; 2016: 126.2438
O&M Costs |  |  | -16.2503 | 49.4943 | 2009: 65.7446; 2011: 10065.5574; 2013: 10049.3071; 2014: 0; 2015: 16.2503; 2016: 49.4943
DSM Cost Impact |  |  | -10.761 | 39.1754 | 2009: 49.9364; 2011: 10065.5574; 2013: 10054.7964; 2014: 0; 2015: 10.761; 2016: 39.1754
Forced Outage Rate |  |  | -11.1243 | 22.0096 | 2009: 33.1338; 2011: 10065.5574; 2013: 10054.4332; 2014: 0; 2015: 11.1243; 2016: 22.0096
Contract Power |  |  | -1.6523 | 5.157 | 2009: 6.8093; 2011: 10065.5574; 2013: 10063.9051; 2014: 0; 2015: 1.6523; 2016: 5.157

## 2) Base PPA's '12
Base with PPA's through 2012
Cost/
| Overlay | (Savings) |  | 9892.4491 | 10073.9725
Case | Name | from Base | Level | NPV | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Base | Base |  | Base | 10027.2584 | 609 | 654 | 641 | 759 | 831 | 876 | 954 | 1043 | 1091 | 1160 | 1207 | 1263 | 1319 | 1405 | 1459 | 1521 | 1580 | 1641 | 1686 | 1738
Emissions Cost | NCO2 | -1070.989 | None | 8956.2694 | 609 | 654 | 641 | 724 | 778 | 805 | 865 | 929 | 957 | 1007 | 1032 | 1068 | 1103 | 1178 | 1221 | 1282 | 1329 | 1390 | 1413 | 1452
Emissions Cost | LCO2 | -726.7771 | Low | 9300.4813 | 609 | 654 | 641 | 721 | 782 | 816 | 883 | 957 | 994 | 1052 | 1087 | 1132 | 1176 | 1256 | 1309 | 1376 | 1433 | 1499 | 1536 | 1587
Emissions Cost | HCO2 | 542.0406 | High | 10569.2991 | 609 | 654 | 642 | 798 | 873 | 921 | 1001 | 1094 | 1142 | 1214 | 1261 | 1319 | 1376 | 1552 | 1608 | 1665 | 1726 | 1784 | 1836 | 1891
Gas Prices | LGAS | -24.0039 | Low | 10003.2545 | 600 | 645 | 638 | 763 | 830 | 873 | 953 | 1041 | 1090 | 1160 | 1206 | 1262 | 1317 | 1403 | 1457 | 1521 | 1580 | 1641 | 1685 | 1735
Gas Prices | HGAS | 245.5723 | High | 10272.8307 | 618 | 700 | 715 | 827 | 873 | 910 | 971 | 1055 | 1100 | 1170 | 1213 | 1271 | 1325 | 1411 | 1465 | 1527 | 1583 | 1643 | 1685 | 1731
Construction Cost | LCON2 | -66.3626 | Low | 9960.8959 | 609 | 654 | 641 | 759 | 828 | 873 | 948 | 1034 | 1082 | 1151 | 1198 | 1254 | 1310 | 1391 | 1445 | 1503 | 1562 | 1619 | 1664 | 1717
Construction Cost | HCON2 | 291.179 | High | 10318.4375 | 609 | 654 | 642 | 760 | 839 | 884 | 969 | 1071 | 1117 | 1186 | 1233 | 1293 | 1350 | 1474 | 1525 | 1626 | 1680 | 1780 | 1818 | 1865
Load Forecast | LLF | -88.2013 | Low | 9939.0571 | 609 | 654 | 641 | 757 | 828 | 872 | 948 | 1036 | 1082 | 1150 | 1195 | 1249 | 1303 | 1387 | 1437 | 1498 | 1553 | 1612 | 1654 | 1705
Load Forecast | HLF | 126.1721 | High | 10153.4305 | 609 | 654 | 641 | 761 | 834 | 881 | 960 | 1052 | 1101 | 1174 | 1222 | 1282 | 1341 | 1432 | 1490 | 1556 | 1621 | 1686 | 1738 | 1801
Coal Prices | LCOAL | -145.5394 | Low | 9881.719 | 603 | 641 | 623 | 737 | 807 | 852 | 929 | 1019 | 1069 | 1142 | 1191 | 1250 | 1310 | 1399 | 1455 | 1519 | 1578 | 1641 | 1686 | 1738
Coal Prices | HCOAL | 154.0435 | High | 10181.3019 | 610 | 655 | 646 | 768 | 842 | 888 | 968 | 1059 | 1108 | 1180 | 1228 | 1287 | 1344 | 1432 | 1488 | 1552 | 1613 | 1677 | 1726 | 1781
O&M Costs | LOM2 | -13.7606 | Low | 10013.4978 | 609 | 654 | 641 | 759 | 831 | 876 | 953 | 1042 | 1089 | 1159 | 1205 | 1261 | 1317 | 1402 | 1455 | 1517 | 1575 | 1636 | 1680 | 1732
O&M Costs | HOM2 | 47.0584 | High | 10074.3168 | 609 | 654 | 641 | 759 | 832 | 877 | 957 | 1047 | 1095 | 1165 | 1211 | 1268 | 1324 | 1415 | 1469 | 1537 | 1596 | 1664 | 1709 | 1762
Forced Outage Rates | LFOR2 | -8.5545 | Low | 10018.7039 | 609 | 654 | 641 | 759 | 831 | 876 | 954 | 1042 | 1089 | 1160 | 1206 | 1262 | 1320 | 1403 | 1457 | 1518 | 1576 | 1636 | 1682 | 1733
Forced Outage Rates | HFOR2 | 18.6026 | High | 10045.861 | 609 | 654 | 641 | 759 | 831 | 876 | 954 | 1045 | 1092 | 1163 | 1208 | 1265 | 1321 | 1408 | 1463 | 1528 | 1587 | 1650 | 1697 | 1750
Spot Power | PPL | -50.8779 | Low | 9976.3805 | 611 | 665 | 658 | 758 | 826 | 868 | 945 | 1033 | 1076 | 1145 | 1190 | 1247 | 1300 | 1392 | 1445 | 1513 | 1571 | 1632 | 1677 | 1726
Spot Power | PPH | 107.116 | High | 10134.3745 | 614 | 668 | 664 | 780 | 842 | 887 | 962 | 1050 | 1097 | 1169 | 1216 | 1273 | 1329 | 1413 | 1469 | 1529 | 1589 | 1647 | 1692 | 1745
Contract Power | LPPA2 | -2.2835 | Low | 10024.9749 | 609 | 653 | 640 | 759 | 831 | 875 | 954 | 1043 | 1091 | 1160 | 1207 | 1263 | 1319 | 1405 | 1459 | 1521 | 1580 | 1641 | 1686 | 1738
Contract Power | HPPA2 | 7.9414 | High | 10035.1999 | 611 | 656 | 643 | 761 | 832 | 877 | 954 | 1043 | 1091 | 1160 | 1207 | 1263 | 1319 | 1405 | 1459 | 1521 | 1580 | 1641 | 1686 | 1738
DSM Impact | LDSM | -8.3888 | Low | 10018.8697 | 610 | 656 | 644 | 762 | 833 | 877 | 955 | 1043 | 1090 | 1159 | 1205 | 1261 | 1316 | 1400 | 1453 | 1515 | 1572 | 1633 | 1676 | 1726
DSM Impact | HDSM | 41.653 | High | 10068.9115 | 609 | 653 | 638 | 757 | 830 | 875 | 954 | 1045 | 1094 | 1165 | 1212 | 1271 | 1328 | 1417 | 1473 | 1537 | 1598 | 1661 | 1709 | 1764
Cost of Capital |  |  | Base | 756.9249
Cost of Capital |  | -192.9917 | Low | 563.9331
Cost of Capital |  | 137.1867 | High | 894.1116
Case |  | None | Low | High | 10073.9725 2009: Range; 10073.9725 2011: Base; 10073.9725 2014: No CO2 Tax; 10073.9725 2015: Low; 10073.9725 2016: High
Emissions Cost |  | -1070.989 | -726.7771 | 542.0406 | 10073.9725 2009: 1613.0297; 10073.9725 2011: 10027.2584; 10073.9725 2013: 8956.2694; 10073.9725 2014: 344.2119; 10073.9725 2015: 726.7771; 10073.9725 2016: 542.0406
Constr. Cost |  |  | -66.3626 | 291.179 | 10073.9725 2009: 357.5416; 10073.9725 2011: 10027.2584; 10073.9725 2013: 9960.8959; 10073.9725 2014: 0; 10073.9725 2015: 66.3626; 10073.9725 2016: 291.179
Cost of Capital |  |  | -192.9917 | 137.1867 | 10073.9725 2009: 330.1784; 10073.9725 2011: 10027.2584; 10073.9725 2013: 9834.2667; 10073.9725 2014: 0; 10073.9725 2015: 192.9917; 10073.9725 2016: 137.1867
Coal Prices |  |  | -145.5394 | 154.0435 | 10073.9725 2009: 299.583; 10073.9725 2011: 10027.2584; 10073.9725 2013: 9881.719; 10073.9725 2014: 0; 10073.9725 2015: 145.5394; 10073.9725 2016: 154.0435
Gas Prices |  |  | -24.0039 | 245.5723 | 10073.9725 2009: 269.5762; 10073.9725 2011: 10027.2584; 10073.9725 2013: 10003.2545; 10073.9725 2014: 0; 10073.9725 2015: 24.0039; 10073.9725 2016: 245.5723
Load Forecast |  |  | -88.2013 | 126.1721 | 10073.9725 2009: 214.3734; 10073.9725 2011: 10027.2584; 10073.9725 2013: 9939.0571; 10073.9725 2014: 0; 10073.9725 2015: 88.2013; 10073.9725 2016: 126.1721
Spot Power |  |  | -50.8779 | 107.116 | 10073.9725 2009: 157.994; 10073.9725 2011: 10027.2584; 10073.9725 2013: 9976.3805; 10073.9725 2014: 0; 10073.9725 2015: 50.8779; 10073.9725 2016: 107.116
O&M Costs |  |  | -13.7606 | 47.0584 | 10073.9725 2009: 60.819; 10073.9725 2011: 10027.2584; 10073.9725 2013: 10013.4978; 10073.9725 2014: 0; 10073.9725 2015: 13.7606; 10073.9725 2016: 47.0584
DSM Cost Impact |  |  | -8.3888 | 41.653 | 10073.9725 2009: 50.0418; 10073.9725 2011: 10027.2584; 10073.9725 2013: 10018.8697; 10073.9725 2014: 0; 10073.9725 2015: 8.3888; 10073.9725 2016: 41.653
Forced Outage Rate |  |  | -8.5545 | 18.6026 | 10073.9725 2009: 27.1571; 10073.9725 2011: 10027.2584; 10073.9725 2013: 10018.7039; 10073.9725 2014: 0; 10073.9725 2015: 8.5545; 10073.9725 2016: 18.6026
Contract Power |  |  | -2.2835 | 7.9414 | 10073.9725 2009: 10.225; 10073.9725 2011: 10027.2584; 10073.9725 2013: 10024.9749; 10073.9725 2014: 0; 10073.9725 2015: 2.2835; 10073.9725 2016: 7.9414

## 3) Gas '12
Gas with PPA's through 2012
Cost/
| Overlay | (Savings)
Case | Name | from Base | Level | NPV | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Base | Base |  | Base | 10034.1054 | 609 | 654 | 641 | 759 | 830 | 874 | 952 | 1034 | 1080 | 1159 | 1206 | 1267 | 1324 | 1424 | 1472 | 1522 | 1585 | 1639 | 1699 | 1752
Emissions Cost | NCO2 | -1041.8586 | None | 8992.2468 | 609 | 654 | 641 | 724 | 776 | 803 | 862 | 923 | 950 | 1009 | 1037 | 1077 | 1114 | 1215 | 1253 | 1291 | 1342 | 1383 | 1434 | 1472
Emissions Cost | LCO2 | -709.1483 | Low | 9324.9572 | 609 | 654 | 641 | 720 | 780 | 814 | 881 | 950 | 986 | 1053 | 1090 | 1139 | 1184 | 1287 | 1334 | 1381 | 1443 | 1495 | 1553 | 1604
Emissions Cost | HCO2 | 526.4384 | High | 10560.5439 | 609 | 654 | 642 | 797 | 872 | 918 | 999 | 1084 | 1130 | 1210 | 1259 | 1321 | 1379 | 1559 | 1610 | 1663 | 1728 | 1786 | 1846 | 1901
Gas Prices | LGAS | -26.5666 | Low | 10007.5388 | 600 | 645 | 638 | 762 | 828 | 871 | 951 | 1032 | 1078 | 1158 | 1205 | 1265 | 1321 | 1422 | 1471 | 1522 | 1586 | 1639 | 1698 | 1749
Gas Prices | HGAS | 249.5947 | High | 10283.7002 | 618 | 700 | 715 | 826 | 872 | 908 | 969 | 1050 | 1092 | 1169 | 1214 | 1275 | 1331 | 1431 | 1479 | 1529 | 1589 | 1640 | 1696 | 1742
Construction Cost | LCON3 | -60.0126 | Low | 9974.0928 | 609 | 654 | 641 | 758 | 827 | 871 | 946 | 1028 | 1074 | 1151 | 1199 | 1259 | 1316 | 1406 | 1456 | 1507 | 1569 | 1624 | 1679 | 1732
Construction Cost | HCON3 | 263.263 | High | 10297.3685 | 609 | 654 | 641 | 759 | 837 | 881 | 967 | 1051 | 1096 | 1180 | 1228 | 1289 | 1347 | 1523 | 1566 | 1614 | 1674 | 1725 | 1825 | 1872
Load Forecast | LLF | -92.1315 | Low | 9941.974 | 609 | 654 | 641 | 756 | 826 | 869 | 946 | 1027 | 1071 | 1148 | 1194 | 1252 | 1308 | 1405 | 1451 | 1498 | 1558 | 1609 | 1666 | 1718
Load Forecast | HLF | 128.7655 | High | 10162.8709 | 609 | 654 | 641 | 761 | 833 | 879 | 958 | 1043 | 1091 | 1172 | 1222 | 1286 | 1346 | 1451 | 1504 | 1559 | 1627 | 1686 | 1752 | 1816
Coal Prices | LCOAL | -144.7192 | Low | 9889.3862 | 603 | 641 | 623 | 736 | 806 | 849 | 927 | 1011 | 1059 | 1141 | 1191 | 1254 | 1315 | 1419 | 1469 | 1520 | 1584 | 1639 | 1699 | 1751
Coal Prices | HCOAL | 146.0352 | High | 10180.1407 | 610 | 655 | 646 | 767 | 840 | 886 | 965 | 1050 | 1097 | 1177 | 1226 | 1288 | 1347 | 1449 | 1500 | 1552 | 1617 | 1674 | 1737 | 1793
O&M Costs | LOM3 | -13.8754 | Low | 10020.23 | 609 | 654 | 641 | 759 | 829 | 873 | 951 | 1033 | 1079 | 1157 | 1205 | 1265 | 1322 | 1420 | 1469 | 1518 | 1581 | 1635 | 1694 | 1746
O&M Costs | HOM3 | 42.8659 | High | 10076.9714 | 609 | 654 | 641 | 759 | 831 | 875 | 954 | 1037 | 1083 | 1162 | 1209 | 1270 | 1328 | 1438 | 1487 | 1537 | 1600 | 1655 | 1721 | 1774
Forced Outage Rates | LFOR3 | -7.9366 | Low | 10026.1689 | 609 | 654 | 641 | 759 | 829 | 874 | 952 | 1033 | 1079 | 1159 | 1206 | 1267 | 1323 | 1421 | 1470 | 1520 | 1582 | 1635 | 1696 | 1747
Forced Outage Rates | HFOR3 | 15.2134 | High | 10049.3188 | 609 | 654 | 641 | 759 | 830 | 874 | 952 | 1035 | 1080 | 1160 | 1207 | 1268 | 1325 | 1429 | 1478 | 1528 | 1591 | 1645 | 1710 | 1761
Spot Power | PPL | -71.142 | Low | 9962.9634 | 611 | 665 | 658 | 758 | 824 | 866 | 942 | 1020 | 1060 | 1138 | 1184 | 1244 | 1299 | 1411 | 1460 | 1511 | 1573 | 1623 | 1687 | 1736
Spot Power | PPH | 123.195 | High | 10157.3004 | 614 | 668 | 664 | 779 | 840 | 885 | 960 | 1044 | 1088 | 1171 | 1220 | 1281 | 1338 | 1433 | 1483 | 1534 | 1600 | 1656 | 1710 | 1763
Contract Power | LPPA3 | -3.7009 | Low | 10030.4045 | 609 | 653 | 640 | 758 | 829 | 873 | 952 | 1034 | 1080 | 1159 | 1206 | 1267 | 1324 | 1424 | 1472 | 1522 | 1585 | 1639 | 1699 | 1752
Contract Power | HPPA3 | 6.5241 | High | 10040.6295 | 611 | 656 | 643 | 760 | 830 | 875 | 952 | 1034 | 1080 | 1159 | 1206 | 1267 | 1324 | 1424 | 1472 | 1522 | 1585 | 1639 | 1699 | 1752
DSM Impact | LDSM | -11.2719 | Low | 10022.8335 | 610 | 656 | 644 | 761 | 831 | 875 | 952 | 1034 | 1080 | 1157 | 1204 | 1264 | 1320 | 1419 | 1467 | 1516 | 1577 | 1630 | 1689 | 1739
DSM Impact | HDSM | 41.0912 | High | 10075.1967 | 609 | 653 | 638 | 756 | 828 | 873 | 952 | 1036 | 1083 | 1163 | 1212 | 1274 | 1333 | 1436 | 1487 | 1538 | 1604 | 1660 | 1723 | 1779
Cost of Capital |  |  | Base | 678.4511
Cost of Capital |  | -172.9834 | Low | 505.4677
Cost of Capital |  | 122.9639 | High | 801.415
Case |  | None | Low | High | 2009: Range; 2011: Base; 2014: No CO2 Tax; 2015: Low; 2016: High
Emissions Cost |  | -1041.8586 | -709.1483 | 526.4384 | 2009: 1568.2971; 2011: 10034.1054; 2013: 8992.2468; 2014: 332.7104; 2015: 709.1483; 2016: 526.4384
Constr. Cost |  |  | -60.0126 | 263.263 | 2009: 323.2756; 2011: 10034.1054; 2013: 9974.0928; 2014: 0; 2015: 60.0126; 2016: 263.263
Cost of Capital |  |  | -172.9834 | 122.9639 | 2009: 295.9474; 2011: 10034.1054; 2013: 9861.122; 2014: 0; 2015: 172.9834; 2016: 122.9639
Coal Prices |  |  | -144.7192 | 146.0352 | 2009: 290.7544; 2011: 10034.1054; 2013: 9889.3862; 2014: 0; 2015: 144.7192; 2016: 146.0352
Gas Prices |  |  | -26.5666 | 249.5947 | 2009: 276.1613; 2011: 10034.1054; 2013: 10007.5388; 2014: 0; 2015: 26.5666; 2016: 249.5947
Load Forecast |  |  | -92.1315 | 128.7655 | 2009: 220.897; 2011: 10034.1054; 2013: 9941.974; 2014: 0; 2015: 92.1315; 2016: 128.7655
Spot Power |  |  | -71.142 | 123.195 | 2009: 194.337; 2011: 10034.1054; 2013: 9962.9634; 2014: 0; 2015: 71.142; 2016: 123.195
O&M Costs |  |  | -13.8754 | 42.8659 | 2009: 56.7413; 2011: 10034.1054; 2013: 10020.23; 2014: 0; 2015: 13.8754; 2016: 42.8659
DSM Cost Impact |  |  | -11.2719 | 41.0912 | 2009: 52.3631; 2011: 10034.1054; 2013: 10022.8335; 2014: 0; 2015: 11.2719; 2016: 41.0912
Forced Outage Rate |  |  | -7.9366 | 15.2134 | 2009: 23.15; 2011: 10034.1054; 2013: 10026.1689; 2014: 0; 2015: 7.9366; 2016: 15.2134
Contract Power |  |  | -3.7009 | 6.5241 | 2009: 10.225; 2011: 10034.1054; 2013: 10030.4045; 2014: 0; 2015: 3.7009; 2016: 6.5241

## 4) Green '12
Green with PPA's through 2012
Cost/
| Overlay | (Savings)
Case | Name | from Base | Level | NPV | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Base | Base |  | Base | 10235.8907 | 609 | 655 | 646 | 764 | 840 | 889 | 984 | 1082 | 1161 | 1239 | 1275 | 1320 | 1367 | 1440 | 1478 | 1538 | 1580 | 1619 | 1666 | 1705
Emissions Cost | NCO2 | -836.9521 | None | 9398.9386 | 609 | 655 | 646 | 730 | 790 | 822 | 903 | 984 | 1055 | 1123 | 1144 | 1174 | 1206 | 1274 | 1303 | 1364 | 1400 | 1430 | 1459 | 1490
Emissions Cost | LCO2 | -568.6433 | Low | 9667.2473 | 609 | 655 | 646 | 727 | 793 | 833 | 919 | 1008 | 1085 | 1158 | 1186 | 1223 | 1262 | 1334 | 1370 | 1435 | 1477 | 1515 | 1555 | 1594
Emissions Cost | HCO2 | 417.649 | High | 10653.5397 | 609 | 655 | 647 | 801 | 881 | 931 | 1026 | 1125 | 1201 | 1278 | 1316 | 1362 | 1409 | 1542 | 1583 | 1637 | 1680 | 1721 | 1776 | 1815
Gas Prices | LGAS | -27.5459 | Low | 10208.3448 | 600 | 646 | 643 | 768 | 839 | 887 | 982 | 1079 | 1159 | 1238 | 1274 | 1319 | 1365 | 1438 | 1476 | 1536 | 1578 | 1617 | 1664 | 1701
Gas Prices | HGAS | 219.5932 | High | 10455.4839 | 618 | 698 | 710 | 824 | 874 | 915 | 1006 | 1097 | 1169 | 1245 | 1281 | 1326 | 1372 | 1445 | 1482 | 1541 | 1583 | 1621 | 1667 | 1704
Construction Cost | LCON4 | -111.8966 | Low | 10123.9941 | 609 | 655 | 646 | 764 | 837 | 885 | 974 | 1069 | 1143 | 1217 | 1254 | 1299 | 1347 | 1415 | 1454 | 1509 | 1553 | 1593 | 1639 | 1679
Construction Cost | HCON4 | 708.6971 | High | 10944.5878 | 609 | 655 | 647 | 767 | 853 | 904 | 1033 | 1162 | 1271 | 1379 | 1412 | 1453 | 1496 | 1604 | 1636 | 1731 | 1766 | 1799 | 1842 | 1873
Load Forecast | LLF | -75.6011 | Low | 10160.2896 | 609 | 655 | 646 | 762 | 837 | 885 | 978 | 1075 | 1153 | 1230 | 1265 | 1308 | 1353 | 1425 | 1460 | 1519 | 1558 | 1596 | 1640 | 1679
Load Forecast | HLF | 108.3867 | High | 10344.2774 | 609 | 655 | 646 | 766 | 844 | 894 | 990 | 1090 | 1170 | 1250 | 1289 | 1336 | 1386 | 1462 | 1504 | 1566 | 1613 | 1657 | 1710 | 1758
Coal Prices | LCOAL | -151.0877 | Low | 10084.8029 | 603 | 641 | 629 | 743 | 817 | 866 | 958 | 1056 | 1137 | 1217 | 1257 | 1305 | 1356 | 1434 | 1473 | 1535 | 1578 | 1619 | 1666 | 1705
Coal Prices | HCOAL | 168.1996 | High | 10404.0903 | 610 | 655 | 650 | 773 | 851 | 901 | 998 | 1099 | 1180 | 1261 | 1300 | 1347 | 1396 | 1471 | 1512 | 1573 | 1617 | 1660 | 1712 | 1753
O&M Costs | LOM4 | -28.0812 | Low | 10207.8095 | 609 | 655 | 646 | 764 | 840 | 889 | 982 | 1079 | 1157 | 1234 | 1270 | 1315 | 1361 | 1434 | 1471 | 1530 | 1572 | 1611 | 1658 | 1696
O&M Costs | HOM4 | 79.8779 | High | 10315.7686 | 609 | 655 | 646 | 764 | 842 | 890 | 987 | 1089 | 1170 | 1251 | 1289 | 1333 | 1380 | 1459 | 1497 | 1563 | 1606 | 1646 | 1694 | 1733
Forced Outage Rates | LFOR4 | -12.2937 | Low | 10223.597 | 609 | 655 | 646 | 764 | 840 | 889 | 983 | 1081 | 1159 | 1237 | 1274 | 1318 | 1365 | 1437 | 1475 | 1534 | 1575 | 1616 | 1662 | 1700
Forced Outage Rates | HFOR4 | 24.582 | High | 10260.4726 | 609 | 655 | 646 | 764 | 841 | 890 | 985 | 1084 | 1163 | 1242 | 1279 | 1323 | 1371 | 1445 | 1483 | 1546 | 1589 | 1627 | 1677 | 1715
Spot Power | PPL | -5.6088 | Low | 10230.2819 | 611 | 664 | 661 | 764 | 836 | 884 | 978 | 1075 | 1155 | 1235 | 1272 | 1317 | 1362 | 1437 | 1475 | 1536 | 1578 | 1617 | 1664 | 1702
Spot Power | PPH | 66.9935 | High | 10302.8842 | 614 | 667 | 666 | 782 | 849 | 898 | 989 | 1087 | 1163 | 1240 | 1277 | 1321 | 1369 | 1441 | 1480 | 1539 | 1581 | 1620 | 1667 | 1705
Contract Power | LPPA4 | 0 | Low | 10235.8907 | 609 | 655 | 646 | 764 | 840 | 889 | 984 | 1082 | 1161 | 1239 | 1275 | 1320 | 1367 | 1440 | 1478 | 1538 | 1580 | 1619 | 1666 | 1705
Contract Power | HPPA4 | 7.9414 | High | 10243.8321 | 611 | 657 | 648 | 766 | 841 | 890 | 984 | 1082 | 1161 | 1239 | 1275 | 1320 | 1367 | 1440 | 1478 | 1538 | 1580 | 1619 | 1666 | 1705
DSM Impact | LDSM | -5.0607 | Low | 10230.8299 | 610 | 656 | 648 | 767 | 842 | 891 | 984 | 1082 | 1161 | 1238 | 1274 | 1318 | 1364 | 1437 | 1474 | 1533 | 1574 | 1613 | 1659 | 1696
DSM Impact | HDSM | 30.4129 | High | 10266.3036 | 609 | 653 | 643 | 762 | 839 | 889 | 984 | 1084 | 1163 | 1242 | 1280 | 1326 | 1374 | 1449 | 1489 | 1549 | 1593 | 1635 | 1684 | 1726
Cost of Capital |  |  | Base | 1243.4707
Cost of Capital |  | -317.0454 | Low | 926.4252
Cost of Capital |  | 225.3693 | High | 1468.84
Case |  | None | Low | High | 2009: Range; 2011: Base; 2014: No CO2 Tax; 2015: Low; 2016: High
Emissions Cost |  | -836.9521 | -568.6433 | 417.649 | 2009: 1254.6011; 2011: 10235.8907; 2013: 9398.9386; 2014: 268.3087; 2015: 568.6433; 2016: 417.649
Constr. Cost |  |  | -111.8966 | 708.6971 | 2009: 820.5937; 2011: 10235.8907; 2013: 10123.9941; 2014: 0; 2015: 111.8966; 2016: 708.6971
Cost of Capital |  |  | -317.0454 | 225.3693 | 2009: 542.4147; 2011: 10235.8907; 2013: 9918.8453; 2014: 0; 2015: 317.0454; 2016: 225.3693
Coal Prices |  |  | -151.0877 | 168.1996 | 2009: 319.2874; 2011: 10235.8907; 2013: 10084.8029; 2014: 0; 2015: 151.0877; 2016: 168.1996
Gas Prices |  |  | -27.5459 | 219.5932 | 2009: 247.1391; 2011: 10235.8907; 2013: 10208.3448; 2014: 0; 2015: 27.5459; 2016: 219.5932
Load Forecast |  |  | -75.6011 | 108.3867 | 2009: 183.9878; 2011: 10235.8907; 2013: 10160.2896; 2014: 0; 2015: 75.6011; 2016: 108.3867
O&M Costs |  |  | -28.0812 | 79.8779 | 2009: 107.9591; 2011: 10235.8907; 2013: 10207.8095; 2014: 0; 2015: 28.0812; 2016: 79.8779
Spot Power |  |  | -5.6088 | 66.9935 | 2009: 72.6023; 2011: 10235.8907; 2013: 10230.2819; 2014: 0; 2015: 5.6088; 2016: 66.9935
Forced Outage Rate |  |  | -12.2937 | 24.582 | 2009: 36.8757; 2011: 10235.8907; 2013: 10223.597; 2014: 0; 2015: 12.2937; 2016: 24.582
DSM Cost Impact |  |  | -5.0607 | 30.4129 | 2009: 35.4736; 2011: 10235.8907; 2013: 10230.8299; 2014: 0; 2015: 5.0607; 2016: 30.4129
Contract Power |  |  | 0 | 7.9414 | 2009: 7.9414; 2011: 10235.8907; 2013: 10235.8907; 2014: 0; 2015: 0; 2016: 7.9414

## 5) Coal '12
Coal with PPA's through 2012
Cost/
| Overlay | (Savings)
Case | Name | from Base | Level | NPV | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Base | Base |  | Base | 10147.0683 | 609 | 655 | 644 | 764 | 820 | 868 | 990 | 1069 | 1137 | 1186 | 1253 | 1299 | 1351 | 1431 | 1471 | 1535 | 1580 | 1622 | 1687 | 1724
Emissions Cost | NCO2 | -1168.0956 | None | 8978.9727 | 609 | 655 | 644 | 729 | 767 | 798 | 894 | 946 | 992 | 1018 | 1062 | 1083 | 1111 | 1181 | 1207 | 1273 | 1302 | 1328 | 1390 | 1412
Emissions Cost | LCO2 | -781.3313 | Low | 9365.737 | 609 | 655 | 643 | 725 | 771 | 809 | 914 | 977 | 1033 | 1069 | 1124 | 1156 | 1194 | 1270 | 1307 | 1379 | 1420 | 1458 | 1526 | 1561
Emissions Cost | HCO2 | 579.6732 | High | 10726.7415 | 609 | 655 | 645 | 802 | 861 | 912 | 1039 | 1123 | 1192 | 1243 | 1312 | 1360 | 1414 | 1592 | 1635 | 1692 | 1740 | 1786 | 1847 | 1888
Gas Prices | LGAS | -37.0976 | Low | 10109.9707 | 600 | 646 | 640 | 767 | 816 | 862 | 987 | 1066 | 1135 | 1183 | 1252 | 1297 | 1349 | 1429 | 1468 | 1533 | 1577 | 1618 | 1684 | 1719
Gas Prices | HGAS | 267.988 | High | 10415.0563 | 618 | 701 | 718 | 831 | 874 | 915 | 1012 | 1084 | 1146 | 1196 | 1260 | 1306 | 1359 | 1437 | 1477 | 1540 | 1583 | 1624 | 1687 | 1724
Construction Cost | LCON5 | -110.9719 | Low | 10036.0964 | 609 | 655 | 644 | 763 | 819 | 867 | 976 | 1054 | 1120 | 1169 | 1234 | 1279 | 1331 | 1406 | 1447 | 1507 | 1552 | 1595 | 1655 | 1694
Construction Cost | HCON5 | 542.2552 | High | 10689.3235 | 609 | 656 | 646 | 766 | 825 | 875 | 1047 | 1136 | 1216 | 1263 | 1342 | 1386 | 1437 | 1553 | 1589 | 1690 | 1728 | 1766 | 1869 | 1898
Load Forecast | LLF | -71.6913 | Low | 10075.377 | 609 | 655 | 644 | 761 | 817 | 864 | 985 | 1063 | 1130 | 1177 | 1244 | 1288 | 1338 | 1416 | 1454 | 1518 | 1559 | 1598 | 1663 | 1700
Load Forecast | HLF | 105.6215 | High | 10252.6898 | 609 | 655 | 644 | 766 | 824 | 873 | 996 | 1077 | 1146 | 1197 | 1266 | 1315 | 1370 | 1453 | 1497 | 1563 | 1612 | 1659 | 1726 | 1774
Coal Prices | LCOAL | -156.2521 | Low | 9990.8162 | 603 | 641 | 626 | 741 | 796 | 844 | 962 | 1042 | 1113 | 1164 | 1235 | 1284 | 1340 | 1425 | 1467 | 1533 | 1578 | 1621 | 1686 | 1724
Coal Prices | HCOAL | 171.9567 | High | 10319.025 | 610 | 655 | 648 | 772 | 831 | 881 | 1005 | 1087 | 1157 | 1208 | 1278 | 1326 | 1382 | 1463 | 1506 | 1571 | 1619 | 1664 | 1731 | 1773
O&M Costs | LOM5 | -21.0448 | Low | 10126.0235 | 609 | 655 | 644 | 764 | 820 | 868 | 988 | 1067 | 1134 | 1183 | 1250 | 1296 | 1348 | 1426 | 1466 | 1529 | 1573 | 1615 | 1679 | 1716
O&M Costs | HOM5 | 73.745 | High | 10220.8133 | 609 | 655 | 644 | 764 | 820 | 868 | 996 | 1076 | 1146 | 1195 | 1264 | 1310 | 1363 | 1448 | 1489 | 1558 | 1603 | 1646 | 1717 | 1755
Forced Outage Rates | LFOR5 | -11.4409 | Low | 10135.6274 | 609 | 655 | 644 | 764 | 820 | 868 | 989 | 1067 | 1136 | 1184 | 1252 | 1298 | 1350 | 1428 | 1469 | 1532 | 1575 | 1618 | 1682 | 1719
Forced Outage Rates | HFOR5 | 27.499 | High | 10174.5674 | 609 | 655 | 644 | 764 | 820 | 868 | 992 | 1073 | 1140 | 1190 | 1257 | 1303 | 1356 | 1436 | 1478 | 1543 | 1588 | 1631 | 1698 | 1735
Spot Power | PPL | -1.3769 | Low | 10145.6914 | 611 | 666 | 661 | 763 | 813 | 859 | 986 | 1065 | 1134 | 1181 | 1251 | 1297 | 1348 | 1429 | 1468 | 1534 | 1578 | 1619 | 1686 | 1722
Spot Power | PPH | 86.1556 | High | 10233.2239 | 614 | 668 | 666 | 784 | 838 | 887 | 994 | 1072 | 1139 | 1189 | 1255 | 1301 | 1355 | 1434 | 1474 | 1538 | 1583 | 1625 | 1687 | 1724
Contract Power | LPPA5 | -3.7009 | Low | 10143.3674 | 609 | 654 | 643 | 763 | 819 | 867 | 990 | 1069 | 1137 | 1186 | 1253 | 1299 | 1351 | 1431 | 1471 | 1535 | 1580 | 1622 | 1687 | 1724
Contract Power | HPPA5 | 0.92618 | High | 10147.9945 | 610 | 655 | 644 | 764 | 820 | 868 | 990 | 1069 | 1137 | 1186 | 1253 | 1299 | 1351 | 1431 | 1471 | 1535 | 1580 | 1622 | 1687 | 1724
DSM Impact | LDSM | -2.376 | Low | 10144.6923 | 610 | 657 | 646 | 766 | 822 | 870 | 991 | 1069 | 1137 | 1185 | 1253 | 1298 | 1349 | 1428 | 1467 | 1531 | 1575 | 1616 | 1680 | 1716
DSM Impact | HDSM | 27.6398 | High | 10174.7081 | 609 | 653 | 641 | 761 | 819 | 868 | 990 | 1070 | 1138 | 1189 | 1257 | 1305 | 1359 | 1440 | 1482 | 1546 | 1593 | 1637 | 1703 | 1744
Cost of Capital |  |  | Base | 1320.3504
Cost of Capital |  | -336.6473 | Low | 983.7031
Cost of Capital |  | 239.3032 | High | 1559.6536
Case |  | None | Low | High | 2009: Range; 2011: Base; 2014: No CO2 Tax; 2015: Low; 2016: High
Emissions Cost |  | -1168.0956 | -781.3313 | 579.6732 | 2009: 1747.7688; 2011: 10147.0683; 2013: 8978.9727; 2014: 386.7643; 2015: 781.3313; 2016: 579.6732
Constr. Cost |  |  | -110.9719 | 542.2552 | 2009: 653.2271; 2011: 10147.0683; 2013: 10036.0964; 2014: 0; 2015: 110.9719; 2016: 542.2552
Cost of Capital |  |  | -336.6473 | 239.3032 | 2009: 575.9505; 2011: 10147.0683; 2013: 9810.421; 2014: 0; 2015: 336.6473; 2016: 239.3032
Coal Prices |  |  | -156.2521 | 171.9567 | 2009: 328.2088; 2011: 10147.0683; 2013: 9990.8162; 2014: 0; 2015: 156.2521; 2016: 171.9567
Gas Prices |  |  | -37.0976 | 267.988 | 2009: 305.0855; 2011: 10147.0683; 2013: 10109.9707; 2014: 0; 2015: 37.0976; 2016: 267.988
Load Forecast |  |  | -71.6913 | 105.6215 | 2009: 177.3128; 2011: 10147.0683; 2013: 10075.377; 2014: 0; 2015: 71.6913; 2016: 105.6215
O&M Costs |  |  | -21.0448 | 73.745 | 2009: 94.7898; 2011: 10147.0683; 2013: 10126.0235; 2014: 0; 2015: 21.0448; 2016: 73.745
Spot Power |  |  | -1.3769 | 86.1556 | 2009: 87.5325; 2011: 10147.0683; 2013: 10145.6914; 2014: 0; 2015: 1.3769; 2016: 86.1556
Forced Outage Rate |  |  | -11.4409 | 27.499 | 2009: 38.94; 2011: 10147.0683; 2013: 10135.6274; 2014: 0; 2015: 11.4409; 2016: 27.499
DSM Cost Impact |  |  | -2.376 | 27.6398 | 2009: 30.0158; 2011: 10147.0683; 2013: 10144.6923; 2014: 0; 2015: 2.376; 2016: 27.6398
Contract Power |  |  | -3.7009 | 0.92618 | 2009: 4.6271; 2011: 10147.0683; 2013: 10143.3674; 2014: 0; 2015: 3.7009; 2016: 0.92618

## Preferred Plan (4)
Preferred Plan 4
|  | Cost/ |  | -0.02589% | 0.209%
| Overlay | (Savings) |  | 9889.8878 | 10095.0257
Case | Name | from Base | Level | NPV | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
Base | Base |  | Base | 10025.9123 | 609 | 655 | 643 | 774 | 825 | 871 | 948 | 1026 | 1071 | 1140 | 1218 | 1274 | 1331 | 1402 | 1459 | 1547 | 1595 | 1641 | 1687 | 1738
Emissions Cost | NCO2 | -1081.7558 | None | 8944.1565 | 609 | 655 | 643 | 739 | 772 | 800 | 858 | 915 | 941 | 993 | 1040 | 1073 | 1109 | 1159 | 1205 | 1316 | 1351 | 1384 | 1408 | 1445
Emissions Cost | LCO2 | -732.1577 | Low | 9293.7547 | 609 | 655 | 642 | 736 | 776 | 811 | 877 | 942 | 977 | 1036 | 1096 | 1139 | 1184 | 1244 | 1301 | 1407 | 1453 | 1496 | 1534 | 1583
Emissions Cost | HCO2 | 546.4981 | High | 10572.4104 | 609 | 655 | 643 | 813 | 867 | 914 | 995 | 1075 | 1121 | 1192 | 1274 | 1331 | 1389 | 1560 | 1620 | 1687 | 1737 | 1787 | 1840 | 1894
Gas Prices | LGAS | -45.5813 | Low | 9980.331 | 600 | 646 | 639 | 778 | 821 | 864 | 944 | 1020 | 1066 | 1136 | 1215 | 1270 | 1326 | 1398 | 1455 | 1545 | 1592 | 1638 | 1682 | 1731
Gas Prices | HGAS | 368.3576 | High | 10394.2699 | 618 | 700 | 708 | 879 | 913 | 942 | 987 | 1055 | 1095 | 1161 | 1231 | 1288 | 1343 | 1416 | 1472 | 1555 | 1600 | 1644 | 1686 | 1732
Construction Cost | LCON7 | -66.1315 | Low | 9959.7808 | 609 | 655 | 643 | 772 | 823 | 868 | 942 | 1022 | 1069 | 1136 | 1206 | 1262 | 1319 | 1391 | 1448 | 1521 | 1569 | 1617 | 1664 | 1714
Construction Cost | HCON7 | 307.3446 | High | 10333.2569 | 609 | 655 | 643 | 780 | 830 | 876 | 961 | 1038 | 1084 | 1156 | 1262 | 1317 | 1374 | 1446 | 1503 | 1708 | 1747 | 1788 | 1828 | 1873
Load Forecast | LLF | -87.5942 | Low | 9938.3181 | 609 | 655 | 643 | 772 | 822 | 866 | 942 | 1018 | 1063 | 1130 | 1206 | 1260 | 1315 | 1383 | 1438 | 1525 | 1570 | 1613 | 1655 | 1706
Load Forecast | HLF | 127.3279 | High | 10153.2402 | 609 | 655 | 643 | 776 | 829 | 875 | 955 | 1035 | 1082 | 1154 | 1234 | 1293 | 1353 | 1430 | 1491 | 1581 | 1634 | 1686 | 1738 | 1801
Coal Prices | LCOAL | -146.3285 | Low | 9879.5839 | 603 | 641 | 625 | 752 | 801 | 846 | 923 | 1002 | 1051 | 1123 | 1202 | 1260 | 1321 | 1396 | 1455 | 1545 | 1593 | 1641 | 1687 | 1738
Coal Prices | HCOAL | 155.9615 | High | 10181.8738 | 610 | 655 | 647 | 783 | 836 | 883 | 962 | 1041 | 1088 | 1159 | 1241 | 1298 | 1357 | 1431 | 1491 | 1579 | 1629 | 1678 | 1729 | 1783
O&M Costs | LOM7 | -31.81 | Low | 9994.1024 | 609 | 655 | 643 | 774 | 825 | 870 | 944 | 1022 | 1067 | 1136 | 1213 | 1268 | 1325 | 1396 | 1453 | 1538 | 1585 | 1632 | 1677 | 1728
O&M Costs | HOM7 | 43.2398 | High | 10069.1521 | 609 | 655 | 643 | 774 | 826 | 871 | 950 | 1027 | 1073 | 1142 | 1223 | 1279 | 1336 | 1408 | 1465 | 1569 | 1617 | 1664 | 1711 | 1762
Forced Outage Rates | LFOR7 | -8.6466 | Low | 10017.2657 | 609 | 655 | 643 | 774 | 825 | 870 | 948 | 1025 | 1071 | 1140 | 1218 | 1273 | 1329 | 1401 | 1459 | 1543 | 1590 | 1637 | 1682 | 1732
Forced Outage Rates | HFOR7 | 22.1604 | High | 10048.0728 | 609 | 655 | 643 | 774 | 825 | 871 | 949 | 1027 | 1072 | 1142 | 1221 | 1277 | 1334 | 1405 | 1463 | 1556 | 1605 | 1651 | 1701 | 1750
Spot Power | PPL | -68.7115 | Low | 9957.2008 | 611 | 665 | 659 | 773 | 818 | 861 | 936 | 1008 | 1048 | 1116 | 1203 | 1258 | 1312 | 1385 | 1442 | 1542 | 1589 | 1633 | 1679 | 1726
Spot Power | PPH | 144.4297 | High | 10170.342 | 614 | 668 | 665 | 795 | 843 | 889 | 960 | 1041 | 1086 | 1161 | 1230 | 1287 | 1344 | 1420 | 1480 | 1554 | 1604 | 1652 | 1696 | 1749
Contract Power | LPPA7 | -3.078 | Low | 10022.8343 | 609 | 654 | 641 | 774 | 825 | 870 | 948 | 1026 | 1071 | 1140 | 1218 | 1274 | 1331 | 1402 | 1459 | 1547 | 1595 | 1641 | 1687 | 1738
Contract Power | HPPA7 | 8.0941 | High | 10034.0064 | 611 | 657 | 645 | 774 | 826 | 872 | 948 | 1026 | 1072 | 1141 | 1218 | 1274 | 1331 | 1403 | 1460 | 1547 | 1595 | 1641 | 1687 | 1738
DSM Impact | LDSM | -11.0429 | Low | 10014.8694 | 610 | 656 | 645 | 776 | 827 | 872 | 949 | 1026 | 1071 | 1139 | 1216 | 1271 | 1327 | 1397 | 1453 | 1541 | 1587 | 1633 | 1677 | 1726
DSM Impact | HDSM | 40.5847 | High | 10066.497 | 609 | 653 | 639 | 772 | 824 | 870 | 949 | 1028 | 1074 | 1145 | 1224 | 1281 | 1340 | 1414 | 1474 | 1562 | 1612 | 1661 | 1710 | 1765
Cost of Capital |  |  | Base | 774.2638
Cost of Capital |  | -197.4126 | Low | 576.8512
Cost of Capital |  | 140.3292 | High | 914.593
Case |  | None | Low | High | 10095.0257 2009: Range; 10095.0257 2011: Base; 10095.0257 2014: No CO2 Tax; 10095.0257 2015: Low; 10095.0257 2016: High
Emissions Cost |  | -1081.7558 | -732.1577 | 546.4981 | 10095.0257 2009: 1628.2539; 10095.0257 2011: 10025.9123; 10095.0257 2013: 8944.1565; 10095.0257 2014: 349.5981; 10095.0257 2015: 732.1577; 10095.0257 2016: 546.4981
Gas Prices |  |  | -45.5813 | 368.3576 | 10095.0257 2009: 413.9389; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9980.331; 10095.0257 2014: 0; 10095.0257 2015: 45.5813; 10095.0257 2016: 368.3576
Constr. Cost |  |  | -66.1315 | 307.3446 | 10095.0257 2009: 373.4761; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9959.7808; 10095.0257 2014: 0; 10095.0257 2015: 66.1315; 10095.0257 2016: 307.3446
Cost of Capital |  |  | -197.4126 | 140.3292 | 10095.0257 2009: 337.7419; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9828.4997; 10095.0257 2014: 0; 10095.0257 2015: 197.4126; 10095.0257 2016: 140.3292
Coal Prices |  |  | -146.3285 | 155.9615 | 10095.0257 2009: 302.29; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9879.5839; 10095.0257 2014: 0; 10095.0257 2015: 146.3285; 10095.0257 2016: 155.9615
Load Forecast |  |  | -87.5942 | 127.3279 | 10095.0257 2009: 214.9221; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9938.3181; 10095.0257 2014: 0; 10095.0257 2015: 87.5942; 10095.0257 2016: 127.3279
Spot Power |  |  | -68.7115 | 144.4297 | 10095.0257 2009: 213.1412; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9957.2008; 10095.0257 2014: 0; 10095.0257 2015: 68.7115; 10095.0257 2016: 144.4297
O&M Costs |  |  | -31.81 | 43.2398 | 10095.0257 2009: 75.0498; 10095.0257 2011: 10025.9123; 10095.0257 2013: 9994.1024; 10095.0257 2014: 0; 10095.0257 2015: 31.81; 10095.0257 2016: 43.2398
DSM Cost Impact |  |  | -11.0429 | 40.5847 | 10095.0257 2009: 51.6276; 10095.0257 2011: 10025.9123; 10095.0257 2013: 10014.8694; 10095.0257 2014: 0; 10095.0257 2015: 11.0429; 10095.0257 2016: 40.5847
Forced Outage Rate |  |  | -8.6466 | 22.1604 | 10095.0257 2009: 30.8071; 10095.0257 2011: 10025.9123; 10095.0257 2013: 10017.2657; 10095.0257 2014: 0; 10095.0257 2015: 8.6466; 10095.0257 2016: 22.1604
Contract Power |  |  | -3.078 | 8.0941 | 10095.0257 2009: 11.1721; 10095.0257 2011: 10025.9123; 10095.0257 2013: 10022.8343; 10095.0257 2014: 0; 10095.0257 2015: 3.078; 10095.0257 2016: 8.0941

## Plan comparison
Plan | Name | Case | None | Low | High | Range | Base |  | No CO2 Tax | Low | High
Preferred Plan | Preferred Plan - Emissions Cost | Emissions Cost | -1081.7558 | -732.1577 | 546.4981 | 1628.2539 | 10025.9123 | 8944.1565 | 349.5981 | 732.1577 | 546.4981
Base '12 | Base '12 - Emissions Cost | Emissions Cost | -1070.989 | -726.7771 | 542.0406 | 1613.0297 | 10027.2584 | 8956.2694 | 344.2119 | 726.7771 | 542.0406
No Coal | No Coal - Emissions Cost | Emissions Cost | -1041.8586 | -709.1483 | 526.4384 | 1568.2971 | 10034.1054 | 8992.2468 | 332.7104 | 709.1483 | 526.4384
No Gas | No Gas - Emissions Cost | Emissions Cost | -1168.0956 | -781.3313 | 579.6732 | 1747.7688 | 10147.0683 | 8978.9727 | 386.7643 | 781.3313 | 579.6732
Preferred Plan | Preferred Plan - Gas Prices | Gas Prices | 0 | -45.5813 | 368.3576 | 413.9389 | 10025.9123 | 9980.331 | 0 | 45.5813 | 368.3576
Base '12 | Base '12 - Gas Prices | Gas Prices |  | -24.0039 | 245.5723 | 269.5762 | 10027.2584 | 10003.2545 | 0 | 24.0039 | 245.5723
No Coal | No Coal - Gas Prices | Gas Prices |  | -26.5666 | 249.5947 | 276.1613 | 10034.1054 | 10007.5388 | 0 | 26.5666 | 249.5947
No Gas | No Gas - Gas Prices | Gas Prices |  | -37.0976 | 267.988 | 305.0855 | 10147.0683 | 10109.9707 | 0 | 37.0976 | 267.988
Preferred Plan | Preferred Plan - Constr. Cost | Constr. Cost | 0 | -66.1315 | 307.3446 | 373.4761 | 10025.9123 | 9959.7808 | 0 | 66.1315 | 307.3446
Base '12 | Base '12 - Constr. Cost | Constr. Cost |  | -66.3626 | 291.179 | 357.5416 | 10027.2584 | 9960.8959 | 0 | 66.3626 | 291.179
No Coal | No Coal - Constr. Cost | Constr. Cost |  | -60.0126 | 263.263 | 323.2756 | 10034.1054 | 9974.0928 | 0 | 60.0126 | 263.263
No Gas | No Gas - Constr. Cost | Constr. Cost |  | -110.9719 | 542.2552 | 653.2271 | 10147.0683 | 10036.0964 | 0 | 110.9719 | 542.2552
Preferred Plan | Preferred Plan - Cost of Capital | Cost of Capital | 0 | -197.4126 | 140.3292 | 337.7419 | 10025.9123 | 9828.4997 | 0 | 197.4126 | 140.3292
Base '12 | Base '12 - Cost of Capital | Cost of Capital |  | -192.9917 | 137.1867 | 330.1784 | 10027.2584 | 9834.2667 | 0 | 192.9917 | 137.1867
No Coal | No Coal - Cost of Capital | Cost of Capital |  | -172.9834 | 122.9639 | 295.9474 | 10034.1054 | 9861.122 | 0 | 172.9834 | 122.9639
No Gas | No Gas - Cost of Capital | Cost of Capital |  | -336.6473 | 239.3032 | 575.9505 | 10147.0683 | 9810.421 | 0 | 336.6473 | 239.3032
Preferred Plan | Preferred Plan - Coal Prices | Coal Prices | 0 | -146.3285 | 155.9615 | 302.29 | 10025.9123 | 9879.5839 | 0 | 146.3285 | 155.9615
Base '12 | Base '12 - Coal Prices | Coal Prices |  | -145.5394 | 154.0435 | 299.583 | 10027.2584 | 9881.719 | 0 | 145.5394 | 154.0435
No Coal | No Coal - Coal Prices | Coal Prices |  | -144.7192 | 146.0352 | 290.7544 | 10034.1054 | 9889.3862 | 0 | 144.7192 | 146.0352
No Gas | No Gas - Coal Prices | Coal Prices |  | -156.2521 | 171.9567 | 328.2088 | 10147.0683 | 9990.8162 | 0 | 156.2521 | 171.9567

## Cost of Capital
COST OF CAPITAL CALCULATION - Base, High and Low on New Construction Only
COST OF CAPITAL SUMMARY TABLE:
[6 empty] | Low COM | Base COM | High COM | Range
| Base Scenario w PPA Through 2009 |  |  |  |  | 655.788 | 880.2147 | 1039.7467 | 383.9587
| Base Scenario w PPA Through 2012 |  |  |  |  | 563.9331 | 756.9249 | 894.1116 | 330.1784
| Gas Scenario w PPA Through 2009 |  |  |  |  | 505.4677 | 678.4511 | 801.415 | 295.9474
| Green Scenario w PPA Through 2012 |  |  |  |  | 926.4252 | 1243.4707 | 1468.84 | 542.4147
| Coal Scenario w PPA Through 2012 |  |  |  |  | 983.7031 | 1320.3504 | 1559.6536 | 575.9505
| Preferred Plan |  |  |  |  | 576.8512 | 774.2638 | 914.593 | 337.7419
BASE SCENARIO w PPA Through 2009
|  |  |  | New Construction: |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  |  | Gen 7EA-2010 |  | 0 | 11.86 | 24.31 | 4.15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen 7EA-2018 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.45 | 29.61 | 5.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2014 |  | 0 | 0 | 17.48 | 35.84 | 36.74 | 37.66 | 38.6 | 19.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2015 |  | 0 | 0 | 0 | 17.92 | 36.74 | 37.66 | 38.6 | 39.56 | 20.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2020 |  | 0 | 0 | 0 | 0 | 0 | 0 | 31.43 | 32.22 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2022 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2024 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.7 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 40.24 | 41.25 | 0 | 0
|  |  |  | Gen LMS100-2010 |  | 0 | 23.65 | 48.48 | 8.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen CC-2011 |  | 0 | 0 | 49.57 | 101.62 | 17.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual | 0 | 35.51 | 139.84 | 167.81 | 90.84 | 75.32 | 108.63 | 91.56 | 86.34 | 82.15 | 133.71 | 111.77 | 109.35 | 112.11 | 76.6 | 78.52 | 40.24 | 41.25 | 0 | 0
[5 empty] | Cumulative |  | 35.51 | 175.35 | 343.16 | 434 | 509.32 | 617.95 | 709.51 | 795.85 | 878 | 1011.71 | 1123.48 | 1232.83 | 1344.94 | 1421.54 | 1500.06 | 1540.3 | 1581.55 | 1581.55 | 1581.55
| Var Range = |  | 383.9587 |  | NPV 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Base | 7.75% | Debt | 52.5% | 276.8745 | 0 | 1.4448 | 7.1346 | 13.9623 | 17.6584 | 20.723 | 25.1428 | 28.8682 | 32.3811 | 35.7236 | 41.164 | 45.7116 | 50.1608 | 54.7222 | 57.8389 | 61.0337 | 62.671 | 64.3493 | 64.3493 | 64.3493
|  | 11.5% | Equity | 47.5% | 603.3402 | 0 | 3.1484 | 15.547 | 30.4254 | 38.4795 | 45.1576 | 54.789 | 62.907 | 70.5621 | 77.8457 | 89.7008 | 99.6106 | 109.3059 | 119.2458 | 126.0374 | 132.9992 | 136.5669 | 140.2243 | 140.2243 | 140.2243
|  | Var from Base |  | 0 | NPV 2006: 880.2147
| High | 9.21% | Debt | 51.73% | 324.2083 | 0 | 1.6918 | 8.3543 | 16.3493 | 20.6772 | 24.2657 | 29.4412 | 33.8034 | 37.9169 | 41.8308 | 48.2012 | 53.5263 | 58.7361 | 64.0774 | 67.7269 | 71.4679 | 73.385 | 75.3503 | 75.3503 | 75.3503
|  | 13.42% | Equity | 48.27% | 715.5384 | 0 | 3.7339 | 18.4381 | 36.0834 | 45.6353 | 53.5552 | 64.9777 | 74.6053 | 83.684 | 92.3221 | 106.3817 | 118.1344 | 129.6326 | 141.421 | 149.4755 | 157.7319 | 161.9632 | 166.3006 | 166.3006 | 166.3006
|  | Var from Base |  | 159.532 | NPV 2006: 1039.7467
| Low | 7.281% | Debt | 63.84% | 316.3049 | 0 | 1.6506 | 8.1506 | 15.9507 | 20.1731 | 23.6742 | 28.7235 | 32.9794 | 36.9926 | 40.8111 | 47.0262 | 52.2215 | 57.3043 | 62.5154 | 66.0759 | 69.7256 | 71.5961 | 73.5135 | 73.5135 | 73.5135
|  | 8.5% | Equity | 36.16% | 339.4831 | 0 | 1.7715 | 8.7479 | 17.1196 | 21.6514 | 25.409 | 30.8283 | 35.396 | 39.7034 | 43.8017 | 50.4722 | 56.0482 | 61.5034 | 67.0964 | 70.9178 | 74.835 | 76.8425 | 78.9004 | 78.9004 | 78.9004
|  | Var from Base |  | -224.4267 | NPV 2006: 655.788
BASE SCENARIO w PPA Through 2012
|  |  |  | New Construction: |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  |  | Gen 7EA-2016 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13.75 | 28.19 | 4.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2014 |  | 0 | 0 | 17.48 | 35.84 | 36.74 | 37.66 | 38.6 | 19.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2020 |  | 0 | 0 | 0 | 0 | 0 | 0 | 31.43 | 32.22 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2022 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2024 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34.7 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 40.24 | 41.25 | 0 | 0
|  |  |  | Gen CC-2011 |  | 0 | 0 | 49.57 | 101.62 | 17.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen CC-2013 |  | 0 | 0 | 0 | 0 | 52.08 | 106.77 | 18.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual | 0 | 0 | 67.05 | 137.46 | 106.18 | 144.43 | 88.27 | 65.75 | 94.25 | 72.52 | 104.1 | 106.71 | 109.35 | 112.11 | 76.6 | 78.52 | 40.24 | 41.25 | 0 | 0
[5 empty] | Cumulative |  | 0 | 67.05 | 204.51 | 310.69 | 455.12 | 543.39 | 609.14 | 703.39 | 775.91 | 880.01 | 986.72 | 1096.07 | 1208.18 | 1284.78 | 1363.3 | 1403.54 | 1444.79 | 1444.79 | 1444.79
| Var Range = |  | 330.1784 |  | NPV 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Base | 7.75% | Debt | 52.5% | 238.0933 | 0 | 0 | 2.7281 | 8.321 | 12.6412 | 18.5177 | 22.1092 | 24.7844 | 28.6192 | 31.5698 | 35.8054 | 40.1472 | 44.5963 | 49.1578 | 52.2745 | 55.4693 | 57.1065 | 58.7849 | 58.7849 | 58.7849
|  | 11.5% | Equity | 47.5% | 518.8316 | 0 | 0 | 5.9448 | 18.1324 | 27.5466 | 40.3521 | 48.1783 | 54.0079 | 62.3644 | 68.7942 | 78.0239 | 87.4851 | 97.1804 | 107.1203 | 113.9119 | 120.8737 | 124.4414 | 128.0988 | 128.0988 | 128.0988
|  | Var from Base |  | 0 | NPV 2006: 756.9249
| High | 9.21% | Debt | 51.73% | 278.7971 | 0 | 0 | 3.1945 | 9.7435 | 14.8023 | 21.6834 | 25.8889 | 29.0215 | 33.5118 | 36.9669 | 41.9266 | 47.0106 | 52.2204 | 57.5617 | 61.2112 | 64.9522 | 66.8693 | 68.8346 | 68.8346 | 68.8346
|  | 13.42% | Equity | 48.27% | 615.3145 | 0 | 0 | 7.0503 | 21.5043 | 32.6692 | 47.8561 | 57.1377 | 64.0513 | 73.9617 | 81.5873 | 92.5334 | 103.754 | 115.2522 | 127.0406 | 135.0951 | 143.3516 | 147.5828 | 151.9203 | 151.9203 | 151.9203
|  | Var from Base |  | 137.1867 | NPV 2006: 894.1116
| Low | 7.281% | Debt | 63.84% | 272.0007 | 0 | 0 | 3.1166 | 9.506 | 14.4415 | 21.1548 | 25.2578 | 28.314 | 32.6949 | 36.0658 | 40.9045 | 45.8646 | 50.9474 | 56.1585 | 59.719 | 63.3688 | 65.2392 | 67.1566 | 67.1566 | 67.1566
|  | 8.5% | Equity | 36.16% | 291.9324 | 0 | 0 | 3.345 | 10.2026 | 15.4997 | 22.705 | 27.1086 | 30.3888 | 35.0907 | 38.7086 | 43.9019 | 49.2255 | 54.6807 | 60.2737 | 64.0951 | 68.0123 | 70.0198 | 72.0777 | 72.0777 | 72.0777
|  | Var from Base |  | -192.9917 | NPV 2006: 563.9331
GAS SCENARIO w PPA Through 2012
|  |  |  | New Construction: |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  |  | Gen 7EA-2014 |  | 0 | 0 | 0 | 0 | 0 | 13.09 | 26.83 | 4.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen 7EA-2016 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.5 | 56.37 | 9.63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2020 |  | 0 | 0 | 0 | 0 | 0 | 0 | 62.87 | 64.44 | 66.05 | 67.7 | 69.4 | 71.13 | 72.91 | 74.73 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2025 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 40.24 | 41.25 | 42.28 | 0
|  |  |  | Gen CC-2011 |  | 0 | 0 | 49.57 | 101.62 | 17.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen CC-2013 |  | 0 | 0 | 0 | 0 | 52.08 | 106.77 | 18.24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual | 0 | 0 | 49.57 | 101.62 | 69.44 | 119.86 | 107.94 | 96.52 | 122.42 | 77.33 | 69.4 | 106.7 | 109.36 | 112.1 | 38.3 | 39.26 | 40.24 | 41.25 | 42.28 | 0
[5 empty] | Cumulative |  | 0 | 49.57 | 151.19 | 220.63 | 340.49 | 448.43 | 544.95 | 667.37 | 744.7 | 814.1 | 920.8 | 1030.16 | 1142.26 | 1180.56 | 1219.82 | 1260.06 | 1301.31 | 1343.59 | 1343.59
| Var Range = |  | 295.9474 |  | NPV 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Base | 7.75% | Debt | 52.5% | 213.4091 | 0 | 0 | 2.0169 | 6.1515 | 8.9769 | 13.8537 | 18.2455 | 22.1727 | 27.1536 | 30.3 | 33.1237 | 37.465 | 41.9146 | 46.4757 | 48.034 | 49.6314 | 51.2687 | 52.9471 | 54.6673 | 54.6673
|  | 11.5% | Equity | 47.5% | 465.042 | 0 | 0 | 4.395 | 13.4049 | 19.5616 | 30.1887 | 39.7589 | 48.3167 | 59.1707 | 66.027 | 72.1802 | 81.6405 | 91.3366 | 101.2757 | 104.6715 | 108.1524 | 111.7201 | 115.3775 | 119.1261 | 119.1261
|  | Var from Base |  | 0 | NPV 2006: 678.4511
| High | 9.21% | Debt | 51.73% | 249.893 | 0 | 0 | 2.3617 | 7.2032 | 10.5115 | 16.2221 | 21.3647 | 25.9632 | 31.7957 | 35.48 | 38.7864 | 43.87 | 49.0803 | 54.4211 | 56.2458 | 58.1163 | 60.0335 | 61.9987 | 64.0131 | 64.0131
|  | 13.42% | Equity | 48.27% | 551.5221 | 0 | 0 | 5.2123 | 15.8977 | 23.1993 | 35.8027 | 47.1526 | 57.3017 | 70.1742 | 78.3055 | 85.6029 | 96.8225 | 108.3217 | 120.1091 | 124.1364 | 128.2646 | 132.4958 | 136.8333 | 141.279 | 141.279
|  | Var from Base |  | 122.9639 | NPV 2006: 801.415
| Low | 7.281% | Debt | 63.84% | 243.8012 | 0 | 0 | 2.3041 | 7.0276 | 10.2553 | 15.8266 | 20.8439 | 25.3303 | 31.0206 | 34.6151 | 37.8409 | 42.8005 | 47.8838 | 53.0944 | 54.8747 | 56.6996 | 58.57 | 60.4874 | 62.4526 | 62.4526
|  | 8.5% | Equity | 36.16% | 261.6665 | 0 | 0 | 2.4729 | 7.5426 | 11.0068 | 16.9864 | 22.3713 | 27.1865 | 33.2938 | 37.1516 | 40.6138 | 45.9369 | 51.3926 | 56.9851 | 58.8958 | 60.8544 | 62.8619 | 64.9198 | 67.029 | 67.029
|  | Var from Base |  | -172.9834 | NPV 2006: 505.4677
GREEN SCENARIO w PPA Through 2012
|  |  | New Construction: |  |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  | Gen 7EA-2013 |  |  | 0 | 0 | 0 | 0 | 12.77 | 26.17 | 4.47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Gen 7EA-2025 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.17 | 35.2 | 6.01 | 0
|  |  | Gen Nuclear-2020 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 31.43 | 32.22 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Gen Nuclear-2022 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 0 | 0 | 0 | 0
|  |  | Gen Coal w CO2 Rem-2013 |  |  | 0 | 24.66 | 50.55 | 51.82 | 53.11 | 54.44 | 27.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Gen Coal w CO2 Rem-2014 |  |  | 0 | 0 | 25.28 | 51.82 | 53.11 | 54.44 | 55.8 | 28.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Gen Coal w CO2 Rem-2015 |  |  | 0 | 0 | 0 | 25.91 | 53.11 | 54.44 | 55.8 | 57.2 | 29.31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Gen Coal w CO2 Rem-2016 |  |  | 0 | 0 | 0 | 0 | 26.56 | 54.44 | 55.8 | 57.2 | 58.63 | 30.05 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | Gen CC-2011 |  |  | 0 | 0 | 49.57 | 101.62 | 17.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual | 0 | 24.66 | 125.4 | 231.17 | 216.02 | 243.93 | 231.2 | 175.22 | 154 | 97.75 | 69.4 | 71.14 | 72.9 | 74.74 | 38.3 | 39.26 | 17.17 | 35.2 | 6.01 | 0
[5 empty] | Cumulative |  | 24.66 | 150.06 | 381.23 | 597.25 | 841.18 | 1072.38 | 1247.6 | 1401.6 | 1499.35 | 1568.75 | 1639.89 | 1712.79 | 1787.53 | 1825.83 | 1865.09 | 1882.26 | 1917.46 | 1923.47 | 1923.47
| Var Range = |  | 542.4147 |  | NPV 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Base | 7.75% | Debt | 52.5% | 391.1379 | 0 | 1.0034 | 6.1056 | 15.5113 | 24.3006 | 34.2255 | 43.6325 | 50.7617 | 57.0276 | 61.0048 | 63.8285 | 66.723 | 69.6891 | 72.7301 | 74.2885 | 75.8858 | 76.5845 | 78.0167 | 78.2612 | 78.2612
|  | 11.5% | Equity | 47.5% | 852.3327 | 0 | 2.1864 | 13.3047 | 33.8008 | 52.9537 | 74.5812 | 95.08 | 110.6154 | 124.2694 | 132.9362 | 139.0894 | 145.3968 | 151.8603 | 158.487 | 161.8828 | 165.3636 | 166.886 | 170.0069 | 170.5398 | 170.5398
|  | Var from Base |  | 0 | NPV 2006: 1243.4707
| High | 9.21% | Debt | 51.73% | 458.0059 | 0 | 1.1749 | 7.1494 | 18.1631 | 28.455 | 40.0766 | 51.0918 | 59.4398 | 66.7769 | 71.434 | 74.7405 | 78.1298 | 81.603 | 85.1639 | 86.9886 | 88.8591 | 89.6771 | 91.3542 | 91.6405 | 91.6405
|  | 13.42% | Equity | 48.27% | 1010.8341 | 0 | 2.593 | 15.7789 | 40.0865 | 62.8011 | 88.4504 | 112.7612 | 131.1857 | 147.3788 | 157.6573 | 164.9547 | 172.4351 | 180.1006 | 187.9595 | 191.9868 | 196.115 | 197.9204 | 201.6217 | 202.2537 | 202.2537
|  | Var from Base |  | 225.3693 | NPV 2006: 1468.84
| Low | 7.281% | Debt | 63.84% | 446.8408 | 0 | 1.1462 | 6.9751 | 17.7203 | 27.7613 | 39.0996 | 49.8463 | 57.9908 | 65.149 | 69.6926 | 72.9185 | 76.2252 | 79.6137 | 83.0878 | 84.8681 | 86.6929 | 87.491 | 89.1272 | 89.4065 | 89.4065
|  | 8.5% | Equity | 36.16% | 479.5844 | 0 | 1.2302 | 7.4862 | 19.0188 | 29.7956 | 41.9648 | 53.4989 | 62.2403 | 69.923 | 74.7996 | 78.2618 | 81.8108 | 85.4477 | 89.1763 | 91.087 | 93.0456 | 93.9022 | 95.6583 | 95.9581 | 95.9581
|  | Var from Base |  | -317.0454 | NPV 2006: 926.4252
COAL SCENARIO w PPA Through 2012
|  |  |  | New Construction: |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  |  | Gen Coal-2013 |  | 0 | 68.23 | 139.88 | 143.37 | 146.96 | 150.63 | 77.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2014 |  | 0 | 0 | 17.48 | 35.84 | 36.74 | 37.66 | 38.6 | 19.78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2015 |  | 0 | 0 | 0 | 17.92 | 36.74 | 37.66 | 38.6 | 39.56 | 20.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2017 |  | 0 | 0 | 0 | 0 | 0 | 18.83 | 38.6 | 39.56 | 40.55 | 41.57 | 21.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2020 |  | 0 | 0 | 0 | 0 | 0 | 0 | 31.43 | 32.22 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2022 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33.03 | 33.85 | 34.7 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2025 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35.57 | 36.45 | 37.37 | 38.3 | 39.26 | 40.24 | 41.25 | 42.28 | 0
[5 empty] | Annual | 0 | 68.23 | 157.36 | 197.13 | 220.44 | 244.78 | 224.43 | 131.12 | 126.89 | 109.27 | 90.7 | 106.71 | 109.35 | 112.11 | 76.6 | 78.52 | 40.24 | 41.25 | 42.28 | 0
[5 empty] | Cumulative |  | 68.23 | 225.59 | 422.72 | 643.16 | 887.94 | 1112.37 | 1243.49 | 1370.38 | 1479.65 | 1570.35 | 1677.06 | 1786.41 | 1898.52 | 1975.12 | 2053.64 | 2093.88 | 2135.13 | 2177.41 | 2177.41
| Var Range = |  | 575.9505 |  | NPV 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Base | 7.75% | Debt | 52.5% | 415.3207 | 0 | 2.7761 | 9.1787 | 17.1994 | 26.1686 | 36.1281 | 45.2596 | 50.5945 | 55.7573 | 60.2033 | 63.8936 | 68.2354 | 72.6846 | 77.246 | 80.3627 | 83.5575 | 85.1947 | 86.8731 | 88.5934 | 88.5934
|  | 11.5% | Equity | 47.5% | 905.0297 | 0 | 6.0494 | 20.0014 | 37.4794 | 57.0242 | 78.727 | 98.6256 | 110.251 | 121.5014 | 131.1895 | 139.2312 | 148.6924 | 158.3877 | 168.3276 | 175.1192 | 182.081 | 185.6488 | 189.3061 | 193.0547 | 193.0547
|  | Var from Base |  | 0 | NPV 2006: 1320.3504
| High | 9.21% | Debt | 51.73% | 486.3229 | 0 | 3.2507 | 10.7479 | 20.1398 | 30.6423 | 42.3044 | 52.997 | 59.244 | 65.2895 | 70.4955 | 74.8167 | 79.9007 | 85.1105 | 90.4518 | 94.1013 | 97.8422 | 99.7594 | 101.7247 | 103.7391 | 103.7391
|  | 13.42% | Equity | 48.27% | 1073.3307 | 0 | 7.1744 | 23.7209 | 44.4492 | 67.6285 | 93.3673 | 116.9662 | 130.7535 | 144.096 | 155.5858 | 165.1229 | 176.3435 | 187.8417 | 199.6302 | 207.6847 | 215.9411 | 220.1723 | 224.5098 | 228.9556 | 228.9556
|  | Var from Base |  | 239.3032 | NPV 2006: 1559.6536
| Low | 7.281% | Debt | 63.84% | 474.4675 | 0 | 3.1715 | 10.4859 | 19.6488 | 29.8953 | 41.2731 | 51.7051 | 57.7998 | 63.6979 | 68.7769 | 72.9929 | 77.9529 | 83.0357 | 88.2468 | 91.8073 | 95.4571 | 97.3275 | 99.2449 | 101.2102 | 101.2102
|  | 8.5% | Equity | 36.16% | 509.2356 | 0 | 3.4039 | 11.2542 | 21.0887 | 32.086 | 44.2976 | 55.4939 | 62.0352 | 68.3655 | 73.8168 | 78.3416 | 83.6652 | 89.1204 | 94.7134 | 98.5348 | 102.452 | 104.4595 | 106.5174 | 108.6266 | 108.6266
|  | Var from Base |  | -336.6473 | NPV 2006: 983.7031
Preferred Plan
|  |  |  | New Construction: |  | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  |  | Gen 7EA-2010 |  | 0 | 36 | 73 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Coal-2017 |  | 0 | 0 | 0 | 0 | 0 | 38 | 77 | 79 | 81 | 83 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  |  | Gen Nuclear-2022 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 102 | 104 | 107 | 109 | 112 | 115 | 118 | 0 | 0 | 0 | 0
|  |  |  | Gen CC-2013 |  | 0 | 0 | 0 | 0 | 52 | 107 | 18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[5 empty] | Annual | 0 | 36 | 73 | 12 | 52 | 145 | 95 | 79 | 180 | 185 | 147 | 107 | 109 | 112 | 115 | 118 | 0 | 0 | 0 | 0
[5 empty] | Cumulative |  | 36 | 109 | 121 | 173 | 318 | 413 | 492 | 672 | 857 | 1004 | 1111 | 1220 | 1332 | 1447 | 1565 | 1565 | 1565 | 1565 | 1565
| Var Range = |  | 337.7419 |  | NPV 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
| Base | 7.75% | Debt | 52.5% | 243.5473 | 0 | 1.4647 | 4.4349 | 4.9232 | 7.0389 | 12.9386 | 16.8039 | 20.0182 | 27.342 | 34.8692 | 40.8503 | 45.2038 | 49.6388 | 54.1957 | 58.8748 | 63.6759 | 63.6759 | 63.6759 | 63.6759 | 63.6759
|  | 11.5% | Equity | 47.5% | 530.7165 | 0 | 3.1919 | 9.6642 | 10.7282 | 15.3386 | 28.1947 | 36.6176 | 43.622 | 59.5812 | 75.9838 | 89.0172 | 98.5041 | 108.1683 | 118.0985 | 128.2947 | 138.7569 | 138.7569 | 138.7569 | 138.7569 | 138.7569
|  | Var from Base |  | 0 | NPV 2006: 774.2638
| High | 9.21% | Debt | 51.73% | 285.1835 | 0 | 1.7152 | 5.1931 | 5.7648 | 8.2423 | 15.1506 | 19.6767 | 23.4405 | 32.0163 | 40.8303 | 47.8339 | 52.9317 | 58.1249 | 63.4609 | 68.9399 | 74.5618 | 74.5618 | 74.5618 | 74.5618 | 74.5618
|  | 13.42% | Equity | 48.27% | 629.4095 | 0 | 3.7854 | 11.4614 | 12.7232 | 18.191 | 33.4378 | 43.4271 | 51.734 | 70.6611 | 90.1139 | 105.571 | 116.8221 | 128.2835 | 140.0603 | 152.1526 | 164.5604 | 164.5604 | 164.5604 | 164.5604 | 164.5604
|  | Var from Base |  | 140.3292 | NPV 2006: 914.593
| Low | 7.281% | Debt | 63.84% | 278.2315 | 0 | 1.6733 | 5.0665 | 5.6243 | 8.0414 | 14.7812 | 19.197 | 22.8691 | 31.2358 | 39.835 | 46.6678 | 51.6414 | 56.7079 | 61.9139 | 67.2593 | 72.7442 | 72.7442 | 72.7442 | 72.7442 | 72.7442
|  | 8.5% | Equity | 36.16% | 298.6197 | 0 | 1.796 | 5.4378 | 6.0364 | 8.6306 | 15.8644 | 20.6037 | 24.5449 | 33.5247 | 42.754 | 50.0876 | 55.4256 | 60.8634 | 66.4508 | 72.1879 | 78.0747 | 78.0747 | 78.0747 | 78.0747 | 78.0747
|  | Var from Base |  | -197.4126 | NPV 2006: 576.8512