M E M O R A N D U M

TO:		Missouri Public Service Commission Official Case File

Case Nos. WA-2004-0581 (lead case, consolidated with SA-2004-0582)

Emerald Pointe Utility Company

FROM:	Dale W. Johansen – Project Coordinator

Water & Sewer Department

Jim Merciel – Water & Sewer Department

Rosella Schad – Engineering & Management Services Department

/s/  Dale W. Johansen		August 20, 2004

Project Coordinator			          Date

/s/  Cliff Snodgrass			August 20, 2004

General Counsel’s Office		          Date

SUBJECT:	Staff Recommendation Regarding the Applications Seeking Permission, Approval, and Certificates of Convenience and Necessity for Emerald Pointe Utility Company to Provide Water and Sewer Service in a Described Area in Taney County, Missouri.

DATE:		August 20, 2004

### Background

On May 11, 2004 (unless noted otherwise, all dates herein refer to the year 2004), Emerald Pointe Utility Company (Company) filed Applications with the Commission, seeking Certificates of Convenience and Necessity (Certificates) to provide water and sewer service in Taney County to a new development to be known as Branson Canyon Subdivision.

On May 13, the Commission issued its Order Consolidating Cases, making WA-2004-0581 the lead case in which all filings for both cases would be filed.

Also on May 13, the Commission issued its Order Directing Notice and Setting Date for Submission of Intervention Requests, requiring that notice of the Applications be sent to legislators, county officials and media serving the affected area.  The Order set June 2 as the deadline for interested parties to file intervention requests.  No parties submitted any applications to intervene in either case.

On August 4, the Commission issued its Order Granting Extension of Time to File a Recommendation extending the Staff’s Recommendation file date to August 20.

### Staff's investigation

As noted at the beginning of this Memorandum, Staff members from the Water & Sewer Department, the Engineering & Management Services Department, and the General Counsel's Office participated in the Staff’s investigation of the Applications.  All Staff participants, the participants' up-line supervisors and the assigned attorney from the General Counsel's Office were provided the opportunity to review and comment on this Memorandum prior to it being filed.  Jim Merciel of the Water & Sewer Department created the initial draft of this Memorandum and comments received from the reviewers were incorporated therein to create this final version of this Memorandum.

Items reviewed during the Staff’s investigation of the subject Applications included the Company's overall plans for providing the proposed services in the requested service area.  Additionally, the Staff analyzed the Company's ability to meet the "Tartan Energy Criteria", as slightly modified by the Staff, which are the criteria historically used by the Commission in evaluating service area certificate applications.  The Tartan Energy Criteria, with criterion (1) modified by the Staff, are set out below.

(1) Is there a need for the proposed service, and is there a need for the applicant to provide the proposed service?

(2) Is the Company qualified to provide the proposed service?

(3) Does the Company have the financial ability to provide the proposed service?

(4) Is the Company's proposal economically feasible?

(5) Does the Company's proposal promote the public interest?

In addition to the above-referenced reviews and analysis, the Staff also performed its own cost-of-service analysis and rate calculations for the new systems, which will be discussed in more detail later in this Memorandum, and also conducted a review of the status of the Company's payment of its Commission assessments and the submission of its Commission annual reports.

### BACKGROUND OF THE COMPANY

The Company is an existing regulated water and sewer utility, having started business as a water and sewer utility, as authorized by the Commission in Case No. WA-96-96, to serve a residential and condominium development known as Emerald Pointe, near Branson in Taney County.  The Company presently has approximately 260 water and sewer customers, with growth of approximately 90 customers per year in the existing service area.  Mr. Gary Snadon, who is a developer and businessman in the area, owns the Company.

### The Applications AND STAFF’s REVIEWs

The Company, whose owner is also the subdivision developer, expects 281 residential water and sewer customers to be connected within six (6) to eight (8) years of operation.  For ratemaking purposes, the Staff has assumed that the Company will acquire approximately 40 residential customers per year, plus continued growth of customers in its existing Emerald Pointe area.  Some customers are larger commercial customers that are the equivalent of several residential customers.  The present customer level of 260 is actually a customer equivalent of 374.  The Staff projects an estimated 579 equivalent customer level two years after the end of 2004, which is the “two-year level” for which expenses and rates are studied in this case.  The Staff estimated a two-year expense level that is based on the Company’s most recent annual report and the Staff’s estimates.  The customer level and the Staff’s estimated expenses are shown on Attachment 1.

### WATER SYSTEM AND WATER RATES (Case No. WA-2004-0581)

The present service area is served by a deep groundwater well with a 300 gallon per minute (gpm) pump, a 177,000 gallon ground storage tank (not all water is usable due to lowered water pressure at low tank levels), and 6 inch and 8 inch water mains.  This system will also be able to service the proposed new area, although at some time during the next one (1) to two (2) years the Company will need to increase capacity either by constructing another well or another storage tank.  The Staff has added an estimated amount of rate base to its two-year projection for either of these added facilities.  As was done for the Company’s existing systems, the distribution mains and necessary easements will be contributed to the utility by the developer.  The Staff believes that, according to information in the Company’s annual report and the Staff’s estimates, the Company may be over earning with regard to water service (while under earning with regard to sewer service) and the Staff’s two-year projection shows this trend to continue unless and until a rate adjustment is authorized through a rate case.  The Staff observes that there appear to be deficiencies or errors in some of the entries in the annual report, but although a full rate case audit may be necessary to reveal more accurate information with regard to the Company’s actual investment and expenses, the Staff believes that water service to the proposed service area is feasible, and it is reasonable and appropriate to use existing rates and rules that are in effect for the Company’s adjacent existing service areas.

### SEWER SYSTEM AND SEWER RATES (Case No. SA-2004-0582)

The existing service area is served by gravity and pressure sewers, with pump units that are maintained by the Company located on customers’ premises, with treatment utilizing an extended air treatment facility.  The proposed service area will be similarly served by pump units, and gravity and pressure collecting sewers.  The present treatment facility is operating near capacity, and thus the Company plans to increase capacity both for growth in the existing service area, and to serve the new proposed service area, by constructing another treatment facility.  As was done for the Company in its existing sewer service area, the sewer pipelines and necessary easements will be contributed to the utility by the developer.  The Staff has estimated an amount of rate base to be included in its two-year estimate for the additional treatment capacity.

The Staff believes that, according to information in the Company’s annual report and the Staff’s estimates, the Company may be under earning with regard to sewer service (while over earning with regard to water service, as noted above) and the Staff’s two-year projection shows this trend to continue, unless and until a rate adjustment is authorized through a rate case.  As stated above, although a full rate case audit may reveal better information with regard to the Company’s actual expenses, the Staff believes that sewer service to the proposed service area is feasible, and it is appropriate to use existing rates and rules that are in effect for the Company’s nearby existing service area.

### Staff’s Findings & Conclusions

In addition to funding the Company's capital investment, the owners, as the developer of the subdivision, may need to subsidize the Company's operations by advancing “out-of-pocket” expenses such as employee salaries, utilities and other fees until customers are connected during the first year of operation of the proposed service area.  However, the size of the Company’s existing customer base minimizes this risk.  Also, from a practical standpoint, the Staff does not believe that the addition of the new proposed service area will cause financial instability for the Company, even if it does not does not develop as rapidly as projected, because there is demonstrated growth in the existing area, and the Company will soon need to increase capacities of its water and sewer systems, regardless of the addition of the proposed service area.

In addition to the above, in reviewing the Company’s financial records and annual report in the context of this case, as stated above, it appears that there may be some bookkeeping errors or omissions.  Specifically, the Balance Sheet does not balance, and some figures for contributions-in-aid-of-construction and depreciation appear to be inaccurate.  However, the Staff does not consider this to be a deficiency that is significantly detrimental to this case.  The Staff does believe these deficiencies should be corrected if and when the Company files a rate case, and the Staff further believes the Company should be required to properly book all future plant, including that contemplated in these two current cases, and use existing approved depreciation rates for all plant in service.

Lastly, the Staff notes that the Company has a deficiency with regard to the payment of its Commission assessments.  Specifically, for the fiscal year 2000, the Company made only two of the four quarterly payments, still owing the amount of $1,319.82 for that year.  The Company has made all payments since then through the current first quarter of the 2005 fiscal year.  There are no deficiencies for the submission of its Commission annual reports.  The assessment payment review covers fiscal years 1996 through 2005, and the annual report submission review covers calendar years 1997 through 2003.  Jim Merciel conducted the assessment and annual report review, and informed the Company of the assessment payment deficiency along with the Staff’s request for the past due assessment to be paid.

### Responses to Staff’s Proposals

The Staff agrees with the Company’s proposal to use existing rates for the proposed service area.  However, the Staff has not yet been able to share its final proposals, as set forth in this Memorandum, with the Company or the Office of the Public Counsel (OPC).

### Staff's conclusions

The Staff is of the opinion that the Company's proposals, with the added assumptions made by the Staff, are reasonable.  There is a need for water and sewer service, in that it is required for the new subdivision.  The Staff believes the Company has the necessary technical, managerial and financial capacities, in part because it employs a licensed operator.  Additionally, the owner of the Company is an established property developer in the vicinity, and has experience in the design and development of the Company’s existing water and sewer systems.  The systems will be largely financed through the subdivision development venture.  Additionally, the Company, under its original ownership, has approximately eight (8) years of experience in operating regulated water and sewer utility systems.

### The Tartan Energy Criteria

As noted previously, the Staff analyzed the Company's ability to meet the Tartan Energy Criteria, as slightly modified by the Staff, as has historically been done in evaluating service area certificate applications.  The Staff's conclusions regarding this matter are set out and summarized below.

Is there a need for the proposed services, and is there a need for the Company to provide the proposed services?  There is a need for water service in the Branson Canyon Subdivision in that it is a new development, and central water and sewer systems are needed in order to satisfy state and local regulations related to new subdivision development.  There are no other available utilities at present to provide the service.  The Staff thus believes there is a need for the Company to be the entity providing the proposed services to the new area.

Is the Company qualified to provide the proposed service?  The Staff believes that the owner and employees of the Company have demonstrated technical and managerial ability to develop and operate both water and sewer systems.  The owner has experience in the design and construction of the existing water and sewer systems, and has employed certified operators to run the systems, and the Company is an established utility providing service in the area.

Does the Company have the financial ability to provide the proposed services?  The utility systems will be financed by and through the subdivision development venture.  The Staff believes that the Company has the financial capability through bank financing and its owners' funding support to successfully move forward with its proposals, and will be able to generate sufficient cash flow to meet the necessary expenses.

Is the Company's proposal economically feasible?  The Staff, having evaluated estimated expenses, rates and charges, etc., some of which are based on the Company’s reported actual expenses, believes the proposals for both the water and sewer systems within the requested area are economically feasible.  As is common, however, for newly proposed service areas for any utility, the feasibility is dependent upon customers actually connecting to the system, albeit the Staff believes that the Company’s current customer base and growth alleviates this concern to a great degree.

Does the Company's proposal promote the public interest?  The Staff believes the Company's proposals promote the public interest because central water and sewer systems are desirable for a good living environment for the involved residents, and because the other Tartan Energy Criteria have been met.

### Staff's recommendations

Based upon the above, the Staff recommends that the Commission issue an order in this consolidated case that:

- Grants a Certificate of Convenience and Necessity for Emerald Pointe Utility Company to provide water service in the service area described in the water Application;

- Grants a Certificate of Convenience and Necessity for Emerald Pointe Utility Company to provide sewer service in the service area described in the sewer Application;

- Requires the Company to submit water tariff sheets that depict the new service area, and a modified index sheet reflecting the new sheets;

- Requires the Company to submit sewer tariff sheets that depict the new service area, and a modified index sheet reflecting the new sheets;

- Requires the Company to properly book all new utility plant placed into service, whether contributed or not, and to continue to use existing approved depreciation accrual rates;

- Requires the Company to pay its past due FY2000 assessments prior to it being allowed to provide service in the new service area; and

- Recognizes that nothing in this Memorandum, or in any order issued by the Commission in this case, shall bind the Commission on any ratemaking issue in any future rate proceeding.

However, since the Company and the OPC have not yet had the opportunity to review the Staff's proposal in its entirety, the Staff is also recommending at this time that the Commission delay any action on the Applications until such time that the Staff can further inform the Commission of whether the Staff, the Company and the OPC have reached an agreement on this matter.  Also, after the Company submits the necessary tariff sheets, the Staff will submit an additional recommendation regarding approval of those tariff sheets.

List of Attachments

Attachment 1:	Estimated Expenses & Rate Calculation Worksheet