- 2006 Missouri Statewide

- Residential

- Lighting and Appliance

- Efficiency Saturation Study

- Final Report

- November 15, 2006

A Joint Study for the Utility Collaborative:

- AmerenUE

- Kansas City Power & Light

- Aquila

- Independence Power & Light

- Empire District Electric Co.

- City Utilities of Springfield

- Columbia Water & Light

- Prepared by:

- 48 4th Street

- Troy, NY 12180

Acknowledgements

RLW would like to thank each of the representatives of the participating utility sponsors whose cooperation contributed to the development, execution, and ultimately success of the 2006 Missouri statewide market assessment study. Specifically we would like to thank Greg Lovett and Keith Jones of AmerenUE, Sue Nathan of Kansas City Power & Light, Matt Daunis of Aquila, Rob Buell of Independence Power & Light, Todd Tarter of Empire District Electric Company, Cara Schaefer of the City Utilities of Springfield, and Tina Worley of Columbia Water & Light. Additionally we would like to thank Brenda Wilbers from the Department of Natural Resources whose efforts as project facilitator eased and sped the passage of information between parties involved, and whose eagerness and general support for the project were greatly appreciated.

We also would like to acknowledge the hundreds of residential customers who graciously took time from their busy schedules to allow us to visit and record information within their homes. Without the willingness of these generous Missourians none of this would have been possible.

- Table of Contents

Executive Summary	6

Introduction	6

Approach	6

Key Findings	7

Lighting	8

Refrigerators	9

Self Standing Freezers	10

Water Heaters	10

Clothes Washers	10

Clothes Dryers	11

Dishwashers	11

Cooling Systems	11

Heating Systems	12

Building Envelope	12

Limitations	12

Comparisons to Other Sources	14

Introduction	18

Approach	18

Sample Design	21

Sampling Plan	21

Final Sample	22

Data Collection	27

Overview	27

Recruiting	27

On-Site Survey Data	29

Demographics	29

Appliances	33

Lighting	34

Insulation	34

Windows	34

Database	35

Overview	35

Consolidation of Surveyor Information	35

Merge of Weights	35

Merging of Saturation and Efficiency Information	36

Creation of Efficiency Categories	36

Creation of Analysis Queries	36

Efficiency Weighting Adjustments for Unmatched Appliances	37

Development of Database Summarization Tool (MORESEST)	39

Lighting	42

Lighting Overview	42

Specific Fixture Overviews	48

Room Lighting Analysis	53

Appliances	68

Refrigerator Freezers	68

Primary Refrigerators	69

Size	69

Age	70

Energy Consumption	71

Percentage Above/Below 2001 Federal Appliance Standards	73

ENERGY STAR Qualified	75

Secondary Refrigerators	76

Size	77

Age	78

Energy Consumption	79

Percentage Above/Below 2001 Federal Appliance Standards	80

Self-standing Freezers	81

Size	83

Annual Energy Consumption	84

Age	85

Water Heaters	85

Fuel Type	86

Age	88

Energy Factor	89

Clothes Washers	92

Clothes Dryers	94

Dishwashers	96

Cooling Equipment	97

Cooling Equipment	97

Heating Equipment	103

Heating Equipment	104

Window and Wall Constructions	107

Overview	107

Windows	108

Walls	109

Insulation	110

Attic	110

Pool and Spa	113

Pool and Spas	113

Potential Analysis	114

Methodology for Estimating Impacts	114

Background and Assumptions on Market Potential	116

Technical Assessment of Energy and Demand Impacts	117

Potential Energy Conservation Measures	117

Interpretation of Field Data and Creation of DOE2 Models	118

Calculation of Individual Measure Impacts	121

Situation and Measure Improvement Descriptions	123

Technical Assessment of Program Market Potentials by Measure	132

Preferred Energy Conservation Measures	132

Calculation of Market Potentials	133

References	141

- Table of Figures

Table 1: Percent of Rooms with CFL	9

Table 2:  Percent of Homes by Residence Type	14

Table 3:  Homes Built During Specific Year Periods	15

Table 4:  Income Ranges per Surveyed Region	15

Table 5:  Primary and Secondary Heating Systems by Fuel Type	15

Table 6:  Percentage of Heating System Types	16

Table 7:  Percentage of Number of People per Home	16

Table 8:  Percentage of People in Age Groups	16

Table 9:  Percentage of Specific Appliances per Home	17

Table 10:  Percentage of Cooling System Type	17

Table 11: 2005 Model Number Match Rates by Appliance	20

Table 12: Final Sample Plan – Proposed, Modified, and Implemented Accounts	24

Table 13: Final Sample Plan – Proposed, Modified, and Implemented Accounts (continued)	25

Table 14: Number of Sites Recruited by Service Territory	27

Table 15: Recruiting Final Outcome by Service Territory	28

Table 16: Percentage of Homes by Type of Residence	30

Table 17: Percentage of Homes by Number of People	30

Table 18: Percentage of Homes by Number of Adults	30

Table 19: Percentage of Homes by Primary Language	31

Table 20: Percentage of Homes by Total Household Income	31

Table 21: Percentage of Homes by Age Range of Home	31

Table 22: Percentage of Homes by Total Heated Floor Space	32

Table 23: Percentage of Homes that were Remodeled in Last 10 Years	32

Table 24: Percentage of Homes that were Remodeled by Type of Remodel	32

Table 25: Percentage of Residents that Plan to Remodel in Next 2 Years	32

Table 26: Percentage of Homes by Ownership Type	33

Table 27: Who Pays for Electric and Gas Among All Residences	33

Table 28: Percentage of Matched Cooling Systems and All Cooling Systems by Estimated or Manufacturer Reported Date	38

Table 29: Average Number of Fixtures/Lamps by Type of Residence	43

Table 30: Average Number of Fixtures by Fixture Type	43

Table 31: Percentage Fixture Types	44

Table 32: Percentage of Homes with Fixture Types	44

Table 33: Distribution of Number of Fixtures per Home	45

Table 34: Distribution of Number of Fixtures per Home by Residence Type	45

Table 35: Fixtures Containing Compact Fluorescent Lamps	46

Table 36: Average Number of Lamps per Fixture	46

Table 37: Average Number of Lamps by Lamp Type	47

Table 38: Percentage Lamp Types	47

Table 39: Percentages of Homes with Lamp Types	47

Table 40: Distribution of Number of Lamps per Home	48

Table 41: Distribution of Number of Lamps per Home by Residence Type	48

Table 42: Number of Recessed Cans per Home	48

Table 43: Percentage of Homes with Recessed Cans by Room Type	49

Table 44: Percentage of Homes with Recessed Cans by Age of Home	49

Table 45: Number of Recessed Cans per Home by Age of Home	50

Table 46: Number of Ceiling Fans per Home	50

Table 47: Percentage of Homes with Ceiling Fans by Room Type	51

Table 48: Ceiling Fan Lamp Types	51

Table 49: Number of Torchieres per Home	52

Table 50: Percentage of Homes with Torchieres by Room Type	52

Table 51: Torchiere Lamp Types	52

Table 52: Percentage of Homes with Fixture Type and Lamp Type in Kitchen	53

Table 53: Percentage of Homes with Fixture Type and Lamp Type in Master Bedroom	53

Table 54: Percentage of Homes with Fixture Type and Lamp Type in Bedrooms	54

Table 55: Percentage of Homes with Fixture Type and Lamp Type in Living Room	54

Table 56: Percentage of Homes with Fixture Type and Lamp Type in Family Room	55

Table 57: Percentage of Homes with Fixture Type and Lamp Type in Master Bathroom	55

Table 58: Percentage of Homes with Fixture Type and Lamp Type in Bathrooms	56

Table 59: Percentage of Homes with Fixture Type and Lamp Type in Hallway	56

Table 60: Percentage of Homes with Fixture Type and Lamp Type in Dining Room	57

Table 61: Percentage of Homes with Fixture Type and Lamp Type in Breakfast Nook	57

Table 62: Percentage of Homes with Fixture Type and Lamp Type in Home Office	58

Table 63: Percentage of Homes with Fixture Type and Lamp Type in Basement	59

Table 64: Percentage of Homes with Fixture Type and Lamp Type in Recreation Room	60

Table 65: Percentage of Homes with Fixture Type and Lamp Type in Laundry Room	61

Table 66: Percentage of Homes with Fixture Type and Lamp Type in Closets	61

Table 67: Percentage of Homes with Fixture Type and Lamp Type in Garage	62

Table 68: Percentage of Homes with Fixture Type and Lamp Type in Other Room Type	63

Table 69: Percentage of Homes Having Lamp Type as Porch Light	63

Table 70: Percent of Lamps by Control Types	64

Table 71: Average Lamp Wattage by Lamp Type	65

Table 72: Average Fixture Wattage	66

Table 73: Average Wattage by Room Type	67

Table 74: Percentage of Homes with Second or Third Refrigerator by Type of Residence	68

Table 75: Average Estimated Size by Refrigerator Type	70

Table 76: Percentage of All Refrigerators by Type within Size Ranges-Estimated Sizes	70

Table 77: Average Age and Percentage of Refrigerator Manufacturer Reported Ages and On-site Estimated Ages within Size Ranges	71

Table 78: Average Nameplate UEC by Type of Refrigerator	72

Table 79: Percentage of Primary Refrigerators by Nameplate UEC Ranges and Type within Size Ranges	73

Table 80: Percentage Above/Below 2001 Federal Appliance Standards by Type of Refrigerator	74

Table 81: Percentage of Refrigerators with a Nameplate UEC Better or Worse than 2001 Standards by Percentage Bins and Type within Size Ranges	75

Table 82: Percentage of ENERGY STAR Qualified Primary Refrigerators by Type and Size Range	76

Table 83: Average Estimated Size of Secondary Refrigerators by Type	77

Table 84: Estimated Size Distribution of Secondary Refrigerators by Type	78

Table 85: Average Age and Percentage of Secondary Refrigerator Manufacturer Reported Ages and On-site Estimated Ages by Size Range and Type	79

Table 86: Percentage of Refrigerators by Nameplate UEC Ranges and Type within Size Ranges	80

Table 87: Percentage Comparison to 2001 Federal Appliance Standards By Type of Refrigerator	81

Table 88: Percentage range of Secondary Refrigerators with a Nameplate UEC Better or Worse than 2001 Standards by Percentage Bins and Type within Size Ranges	81

Table 89: Average Size of Primary Freezers by Type	83

Table 90: Distribution of Size of Primary Freezers and Type	83

Table 91: Distribution of Nameplate Annual Usage of Primary Freezers by Type	84

Table 92: Nameplate Average Annual Usage of Primary Freezers by Type	84

Table 93: Comparison of Primary Freezers to Federal Standards	85

Table 94: Average Manufacture Date of Primary Freezers by Type	85

Table 95: Distribution of Manufacture Date of Primary Freezers by Type	85

Table 96: Average Size of Water Heaters by Fuel Type	87

Table 97: Percentage of Water Heaters by Size Range and Fuel Type	87

Table 98: Percentage of Water Heaters within each Size Range Among all Water Heaters	87

Table 99: Average Age of Water Heaters by Fuel Type within Size Ranges	88

Table 100: Percentage of Water Heaters in Purchase Date Ranges by Fuel Type	89

Table 101: Energy Factor Comparison	89

Table 102: Average Energy Factor by Fuel Type in Size Ranges	90

Table 103: Percentage of Water Heaters in Energy Factor Ranges by Fuel Type and Size	91

Table 104: Percentage of Water Heaters that were Wrapped and Unwrapped	92

Table 105: Percentage of Homes with Clothes Washers by Type of Residence	92

Table 106: Distribution of Clothes Washers by Type of Washer and by Type of Residence	93

Table 107: Distribution of Manufactured Date of Clothes Washers	93

Table 108: Average Energy Factor and Comparative Standards	94

Table 109: Energy Factor Distribution Relative to Standards	94

Table 110: Percentage of Homes with Dryers by Type of Residence	95

Table 111: Distribution of Estimated Manufacture Date of Dryers	95

Table 112: Percentage of Homes with Dishwasher by Type of Residence	96

Table 113: Distribution of Manufacture Date of Dishwashers	96

Table 114: Comparison of Energy Factor with Federal Standards	96

Table 115: Distribution of Energy Factor of Dishwashers	97

Table 116: Distribution of Cooling System Types in Residences with Cooling Equipment	98

Table 117: Breakdown of Classes of Primary Cooling Systems by Equipment Type	99

Table 118 Average Age of Primary Cooling Equipment	99

Table 119: Age Range Distribution of Cooling System by Types	99

Table 120: Size Distribution of Cooling Systems by Type	100

Table 121: Size Distributions by Age Range for Central System Types	101

Table 122: Size Distributions by Age Range for Space System Types	101

Table 123: Distribution of Cooling Systems by SEER/EER ranges and Cooling System Type	102

Table 124: Cooling Systems by Type, Tonnage Range, and Average Efficiency	103

Table 125: Average SEER Standard Comparison	103

Table 126: Percentage of Homes with Heating System	104

Table 127: Percentage of Primary Heating Types by Type of System	104

Table 128: Percentage of Heating Systems by Fuel Type within Type of Heating System	105

Table 129: Average Estimated Age and Percentage of Heating System by Type within Age Ranges	105

Table 130: Percentage of All Furnaces with Capacity by Fuel Type within Capacity Ranges	106

Table 131: Average AFUE by System Type	106

Table 132: Percentage of Heating Systems by Type within AFUE Ranges	106

Table 133: Average AFUE Standard Comparison	107

Table 134: AFUE Bin Distribution	107

Table 135: Percentage of Homes by Frame Type and Panes Type by Type of Residence	108

Table 136: Percentage of Homes by Frame Type and Panes Type by Age of Residence	109

Table 137: Percentage of Homes by Glazing Type and Age Range	109

Table 138: Average R-Value and Percentage of Homes with Attic R-Values within R-Value Bins	111

Table 139: Percentage of Homes by Wall Construction Type by Percentage of Walls Insulated	112

Table 140: Percentage of Homes with Wall Insulation by Type of Residence	112

Table 141: Percentage of Homes with Floor R-Values within R-Value Sizes	113

# Executive Summary

## Introduction

This study was designed to serve the Missouri investor-owned and municipal utilities to provide baseline information on residential appliance, building, equipment, and lighting saturations and efficiencies. The overarching goals of the Missouri Market Assessment Study (“the assessment”) were to provide baselines of saturation and efficiency characteristics for use in understanding future energy savings potential in the residential sector. The seven sponsoring utilities working as the Utility Collaborative (“the Collaborative”) were AmerenUE, Kansas City Power & Light, Aquila, Independence Power & Light, Empire District Electric Company, City Utilities of Springfield, and Columbia Water & Light.

The four primary objectives that this study was designed to achieve were:

Objective 1: Complete onsite surveys of approximately 285 single-family homes to build a Missouri baseline inventory and energy use estimate for lighting and appliances in the existing Missouri residential market.

Objective 2: Develop a database of residential lighting and appliance saturations and efficiencies.

Objective 3: Set up a web-based tool to provide utility staff and other parties the ability to conduct “what-if” scenario analyses on the data collected from the sample of homes.

Objective 4: Calculate and present technical, economic, and market potential analyses for energy efficiency opportunities to help target future programs that will have the largest and/or most cost effective impact on peak demand and energy consumption.

## Approach

An evenly distributed sample of residential accounts was selected for each major residential rate class of each participating utility. Customers were recruited to participate in the study by phone, and each participant was paid $25 for agreeing to allow an onsite surveyor to visit their home to gather the required information. The onsite survey was implemented using IPAQ hand held personal digital assistants (PDA) and a specially designed application for collecting the specified information. This approach provided fast and cost effective on-site data collection. A total of 287 on-site surveys were successfully completed between October 2005 and May 2006.

While on-site, the surveyors collected data on the major appliances and lighting systems in the home. The surveyors collected nameplate data for eight major appliances: Refrigerator-Freezers, Self-standing Freezers, Dishwashers, Clothes Washers, Clothes Dryers, Water Heaters, Cooling Equipment, Heating Equipment, and Spa/Pool Equipment. The surveyors collected lamp, fixture, and wattage data for each lighting fixture within the home, as well as any front porch fixtures. The on-site surveyors also collected data on attic, floor and wall insulation R-values, wall construction, and window type. The survey also included a brief set of demographic and socioeconomic questions, in addition to a few questions regarding recent or planned remodeling of the home.

As the data were collected, the surveyors uploaded the site data from the PDA units to RLW’s SQL database. The data underwent quality control measures, and model numbers were matched to databases of appliance efficiencies. The matching function was done using appliance databases RLW had already secured from a previous California study, including appliance model data from the California Energy Commission (CEC), the Air-Conditioning and Refrigeration Institute (ARI), Association of Home Appliance Manufacturers (AHAM), and Carrier’s 2003 Electronic Blue Book. Once the model numbers were linked, the corresponding efficiency was assigned to the matched appliance. Matching rates varied greatly by appliance type and age. Table 11 in the following section provides an analysis of the overall match rates for each appliance in the study.

It is important to understand that the appliance and equipment efficiency findings presented in this report do not account for degradation (i.e. the difference between actual efficiency and rated efficiency that occurs with age and use). Most appliances (if not all) have been shown to degrade over time, the result of which can affect performance and energy efficiency. The efficiency information (e.g., SEER, UEC, EF, etc.) presented in this report is based on results from manufacturer compliance testing of new products to federal appliance and equipment standards. Therefore, efficiency data presented in this report is likely conservative since efficiency values are based on manufacturer tested performance.

The analysis for lighting and appliances is summarized in this report at the statewide level. Each site was given its appropriate case weight to project to the population or various subsections of the population. Analysis queries were written in MS Access and processed using RLW’s Model Based Statistical Sampling (MBSS) software. The report contains numerous data queries, which for the most part are summarized by age bins, unit energy consumption (UEC) bins, efficiency, size bins, and capacity bins.

The data and analysis queries developed for this project can be accessed by any user wishing to do so.  As a product of this study, RLW developed a web-based analytical tool that gives users the ability to analyze the various data. The Missouri Residential Efficiency Saturation Tool (MORESEST) allows users to explore this residential sector data in a myriad of ways that go well beyond what is presented in this “statewide” report. The tool can be accessed at www.moresest.com.

## Key Findings

In this section we summarize some of the more interesting findings occurring at the statewide level. Findings are grouped in this study by appliance and equipment type, lighting, and building characteristics. Readers can find additional information and details in the sections of the report that pertain to the topic of discussion in this section.

Following this interim report we will provide chapters on our comparative and potential analyses. The comparative analysis will highlight the similarities and differences between the 2006 assessment and the results of the 2003 Illinois Residential Statewide Assessment as well as the American Housing Surveys conducted by the US Census for the Metropolitan Statistical Area for Kansas City (MO) and St. Louis.  These additional analyses will not only provide grounds for comparative assessment but will also offer a useful perspective and point of reference for the 2006 assessment.

### Lighting

Data were gathered on all fixtures in the home and for the porch light(s). No other exterior lighting data were collected. The data collection parameters included collection of fixture type, number of lamps, lamp technology type and lamp wattage (if accessible). All of the indoor lighting data were characterized by room type. The study also included wattage data collection. All in all, 90% of wattage data were obtained.

Number of fixtures and lamps - The assessment shows that there are, on average overall, roughly 37 fixtures and 59 lamps per household surveyed reflecting that there are roughly 1.6 lamps per fixture. Ceiling fixtures make up the highest average number of fixtures per home, 12.8, while incandescent lamps make up the highest average number of lamps, 49.1.

Fixtures with a compact fluorescent (CFL) – On average, 5% of all fixtures have at least one CFL. Not only are ceiling mounted fixtures the most common fixture type, but also the most likely to contain CFLs. Nearly 46% of the ceiling mounted fixtures, which constitute close to 35% of all fixtures surveyed, contained at least one CFL. Floor lamps and torchieres are the next two most likely to contain CFLs. For perspective, 14.7% of all floor lamps and 9.9% of all torchieres contained CFLs. When considering the entire surveyed population (not just CFLs) of lamp-fixture combinations, 89% are screw-based fixtures leaving 11% pin-based fixtures. With persistence in mind however, further analysis shows that only .6% of all CFLs are dedicated for pin-based fixtures.

Saturation of CFLs – The percentage of CFLs among all lamps is nearly 5%. Of the numerous types of CFLs, spiral/spring lamp styles are the most common. Nearly 26% of homes surveyed have CFLs.

Location of CFLs – The most common room types to have CFLs are family rooms and kitchens. About 18% of family rooms and 16% of kitchens contain at least one CFL. For all frequently used spaces, dining rooms were the least likely to have CFLs. Dining rooms are unlikely to contain a CFL perhaps due to the higher preponderance of fixtures that do not easily accommodate CFLs (such as chandeliers, decorative sockets, and incandescent dimmer controls, which cannot dim CFLs). Table 1 summarizes the proportion of rooms with at least one CFL.

Table 1: Percent of Rooms with CFL

According to a recent CFL Metering Study in California (KEMA, 2005)Error: Reference source not found, CFLs located in kitchens, living rooms, outside, and in garages are used the most, while those in laundry rooms, bathrooms, and hallways are being used the least. KEMA found that living rooms have the second highest hours of use of any room in the house (second to the Kitchen), which is also the third most likely room (14% of homes) to contain a CFL.

Average Lamp Wattages – The average wattage for incandescent A-type lamps is 63 Watts, while the average wattage for spiral/spring type CFLs is 21 Watts. The CFL Metering Study (KEMA, 2005)1 found that more than 90% of CFLs installed in residences are in the 13-26 Watt range and have screw-in bases and integrated ballasts. They also found that the most common wattage range is 13-17 Watts, while our findings suggest an average closer to 21 Watts.

### Refrigerators

Data were gathered for primary, secondary, and tertiary refrigerators.

Primary Refrigerator Age – In the study we found that the average age of primary refrigerators was 8.3 years old. Nearly 75% of these were manufactured after 1995. Additionally, over 44% of all primary refrigerators were between 19.00 and 21.99 cubic feet.

Primary Refrigerator Nameplate Unit Energy Consumption (UEC) – The overall average nameplate UEC for primary refrigerators is 718.5.

ENERGY STAR Qualified – Roughly 7% of all primary refrigerators found would qualify with the 2004 ENERGY STAR standards, while approximately 11% of all refrigerators meet or exceed the 2001 ENERGY STAR standards.

Age and Efficiency of Secondary Refrigerators – The average age of secondary refrigerators is 15 years old. In terms of nameplate UEC, findings estimate that secondary refrigerators each use an average of about 791 kWh/yr (compared to the average primary refrigerator that uses 760 kWh/yr). On average, 42% of secondary refrigerators are between 15.00 and 18.99 cubic feet and were found to be 4 cubic feet smaller, on average, than primary refrigerators.

### Self Standing Freezers

Over 53% of homes have at least one self-standing freezer for food storage, while only about 4% have a second freezer. Upright freezers constitute the majority of primary freezer types (~59%); chest style freezers make up the rest. Primary freezers were found to be on average about 12.9 cubic feet of storage space.

Over 31% of primary freezers consume between 625 and 824.99 kWh/year, with upright freezers consuming twice as much energy as chest freezers in this range. Currently, 14% of freezers use 35% or less energy than the 2001 federal freezer standards. The overall average age of primary freezers is 14.2 years old.

### Water Heaters

Data were gathered on many water heater characteristics, including system type, size, age, efficiency, fuel type, output, and insulation. The following summarizes some of the key findings related to water heating equipment.

Water Heater System type – The most common system types are gas storage systems (~74%) and the second most common system is electric storage (~25). Less than 1% of the market consists of gas or electric instantaneous systems.

Water Heater Efficiency – The average energy factor (EF) for 40 gallon gas water heaters (the most common type) is 0.57. This compares closely to the current federal standard for 40 gallon systems of 0.59. The average EF for electric water heaters is .88, also close to the federal standards of .90. Overall, over 96% of all water heater tanks are not wrapped.

Water Heater Age – The average age of water heaters is 8.6 years old. Electric water heaters are slightly older, on average, than gas water heaters.

### Clothes Washers

It is estimated that nearly 98% of all homes have a clothes washer. Washers are most common in single-family unattached dwellings.

Clothes Washer Type – About 5% of all machines are horizontal-axis, 1.3% are stacked, and the remaining 93.6% are of the standard type. The low saturation of horizontal-axis washing machines suggests that these types of machines continue to be unaffordable for the majority of Missouri residents and/or have low market awareness and responsiveness.

Clothes Washer Age – Over 60% of washing machines are less than six years old, while roughly 78% are less than eleven years old. The average washing machine age is 7.5 years old.

Clothes Washer Efficiency – In 2004 federal standards switched from rating clothes washer efficiencies from Energy Factor (EF) units to Modified Energy Factor (MEF) units. The change was made due to differences in the amount of water extracted from the clothing between different models. The MEF accounts for these differences, which have an impact on the energy consumption of the clothes dryer. The efficiency databases used for this study to determine model efficiency only had MEF for a very limited number of horizontal-axis washing machines, and as such we continue to present efficiency in terms of EF.

For the appliances found in this study, the average EF for standard washing machines is 1.55, nearly 24% higher than federal standards. Horizontal-axis units have an average EF of 5.30. If compared to the same federal standard of standard washing machines, horizontal-axis units would be about 78% higher.

### Clothes Dryers

Nearly 97% of homes have a clothes dryer. As one would expect, this saturation estimate closely compares to the saturation of washing machines. Findings indicate that 87.7% are electric, 11.9% are gas, and .4% are propane. The average age of clothes dryers is 8.1 years old. Dryer efficiencies were not summarized since dryer efficiency databases continue to be scarce and incomplete.

### Dishwashers

Nearly 76% of homes have a dishwasher. Modular/prefabricated homes all have dishwashers and over 87% of 3-story single-family unattached dwellings have dishwashers.

Dishwasher Age – The average age of dishwashers is estimated to be 6.1 years old. Over 64% of these appliances were less than six years old and less than 2% were built before 1980.

Dishwasher Efficiency – The current average EF for dishwashers is 0.508, which is greater than the current federal energy standard (.46), but less than the minimum ENERGY STAR qualification (0.58), which is set 25% higher than the federal standard.

### Cooling Systems

It is estimated that roughly 98% of all homes have some type of cooling system. The vast majority of cooling systems are central systems, reflecting nearly 92% of all sampled homes surveyed.

Cooling System Type – The data reveal that the most common central cooling system types are split-system air-conditioners. Currently this system type represents nearly 90% of all central cooling systems. Of the remaining 10% central cooling units, 72% of them are made up of split-heat pumps. Packaged system air-conditioners make up less than 2% of central cooling system types.

Cooling System Age – The average age of central air-conditioners is 9.5 years old, while the average age of space air-conditioners is 7.7 years old. When considering all central cooling system types, the findings reveal that roughly 43% are less than six years old, while nearly 35% are more than 16 years old.

Cooling System Size – The most common central air-conditioner size is the 2.50 ton category, over 27%, and the next most common size is the 2.00 ton category, just under 27%. About 74% of all central air-conditioners fall within the 2.00-3.49 ton capacity range.

Cooling System Efficiency – Of the 225 central systems surveyed, 137 units were matched to an efficiency database for determining the SEER. The findings show that roughly 6% of all central units are SEER 13 or greater. The majority of units, roughly 68%, fell within the 10-10.99 SEER range, while no units were found to have a SEER rating less than 10.

### Heating Systems

The study results show that nearly 54% of homes have one heating system, about 31% have two systems, and nearly 16% have 3 systems or more.

Primary Heating System Type – The most common heating system type are central system forced air furnaces (87%), followed by electric heat pump units (~4%). Fireplaces, portable heaters, and woodstoves make up less than 1% of the various heating systems.

Primary Heating System Fuel – The primary heating fuel is natural gas (~78%), followed by electric systems (~20%). Less than 1% of primary heating systems are wood fired stoves, and only about 1% are propane.

Primary Heating System Age – Overall, heating systems are about 13 years old. Overall central and space systems are very close in average age, 12.8 and 13.1 respectively.

Primary Heating System Efficiency – The average Annual Fuel Utilization Efficiency (AFUE) for gas central heating systems is 82.1, compared to 61.7 for space systems. Nearly 65% of all central systems fall within the 78-84.99 AFUE range and 100% of all space systems are less than 78 AFUE.

### Building Envelope

Vinyl frame windows make up about 47% of all window frame types surveyed. Wood frames follow closely behind making up just over 41% of frames surveyed and metal frames make up only about 11%.

Overall, the most common window type is the wood or vinyl double pane combination, with a saturation of about 62%. The second most common type of window type is single pane wood or vinyl, about 25%. All homes surveyed in this study were most likely to have the wood or vinyl double pane combination.

Overall, 9% of homes are thought to have windows with Low-E coatings. Homes built between 2000 and 2006 have the highest saturation, just over 36%, followed by homes built between 1986 and 1990 (19%). Older homes with Low E are due to window retrofits represented by about 4% of the homes surveyed. New homes are increasingly using Low-E as standard practice.

## Limitations

For the most part, all of the data this study looked to collect through the on-site surveys were easily obtained. However, in situations where heating and cooling systems had illegible or non-existent nameplate data and indeterminable capacity criteria, best estimations were made based upon RLW’s extensive experience with a myriad of heating and cooling technologies. Moreover, these situations are more characteristic of older homes, which are more likely to have older less efficient units. Since we can only project SEER for units where nameplate data was collected, this particular limitation is likely biasing the baseline efficiency findings (Table 11 summarizes these findings).

It should be noted that the SEER value was matched into the various efficiency databases based on the model number of the condensing unit. The evaporator coil has an impact on the overall SEER of the system, but gathering information on the evaporator coil involves additional effort on the part of both the surveyor and especially the analyst, as there is no available database that caters to the large scale matching of condenser and evaporator units. However, the databases that were used in the matching process use an average SEER value of common condenser/evaporator combinations, and therefore provide a relatively accurate representation of the efficiency of the cooling systems observed.

Water heater blankets are fairly uncommon but when encountered completely covered the nameplate data. Blankets were not completely removed to collect this information, but were slightly moved if they were seen to be easily replaceable.

Wattage was also difficult to collect in many circumstances. Surveyors were trained to remove fixture covers only if easily reachable and removable. Fortunately the surveyors were able to obtain wattages for 90% of all fixtures. For the lighting wattage analysis RLW calculated missing wattages based on other homes with the same fixture type in the same room type. About 3% of all lamps found were 3-way, with many variations on wattage. These fixtures were dropped from the analysis due to the difficulty of assigning a reasonable wattage constant.

Field personnel also reported pool and spa information for pumps and heaters to be difficult to access and difficult to locate nameplate data. Compounded by the low overall saturation of homes with pools, limited information was obtained for these particular data points.

Field surveyors also reported difficulties in obtaining model number information for window/wall air-conditioners. These systems often require removal of face plates, which are often delicate, challenging to remove, and at times even more difficult to replace once removed. Surveyors were asked not to remove or tamper with any equipment if they were not comfortable doing so. Other problematic access issues arose when the nameplate faced into the wall mounting.

RLW also encountered some early transmission issues with the electronic data.  These were rectified by additional visits that were scheduled to replace missing data, as well as by over-sampling that was built into the recruitment process.

There are some limitations to the databases used for appliance matching. While RLW staff routinely search for updates and additional data added to the efficiency databases, there is no database that is conducive to large numbers of model number matches while also containing a comprehensive list of models and efficiency information. For example, field staff were able to obtain 216 of 221 dishwasher model numbers, yet through the matching process RLW was only able to match 16%, or 35 models to databases. Dryer efficiencies were very difficult to match due to the lack of a comprehensive dryer efficiency database. The CEC has recently begun to compile a list of dryer efficiencies for newer models, but only 4% of the 272 dryers that we collected model numbers for were in the database. More detailed findings are presented on the model number matching process in Table 11.

None of the appliance efficiency databases (i.e., CEC, AHAM, ARI) used for efficiency matching account for efficiency degradation over time.  Appliance efficiencies are based on the manufacturer test data at the time of manufacture. However, over time appliances and equipment do degrade due to various factors that can affect operational performance. Considering this, the efficiencies of matched appliances, particularly of older appliances, are more than likely less efficient than what has been reported here since no attempt has been made to adjust for efficiency degradation.

# Comparisons to Other Sources

The following is a comparative analysis of key results in this assessment and the US Census American Housing Surveys for the St. Louis and Kansas City Metropolitan Statistical Areas (MSAs).  The Kansas City MSA Survey was completed in 2002, and the St. Louis MSA Survey was completed in 2004, which makes these reasonably relevant comparative sources.  The findings below utilized the survey data available for single-family owner occupied homes.  We drew direct comparisons wherever possible.  As seen from the tables below, the majority of the survey results are consistent with the 2006 Assessment.

Table 2:  Percent of Homes by Residence Type

Table 3:  Homes Built During Specific Year Periods

Table 4:  Income Ranges per Surveyed Region

Table 5:  Primary and Secondary Heating Systems by Fuel Type

Table 6:  Percentage of Heating System Types

Table 7:  Percentage of Number of People per Home

Table 8:  Percentage of People in Age Groups

Table 9:  Percentage of Specific Appliances per Home

Table 10:  Percentage of Cooling System Type

# Introduction

This is a report for the 2006 Missouri Statewide Residential Lighting and Appliance Efficiency Saturation Study. RLW Analytics, Inc. and its subcontractor MDI conducted the study on behalf of the seven sponsoring utilities, the Utility Collaborative (referred to here after as “the Collaborative”):  AmerenUE, Kansas City Power & Light, Aquila, Independence Power & Light, Empire District Electric Company, City Utilities of Springfield, and Columbia Water & Light. In addition to the sponsors, Brenda Wilbers from the Missouri Department of Natural Resources, acted as the project facilitator mediating specific general management tasks between RLW and the utilities.

The final study was designed to provide the Collaborative with baseline information on residential appliance, building, equipment, and lighting saturations and efficiencies. The overarching goals of this assessment were to provide baselines of saturation and efficiency characteristics for use in understanding future energy savings potential in the residential sector. This interim draft report provides the first part of the final study.

The four primary objectives that this study was designed to achieve were:

Objective 1: Complete onsite surveys of approximately 285 single-family homes to build a Missouri baseline inventory and energy use estimate for lighting and appliances in the existing Missouri residential market.

Objective 2: Develop a database of residential lighting and appliance saturations and efficiencies.

Objective 3: Set up a web-based tool to provide utility staff and other parties the ability to conduct “what-if” scenario analyses on the data collected from the sample of homes.

Objective 4: Calculate and present technical, economic, and market potential analyses for energy efficiency opportunities to help target future programs that will have the largest and/or most cost effective impact on peak demand and energy consumption.

## Approach

An evenly distributed sample of single-family residential accounts was selected from each utility. Customers were recruited to participate in the study by phone, and each participant was paid $25 for agreeing to allow an onsite surveyor to visit their home to gather the required information. The onsite survey was implemented using IPAQ hand held personal digital assistants (PDA) and a specially designed application for collecting the specified information. This approach provided fast and cost effective on-site data collection. A total of 287 successful on-site surveys were completed between October 2005 and May 2006.

While on-site, the surveyors collected data on the major appliances and lighting systems in the home. The surveyors collected nameplate data for the following appliances:

- Refrigerator-Freezer

- Self-standing Freezers

- Dishwashers

- Clothes Washers

- Clothes Dryers

- Water Heaters

- Heating Equipment

- Cooling Equipment

- Pool and Spa Equipment (heater and pump)

For lighting, the surveyors collected lamp, fixture and wattage data for each lighting fixture within the home, as well as the front porch fixture(s). The on-site surveyors also collected data on attic, floor and wall insulation R-values, wall construction, and window type. The survey also included a brief set of demographic and socioeconomic questions, in addition to a few questions regarding recent or planned remodeling of the home.

As the data were collected, the surveyors uploaded the site data from the PDA units to RLW’s SQL database. The data underwent quality control measures and model numbers were matched to databases of appliance efficiencies. RLW used databases from the previous study, in addition to new data sources, including CEC, ARI, AHAM, and Carrier’s 2003 Electronic Blue Book. Once the model numbers were linked, the corresponding efficiency was assigned to the matched appliance. Matching rates varied greatly by appliance type and age. In most cases this was due to the comprehensiveness of the efficiency databases that were available for each appliance.

Table 11 below presents each appliance for which we collected data. The tables contain the following data in the same column order as listed below:

- Name of appliance,

- Number of each appliance found during all on-site visits,

- Number of model numbers found for each appliance,

- Number of model numbers matched to efficiency database(s),

- Percentage of matched model numbers among appliances with model numbers,

- Percentage of model numbers that surveyors were unable to identify on-site,

In the assessment, we recorded the presence of 286 refrigerators. During the on-site surveys, the surveyors were able to locate model numbers for 273 of those refrigerators. Thirteen of the 276 (<5%) refrigerators had either an unreadable or a missing nameplate.

When the data were aggregated at RLW’s offices and linked to the refrigerator efficiency databases, 166 of the 273 (61%) refrigerators with model numbers were matched. Another way to look at the match rate is to consider the percentage of the total number of refrigerators (286) that were successfully matched (166), which for refrigerators was 61%. This statistic combines the success rate of the matching with the success of the auditors in collecting model numbers. A high match rate among the units with model numbers collected is less meaningful if the auditors were only able to collect data on a handful of units.

Table 11: 2005 Model Number Match Rates by Appliance

Based upon our experience with similar previous studies, we anticipated in the design stages of the project that the match rates would approximate what are shown in the table above. We knew that matching model numbers to appliance databases would be a long process. One problem is that wildcards (*, /, #, etc.) are often included in the model number. The wildcards add to the complexity of the query designs and decrease match rates. The “layered” queries that we built searched several databases for matching model numbers. Once the automated process was complete, a second, manual process of looking up the unmatched appliances was undertaken.

Efficiency databases were exhausted using the above protocols for matching appliances. RLW is confident that the great majority of model numbers found on-site were matched if they appeared in any of the efficiency databases. The problem with the low matching rates lies in the efficiency databases themselves. Simply put, much of the equipment found in the homes we sampled in Missouri is not documented in publicly or privately available efficiency databases. Furthermore, the private data such as the refrigerator-freezer data that were purchased from AHAM have some gaps and are partial in content.

The analysis for lighting and appliances is summarized in this report at the statewide level. Each site was given its appropriate sampling weight to project to the population or various subsections of the population. Analysis queries were written in MS Access and processed using RLW’s Model Based Statistical Sampling (MBSS) software. The report contains numerous data queries, which for the most part are summarized by age bins, efficiency bins, size bins and capacity bins.

The data and analysis queries developed for this project can be accessed by any user wishing to do so. As a product of this study, RLW developed a web-based analytical tool that gives users the ability to analyze various data. The Missouri Residential Efficiency Saturation Tool (MORESEST) allows users to explore this residential sector data in a myriad of ways that go well beyond what is presented in this “statewide” report. The tool can be accessed at www.moresest.com.

# Sample Design

## Sampling Plan

Table 13 below documents our sample design used in the study. The table reflects the single-family residential populations that are served by AmerenUE, Kansas City Power & Light, Aquila, Independence Power & Light, Empire District Electric Company, City Utilities of Springfield, and Columbia Water & Light together with the proportional sample size for each of the utilities.

The targeted single-family sample of 285 homes was proportionally allocated by the contribution of each utility to the total number of single-family accounts among the seven utilities. The sample was designed at the regional level in order to achieve an error bound of +/-5% at the 90% level of confidence.

The first step in the sample design was to obtain accurate counts of the single-family accounts in each of the utilities’ service territories. RLW received requested counts of accounts by residential rate-class from each utility. Most utilities were able to separate the multi-family residential accounts from the single-family accounts using their rate-class designations. For the three utilities where the single-family population was not isolated from the multi-family population of residential accounts, RLW researched the U.S. Census Bureau for counts of single-family and multi-family homes within the utility’s coverage region. From the data RLW was able to ascertain a reasonable proportion of single-family homes to the total number of possible residences (AmerenUE – 74%, Aquila – 68%, and Springfield – 68%). These percentages were then applied to the total number of accounts provided by each utility, ascertaining the size of the single-family population.

For those utilities that provided a breakdown of their single-family population into specific rate-classes, the samples were further stratified to each rate-class, maintaining the same proportional allocation. For those utilities that did not originally segregate the single-family populations from their total population, the derived percentages were applied equally across each of the particular rate-classes (AmerenUE – 74%, Aquila – 68%, and Springfield – 68%).

The sample size for each stratum is given by the following formula:

Sample Size =Utility PopulationTotal Population Across Utilities   ×  Desired Sample Size

In order to attain a sample that is representative of the single-family population across the region, it was important to maintain proportional allocation across the population and likewise across each rate-class. There were instances where certain rate-class populations were too small to qualify for a sample point. RLW maintains that a sample point be assigned to a rate-class if the rate-class population contains at least 2,700 accounts. A rate-class with 2,700 accounts contributes 0.20% of the accounts to the total number of accounts in the region, and would qualify for 0.6 sample points (0.20% x 285 ≈ 0.60).

In the cases where rate-class populations were below 2,700 accounts, we combined, where possible, similar rate-classes within each utility to reach an appropriate size. The accounts across the smaller rate-classes were summed for each utility and were assigned to the grouped rate-classes a sample in proportion to the total account contribution of all the grouped rate-classes. This was to ensure that the small classes were still represented in the sample, yet we concede that each rate-class did not receive a sample point using this methodology. This was critical to the project since the smaller rate-classes should not be over-represented in the sample, making for a non-representative regional sample.

At the desire of the participating utilities RLW adjusted the originally proposed sample plan allowing each utility to have at least ten sample-points from their coverage area. This strategy has only a minimal effect on the error bounds in the study and does not compromise proportional representation because each utility is weighted according to the true single-family population amongst the seven utilities. According to this methodology, RLW randomly sampled the total number of sample points (n) from each of the individual utility single-family populations. RLW also randomly sampled the number of sample points allocated to each specific rate-class.

## Final Sample

Table 13 shows the final sample. As the table illustrates, five out of seven of the utilities were over-sampled. In most cases the over-sampling resulted from the over-sampling during the recruitment process in order to ensure that the sample size was successfully met if drop-outs or no-shows occurred. Recruitment over-sampling was a consistent 20% across each utility. In the case of the City Utilities of Springfield, while their required target sample-size was only twelve, we successfully completed thirteen sites and were able to add an additional seven sites from a study conducted in Springfield concurrently with the market assessment study. Being that this study is specifically a statewide assessment each additional sample collected only enhances the study overall. By using weights that reflect the required sample, proportionality is conserved. RLW did have data transfer and data usability issues with two utilities (AmerenUE and Kansas City Power & Light). The data was considered insufficient and thereby could not be used for analysis. The data losses were 5% and 10%, respectively. Because RLW had over-sampled in the five remaining utilities and had additional Springfield data available, the accuracy of the analysis was not significantly affected and the total number of sites used for analysis was actually larger than statistically required, with 287/285 sites.

Note that the weight for Columbia Water & Light is quite a bit smaller than the weights for the other six utilities. This reflects the modified sample sizes that were used to ensure that even the smallest single-family populations had a minimum of ten sites included in the study. The Columbia Water & Light population was thereby more heavily sampled than the other utilities. The sampling plan and sample weights allow for each of the utilities to conduct statistically representative analyses for the population of customers at the regional level.

A small amount of error entered into the analysis during the ongoing technical development of the project. To be most efficient RLW organized recruitment data as it was sent from each of the utilities. As the project progressed incoming recruitment data was cleaned and organized while field work for a different coverage area was being conducted. During this process and the initial phone recruitment, RLW discovered that Aquila’s customer data was inaccurate and requested new data. Aquila promptly delivered new data, and requested that the Aquila gas customers be removed from the analysis as Aquila was no longer concerned with this stratum. While RLW accommodated this request, the population was not adjusted accordingly. Fortunately this error has a minimal overall effect on the study, with errors of only 14.6% for Aquila’s coverage area specifically and only 2.0% statewide.

It is important to emphasize that while this study has assessed the diverse coverage areas across the seven participating utilities, it is a regional study across the combined coverage areas that these utilities serve. The data is not necessarily able to be generalized across individual utility populations, and no analysis at that level can be conducted with any reasonable confidence levels. Because the seven participating utilities represent roughly 82% of the total single-family Missouri population, it is fair to refer to this Missouri market assessment as truly a “statewide” assessment.

Table 12: Final Sample Plan – Proposed, Modified, and Implemented Accounts

Table 13: Final Sample Plan – Proposed, Modified, and Implemented Accounts (continued)

Figure 1 details the site locations of the statewide sample after all seven utility coverage areas were visited. Each flag represents an address where a house was surveyed.

Figure 1: Final Statewide Sample Locations

# Data Collection

## Overview

The data collection component of the study was resource intensive, taking about eight months to complete. The bulk of the on-site work was completed between February and April; as 192 sites were recruited in AmerenUE’s coverage area during this time.

MDI completed the on-site surveys in the territories of AmerenUE and Aquila, and a small portion of Columbia Water & Light. RLW Analytics field staff surveyed sites in Columbia Water & Light, Kansas City Power & Light, Independence Power & Light, and Empire District Electric Co. service territories. Six surveyors overall completed the required on-site surveys.

Each surveyor participated in a one-day training session. The training was focused on demographic, lighting, and appliance data to be collected while in the field. Additionally, the surveyors were trained to use the palm-top computers, data uploading and downloading, and Internet access. One MDI training session was held in the Columbia Water & Light territory.

## Recruiting

RLW recruited customers based on their geographic location within each service territory and according to how the seven different service territories were located in Missouri. In general, RLW surveyors primarily conducted audits in the western half of Missouri while MDI primarily conducted audits in the eastern half of Missouri. A $25 incentive was offered to customers that agreed to participate in the study. The recruiters scheduled appointments between the hours of 8AM to 8PM Monday-Friday and occasionally on Saturday. The recruiting manager dispatched the information electronically to the field surveyors at the end of each day. In all, 343 sites were recruited to participate in the study. Table 14 shows the number of sites recruited and surveyed per utility service territory.

Table 14: Number of Sites Recruited by Service Territory

Before recruiters contacted them over the phone, each customer selected for the study received a letter from their utility provider. The letter described the purpose of the research and gave them the option to call RLW or their utility provider to voice their interest or lack of interest in the study. Customer letters were instrumental to the success of the study and absolutely encouraged higher response rates.

Generally speaking, recruiters made up to five attempts to reach the customer by phone. If unsuccessful after the fifth call, the customer was replaced with a back-up customer and the site was designated as ‘Unable to Contact’.

When customers missed appointments or refused the on-site, the recruiters attempted to reschedule the audit. Sites were also rescheduled if end-use data was missing for sites believed to be completed. The customers were cooperative in scheduling revisits when this occurred and were rewarded an additional $25 for their assistance.

Table 15 summarizes the disposition codes and final outcomes for customers that the recruiters attempted to contact during the study. It is important to note that the designations in the table are transparent. .For example, if a recruiter was unable to reach a customer after five attempts, those number of attempts were recorded in total as ‘Call Back’ and not combined with ‘Unable to Contact’. Additionally, ‘Left Message’ and ‘Call Back’ do not overlap as each case was considered separately.

About 12% of all customers contacted refused to participate in the study, by either calling in directly or through the phone recruitment process. RLW recruiters use this expanded call disposition list from previous market assessment studies with the intent of having a more accurate characterization of the recruitment process.

Table 15: Recruiting Final Outcome by Service Territory

Out of the 343 sites that were scheduled 287, about 84%, were fulfilled and met the needs of the study. City Utilities of Springfield had the highest final response rate of roughly 33%. Accompanying their high response rates, City Utilities of Springfield had the lowest refusal rates, roughly 6%. The fact that five of the seven utilities were either close to or well exceeding 20% response rates, can most likely be explained by the receptiveness of customers to the letter and that RLW recruiters have had extensive experience with utility sponsored studies.

The greatest percentage of refusals in comparison to total number of calls made came from AmerenUE customers (about 8%). However in comparison to each utility’s total number of refused sites and total number sites called within each utility, Independence Power & Light had the greatest percentage of refusals, about 26%. Additionally, Independence Power & Light had the highest percentage of customers with wrong numbers within a single-family population, approximately 9%. Conversely, Columbia Water & Light had the highest percentage of ‘Unable to Contact’ designations, with roughly 16%.

Customers from the AmerenUE service areas  were the most challenging to recruit as indicated by the high proportion of ‘Refusal,’ ‘Call Backs’ and ‘Left Message’ final outcomes. AmerenUE also had the second lowest success rate of all seven utilities (14.9%). One reason for the difficulty is attributable to the fact that many AmerenUE customers residing in the Cape Girardeau and Dexter regions were not as responsive to participating in the study as relatively compared to the larger Missouri population.

## On-Site Survey Data

The study team developed a list of data and data attributes to be collected during the on-site surveys. A palm-top computer was given to each surveyor loaded with the software developed specifically for this project. The software consisted of a series of screens to be filled during the course of the site visit.

The following data were collected at all sites by the field surveyors. For further detail refer to the on-site survey instrument in the appendix.

### Demographics

A list of demographic data was developed by the study team to be collected by the field surveyors. The following demographic data was collected:

- Type of residence

- Number of residents by age

- Primary language of residents

- Total annual income for the home

- Year residence was built

- Total heated floor space of the home

- Has the home been remodeled in last 10 years, if so what was the nature of the remodel (i.e. appliances, hard-wired lights, cosmetic, which rooms)

- Are there plans to remodel in the future

- Whether the residence is rented or owner occupied

- If rented, the party responsible for the utility bills (owner or renter)

The remainder of this section contains tables that summarize the demographic characteristics of the sample. These results have not been weighted to reflect the population.

Table 16 shows the percentage of homes by type of residence. Approximately 63% of all the residences are single family, unattached, 1-story dwellings. The second most commonly visited type of residence was single family, unattached, 2-story dwellings, totaling 26.9% of the sample.

Table 16: Percentage of Homes by Type of Residence

Table 17 shows the percentage of homes by number of people occupying the home. The largest percentage of homes, or 42.3%, has 2 occupants. However, it was also common to visit homes with 1, 3, or 4 occupants. The average number of people per home is 2.5 people.

Table 17: Percentage of Homes by Number of People

Table 18 shows the percentage of homes by number of adults occupying the home. Not surprisingly, approximately three-quarters of homes have at least 2 adults present. The average number of adults per home is 2.0.

Table 18: Percentage of Homes by Number of Adults

Table 19 shows the percentage of homes by primary language. Not surprisingly, English was the primary language spoken at 99.9% of the homes. The only other primary language found in homes in the sample visited was French.

Table 19: Percentage of Homes by Primary Language

Table 20 shows the percentage of homes by total household income. The largest percentage of residents has an annual income between $25,001 and $50,000, totaling 35.1% of the sample.

Table 20: Percentage of Homes by Total Household Income

Table 21 shows the percentage of homes by age of home. The age of homes was fairly evenly distributed among the age ranges, with homes built in the ‘before 1950’ group being more common in the sample.

Table 21: Percentage of Homes by Age Range of Home

Table 22 shows the percentage of homes by the total heated floorspace of the homes. Approximately, 40% of the homes surveyed were between 1,000 to 1,599 SQFT.

Table 22: Percentage of Homes by Total Heated Floor Space

Table 23 shows the percentage of homes by whether the home was remodeled in the last 10 years. More than half of the homes have not been remodeled.

Table 23: Percentage of Homes that were Remodeled in Last 10 Years

Table 24 shows the percentage of homes by type of remodel among those homes that were remodeled in the last 10 years. 70% of homes were remodeled cosmetically, while 15.7% were completely remodeled. In the table below, “Cosmetic” stands for “Cosmetic/Other” types of remodels.

Table 24: Percentage of Homes that were Remodeled by Type of Remodel

Table 25 shows the percentage of residents that plan to remodel in the next 2 years.  Nearly three-quarters of the residents replied that they have no plans to remodel within that time frame.

Table 25: Percentage of Residents that Plan to Remodel in Next 2 Years

Table 26 shows the percentage of homes by type of ownership. Nearly 88% of homes were occupied by owners. Renters constituted roughly 12% of the sample.

Table 26: Percentage of Homes by Ownership Type

Table 27 shows the percentage of homes that are occupied and have gas or electric by who pays for each fuel type. Only a small fraction of homes have gas paid by someone other than the occupant, 0.4%.

Table 27: Who Pays for Electric and Gas Among All Residences

### Appliances

Data were collected for heating systems, cooling systems, washing machines, clothes dryers, dishwashers, pools and spas, refrigerator/freezers, self-standing freezers and water heaters. No data were collected on stoves or small appliances.

- The residents were asked for the age of each appliance. If the resident did not know the age of the appliance, the surveyor would estimate the age of the appliance whenever possible.

- The classification of each appliance by type was observed from visual inspections of the appliances and recorded. Appliance types that were noted include; standard or horizontal axis washers, side-by-side, freezer on bottom, freezer on top or other refrigerator types, among others.

- Fuel types, such as electricity, natural gas or propane for heating systems, washing machines and water heaters were noted from visual inspection.

- The manufacturer, model number and size were taken from nameplate data when observable. If possible, sizes of some appliances were estimated in the case of missing, or unreadable data tags.

- Residents were asked to estimate the percentage of time in use for refrigerators and freezers to establish seasonal usage.

- Various features relating to energy efficiency were noted such as the existence of a through-the-door-water-dispenser for refrigerator freezers or insulation levels for water heaters.

### Lighting

Every lighting fixture in each residence was inventoried by fixture type, number of lamps, lamp type, and lamp wattage. Fixture control type was also noted for all fixtures in this study.

### Insulation

The insulation levels of the floor, walls and attic were obtained by visual inspection if possible. Efforts were made to estimate the insulation levels through discussions with the residents and based on educated judgment (i.e. wall construction 2x4, 2x6, home age, etc.) when no visual observations were possible.

### Windows

The surveyor recorded the predominant window frame construction, wood, metal or vinyl, found in the home, as well as the number of panes found in the predominant window type.

# Database

## Overview

The data collected during the 287 on-site visits are contained in two final databases.  One database contains all appliance and envelope information, and the other contains all the lighting information. These two databases are in MS Access format. In addition to the surveyor information collected on site, the appliance database contains all information linked from the efficiency databases that pertains to the appliance models in the sample, and contains the efficiency categories that were created in order to analyze the data.

The data on each appliance in the appliance database are located in separate tables. Queries have been set up that allow the user to analyze some key questions for each appliance. The same is true of the lighting database. All of the summary tables in this report have been obtained from queries performed on the two project databases.

The following is a list of the steps that were taken to ready the databases for delivery:

- Consolidation of Surveyor Information

- Cleaning of Surveyor Information

- Merge of Weights

- Acquisition of Efficiency Databases to Link with Surveyor Data

- Creation of Efficiency Categories

- Creation of Analysis Queries

- Efficiency Weighting Adjustments for Unmatched Appliances

- Development of Database Summarization Tool

This section contains a description of the databases and the steps taken to prepare the databases for analysis and delivery, however for a complete description of each table and query see the appendix to this report.

### Consolidation of Surveyor Information

During the site visit, the surveyors entered all information directly into a palmtop computer as the survey was completed. The hand-held application was designed to automatically download all on-site data to a SQL database that is hosted at RLW’s Sonoma, California office. Downloaded data were stored in the SQL database which was structured in the same way as databases in previous saturation studies, allowing RLW to reuse many of the analysis queries that were already developed. As the data were consolidated, an automated Quality Control (QC) process in addition to a manual QC process was performed.

### Merge of Weights

Once the sites were merged and cleaned in the central database, the sample design case weights for the analysis were merged into the database in the ‘General Information’ table. Each site in a given stratum was given a corresponding case weight that we define to be the number of sites in the population that the site is thought to represent. The following formula defines the stratum weight to be the ratio of the number of sites in the population in that stratum to the number of sites in the sample in that stratum.

wh = Nh / nh , where h is the stratum number

These weights were used to expand the sample to the population. Once the weights were merged, all the lighting data were pasted into a separate database so the databases were more manageable.

### Merging of Saturation and Efficiency Information

The surveyors were able to observe make and model number on-site, but in most cases, not energy efficiency. The RLW team used all available resources to match the model numbers collected on-site with a reliable source of efficiency ratings and/or Unit Energy Consumption (UEC). Sources that were used were:

- 2005 California Energy Commission Database of Energy Efficient Appliances,

- 2004 Federal Trade Commission (FTC) databases,

- 2003 AHAM Refrigeration database,

- 2003 Carriers Electronic Blue Book of Heating and Cooling Equipment, and

- 2000 ARI HVAC database.

We matched the on-site information by model number with standard efficiency ratings for each end-use. For example, in the case of residential cooling, the energy efficiency rating is provided in SEER, or Seasonal Energy Efficiency Ratio units. End-uses that do not have an associated standard efficiency rating (e.g., refrigerators) are characterized in terms of nameplate annual unit energy consumption or UEC.

The difficulty in matching model numbers should not be underestimated by anyone wishing to conduct this type of study in the future. RLW invested significant time to manually link sites as a result of model number wildcards and irregular alphanumeric characters such as dashes, hyphens, slashes, stars, and other text. These characters made automated matching difficult and resulted in a more rigorous model number matching effort.

### Creation of Efficiency Categories

Efficiency categories from previous saturation studies were altered for each appliance type depending on the distribution of the efficiencies. Size and age categories were also altered for each appliance. The size ranges were determined by the distribution of the sizes of each appliance. The age ranges for each appliance were broken into incremental periods, starting with 2006-2000, then 1995-1999, and so on until the last category of 1979 and older. The efficiency, size and age categories were linked to the surveyor information using logic statements built into the analysis queries.

### Creation of Analysis Queries

Analysis queries for each appliance were created in MS Access in order to answer some key questions on market saturation. These queries were designed to analyze each appliance by age, type, size, and any other energy consumption or efficiency variable. Analysis queries were also established for the lighting database. These analysis queries were designed specifically for the Model Bases Statistical Sampling (MBSS) program to analyze the data using ratio estimation techniques. More information on the format of each query is provided in the appendix.

### Efficiency Weighting Adjustments for Unmatched Appliances

RLW performed a weighting adjustment to the appliance efficiency data in order to remove the upward bias in average efficiencies that resulted from the model number matching. Appliances manufactured more recently were easier to find matches for than older units. Therefore larger amounts of efficiency data were obtained for newer and potentially more efficient appliances. We have good reason to believe that these uneven match rates produced more efficient overall baseline appliance efficiencies than is actually the case.

Due to the low match rates for the older appliances, the older models were under-represented in the average efficiency calculations relative to their representation in the overall appliance stock. The weighting adjustment serves to increase the weight for each of the matched appliances relative to the number of unmatched appliances in each age range. This adjustment will give the older appliances the appropriate amount of influence on the average efficiencies, and ensures that the matched appliances within each age range have the same proportional representation as the total number of appliances within that age range with and without efficiency.

Below are the steps that were taken to calculate the weight adjustments:

- Count the total number of appliance by age bins for each appliance (A)

- Count the number of matched appliances by age bins for each appliance (B)

- Divide the total number of appliances by the number of matched appliances by age bin (A/B)

- Multiply the appliance weight by the case weight to project the appliance efficiency to the population (upward adjustment of weight to reflect appliances that were unmatched in each age range)

A weighting adjustment was not applied to any matched appliance with unknown age since we could not be certain that they were representative of all the unmatched, unknown age appliances.

Table 28 shows an example of the difference between the percent of cooling units matched compared to the total (matched and unmatched) percentage of cooling units by age range. Over 14% of the units that were matched were between 0 and 5 years old, while only about 13% of all cooling units were in this age range.

Without adjusting the case weights to reflect the match rates by age, the efficiency information would be more heavily influenced by the newer and more efficient cooling systems.

Table 28: Percentage of Matched Cooling Systems and All Cooling Systems by Estimated or Manufacturer Reported Date

The weight adjustment factors are shown in the table above in the column labeled ‘Weight Adjustment’ which is calculated as the total number of units divided by the total matched units in the same age range. This weight equates to the number of unmatched appliances in each age range that each matched appliance represents. Once these weight adjustment factors are calculated, they are multiplied by the case weights of each of the matched appliances in the corresponding age group.

The existing case weights that are used for the majority of the saturation calculations were determined by the original sample design. Each site in a rate class is assigned a case weight that represents the number of accounts that the sample point represents in the population. Another way to think about the case weight is at the appliance level. If a site has a cooling unit, the cooling unit represents the same number of cooling units in the population that the site represents.

By multiplying the case weight by the weight adjustment factor for the efficiency calculations, the matched appliance is representing the total number of appliances that it represents in the population and representing the unmatched units that were previously being dropped from the analysis.

For example, consider a site with a case weight of 1,000 that has a cooling unit manufactured in 2002 that was successfully matched to an efficiency database (making up one of the 34 units in Column B). This site’s new weight would be calculated as follows:

- Weight Adjustment Factor = Total Number of Units / Number of Matched Units

(36 / 34 = 1.06:  This matched appliance represents 1.06 unmatched appliances between 0 and 5 years old)

Next the adjustment factor is applied to the case weight

- New case weight = Original Case Weight * Adjustment Factor

(1,000 * 1.06 = 1,060: This appliance now represents 1,060 cooling units in the population)

Alternatively, a site with a case weight of 1,000 with a cooling unit manufactured in 1982 that was successfully matched to an efficiency database (making up one of the 8 units in Column B) has a very different new case weight:

- Weight Adjustment Factor = Total Number of Units / Number of Matched Units

(11 / 8 = 1.38:  This matched appliance represents 1.38 unmatched appliances between 20 and 25 years old)

- New case weight = Original Case Weight * Adjustment Factor

(1,000 * 1.38 = 1,380: This appliance now represents 1,380 cooling units in the population)

As shown, appliances in the age groups that were matched with less frequency were applied to larger adjustment factors to represent the larger quantities of unmatched units for the average efficiency calculations.

### Development of Database Summarization Tool (MORESEST)

The project was designed to deliver a tool that can be used by program designers, managers, evaluators, and other parties for understanding efficiency and saturation characteristics of Missouri residences. This task was performed in conjunction with the data collection tasks. The collected data were organized by a web-based application developed by the Benningfield Group that allows multiple users to apply stratified ratio estimation methods to the study data. The application tailored for this project has the ability to:

- Calculate ratio estimates, (e.g. of the saturation level of a set of appliances), classified by any available categorical variable such as age of home, residence type, or utility service territory.

- Calculate the underlying sample sizes

- Calculate the appropriate model-based error bounds

- Calculate proportions (i.e., proportion of all cooling units that are space vs. central)

This program can be used to create one-way, two-way or multi-way tables categorizing the market share of specified appliances and measures by any specified dimensions from the assessment, allowing other parties the ability to produce their own “what-if” trend analyses. The resulting tables can be easily exported to Excel and displayed graphically. The software provided is fully documented in the Appendix, and a help file is available within the software if the user encounters any problems.

The following is a list of some examples of the types of weighted statistics that can be obtained from the database:

- Average Efficiency of primary HVAC and other equipment

- Percentage of Homes with two or three refrigerators

- Average Energy Usage or Wattage of Equipment

This type of information can be developed for all sites, or for various classifications of residences. Using the standard queries that we provide in the database, the sites can be classified by any combination of the following variables:

- Level of Efficiency (by End Use)

- CEC Climate Zone

- Type of Residence

- Size of Household (Total People or Total Adults)

- Square Footage

- Household Income

- Primary Language

- Age of Home

- Rent or Own

- Remodeled in Last 10 years

- Stratum

Few of the results provided in this report are grouped by the aforementioned demographic data. The intent of the study was to collect the data, build a database of information, and provide the utilities with a tool by which they could analyze the data. Given this, only top-level analysis was conducted for reporting purposes. However, where the data was thought to differ drastically by the demographics of the household, the data was grouped by the appropriate characteristic.

#### MORESEST Interface

Given the immense amount of data collected on-site, the endless number of ways to slice-and-dice the data, and the wide variation in needs of program managers and designers, a web based application was developed to give access to the data to any number of potential users. By providing a web-based analysis tool, users have the power to explore the information based on specific needs. This section discusses the technical specifications of MORESEST, the Missouri Residential Efficiency Saturation Tool, located at www.moresest.com. Once on the site users can gain access to the full reports and user help screens for understanding how to use MORESEST .

MORESEST was developed using Macromedia ColdFusion MX, a tag-based server-scripting language for rapid web development, for the user interface and Microsoft Access and SQL for the database storage/engine. Users are required to register, for free, in order to access the tool. Registration is an automated process whereby once the user provides their pertinent contact information and valid email address, ColdFusion generates a unique 8 character password and automatically sends it to the user via email.

MORESEST is a direct port of RLW’s MBSS software application. Originally developed in Fortran, MBSS was later reprogrammed in Microsoft Visual Basic in order to support a 32 Bit operating system environment. For the web based tool, all the proprietary algorithms, code, and queries were rewritten in CFScript (ColdFusions server-side implementation of Java style classes). This allows the tool to not only process requests more efficiently, but to also be scalable across multiple servers and OS’s (Windows, Linux, Unix, etc.) if load balancing, increased bandwidth, and/or increased demand are desired.

MOResEst.com resides on a standalone hardened Dell Enterprise class server, with a Microsoft Server 2003 SP1 operating system (OS). The server’s OS, applications, and data reside on redundant hard drives configured in a RAID (Redundant Array of Independent Disks) 10 array. The server has dual Intel Xeon 2.8 GHz CPU’s, with 4GB’s of RAM (Random Access Memory). In addition, the server has dual redundant power supply units which are connected to an enterprise class UPS (uninterruptible power supply) unit. These all reside in Sonoma, California in a physically secured server room. Internet access is provided via a full T-1 line, with a Service Level Agreement of 99.99% uptime guarantee. In the event there is a service outage, a separate business class broadband connection will automatically act as a failover, as well as provide some load balancing.

The web pages are being served via Microsoft IIS (Internet Information Services) 6.0. The ColdFusion server-side engine resides on the same machine and is tuned for optimum performance. Website Security is provided in several ways. First, a kernel level Intrusion Detection System disables the ability to have the server become compromised via “buffer overflow” style attacks. Last, the server resides behind a Firewall appliance providing SPI packet inspection that detects and blocks DoS (Denial of Service) and other malicious attacks.

Because there are costs associated with hosting a website, and especially an interactive software application, RLW and the Collaborative agreed that a “sunset period” would be most appropriate. The sunset period will be one year from the delivery of the final report, at which time the website and tool for the assessment will no longer be accessible. The Collaborative indicated that any analysis that they would like to conduct independently while using the web-tool would be completed before the sunset period was met. The Collaborative understands that for the website and tool to remain active beyond a year and/or for specific web-tool query update requests to be fulfilled, RLW will require a set fee to accommodate server space, software processing speed, staff time, and additional items associated with hosting the website and tool. RLW is able to meet such requests if members of the Collaborative choose that option.

# Lighting

This section of this chapter presents findings from the lighting analysis. Recall that every lighting fixture in each residence was inventoried by fixture type, fixture control type, number of lamps, lamp type, and lamp wattage. A total of 287 residences are included in the lighting analysis. This chapter of the report is broken up into the following three subsections that present the analyses shown below:

- Lighting Overview (by home)

  - number of fixtures and lamps per home,

  - average number of lamps per fixture,

  - percentage of homes having a certain fixture or lamp type,

  - prevalence of compact fluorescent lamps,

  - lamp wattage, and

  - fixture control types

- Specific Fixture Overviews (by home)

  - summary of recessed cans, torchieres, and ceiling fans

  - these fixtures were selected for further analysis because efficient lighting technologies are currently being developed for these fixture types

- Room Lighting Analysis (by room)

  - percentage of rooms with fixture types and lamp types

Throughout the lighting analysis, the room type “other” is given as a category of room. The ‘other room’ type includes attics, bars, basements, music rooms, sewing rooms, as well as pool houses.

### Lighting Overview

Table 29 presents the average number of fixtures and lamps per home by type of residence. Overall, homes have approximately 37 fixtures and 59 lamps on average.

Table 29: Average Number of Fixtures/Lamps by Type of Residence

Table 30 displays the average number of fixtures per home by fixture type. The most common fixture types are ceiling mount and recessed cans, with homes having an average of 6.1 recessed cans. Additionally, homes have on average, 5.3 wall mount fixtures and 4.4 table lamps. Table 30 also tells us that each home averages over three ceiling fans with lights.

Table 30: Average Number of Fixtures by Fixture Type

Table 31 presents the percentage of all fixtures that are of a certain type. Nearly 35% of all fixtures are ceiling mounts, while over 16% are recessed cans. Additionally, wall mounted fixtures and table lamps represent 14.3% and 12.0% of the number of fixtures, respectively.

Table 31: Percentage Fixture Types

Table 32 displays the percentage of homes having each fixture type. Approximately 86% of homes have a ceiling fan, 52% have recessed cans, and 94% have wall mount fixtures. One-hundred percent of all homes are equipped with a ceiling mounted fixture, while over 88% of homes have a table lamp.

Table 32: Percentage of Homes with Fixture Types

Table 33 shows the distribution of the number of fixtures per home. Nearly 30% of homes have a total of 21 to 30 fixtures. Approximately 20.6% of homes have more than 50 fixtures present.

Table 33: Distribution of Number of Fixtures per Home

Table 34 presents the distribution of the number of fixtures per home by residence type. As might be expected, homes with multiple stories and therefore greater square footage have more fixtures per home than smaller homes. Interestingly enough 25% of modular/prefabricated homes have between 41-50 fixtures.

Table 34: Distribution of Number of Fixtures per Home by Residence Type

Table 35 displays the percentage of fixtures containing a compact fluorescent lamp by fixture type. Only about 5% of fixtures contain a compact fluorescent lamp. Ceiling mounted fixtures are most likely to contain a compact fluorescent lamp, with nearly 46% of all fixtures having such a lamp. Second to ceiling mounts, 14.7% of floor lamps contain compact fluorescents. With persistence in mind, RLW’s analysis also demonstrates that only .6% of all CFLs are dedicated for pin-based fixtures.

Table 35: Fixtures Containing Compact Fluorescent Lamps

Table 36 shows the average number of lamps per fixture. Chandeliers/Hanging fixtures contain more lamps (3.59 lamps) than any other fixture type. Ceiling fans contain 2.85 lamps on average. Recessed cans/other, table lamps, torchieres, garage door openers, and under counter fixtures contain the fewest number of lamps, with each of these fixtures containing approximately one lamp on average.

Table 36: Average Number of Lamps per Fixture

Table 37: Average Number of Lamps by Lamp Type

Table 38 shows the percentage of all lamps by general lamp type. Almost 83% of all lamps are incandescent lamps, while less than 0.1% are high intensity discharge.

Table 38: Percentage Lamp Types

Table 39 shows the percentage of homes where a particular lamp type is present. All homes are equipped with at least one incandescent lamp, while nearly 42% have at least one fluorescent (non T-8) lamp. Nearly 26% of all homes contain at least one type of compact fluorescent lamp. Only 13.5% of homes have halogen lamps present.

Table 39: Percentages of Homes with Lamp Types

Table 40 displays the distribution of the number of lamps per home. Nearly 50% of homes have more than 50 lamps. This finding combined with findings about the number of fixtures per home suggests that most homes are equipped with fixtures containing more than one lamp.

Table 40: Distribution of Number of Lamps per Home

Table 41 presents the distribution of the number of lamps per home by residence type. As might be expected, as the living space square footage increases so do the number of recorded lamps. Single family, unattached residences contain significantly more lamps than single family attached homes.

Table 41: Distribution of Number of Lamps per Home by Residence Type

### Specific Fixture Overviews

This section presents in-depth overviews for recessed cans, ceiling fans, and torchieres. These fixture types were selected for further analysis because efficient lighting technologies are currently being developed for these fixture types. For each of these fixture types, the distribution of the number of fixtures as well as the percentage of homes containing these fixtures is presented.

#### Recessed Cans

One interesting find in the assessment is that approximately 87% of the homes audited have no recessed cans. Recessed cans account for approximately 17% of all fixtures, and on average, about 6% of all recessed cans contain a compact fluorescent lamp.

Table 42: Number of Recessed Cans per Home

Table 43: Percentage of Homes with Recessed Cans by Room Type

Table 44: Percentage of Homes with Recessed Cans by Age of Home

Table 45 presents the average number of recessed cans per home by age of home. Homes built in 2001 or later contain significantly more recessed cans on average than do homes built prior to 2001, suggesting a trend in residential new construction towards an increased number of recessed cans.

Table 45: Number of Recessed Cans per Home by Age of Home

#### Ceiling Fans

Data were only collected and analyzed for ceiling fans that are designed to contain lamps. Only 21.5% of fans contain at least one lamp, while 77.1% of fans have no lamps. Ceiling fans account for approximately 8.5% of all fixtures, and on average, homes contain 3.14 ceiling fans. About 3% of all ceiling fans contain a compact fluorescent lamp.

Table 46: Number of Ceiling Fans per Home

Table 47: Percentage of Homes with Ceiling Fans by Room Type

Table 48 displays the percentage of ceiling fans equipped with each lamp type. Over four-fifths of the ceiling fans surveyed have standard incandescent lamps installed, and another 12% of ceiling fans are equipped with incandescent decorative bulbs. Compact fluorescent lamps were found in only 3.2% of fans equipped with lamps.

Table 48: Ceiling Fan Lamp Types

#### Torchieres

Only about 2% of homes have at least one torchiere. Torchieres account for approximately 1.1% of all fixtures, with an average of 0.42 torchieres per home. About 10% of all torchieres contain a compact fluorescent lamp.

Table 49: Number of Torchieres per Home

Table 50: Percentage of Homes with Torchieres by Room Type

Table 51 displays the percentage of torchieres equipped with each lamp type. More than half of torchieres have incandescent lamps installed, and another 24% of torchieres are equipped with halogen tube lamps.

Table 51: Torchiere Lamp Types

### Room Lighting Analysis

This section contains lighting results by room type. For each room type, the percentage of homes with a given fixture type and lamp type are shown.

#### Kitchen

Table 52 presents the percentage of homes with a given fixture type and lamp type in the kitchen along with the associated error bound. The most predominant fixture and lamp type combinations are ceiling mounted fixtures, recessed cans, and ceiling fans all with incandescent lamps.

Table 52: Percentage of Homes with Fixture Type and Lamp Type in Kitchen

#### Bedrooms

Table 53 and Table 54 present the percentage of homes with a given fixture type and lamp type in the bedrooms, as well as the error bounds associated with these estimates. The most predominant fixture and lamp type combinations are ceiling fans, table lamps, and ceiling mounted fixtures with incandescent lamps. This analysis applies across both master and secondary bedrooms surveyed, except that secondary bedrooms have a higher percentage of ceiling mounted fixtures and lower percentage of ceiling fans overall.

Table 53: Percentage of Homes with Fixture Type and Lamp Type in Master Bedroom

Table 54: Percentage of Homes with Fixture Type and Lamp Type in Bedrooms

#### Living Room

Table 55 presents the percentage of homes with a given fixture type and lamp type in the living room, along with the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations are table lamps, ceiling fans, and floor lamps, with incandescent lamps, as well as table lamps with compact fluorescent lamps.

Table 55: Percentage of Homes with Fixture Type and Lamp Type in Living Room

Table 56 presents the percentage of homes with a given fixture type and lamp type in family rooms and the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations are table lamps, ceiling fans, recessed cans, and floor lamps with incandescent lamps and table lamps with compact fluorescents.

Table 56: Percentage of Homes with Fixture Type and Lamp Type in Family Room

#### Bathrooms

Table 57 and Table 58 present the percentage of homes with a given fixture type and lamp type in master and secondary bathrooms and the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations in both room types are wall mounted fixtures, ceiling mounted fixtures, and recessed cans with incandescent lamps.

Table 57: Percentage of Homes with Fixture Type and Lamp Type in Master Bathroom

Table 58: Percentage of Homes with Fixture Type and Lamp Type in Bathrooms

#### Halls

Table 59 presents the percentage of homes with a given fixture type and lamp type in hallways and the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations are ceiling mounted fixtures, wall mounted fixtures, and chandeliers with incandescent lamps.

Table 59: Percentage of Homes with Fixture Type and Lamp Type in Hallway

#### Dining Room

Table 60 presents the percentage of homes with a given fixture type and lamp type in dining rooms as well as the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations are chandeliers and ceiling fan fixtures with incandescent bulbs.

Table 60: Percentage of Homes with Fixture Type and Lamp Type in Dining Room

#### Breakfast Nook

Table 61 presents the percentage of homes with a given fixture type and lamp type in breakfast nooks along with the error bounds associated with these estimates. Similar to dining rooms, the most commonly found fixture and lamp type combinations are ceiling mounted fixtures, ceiling fans, and chandeliers with incandescent bulbs.

Table 61: Percentage of Homes with Fixture Type and Lamp Type in Breakfast Nook

#### Home Office

Table 62 presents the percentage of homes with a given fixture type and lamp type in home offices and the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations are ceiling mounted fixtures, table lamps, and ceiling fans with incandescent bulbs.

Table 62: Percentage of Homes with Fixture Type and Lamp Type in Home Office

Table 63 presents the percentage of homes with a given fixture type and lamp type in basements and the error bounds associated with these estimates. By far the most commonly found fixture and lamp type combinations are ceiling mounted fixtures with incandescent bulbs, fluorescent T12s, and compact fluorescents.

Table 63: Percentage of Homes with Fixture Type and Lamp Type in Basement

Table 64 presents the percentage of homes with a given fixture type and lamp type in recreation rooms along with the error bounds associated with these estimates. In the homes surveyed, recreation rooms have the highest average room wattage of all room types overall. On average, recreation rooms were found to use over 600 W. The most predominant fixture and lamp type combinations are ceiling mounted fixtures, recessed cans, ceiling fans, and table lamps with incandescent lamps and ceiling mounted fixtures with fluorescent T12s.

Table 64: Percentage of Homes with Fixture Type and Lamp Type in Recreation Room

#### Laundry Room

Table 65 presents the percentage of homes with a given fixture type and lamp type in laundry rooms along with the error bounds associated with these estimates. The most predominant fixture and lamp type combinations are ceiling mounted fixtures with incandescent lamps and fluorescent T12s.

Table 65: Percentage of Homes with Fixture Type and Lamp Type in Laundry Room

#### Closets

Table 66 presents the percentage of homes with a given fixture type and lamp type in closets and the error bounds associated with these estimates. The most commonly found fixture and lamp type combinations are ceiling mounted fixtures with incandescent bulbs and fluorescent T12s.

Table 66: Percentage of Homes with Fixture Type and Lamp Type in Closets

#### Garage

Table 67 presents the percentage of homes with a given fixture type and lamp type in garages along with the error bounds associated with these estimates. The most predominant fixture and lamp type combinations are ceiling mounted fixtures and garage door openers with incandescent lamps. The next most common combination is ceiling mounted fixtures with fluorescent T12s.

Table 67: Percentage of Homes with Fixture Type and Lamp Type in Garage

#### All Other Rooms

Table 68 presents the percentage of homes with a given fixture type and lamp type in all rooms other than the types previously mentioned including the porch as well as the error bounds associated with these estimates. The Other Room type includes attics, bars, basements, music rooms, sewing rooms, as well as pool houses. The most predominant fixture and lamp type combinations are ceiling mounted fixtures, ceiling fans, and table lamps with incandescent lamps, as well as ceiling mounted fixtures with fluorescent T12s.

Table 68: Percentage of Homes with Fixture Type and Lamp Type in Other Room Type

#### Porch Lighting

Table 69 presents the percentage of homes utilizing each lamp type for the porch light. Eighty-five percent of all homes are using a standard incandescent lamp for the porch light. Only about 4% of homes are using a compact fluorescent lamp, while nearly 9% are using a halogen lamp.

Table 69: Percentage of Homes Having Lamp Type as Porch Light

#### Fixture Control Types

Table 70 shows the percentage of homes have a given lamp type and lamp control type among all lamps. About 72% of homes are using a standard incandescent lamp controlled manually. Approximately 7% of incandescent lamps are dimmer controlled.

Table 70: Percent of Lamps by Control Types

#### Lamp Wattage

Table 71 shows average lamp wattage for each lamp type observed in this study. The highest average wattages were high intensity discharge lamps, heat lamps, and halogen tube lamps. The most common lamp, the standard incandescent representing nearly 43% of all lamp types, has an average wattage of 62.5. The next most common lamp overall was the fluorescent T12 making up only about 10% of all lamp types. The most common compact fluorescent lamp, the spiral/spring lamp representing about 6% of all lamps and 67% of all CFLs, had an average wattage of 21.

Table 71: Average Lamp Wattage by Lamp Type

Table 72 presents the average wattage per fixture, inclusive of all lamp technology types found in the fixtures, and number of lamps found in the fixture. Torchieres were found to have the highest overall wattage (97W), followed by other recessed (68W), and recessed cans (64W). Both chandeliers and ceiling fans commonly have multiple lamps per fixture, explaining the high wattage for these fixtures. Torchieres on the other hand typically have a single lamp, most commonly halogen quartz, which go as high as 500 watts per lamp. Under counter fixture types have the lowest wattage, with a statewide average of 26W. These fixtures are more commonly located in kitchens and are usually equipped with fluorescent tubes. Architecturally integrated fixtures have the second lowest average wattage. These fixtures represent a number of lamp types, but are most commonly fluorescent T12s.

Table 72: Average Fixture Wattage

Table 73 looks at the average wattage by room type, when considering all fixtures and lamps within a specific room. The table presents findings at the statewide level. These numbers do vary dramatically when considering size of home, type of home, and income. Recreation rooms top the list in terms of highest overall wattage by room type, more than likely due to frequency of use and occupancy. Porches are second on the list, likely due to frequency of night time use related to leaving lights on for extended periods of time at night. Basements, family rooms, and master bathrooms represent the remaining top five high wattage rooms. Conversely, on the low end of wattages are secondary bedrooms and bathrooms and laundry rooms.

Table 73: Average Wattage by Room Type

# Appliances

## Refrigerator Freezers

The following section describes the refrigerator/freezers found at the surveyed households. 287 homes surveyed for this study have at least one refrigerator, 28.6% of all homes have a second, and 4.1% of all homes have a third refrigerator. For this analysis any refrigerator with a capacity under 8 cubic feet is considered a “compact” refrigerator, while any refrigerator with a capacity of 8 cubic feet and above is referred to as “full-size”. The following table summarizes second and third refrigerators by the residence types where they were found.

Table 74: Percentage of Homes with Second or Third Refrigerator by Type of Residence

Due to the small number of homes with third refrigerators, the following summary information is only based upon the primary and secondary refrigerators. This refrigerator/freezer section of the report first summarizes the analysis conducted on the primary refrigerators, and then summarizes the secondary refrigerators.

The primary and secondary refrigerators are summarized by type, size, age, energy consumption, ENERGY STAR qualifications, and nameplate UEC relative to standards. Because the amount of data for each of the aforementioned characteristics differs, the number of sites in each of the analyses will differ. The data used in the refrigerator analyses are described below:

- Type - The type of each refrigerator was obtained from the site visit.

- Size - The size of the refrigerators, in cubic feet was first obtained from the efficiency databases (CEC and AHAM) if the model number successfully matched a model in the database. In the event that the models were not matched, the data on the size collected on-site were used.

- Age - The age of the freezer was also obtained from the efficiency databases if a match was made, otherwise the age from the on-site visit was used in the analysis.

- Usage (nameplate UEC) - The usage data was obtained exclusively from the efficiency databases.

- ENERGY STAR Qualification - The unit was marked as ENERGY STAR qualified if its nameplate UEC was calculated as 10% above standard for 2001 standards, and 15% above standard for 2004 standards.

### Primary Refrigerators

All homes that were visited over the course of this study have a primary refrigerator. The classification of the refrigerators is by size, configuration and existence of a through-the-door ice dispenser. Full size refrigerators are categorized as either single or double door. The double door refrigerators are further classified by freezer position:  either bottom-mounted, top-mount, or side-by-side. In the case of the side-by-side and top-mount, a further division is the existence of a through-the-door ice and water dispenser. The following figure shows the percentage breakdown of primary refrigerators by type. The majority of the primary refrigerators found are the top-mounted freezer type, accounting for roughly 50% of all the primary refrigerators. Side-by-side type refrigerators account for over 45% of the primary refrigerators.

Figure 8: Percentage of Homes with Primary Refrigerator/Freezer by Type

The following abbreviations (common for refrigerators) are used throughout this section to describe the various types of refrigerator and defrost types as found:

- BF = Bottom-Mounted Freezer (All Automatic)

- CR = Compact Refrigerator

- SI = Side-by-Side with Ice Dispenser (All Automatic)

- SS = Side-by-Side without Ice Dispenser (All Automatic)

- TF = Top-Mounted Freezer without Ice Dispenser (Partial and Automatic Defrost)

- TI = Top-Mounted Freezer with Ice Dispenser (All Automatic)

### Size

The sizes of refrigerators were obtained from manufacturer data if the unit is matched or else from survey data if not matched. The following summary of the sizes of the refrigerators summarizes both the matched and unmatched units or the manufacturer reported and surveyor estimated sizes. The manufacturer reported average overall size is not significantly different from the estimated overall sizes.

The sample size that is used in the following table that summarizes the average size of the refrigerators is 166. This is the number of full size refrigerators, 8 cubic feet or greater, for which we obtained size data from the efficiency databases. The average manufacturer reported size for all refrigerators obtained from the efficiency databases is 21.1 cubic feet.

Table 75: Average Estimated Size by Refrigerator Type

The following table shows the distribution of the sizes of the refrigerators including matched and unmatched units. The largest percentage of the refrigerators, or 44.4%, is within the size range between 19.00 to 21.99 cubic feet.

Table 76: Percentage of All Refrigerators by Type within Size Ranges-Estimated Sizes

### Age

During the on-site survey, surveyors examined the refrigerator nameplate for a manufactured date and residents were asked for the approximate age of their refrigerators. If the resident was unable to provide an age or the nameplate didn’t provide a manufactured date, the surveyor estimated the age of the refrigerators whenever possible. The nameplate manufactured date, resident reported age, and surveyor estimated ages were used for refrigerators when no age data from manufacturers was available for the following estimated age analysis.

The bias in this data results from a customer or surveyor reported age, which will inherently have some amount of incorrect information. However, it is our judgment that the latter of the two, the estimated ages, will be more accurate because there is much less bias towards newer refrigerators and the total number of respondents is higher. However, in order to give the reader an idea of the ages of the matched refrigerators that are used in the UEC, ENERGY STAR, and Standards Comparison analyses, the average manufacturer reported ages are also presented in this section.

Table 77 summarizes the data that resulted from the matches of the refrigerator/freezer model numbers collected from on-sites with manufacturer data to obtain an approximate manufacture date. The ages of 248 primary refrigerator/freezers were obtained in this manner. Based on this sample, the overall average age of these refrigerators is 8.3 years with an error bound of 0.7 years. The average life expectancy for refrigerators is 14 years. It is interesting to note that the overall saturation of primary refrigerators in each age range steadily decreases as the age range decreases.

Table 77: Average Age and Percentage of Refrigerator Manufacturer Reported Ages and On-site Estimated Ages within Size Ranges

### Energy Consumption

The average annual nameplate unit energy consumption (UEC) for refrigerator/freezers was obtained from the model number matches to manufacturer data. A sample of 166 nameplate UECs were obtained for the analysis below. Table 78 shows the average nameplate UEC by type of refrigerator and size range.

The average overall nameplate UEC for all types of refrigerators is 760.3 with an error bound of 36.6. Discounting compact refrigerators, the most efficient units on average are refrigerators with bottom-mounted freezers, which overall have the lowest nameplate UEC at 551.1, followed by top-mounted refrigerators without an ice dispenser that have an average overall nameplate UEC of 718.5. The tables in the next section of the report that summarize the nameplate UECs relative to standards help to put these numbers into perspective.

Table 78: Average Nameplate UEC by Type of Refrigerator

The bin distribution of unit energy consumption of all successfully matched full size primary refrigerators is shown below in Table 79 grouped by size and type. The nameplate UEC range that makes up the largest percentage of all refrigerators is the range between 550 to 749.9 kWh/year, which covers 53.3% of all types of refrigerators.

Table 79: Percentage of Primary Refrigerators by Nameplate UEC Ranges and Type within Size Ranges

Additionally, the above groupings of full size primary refrigerators are compared with the 2001 Federal Appliance Standards for annual energy consumption.

### Percentage Above/Below 2001 Federal Appliance Standards

The average percentage above or below the 2001 standards for each unit is calculated as follows:

2001 Standard (KWh/Yr) – UEC (KWh/Yr)

% Relative to Std = 2001 Standard (KWh/Yr)

For example, suppose the nameplate annual energy consumption for a refrigerator is 550 KWh/Yr. The 2001 standard consumption for this unit is 500 kWh/Yr. The percentage better or worse than 2001 standards is calculated as follows:

500-550500    =    −50500    =    −10%

Thus, the annual energy consumption for this unit is 10% worse than 2001 standards.

Table 80 shows the average percentage above or below the 2001 standard that refrigerators are broken down by type and size. The average percentage below standards for all types of refrigerators is 34.3%. We find that refrigerators with bottom-mounted freezers performed best in comparison to the standards among all refrigerators by averaging 3.3% above standards. However, no conclusions will be drawn since the sample size is very small.

Table 80: Percentage Above/Below 2001 Federal Appliance Standards by Type of Refrigerator

The distribution of the percentages better or worse than 2001 standards for all refrigerators that were successfully matched by size range and type is presented in Table 81.

As can be seen in the table, 22% of all refrigerators are better than 2001 energy standards for annual energy consumption. Nearly half of refrigerators (54.4%) have a nameplate UEC of 0.01% to 49.9% worse than 2001 Federal appliance standards for annual energy consumption.

Table 81: Percentage of Refrigerators with a Nameplate UEC Better or Worse than 2001 Standards by Percentage Bins and Type within Size Ranges

### ENERGY STAR Qualified

To qualify for 2001 ENERGY STAR standards, the annual energy consumption of a refrigerator must be at least 10% less than 2001 Federal Appliance Standards for annual energy consumption. To qualify for 2004 ENERGY STAR standards, the annual energy consumption of a refrigerator must be at least 15% less than 2004 Federal Appliance Standards for annual energy consumption. The following analysis is based on a sample of 164 primary refrigerators for which we have obtained nameplate UEC data.

The distribution of Primary Refrigerator/Freezers that meet ENERGY STAR qualifications grouped by size and type is shown below. These data are not shown by defrost type since the refrigerator data only contained automatic models that met the size requirements of the program. As can be seen in Table 82, the percentage of all refrigerators that meet 2001 ENERGY STAR qualifications is 10.7 % with a 4.2% error bound. The percentage of all refrigerators that meet 2004 ENERGY STAR qualifications is 6.9 % with a 3.5% error bound.

Table 82: Percentage of ENERGY STAR Qualified Primary Refrigerators by Type and Size Range

### Secondary Refrigerators

Of the 28.6% of homes with second refrigerator/freezers, the majority (67.6%) have top-mount freezers (TF) as their secondary refrigerator type, while 15.9% of homes have half-size or quarter-size models with capacities fewer than 8 cubic feet. A complete breakdown of secondary refrigerator/freezer by type is shown below.

Figure 2: Secondary Refrigerators by Type

### Size

The sample size that is used in the following analysis of the secondary refrigerators by size of the unit is 33. Size data for secondary refrigerators was obtained from the manufacturer data and the surveyor estimate.

Table 83 shows the average estimated size of the refrigerators by type. The average of all types of refrigerators is 17.1 cubic feet with an error bound of 1.6 cubic feet. The side-by-side refrigerators with ice dispensers are 21.7 cubic feet on average, the largest of all the types.

Table 83: Average Estimated Size of Secondary Refrigerators by Type

The following table shows the distribution of the sizes of the refrigerators. The largest percentage of the secondary refrigerators surveyed (41.6%) fall in the size range of 15.00 to 18.99 cubic feet

Table 84: Estimated Size Distribution of Secondary Refrigerators by Type

### Age

Similar to the primary refrigerator, this analysis attempts to match the refrigerator/freezer model numbers collected from on-sites with manufacturer data to obtain an approximate manufacture date. During the on-site visit residents were asked for the approximate age of their refrigerators. If the resident was unable to provide an age, surveyors estimated the age of the refrigerators whenever possible. These estimated ages were used for refrigerators when no age data from manufacturers was available for the following analysis. The sample size of 61 secondary refrigerator ages represents all full size secondary refrigerator age data obtained in this study. The average age and error bound along with the distribution of manufacturing date range by type and size range are presented in the following table. The average age of the refrigerators is 15.1 years with an error bound of 2.4 years.

Similar to the primary refrigerator age estimates, both of the secondary refrigerator manufactured and estimated ages have some bias. These biases are explained in the primary refrigerator section. It is likely that less bias exists in the estimated age analysis.

Table 85: Average Age and Percentage of Secondary Refrigerator Manufacturer Reported Ages and On-site Estimated Ages by Size Range and Type

### Energy Consumption

The average annual nameplate unit energy consumption (UEC) data for refrigerator/freezers is obtained from the model number matches to manufacturer data. A sample of 29 nameplate UECs were obtained for the analysis below. The bin distribution and the average of nameplate annual energy consumption based upon the sample of all successfully matched secondary refrigerators is shown below grouped by type and size.

The average overall nameplate UEC is 791.4 kWh/year with an error bound of 100.3 kWh/year. The overall largest percentage of refrigerators (31.6%) is within the range from 550 to 749.9 kWh/year.

Table 86: Percentage of Refrigerators by Nameplate UEC Ranges and Type within Size Ranges

### Percentage Above/Below 2001 Federal Appliance Standards

Additionally, the above groupings of secondary refrigerators are compared with the 2001 Federal Appliance Standards for nameplate annual energy consumption, calculated the same as described in the primary refrigerator section.

Table 87 shows that on average, the secondary refrigerators are 59.8% less efficient than standard. This is significantly worse than the primary refrigerators that are 34.3% less efficient than standard.

Table 87: Percentage Comparison to 2001 Federal Appliance Standards By Type of Refrigerator

The distribution of the percentages below the 2001 standards for all full size secondary refrigerators that were successfully matched by size range and type is presented in the table below.

More than 16% of all secondary refrigerators met or exceeded the 2001 standard, while over half (~58%) have a nameplate UEC of 0.01% to 74.9% worse than 2001 Federal Appliance standards for annual energy consumption.

Table 88: Percentage range of Secondary Refrigerators with a Nameplate UEC Better or Worse than 2001 Standards by Percentage Bins and Type within Size Ranges

## Self-standing Freezers

The following section describes the self-standing freezers. Over 50% of all homes have one self-standing freezer and approximately 4% of all homes have a second self-standing freezer. Since the number of homes with more that one freezer is significantly smaller than that of primary freezers, the following summary will be based strictly upon primary freezers. For a simple cross-comparison however, the following figure illustrates the percentage breakdown of secondary freezer types marking the similarities across primary and secondary units.

Figure 3:  Percentage of Freezer Types among All Secondary Freezers

This section summarizes the freezers by type, size, age, and usage. The type of the freezer was obtained from the site visit. The size of the freezers was first obtained from the efficiency databases (CEC and AHAM) if the model number successfully matched a model in the database. For the models that were not matched, the information on the size collected on site by the surveyor was used. The age of the freezer was also obtained from the efficiency databases if a match was made, otherwise the age from the on-site visit was used in the age analysis. The usage data were obtained exclusively from the efficiency databases. Due to the fact that some ages and sizes were not obtained during the on-site visit, the number of sites in each of the following analyses will differ.

The following figure shows the percentage breakdown of primary freezers by freezer type. The majority of the primary freezers found were the chest type, totaling 58.8% of all the primary freezers. Upright type freezers accounted for the remaining 41.2% of the primary freezers.

Figure 4: Percentage of Freezer Types among All Primary Freezers

### Size

Table 89 shows the average size of the chest and upright freezers. The average size of both types of freezers combined is also shown. The error bound and sample sizes for the freezers used in this analysis are also presented in the following table. The average size of chest units is found to be approximately 5 cubic feet smaller than the average size of the upright units.

Table 89: Average Size of Primary Freezers by Type

Table 90 shows the distribution of the size of the primary freezers by type of freezer.  The largest percentage of chest freezers is in the size range between 15.00 and 18.00 cubic feet, totaling 31.2% of the chest freezers. The largest percentage of upright freezers also in the size range between 15.00 and 18.00 cubic feet totals 33.5% of the upright freezers.

Table 90: Distribution of Size of Primary Freezers and Type

### Annual Energy Consumption

Table 91 shows the distribution of the freezer nameplate UECs by type. The sample sizes for the analyses by nameplate UEC are smaller than those for the size analyses due to the fact that we were only able to match a small percentage of the units with the efficiency databases that contained the nameplate UEC.

Table 91: Distribution of Nameplate Annual Usage of Primary Freezers by Type

Table 92 shows the nameplate average annual usage of the primary freezers by type. The average annual usage of upright freezers is significantly higher than that of chest freezers. This result is not a surprise since there were more large upright freezers than chest freezers.

Federal efficiency standards for residential freezers were increased in 2001. The standard is a maximum UEC equation as a function of capacity and type. Since the minimum standard UEC is a function of capacity, the 2001 standards presented for comparison are based upon the capacities of the sample. The average nameplate UECs for both chest and upright freezers combined are just below the federal maximum, and therefore on average are .4% more efficient than current standards.

Table 92: Nameplate Average Annual Usage of Primary Freezers by Type

Table 93 compares the nameplate UEC from the efficiency databases to the calculated current federal maximum UEC for each model. The 15.9% of freezers that are over 100% worse than the 2001 standard consume more than twice the electricity than the maximum allowed for a freezer manufactured today, and 14.4% of freezers meet or exceed the 2001 minimum standards.

Table 93: Comparison of Primary Freezers to Federal Standards

### Age

Table 94 shows the average age of the primary freezers by type. The average age of chest type freezers is on average higher than that of upright freezers.

Table 94: Average Manufacture Date of Primary Freezers by Type

Table 95 shows the distribution of the age of the primary freezers within 5 year age ranges. The largest percentage of all the primary freezers was in the manufacture range from 2000 to 2006.

Table 95: Distribution of Manufacture Date of Primary Freezers by Type

## Water Heaters

The following section summarizes the data on the water heaters that were collected during the on-site visits. As can be seen in Figure 5, the heavy majority of water heaters currently in homes are storage-type water heaters, and in particular gas storage.

Figure 5: Water Heaters by Type

### Fuel Type

Figure 6 shows the breakdown of water heaters by fuel type. The large majority of water heaters are gas totaling over 70% of all water heaters found. Over 25% of the water heaters are electric.

Figure 6: Water Heaters by Fuel Type

Table 96 shows the average size of the water heaters, overall and for each of the fuel types. The average sizes of the units were obtained from two sources, the first being from the manufacturer if the model number matched a model in the efficiency databases, the second being from the site visit if the model was not matched. The surveyor attempted to obtain the capacity of the water heater from the nameplate information; if no nameplate capacity data were available, the surveyor made an estimate wherever possible.

Table 96: Average Size of Water Heaters by Fuel Type

Table 97 shows the percentage of water heaters in each size range within each fuel type. The sample sizes used to calculate the percentages in each fuel type are also presented in the table below. Notice that the distribution of water heater capacities differs only slightly for electric and gas units. A heavy majority of gas units are in the 40 to 49 gallon range, whereas with the electric units there is a wide distribution of capacities from 40 to 59 gallons. However, the majority of all the water heaters combined by fuel type are still in the size range from 40 to 49 gallons.

Table 97: Percentage of Water Heaters by Size Range and Fuel Type

Table 98 shows the percentage of total water heaters by fuel type within the size ranges. These percentages were calculated as a proportion relative to the entire set of water heaters, regardless of fuel type. This summary table better displays the actual percentage of the population of water heaters in each size range. The previous table shows that the 40 to 59 gallon size range accounts for 92.1% of all electric water heaters and Table 98 shows that the same size electric heaters constitute only 23.6% of the entire population. This emphasizes the market dominance that exists with these gas fired water heaters.

Table 98: Percentage of Water Heaters within each Size Range Among all Water Heaters

### Age

Table 99 shows the average age of water heaters by fuel type in each of the size ranges. The ages of the water heaters were obtained during the site visit only. No age information was available in the efficiency databases. The average age of all water heaters for which an age obtained is 8.6 years old. The ages of the known electric and gas water heaters are not significantly different.

Table 99: Average Age of Water Heaters by Fuel Type within Size Ranges

Table 100 shows the percentage of water heaters within each fuel type and size range that fall into each of the manufacture date ranges. The first row of data, representing all water heaters, shows the largest percentage was manufactured in the last six years, totaling 51% of all the units.

All size/fuel categories with a substantial sample show a similar distribution of age ranges. The largest percentage of water heaters is found in the most recent age range and the percentage decreases with each successive older age range ending with a few percent in the 1979 and older category.

Table 100: Percentage of Water Heaters in Purchase Date Ranges by Fuel Type

### Energy Factor

Energy factor for water heaters is a measure of efficiency expressed as the ratio defined below, where a higher energy factor equates to a more efficient water heater:

heater supplied energy content of the delivered hot water

energy consumed by the water heater

The average energy factor for the popular 40 gallon gas fired water heater is 0.57, which is slightly below the average of 0.59 from the National Appliance Energy Conservation Act Standards (NAECA), implemented in 2004. The average energy factor for electric models of the most popular 50 gallon size is also slightly below standard.

Table 101: Energy Factor Comparison

Table 102 shows the average energy factor by fuel type within each size range. The energy factor was obtained from the efficiency databases, thus only the models that matched were included in the following summary table. The average energy factor from matched gas units is 0.57 while the average energy factor for all electric units is 0.89.

Table 102: Average Energy Factor by Fuel Type in Size Ranges

Table 103 shows the percentage of water heaters within each fuel type and size range that fall into each of the energy factor ranges. Energy factors of gas water heaters seem to be well distributed throughout the range from 0.52 to 0.64, while the majority of electric water heaters fall within the range from 0.88 to 0.92. It is difficult to make any comprehensive comparisons between these data and the 2004 federal standard due to the standard being a function of water heater volume, but a table containing the federal standard is in the Appendix so that comparisons can be made as desired.

Table 103: Percentage of Water Heaters in Energy Factor Ranges by Fuel Type and Size

Table 104 shows the percentage of all water heaters broken down by whether the tank was wrapped with insulation or unwrapped. The unknown category contains tanks that were unobservable. Over vast majority of the observed water heaters were unwrapped.

Table 104: Percentage of Water Heaters that were Wrapped and Unwrapped

## Clothes Washers

This section describes the clothes washer data. The model numbers collected on the washers were linked with the CEC database in order to obtain the energy factor. There was no manufacture date data, thus all the age data presented in this section are customer reported dates from the on-site survey.

Approximately 97.5% of all homes have a clothes washing machine. All single family unattached 2-story and 3-story homes in our sample were found to have a washer, thus the weighted percentage of these homes with washers is also 100%. A large majority of single family unattached 1-story homes and single family attached have a washer in the house.

Table 105: Percentage of Homes with Clothes Washers by Type of Residence

Table 106 shows the distribution of the 280 clothes washers found on-site, presented by type of washer and type of residence. Nearly 5% of all washers found were horizontal-axis washing machines. The largest percentage of homes with horizontal-axis washers occurred in single family 2-story homes. As might be expected, the most common type of washer throughout the sample of homes was standard.

Table 106: Distribution of Clothes Washers by Type of Washer and by Type of Residence

The sample size of washers with ages was 232 washers. Again, the age data reported is the number of years old the customer reported for the washing machine. The washing machine was excluded from this part of the analysis if the customer was not aware of the age of the machine. The average overall self-reported age of clothes washers is 7.5 years old.

Table 107: Distribution of Manufactured Date of Clothes Washers

In 2004 federal standards switched from rating clothes washer efficiencies from Energy Factor (EF) units to Modified Energy Factor (MEF) units. The change was made due to differences in the amount of water extracted from the clothing between different models. The MEF accounts for these differences, which have an impact on the energy consumption of the clothes dryer. The efficiency databases used for this study to determine model efficiency only had MEF for a very limited number of horizontal-axis washing machines, therefore we continue to present efficiency in terms of EF.

Energy factor for clothes washers is defined in cubic feet per kWh per cycle. The current federal efficiency standards for standard top-loading clothes washers, effective in 1994, set a minimum energy factor of 1.18. The minimum ENERGY STAR qualifying energy factor is 2.5 for all clothes washers. The average energy factor of each of the types of clothes washers, based upon the sample of clothes washers that were successfully linked with the efficiency database, meets the 1994 minimum standard energy factor. Additionally, it seems apparent that horizontal axis washers, which easily achieved ENERGY STAR qualifying levels on average, perform significantly better than standard or stacked units.

Table 108: Average Energy Factor and Comparative Standards

The following table summarizes the energy factor distribution relative to efficiency standards. It shows that all of the horizontal axis washers far exceed the minimum federal requirements as well as exceed ENERGY STAR minimum requirements. Eighty-six percent of the standard units exceeded the minimum federal requirements and nearly 14% exceeded ENERGY STAR minimum requirements. While no stacked washer and dryer exceeded minimum ENERGY STAR requirements, 100% exceeded the minimum standard requirements.

Table 109: Energy Factor Distribution Relative to Standards

## Clothes Dryers

The following section describes the clothes dryers found during the on-site surveys. Data on clothes dryers were not available in the CEC database. Thus, we were unable to merge in efficiency data or manufacturer dates. This section contains information on the percentage of homes with dryers, the breakdown of the fuel types, and the age of the dryers obtained by the surveyors during the site visits.

Approximately 97% of all sites that were visited have a dryer. Table 110 shows the breakdown of the percentage of homes with dryers by residence type. The error bound and sample size for each type of residence is also displayed in the table.

Table 110: Percentage of Homes with Dryers by Type of Residence

Figure 7 shows the breakdown of fuel types among all dryers found during the on-site visits. A total of 277 homes in the sample have dryers. The vast majority of homes used electric dryers.

Figure 7: Percentage of Dryers by Fuel Type

The data on the age of the dryers were obtained from either the owner of the house or the surveyor estimation of the age. A total of 225 dryers in the sample have an estimated age. The average weighted age of the dryers is 8.1 years old. Table 111 shows the distribution of the estimated manufacture date for the dryers. The largest percentage of dryers is between 0 to 6 years old.  However, over 20% of all dryers are between 6 and 10 years old.

Table 111: Distribution of Estimated Manufacture Date of Dryers

## Dishwashers

The following section summarizes the 217 dishwashers found during the site visit. The data were merged with CEC database to obtain the energy factor for the model. This section contains information on the percentage of homes with dishwashers, the age of the dishwasher obtained by the surveyor during the site visit, and the energy factor from the CEC database.

Table 112 shows the percentage of homes with dishwashers by type of home. Approximately 75.6% of all homes have a dishwasher. The table shows that there is a fair spread of dishwashers among the different types of homes.

Table 112: Percentage of Homes with Dishwasher by Type of Residence

Based on the subset of 189 dishwashers for which age information was found, the average age of dishwashers is 6.1 years old. Table 113 shows that the majority of dishwashers (64.3%) were reported to have been manufactured between 2000 and 2006, and nearly 90% of dishwashers were manufactured in the last 10 years.

Table 113: Distribution of Manufacture Date of Dishwashers

Energy factor for dishwashers is defined as loads per kWh. The average energy factor for all dishwashers that were matched to the CEC database is 0.508, about 9% higher than federal standards and just over 12% less than ENERGY STAR standards. Table 114 displays the average energy factor compared to the current federal minimum standard, enacted in 1994.

Table 114: Comparison of Energy Factor with Federal Standards

The distribution of dishwasher energy factors is found in Table 115. The highest percentage of dishwashers with energy factors falls within the range of 0.460 to 0.579, containing over 80% of the dishwashers.  This energy factor range encompasses all dishwashers that met 1994 standards but were below the current ENERGY STAR minimum. The range of 0.580 to 0.775 accounts for all dishwashers that met or exceeded the ENERGY STAR minimum qualifying energy factor of 0.58.  The total percentage of dishwashers meeting 1994 federal standards is 98.6%.  The sample size for the distribution of the energy factors is 35, which is the total number of dishwashers that we were able to match with the CEC database.

Table 115: Distribution of Energy Factor of Dishwashers

## Cooling Equipment

This section presents the summary analysis of the data on primary cooling equipment found at the 282 sites that had air conditioning. The air conditioner model numbers were linked with efficiency databases from the ARI, CEC, Carrier Bluebook, and FTC in order to obtain manufacture date, capacity, seasonal energy efficiency ratio (SEER), and energy efficiency ratio (EER).

### Cooling Equipment

The primary cooling equipment identified during this study was of six distinct types

- Packaged System Air Conditioning units

- Split System Air Conditioning units

- Packaged Air to Air Heat Pumps

- Split System Air to Air Heat Pumps

- Evaporative Systems

- Window/Wall Room Air Conditioning units

The distribution of these cooling equipment types is shown below in Table 116.

Table 116: Distribution of Cooling System Types in Residences with Cooling Equipment

The analysis of cooling equipment is presented in this section and will consider heat pumps the same as air conditioners. This is because the cooling portion of a heat pump is very similar in terms of energy use to a standard A/C.

From our analysis of the surveyed residences, 98.3% with a 2.7% error bound of homes have some type of cooling equipment in place, including non-mechanical systems such as evaporative coolers. Of the homes that have primary cooling equipment, the distribution of central systems versus space cooling units is shown below.

Figure 8: The Distribution of Primary Cooling Systems

Cooling equipment was classified into six types; evaporative systems, all of which were central systems, split system A/C, split heat pump, packaged system A/C, and packaged heat pump, all classified as central systems, and window/wall units, considered space units. The data show that the majority of systems are split A/C which corresponds to common building practices. The second most predominant systems were split heat pump units but were considerably less than the number of split systems A/Cs.

Table 117: Breakdown of Classes of Primary Cooling Systems by Equipment Type

Table 118 below shows the average estimated age of the primary system found at a residence. The estimated ages were obtained from a combination of dates that were gathered from the manufacturer nameplate and the surveyor estimates during the on-site visit. The sample size of 221 (summing central and space units) represents all sites that were found with some type of cooling equipment and age estimate. The average age of a central air conditioning system type is 9.5 years old. The average space air conditioning system is 7.7 years old.

Table 118 Average Age of Primary Cooling Equipment

Table 119 shows the percentage distribution for each type of cooling system by age range. Over half of all primary central and space type air conditioners have been manufactured in the past 10 years.

Table 119: Age Range Distribution of Cooling System by Types

Table 120 below shows bin distributions of capacities for cooling system types. The capacities were obtained from a combination of manufacturer information and the surveyor estimates during the on-site visit. The sample size of 238 represents all cooling equipment for which capacity data was obtained. The largest percentage bin of combined central air conditioning types is 27.3% found in the 2.50 to 2.99 ton range. The largest percentage bin of space air conditioning type window/wall units is 35.6% and falls in the 1.50 to 1.99 ton range.

Table 120: Size Distribution of Cooling Systems by Type

Table 121: Size Distributions by Age Range for Central System Types shows the percentage of cooling systems by type and capacity within age ranges. For example, from the table we can identify that 74.6% of all types of central cooling units in the range of 4.0 to 4.49 tons were built between 2000 and 2006. This is also useful in identifying which size units tend to be older. The table shows the highest concentration of central units with a known tonnage built in 1979 or earlier, at 8.5%, is for the units in the 3.0 to 3.49 ton range.

Table 121: Size Distributions by Age Range for Central System Types

Table 122 shows the percentage of space cooling systems by type and capacity within age ranges. From the table, we can see that 63.9% of all window/wall units were manufactured between 2000 and 2006.

Table 122: Size Distributions by Age Range for Space System Types

Seasonal energy efficiency ratio (SEER) is a measure of air conditioning efficiency given in kBtu of cooling delivered per kWh of electrical energy consumed. The SEER data for this analysis were obtained strictly from the manufacturer data of matched model numbers. The sample of size of 137 represents all of the cooling systems that were successfully matched with manufacturer data.

The distribution of SEER range by cooling system type is shown below in Table 123. The greatest amount of combined central system air conditioners are in the 10 to 10.99 SEER range accounting for 68.3% of central systems with a 7.4% error bound.

Table 123: Distribution of Cooling Systems by SEER/EER ranges and Cooling System Type

The distribution of average SEER values across the system capacity ranges is shown in Table 124: Cooling Systems by Type, Tonnage Range, and Average . The average SEER for capacity range can be observed in this table. For split system units in the range of 2.0 to 2.49 tons, the most saturated capacity range, the average system efficiency is 10.5 with an error bound of 0.3. The most efficient units are packaged central units in the 3.5 to 3.99 range with an efficiency of 13.3. Note however, the small sample sizes for this system and range as well as for other systems with high efficiencies.

Table 124: Cooling Systems by Type, Tonnage Range, and Average Efficiency

The current minimum efficiency standard for split-system air conditioners and packaged systems is a SEER of 13.0 (effective January 2006). The minimum qualifying ENERGY STAR SEER is 14.0 for split-system air conditioners and heat pumps, and packaged system air conditioners and heat pumps. Table 125 shows the average SEER compared with both the previous and recently updated standards. Both comparisons were included because the SEER updates occurred recently. The close correlation in average efficiencies relative to the previous standards reflects the fact that nearly 89% of the units surveyed were installed after 1990.

Table 125: Average SEER Standard Comparison

## Heating Equipment

This section presents the summary analysis of the primary heating systems found during the site visits. The heating systems were linked with efficiency databases from the CEC and the Carrier Bluebook in order to obtain manufacture date, input, output, capacity, and annual fuel utilization efficiency (AFUE, expressed as a percentage). The efficiency of gas units is shown in AFUE, and no distribution of electric unit efficiencies is given due to the fact that all electric units are assumed to be 100% efficient. Heat pumps are included in the next several tables due to the fact that the heat pump may be the only heating system at the home. They are excluded from the efficiency tables due to low efficiency matching rates.

### Heating Equipment

Table 126 shows the percentage of homes that have one or more heating system. A large percentage of the homes have at least one heating system, totaling 53.7% of the homes. Interestingly enough though over 30% have at least two heating systems. The percentage of homes is smaller with each additional heating system. For the homes with more than one heating system, the surveyor determined which system was primary and noted it accordingly.

Table 126: Percentage of Homes with Heating System

Table 127 shows the primary heating system type among all houses with heating system types. The majority of all primary heating systems were found to be forced air furnaces, totaling just below 90% of the population of primary heating systems. Space units used as the primary heating system were far less common than central units.

Table 127: Percentage of Primary Heating Types by Type of System

Table 128 shows the percentage of heating systems by fuel type and system type. These fuel types were taken from the surveyor information. Among all the system types found, the vast majority consumed natural gas. Just over 20% of all primary heating systems consumed electricity. Interestingly, among all forced air furnaces, nearly 85% consumed natural gas.

Table 128: Percentage of Heating Systems by Fuel Type within Type of Heating System

Table 129 shows the average estimated age of each type of heating system, and the percentage of each type of heating systems in various manufacture date ranges. As explained previously, the estimated ages were obtained from a combination of the dates that were obtained from the manufacturer information and the surveyor estimates during the on-site visit. On average, forced air furnaces were 13.1 years old.

Table 129: Average Estimated Age and Percentage of Heating System by Type within Age Ranges

Table 130 shows the percentage of all furnaces by fuel type and capacity range. The capacity of the furnaces was obtained from manufacturer information if the model number linked to one of the databases. The on-site estimation of the capacity of the furnaces was used if the model number did not link with the database. Over 30% of all units were gas units between 70 and 84.99 kBtu. The second largest percentage of furnaces was gas units between 55 and 69.99 kBtu.

Table 130: Percentage of All Furnaces with Capacity by Fuel Type within Capacity Ranges

Table 131 shows the average AFUE by system type. Only the units that matched with one of the efficiency databases were included in the analysis below. As one would expect, the average AFUE for central systems is significantly higher than the AFUE for all space heat systems at 82.1 and 61.7, respectively.

Table 131: Average AFUE by System Type

Table 132 shows the percentage of heating systems with an AFUE by type and AFUE range. The large majority of the forced air furnaces have an AFUE between 78 and 84.99.

Table 132: Percentage of Heating Systems by Type within AFUE Ranges

Table 133 shows the overall average AFUE for gas fired forced air furnaces compared with standards. On average, the forced air furnaces meet 1992 minimum standards, but fall short of ENERGY STAR qualifying standards.

Table 133: Average AFUE Standard Comparison

Table 134 shows the distribution of gas forced air furnace AFUE. The gas furnaces in our sample are above the current minimum efficiency standards.

Table 134: AFUE Bin Distribution

## Window and Wall Constructions

### Overview

The following section describes the window and wall construction types at the residences. Information on the type of window frame and the number of panes in each window was recorded during the site visit. If the customer reported that there were multiple types of frames or panes in their home, the predominant window type was observed and recorded. Data was also collected on the type of wall construction.

### Windows

Figure 9 shows the breakdown of window frame types among all homes. The majority of window frame types found in homes are vinyl, constituting nearly 50% of the homes.

Figure 9: Percentage of Homes by Window Frame Type

Table 135 shows the breakdown of homes by window frame type and type of panes by type of residence. More than half of all the homes have wood or vinyl double paned windows, with 100% of ‘modular/prefabricated’ homes having this combination. Over 60% of 1 to 2-story unattached single-family homes and 50% of 3-story homes have the wood or vinyl double pane combination.

Table 135: Percentage of Homes by Frame Type and Panes Type by Type of Residence

Table 136 shows the percentage of homes by frame and pane type by age of residence. Not surprisingly, a larger percentage of newer homes have double paned windows than the older homes. For example, 97% of homes built between the years 2000-2006 have wood or vinyl framed double paned windows.

Table 136: Percentage of Homes by Frame Type and Panes Type by Age of Residence

Table 134 shows the percentage of homes by glazing characteristics and age of residence. Low-e glazing constitutes 9% of the overall window glazing. The residences built between 2000 and 2006 had the highest percentage of low e glazing, 36.3%. This is probably due to renovation activity in older homes that included window upgrades.

Table 137: Percentage of Homes by Glazing Type and Age Range

### Walls

Figure 10 shows the breakdown of all homes by wall construction type. The large majority of homes were constructed using 2 x 4s, totaling over 75% of all homes.

Figure 10: Percentage of Homes by Wall Construction Type

## Insulation

The following section describes the insulation in walls, floors, and attics. This data was collected with some difficulty during the site visits. Difficulty arose when the attic was inaccessible due to the fact that it was located in another apartment unit, blocked by furniture, etc. When the attic was accessible and there was batt insulation, in some cases the R-Value was not observable, then the surveyor estimated the thickness of the insulation, which was then converted into R value.

### Attic

The average R-Value among all homes with an estimated or verified R-Value for attic insulation is 25.7 with an error bound of 1.6. Table 138 shows the average R-Value and the percentage of homes with R-Values in ranges by age of residence. The largest percent of homes have R-Values greater 37.99, totaling 22.9%. The second largest percent of homes have R-Values between 22 and 29.99. Approximately 4% of the homes have no attic insulation.

In the event that the surveyor was only able to record the inches of the batt insulation, the CEC residential Title-24 manual was referenced in order to translate the inches into R-Value.  In the event that the surveyor was only able to record the inches of the blown in insulation, the number of inches was multiplied by 3.5 to arrive at the R-Value. The overall attic R-Value was calculated as the sum of the R-Values for blown-in and batt insulation.

Table 138: Average R-Value and Percentage of Homes with Attic R-Values within R-Value Bins

#### Walls

Among those homes where it was possible to observe the percentage of the walls that were insulated, the percentage of homes that have no exterior wall insulation is 7.3%, while the percentage of homes in which all the exterior walls are insulated totals 62.7% of the homes.

Table 139: Percentage of Homes by Wall Construction Type by Percentage of Walls Insulated

Table 140 shows the percentage of homes with any amount of wall insulation by type of residence, regardless of the R-value that was obtained during the site visit. Nearly 90% of the homes have some type of wall insulation.

Table 140: Percentage of Homes with Wall Insulation by Type of Residence

#### Floor

The following table displays the percentage of homes for which an R-Value was obtained for the floor insulation. Over 63% of the homes surveyed are slab on grade. Among the other homes, over 91% have no floor insulation.

Table 141: Percentage of Homes with Floor R-Values within R-Value Sizes

## Pool and Spa

The following section describes the pools and spas found at the residences. Information on the fuel type, pump horsepower, and pump efficiency were recorded during the site visit. However, surveyors found this data very difficult to access and record given the project time limitations along with various access issues. Of course, the overall lack of data is compounded by a low overall saturation of homes with pools and spas. This report examined fuel type for both pools and spas, and pump horsepower for pools. Due to a small sample size and difficulty in matching with databases, the pump efficiency data is not presented in this report.

### Pool and Spas

Only one site visited had a below ground swimming pool and was heated with gas. This being the case, there are no general conclusions that can be drawn. Roughly 4% of homes in the Collaborative service territories have a spa.  As Figure 11 illustrates, nearly 90% of all spas are electrically powered.

Figure 11:  Percentages of Spas by Fuel Type

# Potential Analysis

This interim memo describes the technical, economic, and market potential analyses RLW has performed based on the on-site single family home data RLW collected during 2006.

Per our work plan, this section presents an analysis that assesses the technical, economic, and market potential of key household measures identified in Appendix A of the work plan. Specifically, we utilized the following steps that maximized the value of this section within the project budget:

- Market adoption rates we developed for the Illinois study would be used in this assessment as well.

- Key measures that show the largest impact were calculated.  RLW had envisioned that this would keep the potential analysis within approximately 10 to 12 measures which show the highest promise of energy savings and/or peak load impact.

RLW took several steps to ensure this information would be useful to the sponsors.  In particular, we found that the single family homes in Missouri were significantly different from those in Illinois, having a much higher percentage with electric heat.  Because of this significant difference, we deemed it necessary to create three unique DOE2 models to better represent the segmented populations of homes that are gas heated, electric strip heated, and those with electric heat pumps.   We also recognized, due to these electric heated homes, that the top priority measures identified for the Illinois study might not be the same for Missouri’s housing stock.  Therefore, we evaluated 32 potential measures so that we could identify the top 20 in terms of their contributions to potential electrical energy savings in Missouri.

## Methodology for Estimating Impacts

The analysis for the technical impacts required an examination of typical weather patterns throughout Missouri.  Comparison of typical housing characteristics also showed that geographic differences were not very significant.  The relative numbers of electric heated homes (about 23%), however, proved to be significant.  Therefore, RLW chose to create three DOE2 physical models to adequately represent these differences, although we utilized one central weather file.  The three models were created in conjunction with three corresponding sets of field audit data and calibrated to their corresponding electric utility billing data.

These three models were applied to calculate unique measure level savings for each of the average gas heated home, the average electric strip heated home, and average heat pump heated home.  The extremely low number of sampled homes heated primarily with propane, oil and other miscellaneous fuels were excluded from this analysis.

All three home groups utilized wood fireplaces to a significant degree, and heating contributions from these were accounted for in the models, hence reducing the dependence on gas and other fuels; however, savings on wood consumption are not considered as part of this study.  RLW, therefore, assumed that wood consumption remained unchanged by the retrofits.

RLW utilized Columbia TMY2 weather data to represent the entire state since Columbia is centrally located.  The state of Missouri is also entirely within a single climate zone, Climate Zone “3”, as determined by the U.S. Department of Energy.  Monthly billing data furnished by the participating utilities were first “cleaned” and “calendarized”, and then aggregated by heating system type as defined by the field audits into the three groups.  Finally, the monthly kWh were averaged by month to create the average monthly usage for each housing group to calibrate each DOE2 model.  The models were calibrated to match their actual average monthly kWh within 2% for each month.

The DOE2 formatted version of the TMY2 weather file contains hourly dry bulb and wet bulb temperatures, humidity ratios, direct and diffuse solar radiation, wind speed and direction, precipitation, ground temperatures and other variables utilized by DOE2 to calculate hourly cooling and heating loads.

The impacts for each measure for each group were derived by first altering the calibrated “as-is” model to create an implementation baseline condition that exceeds a reasonable threshold value.  For example, the average house from this study may have R-25 attic insulation, but the attic insulation R-value for the implementation baseline would be much lower to be economically advantageous enough to pursue.  This approach defines a specific baseline condition for each measure, which recognizes that the measure would be applicable only to homes that were below a reasonable performance threshold value (say, R-10 or lower for attic insulation).  These implementation baseline models, therefore, represent homes that might be expected to participate in a conservation program that offers this measure.

Next, a retrofit model was created for those homes by upgrading the measure of interest to a significantly higher but easily attainable standard, which was R-30 for attic insulation.

Savings were obtained by running the baseline and retrofit models to obtain the hourly building demands for a typical year and subtracting the results for every hour.  The hourly differences in cooling system demand are summed, thus yielding annual cooling savings for a typical weather year.  Coincident summer electric demand savings were calculated as the average savings over the four hour window of 2-6 PM on the hottest weekday of the typical year.  Coincident winter demand savings were calculated for the window of 6-10 AM (the heating peak period) on the coldest weekday.  Natural gas savings estimates in terms of peak BTU’s per hour and Therms per year were derived the same way.

For each measure RLW exercised all three models to calculate unique savings for an average gas heated home (with a gas furnace), average electric strip heated home (with an electric furnace), and average electric heat pump heated home (with a 15kW supplemental electric strip heating element, commonly incstalled within these systems).  In the potential analysis the individual results for each measure were combined by weight-averaging them with the fraction of the population represented by each house/model type (0.773 gas heat, 0.145 strip heat, 0.082 heat pump), respectively.

## Background and Assumptions on Market Potential

The fundamental assumption regarding the market potential estimates was that, overall, the model should be logical and these results should agree with the aggregate results of numerous published works of other potential studies.  Therefore, uncertain variables in our model were modified within reasonable limits until the overall results were in reasonable alignment with the combined results of these other studies.

The weighting of first cost and payback is one of these uncertain variables.  In a recent Massachusetts potential study conducted by RLW, 135 non-program participating homeowners were audited and presented with an analysis of first cost dollars and payback years for specific conservation measures.  In this project, RLW found that the overwhelming majority of these homeowners based their buying decisions primarily on first cost.  RLW estimated this response to be on the order of three to one in favor of first cost over payback.  The power of a monetary rebate is in the fact that it directly mitigates much of the first cost barrier, while also reducing the payback time to the participant.  The effect of any rebate is directly proportional to the first cost of a measure and inversely proportional to the payback.  Rebates become more effective (and more necessary) in marketing higher first-cost measures.

Other significant variables in market potential analysis are the non-monetary market barriers.  To assess these, RLW assigned a weight of one, two, or three, depending on the apparent magnitude of these barriers.  RLW originally used these factors from research conducted for the 2003 Illinois assessment, where high efficiency product adoption percentages were derived from other conservation program evaluations and reports.

Examples are:

- Early retirement of refrigerators -  most homeowners who have a second refrigerator or freezer want to keep it for extra storage;

- Low flow showerheads - most homeowners do not like the reduced flow. In recent years, in many parts of the US, standard showerhead flow rates have been reduced to something between the older soakers and the new low-flow types.  Most homeowners are OK with these, but do not want to go any lower; and

- Identification of AC systems that are significantly overcharged - homeowner adoption is challenging because most overcharged systems go undetected.

The analytical approach that RLW used to assess market potential savings and costs at various rebate levels was to reduce the first cost by the rebate amount across all measures, and then allow the model to recalculate the overall potential results.  These results were compared to the more rigorous results of the MA potential study and found to agree fairly well as rebates ranged from zero to 75%.  A non-intuitive result of the MA study was the discovery that there exists a significant potential for many measures at the zero rebate level.  In fact, it was found that about half of the homeowners indicated their willingness to implement low to medium cost measures without any first cost incentive.  In these situations, RLW found that homeowners just needed to have the measures identified and needed some information about first cost, savings and payback.

Finally, recent upward trends in fuel prices, as well as government energy and environmental program funding, have significantly increased public energy-consciousness.   This appears to also raise the potential market for energy conservation measures.  There is free-ridership at all rebate levels (except zero, of course), and the relatively large market potential with no rebate reflects some of this.

## Technical Assessment of Energy and Demand Impacts

### Potential Energy Conservation Measures

RLW analyzed 32 potential home improvement options, as listed in Table 142, and calculated average annual savings for each in terms of kWh and kW electrical energy and demand and Therms of natural gas.  The list emulates the conservation measures that RLW analyzed in its Illinois residential assessment.  Some of the improvements apply only to air conditioned homes, while others may apply to any home.  Shaded ID options represent 20 measures and options that have been identified by RLW as priority measures, to be more fully discussed in the market assessment section of this report.

Table 142: Potential Situations and Improvements Evaluated in this Study

Several of the listed improvement options represent multiple ways of dealing with a single potential situation.  For example, a low evaporator airflow (ID no’s 3 and 4) may be rectified by increasing duct capacities or increasing the speed of the blower.  The potential situation in this case is denoted as “A” or “B”, respectively.  The cost of implementation of each improvement option is based on the “Quantity” defined in the last column of the table.

### Interpretation of Field Data and Creation of DOE2 Models

Of the 287 single family homes that were audited, we used only the 282 that had enough valid information to be meaningful.  Information gathered during the site visits included detailed house construction features and demographics.  Monthly electric billing data obtained from the utility companies were utilized for 270 homes (the billing data for 17 of the 287 audited sites were either not furnished by the utilities, or dropped due to inconsistencies discovered in the billing records).

RLW employed specially created DOE2 models based on the average shell and demographic characteristics of all the sampled homes to estimate potential savings.  These models were designed to exhibit weekday, weekend and monthly variations in energy consumption derived from over 100 hourly schedules, which in turn were created from previously metered hourly end-use data.  Each model is capable of producing valid seasonal energy savings and peak demand savings at the measure level.  Savings are actually based on differences in hourly demand over a full 8,760 hours.  Demand savings can be observed for any hour of interest, but those reported in this study are coincident summer peak demand savings.  As such, they are additive.

First, an “as-is” model for each house type was created to represent the average characteristics of all homes in the sample for that type.  Monthly billing data from the 270 billing records were used to calibrate the models.  These consisted of 201 gas heated homes, 41 electric strip heated homes and 28 heat pump heated homes.  Each group was averaged monthly to establish actual monthly electric energy kWh to be used as calibration targets.  Independent adjustments of uncertain variables (within their ranges of uncertainty) with regard to monthly lighting and miscellaneous appliance loads and monthly temperature setpoints for cooling and heating were made to obtain calibration of these models to within 2% each month of their actual average monthly kWh usage.

Many of the descriptive components of the “as-is” home that were used in the DOE2 models are listed in Table 143 below.  These are two-story houses (the area of the second story varies with house type) with a full basement, part of which is heated and cooled.  The heated floor areas of each house model are the averages of those measured during the site visits.  The total conditioned areas of the model houses were 1700 square feet (gas), 1950 sq. ft. (strip) and 1590 sq. ft. (heat pump).

The models contain three conditioned zones, consisting of first floor, second floor and a conditioned portion of the basement.  They also contain six unconditioned zones to capture the effects of the heat transfer through ceilings, garage walls and floors over the garage and unconditioned portion of the basement.  These buffer zones also provide a means for modeling duct supply and return air leakage to and from these spaces and duct heat transfer to and from the attic.

Exterior shading is modeled by two-foot eaves on the north and south sides and 40-foot high non-deciduous trees on the east, south and west faces of the house.  The solar transmissivities of these trees were varied by height and from model to model to further fine-tune the calibration.  Interior shading of the glass is modeled by light drapes that are fully open at times and partially closed at other times, according to a realistic schedule of occupant behavior.  These input parameters are varied as required to model the baseline and retrofit conditions of the two window shading options, ID 20 and 21.

Table 143: DOE2 Calibrated Model Characteristics

Internal and external energy (both electricity and gas) used for lighting, appliances, and hot water vary hourly according to end-use metered data from other residential studies (listed in the bibliography at the end).  These also vary monthly to follow a typical pattern and allow calibration of the model to match calendarized utility billing data.  Cooling and heating temperature set points were also allowed to vary both hourly and monthly to represent measured data from other studies, as well as to provide fine tuning of the model for calibration.

Cooling and heating system characteristics are shown in Table 143.  These values are typical of those observed in this study or borrowed from other similar studies.  The airflow factor and AC refrigerant charge factors, for example, are from other studies in which air conditioner performance data were measured.  These are used in the models to adjust rated capacity and efficiency to typical in-situ operating values.

### Calculation of Individual Measure Impacts

The savings for each measure were calculated separately for each DOE2 model.  The statewide savings per house were then calculated as the population-weighted averages of the model savings.  The 2000 U.S. Census lists statewide population of single family detached homes as 1,673,824.  The related weighting fractions, based on the sample populations, are 0.773, 0.145 and 0.082, for gas, strip and heat pump homes, respectively.

Weighted average savings estimates for each measure and optional retrofit improvement are summarized in Table 144.  These ID numbers refer back to each of the measures described in Table 142.  Electric savings occur for all measures except the last four.  Savings for these depend on the type of water heater in the home.  Electric savings for the homes with electric water heaters (about 4% of the population) were calculated, and the results are reported in the specific sections of this report that address each measure.

The shaded ID numbers represent the measures and options that have been identified by RLW as priority measures.  The blank shaded cells represent housing types that the respective measure does not apply.  For example, ID 10 is a heat pump replacement measure that applies only to homes with heat pump heating systems, and ID 11 is a heat pump replacement of an existing electric strip heating system.

Savings for ID numbers 22 through 32 (except for ID 27) in Table 144 are not directly calculated by DOE2, so the savings for these were taken from the results of previous studies.  Direct impacts for lights and appliances located within the conditioned space were programmed into the DOE2 models, however, to capture their secondary impacts on cooling and heating loads.

Table 144: Electric and Natural Gas Savings by Measure and Heating System Type

Differential costs shown in the last column for each measure are the average costs to install the measure, or the difference in cost between a standard retrofit and the high efficiency option.  Payback is the simple payback in years, or the ratio of annual fuel dollars saved, including natural gas Therms and electric total kWh, and differential installed cost.

Dollars saved are based on annual electric and gas savings and their respective marginal residential customer rates.  Differential costs for ID numbers 6 and 7 had to be defined based on their net effects on contractor sales (assumed here to be 20% of the differential installed costs) because they cost less to install than their standard retrofit choices.  Otherwise their differential costs would be negative, and their payback values would also be negative, and could not be defined.  To illustrate: in a residential new construction situation, a smaller HVAC system will cost less to the customer to purchase.  This means that the average contractor would obviously not be motivated to educate and sell the customer on the smaller unit.

For this one exception we will assume that the homeowner pays the contractor for the loss of sales revenue to put this net cost differential onto the homeowner.  Contractors who participate could add these costs to their bids so that they break even financially, and the homeowners would still realize the 80% remaining savings in differential costs.  Both the perceived costs (20% of the differential cost savings) and energy savings apply to the homeowner, and a payback period becomes (loosely) meaningful.  This is all hypothetical, but any incentives for this measure would have to be directed to the AC installation contractors, and not the homeowners.

### Situation and Measure Improvement Descriptions

The following are descriptions of each listed measure and improvement option, explanations of the assumptions made, and the technical approach to estimating impacts.

Undercharged AC Systems – ID 1

Published accounts from several other studies, including a recent New England HVAC study conducted by RLW in 2002, were used to estimate the technical potential percentages for AC systems.  From these studies, about 36% of the measured systems are probably undercharged with refrigerant, enough to exhibit recognizable symptoms.  The average undercharged condition was modeled as a 20% reduction in both cooling capacity and efficiency.  This 20% reduction represents a general consensus of the other studies.

In the baseline DOE2 models, the refrigerant charge factor was adjusted to 0.8 to reflect this 20% loss.  In the retrofit models this factor was set to 1.00 to reflect a properly charged system.  At this point the operating capacities and efficiencies were still slightly below rated values due to the fact that evaporator airflow is still a little low.  This refrigerant charge correction resulted in an estimated annual savings of 448 kWh, and a peak demand reduction of 0.11 kW.

Overcharged AC Systems - ID 2

About 31% of the measured AC systems found in other studies were found to be overcharged with refrigerant.  The average effect of this situation, however, is not nearly as dramatic, with only a 5% reduction in both cooling capacity and efficiency.  This was represented in the models by a refrigerant charge factor of 0.95, which is in fact the average operating condition.  The frequency, degree, and impact of overcharging are not as great as undercharging.

In the retrofit models the refrigerant charge factor was set to 1.00.  This resulted in an estimated annual savings of 100 kWh, and a peak demand reduction of 0.10 kW.

AC Systems with Low Evaporator Air Flow – ID 3 and 4

According to recent studies, about 70% of residential AC systems have a problem of significantly low evaporator airflow.  The threshold for this performance characteristic is considered 350 CFM per ton, which is generally used as the lowest acceptable flow rate before capacity and efficiency are appreciably reduced.  The average airflow for all those below the threshold was about 300 CFM per ton.

In the baseline DOE2 models the system airflow rate was set at 300 CFM per ton.  In the retrofit models this was increased to 400 CFM per ton.

Two different approaches to the correction of a low airflow problem were examined because the associated costs and impacts of each are significantly different.  The easiest, and least expensive, solution is to increase the blower speed whenever practical.  In many cases, however, this might not be possible due to the presence of single speed blowers or a limited remaining blower capacity.

The other approach is to reduce airside system operating pressures by locating and removing restrictions or by increasing duct capacities.  In an existing system the only practical ways to increase supply duct capacity are to replace existing ductwork with larger runouts to several rooms, or add more runouts at or near the supply plenum to new supply grilles.

In past studies, it was found that many return duct systems are simple but undersized.  Return duct undersizing often occurs with systems in the attic that have one central return air filter grille in the ceiling of a corridor with one large flexible duct to a return plenum.  In most, if not all, cases these can be replaced with larger ducts and return grilles, or new ducts and grilles can be added in parallel.

Any reliable and practical correction to the problem of low airflow would have to be determined by a careful on-site analysis of each problematic system.  Often it may be necessary to combine fan speed corrections along with increased supply and return duct capacities to obtain proper airflow at a reasonable cost.

The retrofit DOE2 model for increased duct capacity, ID 3, assumed that the total static pressure of the air distribution system could be reduced enough to allow the existing blower to deliver the required air flow without increasing the blower speed.  The blower power was increased linearly with the increased airflow rate, and the system capacities and efficiencies were increased to rated conditions.  This resulted in an estimated annual savings of 757 kWh, and a peak demand reduction of 0.75 kW.

The retrofit model for increasing blower speed, ID 4, required an increase in motor power equal to the square of the ratio of the flow rates.  The increased fan power offset about half of the energy savings due to increases in system capacity and efficiency.  This resulted in an estimated annual savings of 630 kWh, and a peak demand reduction of 0.56 kW.

AC Systems with High Duct Leakage – ID 5

In a recent New England study RLW found that about 73% of the AC systems had a problem of significantly high supply duct leakage to the outside.  The threshold for supply air leakage was 15% of actual system airflow.  The average leakage for all those above the threshold was 25 percent.  The systems with high duct leakage do not seem to correlate at all with duct location or plenum static pressure.  Based on field observation, however, these systems were characterized by poor installation workmanship, and they tended to be older than the others.

The DOE2 model treats duct leakage as primary air delivered to and returning from unconditioned spaces such as attics and basements.  One third of the leakage was assigned to the unconditioned portion of the basement, and the remainder went to the first and second floor attic spaces.  This leakage air actually tends to cool these spaces slightly, and they are modeled as buffer zones so that return air from them approximates actual zone conditions.  In this way, the primary effects of both supply and return air leakage to these spaces are captured in the model.

The baseline model used 25% duct leakage, and this was reduced to 5% in the retrofit case.  This resulted in an estimated annual savings of 533 kWh, and a peak demand reduction of 0.42 kW.

In this analysis the inherent but small reduction in evaporator airflow was not modeled because an average value was not known.  Many systems with leaky ductwork also suffer from insufficient airflow.  In the New England study RLW found that 19 systems, or 79% of those with high duct leakage, also had low airflow below 350 CFM per ton.  Additionally, it was observed that 29% had a high blower motor power over 150 Watts per ton.  In practice, it is necessary to measure the existing system airflow and blower motor power to determine if these other two potential problems need to be corrected before duct sealing is attempted.

Proper Sizing of AC Systems – ID 6 and 7

An oversized system in this study is defined as having a rated cooling capacity greater than 100% of a valid Manual J cooling load estimate.  Based on an average Manual J estimate of capacity in terms of square feet per ton and the individually observed home sizes and installed capacities, about 80% of the AC systems of this study are oversized relative to this criterion.  Those that qualified as oversized had an average of 50% above the Manual J estimate.

The DOE2 models estimate the cooling system efficiency each hour as a function of a part load ratio.  This is the ratio of system load and cooling capacity, and the function is empirically designed to approximate the efficiency penalty due to system cycling.

In the baseline model for ID 6 the systems were oversized by about 1.4 tons, and the retrofit was sized to 100% of Manual J, while the airflow and duct sizing was maintained at 360 CFM per ton.  The rationale for maintaining this airflow rate is the probability that the same duct sizing practice is applied by the contractor independent of system size.  This would be applicable to new AC systems that are installed where there is no existing ductwork.  The estimated annual savings is 246 kWh, with a peak demand reduction of 0.30 kW.

On the other hand, if a new system is to be installed to replace an old system or with an existing forced air furnace that already has supply and return ductwork, the contractor may not install new ductwork.  In this scenario, ID 7, there is even more to gain by keeping the system size to a minimum.  This is due to the fact that the existing ductwork would be able to deliver the same airflow as before (which would become a proportionately higher CFM per ton) with the same fan power, thus reducing the system losses due to low airflow and excessive system cycling.

The retrofit DOE2 models for this case assume that the duct sizes, airflow rates, and fan static pressures remain unchanged.  Even though the fan power is not increased, the annual fan energy consumption increases due to the fact that the system operates for longer periods of time, and this is accounted for in the models.  The estimated annual savings for this scenario is 738 kWh, with a peak demand reduction of 0.78 kW.

The advantages of reducing system size are all positive as long as the system capacity is sufficient to maintain acceptable comfort conditions about 97.5% of the time (which are all but a few hours of the typical cooling season).  The smaller system will typically maintain better humidity control, last longer, make less noise, use less energy and cost less to install.

Most of the problems of low evaporator airflow in houses with evaporator coils added to existing forced air furnaces could be greatly reduced or avoided if the AC system is properly sized for the application.  In recent studies, about 70% of the systems that are oversized also have evaporator airflow below 350 CFM per ton.

Unfortunately, downsizing is not a viable option after the system has been installed.  Therefore, as an effective conservation program component, information and incentives will need to be presented to prospective participants before the fact.  Information and incentives should also be directed toward the contractors.

Addition of Duct Insulation – ID 8

It was observed that most ducts in the basements were not insulated, whereas nearly all ducts in the attics had at least one inch of insulation.  The only appreciable savings available would be due to the addition of another inch or two of insulation to exposed ducts in the attic.  Exact modeling of this was not within the scope of this project, but some assumptions were made regarding the duct heat gains due to conduction from a hot attic.

In the baseline DOE2 models it was assumed that 90% of the ducts were located in the attic and the product of U*A (i.e. thermal conduction coefficient times duct surface area) would be about 39, yielding an approximate peak air temperature rise of 1.0 degree Fahrenheit during the cooling cycle.  In the retrofit case this U*A value was reduced to about 16.  The estimated annual savings for this measure is 185 kWh, with a peak demand reduction of 0.16 kW.

High Efficiency SEER 16 AC in Gas Heated Homes – ID 9

Significant savings are potentially available for the installation of high efficiency AC systems instead of standard efficiency SEER 13 units.  In the existing home retrofit market this might be applied to homes with old existing systems that are at the end of their useful operating lifetimes and need to be replaced.  This might also apply to an existing home in which air conditioning was never before installed and the homeowner wants to install a new central AC system.

Modeling the unit savings for this measure was straightforward.  The baseline DOE2 model was assigned a rated efficiency of SEER 13, and the retrofit model used SEER 16.  All other conditions remained unchanged.  The estimated annual savings for this measure is 688 kWh, with a peak demand reduction of -0.18 kW.  The peak demand reduction is negative because a practical SEER 16 AC unit is achieved by applying a dual-speed compressor to an otherwise lower efficiency system.  RLW found that a combination of an SEER 11 system and a dual speed compressor would yield a system that would be ARI rated at about SEER 16.  The retrofit peak efficiency, however, is actually lower than the baseline peak efficiency.

High Efficiency SEER 16 Heat Pump – ID 10 and 11

As a retrofit measure the installation of a high efficiency heat pump might be an option for existing homes with old heat pumps or with electric resistance heat.

The base case model for an old heat pump replacement, ID 10, assumed the baseline replacement heat pump would have been an SEER 13 heat pump.  The retrofit model was similar to the SEER 16 AC, except it was equipped for reverse cycle operation.  Potential savings for this option are about 1006 kWh and -0.47 kW for the average home.

The base case models for an electric resistance heat system replacement, ID 11, assumed the replacement equipment would be same as above.  Potential savings calculated for this option were 3001 kWh and -0.54 kW.  Average savings for electric heated homes is much lower than anticipated due to the fact that the average electric strip heated home is more fully insulated, and the occupants are more frugal in their energy usage practices (due to excessively high heating costs).  Additionally, there may be some significant “takeback” behavior involved as homeowners perceive much lower heating bills and take some of the potential savings back in terms of increased comfort.

Add Attic Insulation – ID 12 and 13

Savings achievable for increasing attic insulation vary greatly with the amount of insulation already in place, as well as the amount of extra insulation added.  Whether this is cost effective depends more on the amount of existing insulation.  Two different baseline insulation values of R-7 and R-11 were assumed.  In both retrofit scenarios the final R-value was about R-30.  Addition of any more than this is typically not cost-effective.

In the first scenario, ID 12, the baseline models were given an attic insulation value of R-7 with a retrofit to R-30.  The calculated savings are 834 kWh and 0.48 kW.

In the second scenario, ID 13, the base case was R-11 and the retrofit was R-30.  Savings were estimated to be 503 kWh and 0.34 kW.

Add Wall Insulation – ID 14

Similar to attic insulation, achievable savings by increasing wall insulation vary greatly with the amount of insulation already in place, as well as the amount of extra insulation added.  Whether this is cost effective depends more on the amount of existing insulation.  RLW evaluated this measure with a baseline of no wall insulation, and added R-11 insulation to represent a realistic best-case scenario.

The calculated savings are 2517 kWh and 0.57 kW.  Due to the high cost of adding insulation to existing walls, however, the simple payback for this measure is relatively long at about 7 years.

Although the potential savings are high, the long payback suggests that it would not be cost-effective to insulate existing walls with some insulation already in place.  In fact, the existence of any batt insulation in existing walls renders it impractical to add more insulation by the normal method of blowing it through holes drilled into the stud cavities because the batts would tend to block the flow of new insulation in many places.

Add Insulation to Floor over Unheated Basement – ID 15

Most basements are enclosed by thick masonry foundation walls and have intimate contact with the earth.  As such, they are naturally cooled by relatively low ground temperatures typical of Missouri, where the averages are about 67 degrees Fahrenheit during the summer and about 43 during the winter.

As a result of the low ground temperatures, the savings are negative for most of the cooling season.  The base case for this measure assumed no insulation and the retrofit provided for the addition of R-19 to the floors over the basements.  Calculated savings are -225 kWh and -0.13 kW.  Due to differences in the costs of electricity and gas, the monetary savings from gas offset the increase in electricity usage, and the simple payback is about 7 years.

Reduce Infiltration by Caulking and Weatherstripping – ID 16

For this measure RLW assumed a baseline infiltration value of 0.8 ACH (Air Changes per Hour) and a retrofit of 0.35 ACH.  RLW learned from several studies in different parts of the country that the average home infiltration rate is about 0.5 ACH.  Calculated savings for weatherization measures are 1041 kWh, most of which is due to reduced heating requirements in electric heated homes, and 0.41 kW.

Add Storm Windows to Standard Single Pane Windows – ID 17

The average house in this study has about 200 square feet of window area.  Less than 1% of the windows in this study were triple pane, but another 2% were double pane with storm windows, thus with a triple pane effect.  About 69% were double pane windows and another 21% were single pane with storm windows, thus having a double pane effect.  The remaining 7% were bare single pane windows, but many of these are fitted with removable storm windows during the winter.  The overall average number of glass panes is 2.0, based on the study sample.

RLW used a typical single pane window with a U0 (thermal transmission coefficient) value of 1.09 and a SHGC (Solar Heat Gain Coefficient) of 0.81 for the base case, and applied storm windows in the retrofit case.  The retrofit window structure had a U0 of 0.46 and a SHGC of 0.76, and the estimated savings were 1002 kWh and 0.41 kW.

Replace Standard Single Pane Windows – ID 18

RLW used a typical single pane window with a U0 value of 1.09 and a SHGC of 0.81 for the base case, and applied a typical high performance double pane window in the retrofit case.  The retrofit window had a U0 of 0.40 and a SHGC of 0.55, and the estimated savings were 1102 kWh and 0.48 kW.

Replace Standard Double Pane Windows – ID 19

RLW used a typical double pane window with a U0 (thermal transmission coefficient) value of 0.48 and a SHGC (Solar Heat Gain Coefficient) of 0.70 for the base case, and applied a typical high performance double pane window in the retrofit case.  The retrofit window had a U0 of 0.40 and a SHGC of 0.55, and the estimated savings were 277 kWh and 0.16 kW.

Add Shading to East and West Facing Windows – ID 20 and 21

Although external window shading might be added to all four faces of a house, the east and west faces offer the greatest potential savings.  Also, to obtain maximum energy savings, the shade would have to be applied during the cooling season and removed during the heating season to avoid increasing the heating loads during the winter.

RLW considered and analyzed two different ways of shading east and west facing windows for this study, because one method will apply to some, while the other method is better for others.  Neither alternative will be applicable to homes with significant east and west shading from existing trees or other things.  To model these measures RLW removed all but about 10% of the external shading from the calibration models.

One practical method, ID 20, of shading windows from the exterior is the addition of solar screens that can be removed during the heating season.  To model this retrofit, RLW increased the calibrated model east and west building shade transmissivities from about 0.6 to about 0.9 for the base case and the U0 value from 0.8 to 0.7 for the period of June 1 to October 31.  To simulate the addition of solar screens, RLW reduces the SC of the east and west windows by half and the U0 value from 0.9 to 0.8 for July 1 through August 31.  Estimated savings for this scenario are 160 kWh, 0.66 kW.

The other (and more desirable from both an aesthetic and practical perspective) method is the planting of deciduous trees in strategic locations to the east and west of the house.  In this scenario, (ID 21) RLW assumed that three deciduous trees had been planted at about 20 feet from each side of the house (a total of six trees) to shade the windows as much as possible, and that they had grown to an effective height of 20 feet.  Their solar transmissivities were changed from 0.1 during the summer (June 1 through October 31) to 0.9 during the winter.  Resultant savings are 327 kWh, 0.13 kW.  As these trees continue to grow, the savings will increase.

Install Compact Fluorescent Lamps – ID 22

Field data from the site visits indicated that the average home had about 5% CFLs (Compact Fluorescent Lamps) by bulb count.  There is a high technical market potential for this measure.  In the impact analysis RLW assumed that each program participant would install and use an average of ten more 15 Watt CFLs in place of ten 60 Watt incandescent lamps, for a connected load reduction of about 450 Watts.

Lighting hourly usage patterns utilized in the models are based on actual measured hourly residential lighting usage patterns from a large number of long-term and short-term end-use studies.  Calculated savings amounted to 831 kWh and 0.09 kW.  The peak heating load was not measurably affected because it occurred during the night when the lights are not being used.

Notice that the peak kW savings was 0.09, or 40.5 Watts, whereas the reduction in connected load was 450 Watts.  This is due to natural diversity in the lighting usage patterns so that all ten of these lamps are never on at the same time.  These electric savings include both direct and indirect savings due to the reduction in internal heat gains that reduce the need for cooling.

Purchase Energy Star Labeled Refrigerator – ID 23 and 24

Two options for replacing an existing refrigerator with an Energy Star certified unit were examined in this study.  The first option assumes that an existing refrigerator is at the end of its functional life and the homeowner has already decided to replace it.  The other option examines the potential of enticing a homeowner to retire an existing refrigerator before the end of its functional life.

For the firs option, ID 23, it was assumed that a standard new refrigerator on the market today uses about 564 kWh per year, and an Energy Star refrigerator will use about 432 kWh per year (10% below the 2001 federal standard average of about 480).  The difference is 132 kWh per year.  This direct energy reduction was modeled into the retrofit DOE2 models, and the resultant total interactive net savings are 61 kWh and 0.01 kW.  Some secondary impacts are seen due to the fact that the refrigerator is in the conditioned spaces.  Gas heated homes realize the full operating reduction of 132 kWh, but electrically heated homes pay a heating penalty due to the fact that savings inside the house increase the need for heat in the winter.

The baseline for the second option, ID 24, was 850 kWh per year.  The resultant total interactive savings due to removal of this unit are 646 kWh and 0.08 kW.  In addition to interactive effects, it was assumed that the primary refrigerator will be used more, thus adding slightly to its annual kWh usage.

Purchase Energy Star Labeled Dishwasher – ID 25

An average new dishwasher uses about 121 kWh per year directly, and an equivalent Energy Star dishwasher will use about only about 78 kWh per year.  Estimated savings for a house with a weighted combination of electric and gas water heaters are 74 kWh and 0.06 kW, some of which is due to savings in electric hot water usage.

On the other hand, more substantial electric savings are possible if the water heater is electric.  In this scenario, the savings would be about 180 kWh per year and 0.13 kW peak demand.

Purchase Energy Star Labeled Clothes Washer – ID 26

Maximum electric savings for high efficiency clothes washers can be achieved if both the water heater and dryer are electric, although by far most of the savings is due to the dryer.  The most common Missouri home, however, uses natural gas for hot water.  A significant number of homes had electric dryers (88%) and about 26% had electric water heaters.

For the typical home, RLW estimated annual savings to be about 150 kWh and 0.11 kW.  The Energy Star clothes washer actually uses slightly more electric energy during the spin cycle to wring more water out, thus reducing the time required for drying, thus deducting from the overall savings attributed to electric water heating.

For the all-electric scenario, RLW estimated annual savings to be about 680 kWh and 0.5 kW.

Install Programmable Thermostat – ID 27

Less than half of the homes visited already had programmable thermostats.  The others either had manual thermostats or were not air-conditioned.  RLW modeled the potential impacts of programmable thermostats by increasing the cooling setpoints 3.75 degrees F and decreasing the heating setpoints by 3.75 degrees F daily from 8AM to 3PM.

For this scenario RLW estimated annual savings to be about 494 kWh and 0.06 kW.  Demand savings may actually be negative, depending upon the actual setback schedule, the building mass and a thermal flywheel effect that causes the system to run longer to “make up” for the hours during which it was set back.

Install Faucet Aerators – ID 28

It was found that about 60% of all single family detached homes in Missouri do not have a faucet aerator.  RLW estimated the impacts of these by assuming that one faucet aerator would be installed on the kitchen sink, and that the energy savings would occur through a reduction in the use of hot water.  The homes with gas water heaters will see no electric savings, but most of the homes in this study had electric water heaters.

The estimated savings for the typical home are 21 kWh and no measurable demand savings.  For the 26% of homes with electric water heaters, the annual electric savings would be about 92 kWh and no peak demand.  Actual demand savings may exist in some homes, but the schedule of kitchen faucet usage is small during the peak demand window.

Some homeowners may be willing to install and keep a faucet aerator in the bathroom.  Although savings for these are not well defined, RLW has previously estimated that they might achieve about one tenth to one third the savings of the kitchen aerator.  The reduced savings are, of course, due to the fact that the average bathroom sink utilizes significantly less hot water.

Install Low Flow Showerheads – ID 29

Field results of this study show that about 40% of all single-family detached homes in Missouri do not use a low flow showerhead.  RLW estimated the impacts of these by assuming that two low flow showerheads would be installed, and that the energy savings would occur through a reduction in the use of hot water.  Again, the most common water heater is gas fired.

The estimated savings for the typical home are 125 kWh per year, and demand savings are negligible.  For the 26% with electric water heaters the annual savings would be about 550 kWh and negligible coincident peak demand.

If there are more than two showers in a home, the low flow showerheads should be installed on the two most frequently used showers.  If more than two devices are installed in a single home, the savings for the third one will probably be significantly less than those of the first two, but it will depend on how much the showers are actually used.  On the other hand, if only one showerhead is installed because there is only one shower present, the savings for the one will probably be more than half the savings shown.

Insulate Hot Water Pipes – ID 30

All the audited homes of this study have hot water piping, but only portions of the pipes are easily accessible.  RLW estimated conservation impacts by assuming that the exposed pipes could be insulated, and that the energy savings would occur through a reduction in the hot water standby losses.  Again, the typical water heater is gas fired.

The estimated savings for the typical home are 61 kWh per year and negligible coincident peak demand.   For the 26% with electric water heaters the annual electric savings would be about 265 kWh and 0.04 kW peak demand.  Actual savings will vary significantly, depending on the amount and locations of exposed piping and the hot water usage patterns.

Insulate Electric Water Heater Storage Tanks – ID 31

RLW found that about 20% of the homes visited had electric water heaters that were not externally wrapped.  The estimated savings for the typical home are 194 kWh per year and 0.02kW.  Savings for this measure will vary with the ambient temperatures surrounding the hot water tank.

Insulate Gas Water Heater Storage Tanks – ID 32

RLW found that about 64% of the homes visited had gas water heaters that were not externally wrapped.  The estimated savings for the typical home are 19 Therms per year.  Savings for this measure will vary with the ambient temperatures surrounding the hot water tank.

## Technical Assessment of Program Market Potentials by Measure

### Preferred Energy Conservation Measures

RLW initially analyzed 32 potential home improvement options.  The 20 most promising measures, as ranked by annual electrical energy savings in MWh, offer the same potential savings as all 32 measures combined.  This is due to the presence of one measure that yielded significant natural gas savings but negative electrical energy savings.

Market potentials for all measures are shown in Table 145, with the top 20 highlighted.  These measures are ranked by their estimated Electric Savings Potential in MWh.  The base case situation is described in the third column, followed by seven columns of marketing metrics, all of which are defined in their respective column headings.

The market potentials of this study were calculated under the assumption that the program sponsors would identify appropriate measures for each home and would offer rebates of 50% of the differential costs for all measures.  Appropriate measures would include all existing situations that fall below the minimum thresholds of performance.

The last three rows of the table show sums for the first six columns and averages for the last column.  They are also self-explanatory.  Notice that the top 20 measures capture nearly 100% of the electric demand and energy savings available through all 32 measures, while capturing only 79.7% of the total potential gas savings and 88.3% of the customer fuel bill savings.  On the other hand, the rebate costs necessary to capture these are reduced significantly, to 79%, and the average program rebate costs are reduced from $0.066 to $0.051 dollars per kWh saved.  The two gray cells in the last column have no meaning because the electric energy savings are either zero or negative for those two measures.

Table 145: Market Potential Metrics for All 32 Measures

## Calculation of Market Potentials

The realizable market potential of a measure may be defined to represent the extent to which a measure might actually be applied annually throughout the state over a reasonable period of time, which can be 5 to 10 years of full implementation of a well-designed conservation program.

Statewide market potentials for each measure were calculated by multiplying together the individual savings per measure, the realizable market potentials in terms of percentages, and the total current number of single-family detached homes throughout the state.  These realizable potential savings are presented in terms of a) total electric demand in megawatts, b) electric energy savings in megawatt-hours, c) natural gas in kilotherms and d) thousands of dollars.  Effects of possible population growth over the projected time period were not considered in this analysis.

Figure 12 below shows a general market potential schematic.  Moving from left to right, the “Technical Potential” for the intended program or measure can be defined as the percentage of all targeted customers who are eligible for the program. The “Raw Economic Potential” reflects the percentage of eligible homes in which the measure can be economically applied.

The expected actual penetration rates under different program scenarios, or the “Market Potential”, involves the estimation of how many customers would participate in a specific program over a given time period.  That is, the “Market Potential” indicates the percentage of targeted homes that would install the measures delivered by well-defined and aggressively executed programs.  The values, of course, depend on the measures, the length of time the program is offered, the specific markets, numbers of customers targeted, and finally the level of subsidy (if any).

Figure 12: Market Potential Schematic

This measure potential schematic can be applied to the residential population of Missouri as follows:

- The “Technical Potential” is the total number of single-family detached homes in Illinois that are eligible for each measure type.  Using deciduous shade trees as an example, the “Technical Potential” for this study is the percentage of all single-family detached residential customers who have air-conditioned homes and have space in their yards to plant trees on the east and west sides of their houses.  Homes that are not air-conditioned will not be eligible for this measure because there would be no basis for obtaining energy savings.

- The “Raw Economic Potential” was determined through analysis of the in-home audits to assess what percent of qualified customers could achieve savings through installation of the measure within the realm of economic feasibility.  For example, it would not be economically feasible for a homeowner to replace existing double pane windows with higher performance windows solely for the purpose of saving energy, even though the home is technically eligible.  The total cost of replacing windows is far too great to incur on these terms alone.  If, however, the windows need to be replaced for other reasons (such as excessive age and unacceptably poor condition) the much smaller differential cost of choosing high performance windows over standard windows is economically feasible from an energy savings perspective.

- The final “Market Potential” was estimated through existing utility research and past participation rates in other programs.

Table 146 below lists the 32 measures that were analyzed in this study, which shows ID numbers, their potential situations, improvement options, and three columns of market potential estimates.  The “Technical Potential (% of Homes that Qualify)” is the “Technical Potential” previously described.  The last column, “Raw Economic Potential (% of Population)” is the previously defined “Raw Economic Potential”.  It is simply the product of the “Technical Potential (% of Homes that Qualify)” and the “Economically Feasible (% of Technical Potential)”.

Table 146: Technical and Raw Economic Market Potentials for Preferred Measures

The final “Market Potential” estimates of this study are based partly on historical penetrations of existing programs in other states and partly on an analytical model designed to utilize the differential costs and simple payback periods calculated for each measure.  A qualitative adjustment aimed at accounting for known (non-economic) market barriers was also included in the model.

Table 147 shows the results of the market analyses for the program measures included in this study.  The “Quantity” column shows the quantity of each item that was modeled in the impact analysis and used as a basis for estimating the associated differential installed cost of each measure.  Payback is the simple customer installed costs to annual savings before any rebate is taken (these values are reduced by 50% in the economic model with a 50% rebate).  Differential cost is the cost or differential cost of installing the measure, depending on which is appropriate.  For example, if the homeowner has to choose between installing a measure or not installing it, the cost is total installed cost.  On the other hand, if the choice is between a standard efficiency unit and a high efficiency unit, the applicable cost is the differential cost between the two options.

“Raw Economic Potential %” is the same as that shown in Table 146 under “Raw Economic Potential (% of Population)”.  The qualitative “Market Barrier Factor” is shown in the next column of the table.  The column labeled “Annual Market Capture %” shows the results of the analytical model previously mentioned.  It represents the probability that a given measure will be adopted based solely on its installed cost, simple payback, and market barrier factor.  In the model this probability is inversely proportional to the installed cost, the simple payback and the market barrier factor.  First cost was assigned an importance equal to three times that of the payback period.

The market barrier factor captures the effects of known non-economic market barriers by using a discreet value of 1, 2 or 3.  A 1 will indicate little or no known barriers exist, a 2 will indicate average barriers and a 3 will indicate the existence of formidable barriers.  For example, ID 21 represents the option of adding solar screens to the east and west facing windows for shading.  This option was assigned a market barrier factor of 3 because major non-economic market barriers here are the diminished appearance of the home perceived by most homeowners, and the fact that they have to be removed and replaced each year to achieve their potential savings.

The analytical model also includes a scaling constant to permit calibration of the model to known conservation program results.  Annual market penetrations expressed as percentages were found for recent programs throughout the country for several of the measures, including high performance windows, compact fluorescent light bulbs, and Energy Star refrigerators, dishwashers and clothes washers.  The analytical model was calibrated by iteratively adjusting the scaling factor until the model agreed with the average of the percentages of these existing programs.

Table 147: Market Potential Summary for the Preferred Measures

The “Yearly Realizable Potential %” column shows the actual estimated “Market Potential” for each measure.  It is the product of the “Raw Economic Potential %” and the “Annual Market Capture %”.

One measure was analyzed with multiple retrofit options that represent different improvement choices.  Two window shading options, ID 20 and 21, were analyzed to represent different possible homeowner choices.  For a single house, however, only one option can be applied.  Each option was assigned a special market fraction of 0.5 in the model.  This was necessary to avoid double counting of the annual statewide savings when they are summed across all the measures and options.

The preferred measures highlighted in the previous tables were based on the 20 measures that yielded the most electrical energy savings.  These were all estimated assuming a 50% rebate to encourage adoption.  The next table, Table 148, shows how the metrics for the top 20 electric energy savings measures might vary with rebate percentage, where the rebates are used to “buy down” the costs of installing these measures.  Savings are expressed in summer coincident demand (MW-S), GigaWatt-hours per year (GWh) and millions of Therms of gas savings per year (MTherms).

Statewide savings in millions of dollars are shown, followed by total rebate expenses for each rebate level.  Then the normalized savings in terms of rebate costs per customer dollar saved for the first year and for ten years levelized.

Table 148: Top 20 Measures Ranked by GWh vs. Rebate %

For comparison purposes RLW also ranked these 32 measures by increasing first year rebate dollars per kWh saved.  The results for the new top 20 measures are shown in the next table.  The interesting result of this table is the last two rows, which show that this ranking method optimizes the market capture achievable with rebate money.  With rebates set at 50%, it will take only $42 million to obtain nearly the same savings as before, which required $58 million, and the levelized rebate costs per kWh saved is reduced from $0.051 to $0.034.

Table 149: New Top 20 Measures Ranked by $/kWh vs. Rebate %

In fact, the last row shows that rebates may be increased to 75%, with a potential savings of 271 GWh (32% more savings than the previous 50% rebate level) for the same cost of $0.051 million per kWh saved.

The next table, Table 150, shows the measures ranked by rebate dollars per kWh saved ($/kWh), with the new top 20 measures highlighted, and summary statistics in the last three rows.  This shows that over 90% of the total electric energy savings may be achieved at a rebate cost of only $42.3 million, and at a levelized cost of only $0.34 dollars per kWh saved.

ID

Potential Situation

Count

MW-S

MWh

kTherms

k$

k$

$/kWh

24

Refrigerator early retirement

16884

1.4

10,903

-157

$645

$422

$0.04

4

Low evaporator airflow B

19305

10.8

12,171

1,030

$2,046

$965

$0.08

29

No low flow shower heads

83691

0.0

10,451

1,770

$2,730

$837

$0.08

22

No Compact Fluorescent Lamps

30221

2.7

25,102

-421

$1,420

$2,267

$0.09

7

Oversized AC units B

1758

1.4

1,298

0

$97

$184

$0.14

31

Electric water heater not wrapped

39603

0.2

7,678

0

$576

$1,188

$0.15

18

Single pane windows B

1067

0.5

1,175

115

$214

$187

$0.16

28

No faucet aerators

105451

0.0

2,195

372

$573

$422

$0.19

27

No programmable thermostat

94622

5.5

46,774

1,682

$5,359

$9,462

$0.20

16

House infiltration = 0.8 ACH

37545

15.3

39,071

6,153

$9,699

$9,386

$0.24

1

AC Refrigerant under charged

15621

1.7

7,003

0

$525

$1,953

$0.28

10

Home has 13 SEER heat pump

84

0.0

85

0

$6

$32

$0.37

2

AC Refrigerant over charged

16340

1.6

1,641

0

$123

$817

$0.50

17

Single pane windows A

3425

1.4

3,433

492

$799

$1,747

$0.51

5

High duct leakage (25%)

14342

6.0

7,641

942

$1,610

$4,303

$0.56

9

Gas heat and 13 SEER AC

879

-0.2

605

0

$45

$369

$0.61

3

Low evaporator airflow A

10703

8.0

8,105

480

$1,136

$5,084

$0.63

12

Attic insulation = R-7

2856

1.4

2,381

219

$419

$1,511

$0.63

6

Oversized AC units A

134

0.0

33

0

$2

$21

$0.64

19

Standard double pane windows

6521

1.1

1,803

5

$141

$1,164

$0.65

14

Exposed walls not insulated

2597

1.5

6,537

731

$1,294

$4,544

$0.70

30

Hot water pipes not insulated

103711

0.0

6,298

1,066

$1,645

$4,926

$0.78

11

Home has electric strip heat

51

0.0

152

0

$11

$122

$0.80

13

Attic insulation = R-11

2383

0.8

1,199

109

$209

$964

$0.80

25

Dishwasher to be replaced

29821

1.8

2,196

97

$271

$2,237

$1.02

26

Clothes washer to be replaced

10088

1.1

1,508

164

$293

$2,018

$1.34

20

No E & W window shading A

21256

7.0

1,696

0

$127

$2,742

$1.62

8

One inch insul. on ducts in attic

4103

0.7

758

190

$266

$1,231

$1.62

23

Refrigerator needs to be replaced

9543

0.1

585

-7

$36

$954

$1.63

21

No E & W window shading B

7789

0.5

1,273

0

$95

$3,505

$2.75

32

Gas water heater not wrapped

79181

0.0

0

1,504

$1,655

$2,375

15

Floor over basement not insulated

27866

-3.6

-6,261

1,810

$1,521

$5,479

Sums and Average, All Measures

799,442

68.5

205,488

18,345

$35,592

$73,418

$0.66

Sums and Average, Top 20

501,054

58.7

189,548

12,682

$28,167

$42,321

$0.34

Top 20 Percent of All

62.7%

85.6%

92.2%

69.1%

79.1%

57.6%

51.1%

Utility

Rebate

Costs

Electric

Energy

Savings

Annual

Fuel

Savings

Potential

Installs Per

Year

Electric

Savings

Potential

Gas Savings

Potential

Demand

Savings

Potential

Table 150: Measures Ranked By Rebate $/kWh, Highlighting Top 20

## References

These are the studies referenced in the potential analyses:

RLW Analytics. “Illinois Statewide Residential Assessment”, for the Midwest Energy Efficiency Alliance; sponsored by the Illinois Clean Energy Community Trust, 2003.

Midwest Energy Efficiency Alliance. “Midwest Residential Market Assessment and DSM Potential Study”, sponsored by XCEL Energy, 2006.

RLW Analytics. “Market Research for the Rhode Island, Massachusetts, and Connecticut Residential HVAC Market”, for National Grid USA, Northeast Utilities, NSTAR Electric and Gas, Fitchburg Gas and Electric Light Company, and United Illuminating Company, December 2002.

“CFL Metering Study,” KEMA. 2005

U.S. Census Bureau, Current Housing Reports, Series H170/02-27, American Housing Survey for the Kansas City Metropolitan Area: 2002; U.S. Census Bureau, Current Housing Reports, Series H170/04-59, American Housing Survey for the St. Louis Metropolitan Area: 2004.

A few homes were found to be vacant after the surveyor went to the site.

For a complete list and definition of lamp and fixture types refer to the Appendix.

TMY2 weather data, used throughout the world, have been derived from actual NOAA (National Oceanic and Atmospheric Administration) hourly measured data through an elaborate statistical and analytical procedure aimed at identifying the most typical of each of 12 months of weather from 50 years of historical data, and combining these 12 months from different years to create a “Typical Meteorological Year”.

That is, the monthly meter readings are recast to change actual meter readings into the appropriate “calendar” month consumption.   This ensures billing data across all the sites are properly lined up for averaging.  For example, a home that receives a meter reading on the 20th of the month would have those 20 days of the billed kWh allocated to that month, and the remainder would be taken from the following month.  This puts all customer monthly kWh usage on the same billing cycle, corresponding to the calendar months.

Final Market Potential Report Of Massachusetts Owner Occupied 1-4 Unit Dwellings, July, 2006; Prepared for Bay State Gas, Berkshire Gas, Cape Light Compact, KeySpan Energy Delivery, Massachusetts Electric/Nantucket Electric, NSTAR Electric and Gas Corporation, Unitil/Fitchburg Gas & Electric, New England Gas Company, and Northeast Utilities/Western Massachusetts Electric.

That is, the amount of sunlight that is still able to penetrate past the leaf cover of a tree.

The effect on energy usage is even smaller due to offsetting effects of fan power and system efficiency.

In previous market assessment and market potential studies done by RLW, we have found that after other barriers are diminished or eliminated, first cost continues to remain as the primary barrier.