Before the Public Service Commission

Of the State of Missouri

| Director of the Manufactured Housing and Modular Units Program of the Public Service Commission, Complainant, v. Coachman Homes of Eureka, Inc., d/b/a Coachman Homes of Eureka, Inc. Respondent. | )))))))))))) | Case No. MC-2004-0271 |
| --- | --- | --- |

ELEVENTH STATUS REPORT

COMES NOW the Director of the Manufactured Housing and Modular Units Program of the Public Service Commission (“Director,” “Commission”), by and through counsel, and for its response to the Commission’s Order Directing Notice to Homeowners of August 17, 2004 and Notice of Complaint Involving Manufactured Housing Setup Contractor and Order Directing Filing of October 13, 2004, states the following:

1.	On August 27, 2004, the Director sent notices to 124 homeowners identified in the list filed on July 28, 2004, by Coachman Homes of Eureka, Inc., (Coachman).

2.	Twenty-eight responses were received and out of those responses, 27 homeowners have requested an inspection of their manufactured home.

3.	Staff and Coachman performed 27 inspections, and it has been determined that 26 of those inspections revealed deficiencies in the anchoring and tie down of those homes.  The deficiencies observed include the use of improper anchors for soil type, inadequate strapping and improper placement and number of anchors for the home.

4.	Coachman has repaired all of the homes identified as needing repair.

5.  	A new title for the Hatfield manufactured home was obtained and Coachman is in the process of removing said home.  Removal is scheduled to be completed by the end of February.

WHEREFORE, the Director of the Manufactured Housing and Modular Units Program of the Public Service Commission hereby respectfully submits this status report.

Respectfully submitted,

DANA K. JOYCE

General Counsel

/s/ Mary E. Weston

Mary Weston

Assistant General Counsel

Missouri Bar No. 54669

Attorney for the Director of the Manufactured Housing and Modular Units Program of the Missouri Public Service Commission

P. O. Box 360

Jefferson City, MO 65102

(573) 751-6726

(573) 751- 9285 (Fax)

mary.weston@psc.mo.gov

# Certificate of Service

I hereby certify that copies of the foregoing have been mailed, hand-delivered, transmitted by facsimile or electronically mailed to all counsel of record this 15th day of February 2005.

/s/ Mary E. Weston