## Tariff Rate
The Empire District Electric Company (d.b.a. Liberty)
Net Metering Rate Calculation
January 2021
Line No. | Description: |  | Summer | Winter | Source
1. | Avoided Energy Cost |  | 0.023027 | 0.024421 | Calculation derived from Prosym Model Data
2. | Transmission Loss Factor |  | 1.021 | 1.021 | 2018 Loss Study (2017 Data) performed pursuant to 20 CSR 4240-20.090(13).
3. | Net Metering Purchase Rate |  | 0.023511 | 0.024934 | Calculated: Line 1 * Line 2
4. | Summer / Winter Differential |  | -5.707%
Note: | Costs are averaged for 2021-2022 cost years.
Note: | The Summer period is the four months of June through September.
Note: | The Winter period is the remaining eight months.
Average Marginal Costs
|  | 2021 |  |  | 2022
| SUMMER | Avg Marg $ | Hours |  | Avg Marg $ | Hours
| Average Marginal Costs On-Peak | 20.9451 | 1744 |  | 21.219 | 1760
| Average Marginal Costs Off-Peak | 24.7494 | 1928 |  | 24.8549 | 1912
|  |  | 3672 |  |  | 3672
WINTER
| Average Marginal Costs On-Peak | 22.1538 | 2432 |  | 22.7581 | 2400
| Average Marginal Costs Off-Peak | 25.9281 | 2656 |  | 26.4682 | 2688
|  |  | 5088 |  |  | 5088
AVOIDED ENERGY COST
( Marginal cost *on-peak/off-peak hours ) / total hours
| SUMMER | 2021 |  |  | 2022
| On-Peak | 9.9478 |  |  | 10.1703
| Off-Peak | 12.9948 |  |  | 12.9419 |  | 2021-2022 Average
|  | 22.9426 |  |  | 23.1122 |  | 23.0274
| WINTER | 2021 |  |  | 2022
| On-Peak | 10.5892 |  |  | 10.7349
| Off-Peak | 13.5348 |  |  | 13.9832 |  | 2021-2022 Average
|  | 24.124 |  |  | 24.7181 |  | 24.4211

## Marginal Cost Summary
Assumptions
*Winter months are January-April, October - December
*Summer months are May-September
*On peak hours are M-F 06:00-22:00
*Off peak hours are M-F 00:00-06:00, 22:00-24:00 and weekends
Average Marginal Costs $/Mwh
Year | Annual Avg Marg Cost | Summer On-Peak Avg Marg Cost | Summer Off-Peak Avg Marg Cost | Winter On-Peak Avg Marg Cost | Winter Off-Peak Avg Marg Cost
2021 | Month | 20.9451 | 24.7494 | 22.1538 | 25.9281
2022 | 12 | 21.219 | 24.8549 | 22.7581 | 26.4682
2023 | 12 | 20.9394 | 24.6054 | 22.7569 | 26.5252
2024 | 12 | 21.2407 | 24.888 | 22.9488 | 26.7025
2025 | 12 | 21.5476 | 25.2174 | 23.4533 | 27.263
2026 | 12 | 22.2726 | 26.1633 | 24.2926 | 28.1636
2021
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1744 | 19.91% | 20.9451
Summer Off-Peak |  | 1928 | 22.01% | 24.7494
Total Summer |  | 3672 | 41.92% | 6
Winter On-Peak |  | 2432 | 27.76% | 22.1538
Winter Off-Peak |  | 2656 | 30.32% | 25.9281
Total Winter |  | 5088 | 58.08% | 6
Total |  | 8760 | 100% | Month
2022
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1760 | 20.09% | 21.219
Summer Off-Peak |  | 1912 | 21.83% | 24.8549
Total Summer |  | 3672 | 41.92% | 6
Winter On-Peak |  | 2400 | 27.4% | 22.7581
Winter Off-Peak |  | 2688 | 30.68% | 26.4682
Total Winter |  | 5088 | 58.08% | 6
Total |  | 8760 | 100% | 12
2023
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1760 | 20.09% | 20.9394
Summer Off-Peak |  | 1912 | 21.83% | 24.6054
Total Summer |  | 3672 | 41.92% | 6
Winter On-Peak |  | 2400 | 27.4% | 22.7569
Winter Off-Peak |  | 2688 | 30.68% | 26.5252
Total Winter |  | 5088 | 58.08% | 6
Total |  | 8760 | 100% | 12
2024
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1744 | 19.91% | 21.2407
Summer Off-Peak |  | 1928 | 22.01% | 24.888
Total Summer |  | 3672 | 41.92% | 6
Winter On-Peak |  | 2448 | 27.95% | 22.9488
Winter Off-Peak |  | 2664 | 30.41% | 26.7025
Total Winter |  | 5112 | 58.36% | 6
Total |  | 8784 | 100.3% | 12
2025
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1744 | 19.91% | 21.5476
Summer Off-Peak |  | 1928 | 22.01% | 25.2174
Total Summer |  | 3672 | 41.92% | 6
Winter On-Peak |  | 2432 | 27.76% | 23.4533
Winter Off-Peak |  | 2656 | 30.32% | 27.263
Total Winter |  | 5088 | 58.08% | 6
Total |  | 8760 | 100% | 12
2026
|  | Total | % of | Average
Period |  | Hours | Hours | Marg Cost
Summer On-Peak |  | 1744 | 19.91% | 22.2726
Summer Off-Peak |  | 1928 | 22.01% | 26.1633
Total Summer |  | 3672 | 41.92% | 6
Winter On-Peak |  | 2432 | 27.76% | 24.2926
Winter Off-Peak |  | 2656 | 30.32% | 28.1636
Total Winter |  | 5088 | 58.08% | 6
Total |  | 8760 | 100% | 12

## Price Pivot
|  | Data |  |  |  | Annual Avg Marg Cost | Summer On-Peak Avg Marg Cost | Summer Off-Peak Avg Marg Cost | Winter On-Peak Avg Marg Cost | Winter Off-Peak Avg Marg Cost
Year | Month | Average of Load Wt Price ($/MWh) | Average of Off-Peak Price ($/MWh) | Average of On-Peak Price ($/MWh)
2021 |  | 25.4746 | 21.7785 | 28.4137
| 1 | 26.7688 | 24.5294 | 29.1928 | 2021 | Month | 20.9451 | 24.7494 | 22.1538 | 25.9281
| 2 | 24.8494 | 22.1407 | 27.225 | 2022 | 12 | 21.219 | 24.8549 | 22.7581 | 26.4682
| 3 | 27.5168 | 24.2202 | 30.0916 | 2023 | 12 | 20.9394 | 24.6054 | 22.7569 | 26.5252
| 4 | 24.453 | 20.3667 | 27.804 | 2024 | 12 | 21.2407 | 24.888 | 22.9488 | 26.7025
| 5 | 25.8351 | 23.0872 | 28.0449 | 2025 | 12 | 21.5476 | 25.2174 | 23.4533 | 27.263
| 6 | 22.6626 | 18.2034 | 25.5266 | 2026 | 12 | 22.2726 | 26.1633 | 24.2926 | 28.1636
| 7 | 24.9258 | 20.8015 | 28.138
| 8 | 25.8704 | 22.2666 | 28.3149
| 9 | 26.4016 | 20.0541 | 30.8442
| 10 | 23.8701 | 19.6695 | 27.7673
| 11 | 26.6154 | 22.6843 | 29.9677
| 12 | 25.9262 | 23.318 | 28.0475
2022 |  | 25.8815 | 22.2826 | 28.7733
| 1 | 28.0609 | 25.8187 | 30.4087
| 2 | 25.4958 | 22.798 | 27.949
| 3 | 27.5425 | 24.2315 | 30.0736
| 4 | 24.1573 | 20.5607 | 27.3794
| 5 | 26.0593 | 22.9685 | 28.3446
| 6 | 22.8993 | 18.8628 | 25.4437
| 7 | 24.9447 | 21.1023 | 28.2534
| 8 | 26.2141 | 22.6008 | 28.4554
| 9 | 26.7557 | 21.0021 | 30.7601
| 10 | 24.6042 | 20.0204 | 28.8094
| 11 | 26.9369 | 23.1531 | 30.2081
| 12 | 26.907 | 24.2717 | 29.1937
2023 |  | 25.7337 | 22.0983 | 28.691
| 1 | 27.8799 | 25.0679 | 30.4956
| 2 | 25.711 | 23.4088 | 27.734
| 3 | 27.5201 | 24.0861 | 30.2772
| 4 | 23.4323 | 20.221 | 26.5481
| 5 | 26.1274 | 22.7298 | 28.7612
| 6 | 22.8863 | 18.8922 | 25.463
| 7 | 24.5104 | 20.5292 | 27.9109
| 8 | 26.0709 | 22.3251 | 28.4371
| 9 | 27.4599 | 21.8383 | 31.6339
| 10 | 24.1619 | 19.3675 | 28.2572
| 11 | 27.21 | 23.4316 | 30.3615
| 12 | 25.8345 | 23.2825 | 28.413
2024 |  | 25.972 | 22.355 | 28.8807
| 1 | 28.212 | 25.4368 | 30.6326
| 2 | 25.5691 | 23.3601 | 27.3521
| 3 | 27.9151 | 24.5647 | 31.1495
| 4 | 24.2476 | 20.61 | 27.1963
| 5 | 26.4265 | 22.9653 | 29.0979
| 6 | 22.742 | 19.1521 | 25.5915
| 7 | 24.825 | 20.6542 | 27.7775
| 8 | 26.1988 | 22.8218 | 28.6414
| 9 | 27.4344 | 21.2979 | 31.6667
| 10 | 24.3495 | 19.6811 | 27.994
| 11 | 27.4654 | 23.9459 | 30.7459
| 12 | 26.2785 | 23.7703 | 28.7232
2025 |  | 26.4607 | 22.7944 | 29.4031
| 1 | 29.0019 | 26.258 | 31.3791
| 2 | 26.0064 | 23.8841 | 27.8787
| 3 | 27.8997 | 24.6087 | 31.0691
| 4 | 24.1955 | 20.477 | 27.2131
| 5 | 26.5735 | 23.1279 | 29.4702
| 6 | 23.2496 | 19.5267 | 25.9812
| 7 | 25.1601 | 20.8801 | 28.1954
| 8 | 26.908 | 23.7263 | 29.3255
| 9 | 28.1525 | 21.4021 | 32.528
| 10 | 25.2064 | 20.4567 | 28.9066
| 11 | 28.1135 | 24.769 | 31.5172
| 12 | 27.0616 | 24.4163 | 29.3729
2026 |  | 27.3627 | 23.565 | 30.3714
| 1 | 29.3095 | 26.6421 | 31.9462
| 2 | 26.768 | 24.3228 | 28.9454
| 3 | 28.8903 | 25.6351 | 31.664
| 4 | 24.7739 | 20.8293 | 27.9872
| 5 | 27.31 | 24.0078 | 30.0941
| 6 | 24.0475 | 19.726 | 26.7023
| 7 | 26.64 | 22.2032 | 29.8099
| 8 | 28.0451 | 24.5969 | 30.5174
| 9 | 29.1131 | 22.472 | 33.4998
| 10 | 26.8472 | 22.6326 | 30.4318
| 11 | 28.8547 | 24.7783 | 32.753
| 12 | 27.7534 | 24.934 | 30.1059
Total Result |  | 26.1475 | 22.479 | 29.0889

## Price Data
Scenario | RunID | BA | Area | Year | Month | Peak (MW) | Capacity (MW) | Firm Capacity (MW) | Reserve Margin (%) | Load Factor (%) | Energy (GWh) | Sales (GWh) | Purchases (GWh) | Net Generation (GWh) | Total Production Cost ($000) | Profitability ($000) | Average Production Cost ($/MWh) | Load Wt Price ($/MWh) | Optimized Production Cost ($000) | Energy Market Cost ($000) | RTC Price ($/MWh) | On-Peak Price ($/MWh) | Off-Peak Price ($/MWh) | Non-Spin Price ($/MWh) | Spin Price ($/MWh) | Reg Up Price ($/MWh) | Reg Down Price ($/MWh) | Supp Up Price ($/MWh) | Supp Down Price ($/MWh) | LOLH (hours) | LOLE (days) | EUE (MWh) | Curtailed (MWh) | Peak After EE (MW) | Peak After Solar (MW) | Peak After Batteries (MW)
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 1 | 1126.082 | 0 | 0 | -100 | 61.2158 | 512.8691 | 0 | 512.8691 | 0 | 0 | 0 |  | 26.7688 | 0 | 0 | 26.6355 | 29.1928 | 24.5294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1126.082 | 1126.082 | 1126.082
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 2 | 1028.906 | 0 | 0 | -100 | 62.1592 | 429.7843 | 0 | 429.7843 | 0 | 0 | 0 |  | 24.8494 | 0 | 0 | 24.5618 | 27.225 | 22.1407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1028.906 | 1028.906 | 1028.906
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 3 | 868.2698 | 0 | 0 | -100 | 64.3719 | 415.8381 | 0 | 415.8381 | 0 | 0 | 0 |  | 27.5168 | 0 | 0 | 27.1243 | 30.0916 | 24.2202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 868.2698 | 868.2698 | 868.2698
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 4 | 671.79 | 0 | 0 | -100 | 73.2879 | 354.4852 | 0 | 354.4852 | 0 | 0 | 0 |  | 24.453 | 0 | 0 | 24.0027 | 27.804 | 20.3667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 671.79 | 671.79 | 671.79
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 5 | 775.5514 | 0 | 0 | -100 | 65.0866 | 375.5562 | 0 | 375.5562 | 0 | 0 | 0 |  | 25.8351 | 0 | 0 | 25.3262 | 28.0449 | 23.0872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 775.5514 | 775.5514 | 775.5514
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 6 | 995.5994 | 0 | 0 | -100 | 61.6314 | 441.7932 | 0 | 441.7932 | 0 | 0 | 0 |  | 22.6626 | 0 | 0 | 21.7836 | 25.5266 | 18.2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 995.5994 | 995.5994 | 995.5994
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 7 | 1060.968 | 0 | 0 | -100 | 62.9964 | 497.2685 | 0 | 497.2685 | 0 | 0 | 0 |  | 24.9258 | 0 | 0 | 24.2725 | 28.138 | 20.8015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1060.968 | 1060.968 | 1060.968
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 8 | 1056.795 | 0 | 0 | -100 | 61.6366 | 484.6213 | 0 | 484.6213 | 0 | 0 | 0 |  | 25.8704 | 0 | 0 | 25.1282 | 28.3149 | 22.2666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1056.795 | 1056.795 | 1056.795
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 9 | 961.281 | 0 | 0 | -100 | 57.5413 | 398.2561 | 0 | 398.2561 | 0 | 0 | 0 |  | 26.4016 | 0 | 0 | 25.3292 | 30.8442 | 20.0541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 961.281 | 961.281 | 961.281
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 10 | 793.76 | 0 | 0 | -100 | 62.558 | 369.441 | 0 | 369.441 | 0 | 0 | 0 |  | 23.8701 | 0 | 0 | 23.3266 | 27.7673 | 19.6695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 793.76 | 793.76 | 793.76
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 11 | 841.1653 | 0 | 0 | -100 | 66.1263 | 400.4867 | 0 | 400.4867 | 0 | 0 | 0 |  | 26.6154 | 0 | 0 | 26.2451 | 29.9677 | 22.6843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 841.1653 | 841.1653 | 841.1653
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 12 | 941.9561 | 0 | 0 | -100 | 70.0978 | 491.2563 | 0 | 491.2563 | 0 | 0 | 0 |  | 25.9262 | 0 | 0 | 25.6573 | 28.0475 | 23.318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 941.9561 | 941.9561 | 941.9561
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 1 | 1141.749 | 0 | 0 | -100 | 61.0346 | 518.465 | 0 | 518.465 | 0 | 0 | 0 |  | 28.0609 | 0 | 0 | 27.8916 | 30.4087 | 25.8187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.749 | 1141.749 | 1141.749
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 2 | 1043.494 | 0 | 0 | -100 | 61.9463 | 434.385 | 0 | 434.385 | 0 | 0 | 0 |  | 25.4958 | 0 | 0 | 25.2509 | 27.949 | 22.798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1043.494 | 1043.494 | 1043.494
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 3 | 880.6046 | 0 | 0 | -100 | 64.0594 | 419.6982 | 0 | 419.6982 | 0 | 0 | 0 |  | 27.5425 | 0 | 0 | 27.1211 | 30.0736 | 24.2315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.6046 | 880.6046 | 880.6046
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 4 | 684.78 | 0 | 0 | -100 | 72.5247 | 357.577 | 0 | 357.577 | 0 | 0 | 0 |  | 24.1573 | 0 | 0 | 23.7428 | 27.3794 | 20.5607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 684.78 | 684.78 | 684.78
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 5 | 785.5479 | 0 | 0 | -100 | 64.782 | 378.617 | 0 | 378.617 | 0 | 0 | 0 |  | 26.0593 | 0 | 0 | 25.512 | 28.3446 | 22.9685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 785.5479 | 785.5479 | 785.5479
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 6 | 1005.799 | 0 | 0 | -100 | 61.4806 | 445.2273 | 0 | 445.2273 | 0 | 0 | 0 |  | 22.8993 | 0 | 0 | 22.0801 | 25.4437 | 18.8628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1005.799 | 1005.799 | 1005.799
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 7 | 1069.452 | 0 | 0 | -100 | 62.6569 | 498.5433 | 0 | 498.5433 | 0 | 0 | 0 |  | 24.9447 | 0 | 0 | 24.3318 | 28.2534 | 21.1023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1069.452 | 1069.452 | 1069.452
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 8 | 1065.684 | 0 | 0 | -100 | 61.2665 | 485.7628 | 0 | 485.7628 | 0 | 0 | 0 |  | 26.2141 | 0 | 0 | 25.4966 | 28.4554 | 22.6008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1065.684 | 1065.684 | 1065.684
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 9 | 970.4773 | 0 | 0 | -100 | 57.0965 | 398.9584 | 0 | 398.9584 | 0 | 0 | 0 |  | 26.7557 | 0 | 0 | 25.7727 | 30.7601 | 21.0021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 970.4773 | 970.4773 | 970.4773
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 10 | 803.84 | 0 | 0 | -100 | 61.9935 | 370.7564 | 0 | 370.7564 | 0 | 0 | 0 |  | 24.6042 | 0 | 0 | 23.9896 | 28.8094 | 20.0204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 803.84 | 803.84 | 803.84
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 11 | 850.2451 | 0 | 0 | -100 | 65.7451 | 402.476 | 0 | 402.476 | 0 | 0 | 0 |  | 26.9369 | 0 | 0 | 26.6022 | 30.2081 | 23.1531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 850.2451 | 850.2451 | 850.2451
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 12 | 952.5375 | 0 | 0 | -100 | 69.7241 | 494.1266 | 0 | 494.1266 | 0 | 0 | 0 |  | 26.907 | 0 | 0 | 26.6004 | 29.1937 | 24.2717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 952.5375 | 952.5375 | 952.5375
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 1 | 1152.2889 | 0 | 0 | -100 | 60.7473 | 520.7887 | 0 | 520.7887 | 0 | 0 | 0 |  | 27.8799 | 0 | 0 | 27.6358 | 30.4956 | 25.0679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1152.2889 | 1152.2889 | 1152.2889
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 2 | 1052.843 | 0 | 0 | -100 | 61.6396 | 436.1068 | 0 | 436.1068 | 0 | 0 | 0 |  | 25.711 | 0 | 0 | 25.4684 | 27.734 | 23.4088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1052.843 | 1052.843 | 1052.843
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 3 | 887.9994 | 0 | 0 | -100 | 63.6827 | 420.7336 | 0 | 420.7336 | 0 | 0 | 0 |  | 27.5201 | 0 | 0 | 27.1484 | 30.2772 | 24.0861 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 887.9994 | 887.9994 | 887.9994
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 4 | 693.27 | 0 | 0 | -100 | 71.7452 | 358.1193 | 0 | 358.1193 | 0 | 0 | 0 |  | 23.4323 | 0 | 0 | 23.033 | 26.5481 | 20.221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 693.27 | 693.27 | 693.27
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 5 | 790.7813 | 0 | 0 | -100 | 64.4676 | 379.2897 | 0 | 379.2897 | 0 | 0 | 0 |  | 26.1274 | 0 | 0 | 25.713 | 28.7612 | 22.7298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 790.7813 | 790.7813 | 790.7813
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 6 | 1011.6801 | 0 | 0 | -100 | 61.3126 | 446.6069 | 0 | 446.6069 | 0 | 0 | 0 |  | 22.8863 | 0 | 0 | 22.1046 | 25.463 | 18.8922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1011.6801 | 1011.6801 | 1011.6801
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 7 | 1075.624 | 0 | 0 | -100 | 62.3147 | 498.6823 | 0 | 498.6823 | 0 | 0 | 0 |  | 24.5104 | 0 | 0 | 23.8629 | 27.9109 | 20.5292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1075.624 | 1075.624 | 1075.624
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 8 | 1072.606 | 0 | 0 | -100 | 60.9027 | 486.0148 | 0 | 486.0148 | 0 | 0 | 0 |  | 26.0709 | 0 | 0 | 25.3482 | 28.4371 | 22.3251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1072.606 | 1072.606 | 1072.606
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 9 | 977.7917 | 0 | 0 | -100 | 56.6691 | 398.9563 | 0 | 398.9563 | 0 | 0 | 0 |  | 27.4599 | 0 | 0 | 26.4096 | 31.6339 | 21.8383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 977.7917 | 977.7917 | 977.7917
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 10 | 812.91 | 0 | 0 | -100 | 61.5802 | 372.4402 | 0 | 372.4402 | 0 | 0 | 0 |  | 24.1619 | 0 | 0 | 23.5734 | 28.2572 | 19.3675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 812.91 | 812.91 | 812.91
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 11 | 858.9197 | 0 | 0 | -100 | 65.4525 | 404.7725 | 0 | 404.7725 | 0 | 0 | 0 |  | 27.21 | 0 | 0 | 26.8196 | 30.3615 | 23.4316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858.9197 | 858.9197 | 858.9197
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 12 | 962.3025 | 0 | 0 | -100 | 69.4649 | 497.336 | 0 | 497.336 | 0 | 0 | 0 |  | 25.8345 | 0 | 0 | 25.5995 | 28.413 | 23.2825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 962.3025 | 962.3025 | 962.3025
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 1 | 1162.99 | 0 | 0 | -100 | 60.5671 | 524.0658 | 0 | 524.0658 | 0 | 0 | 0 |  | 28.212 | 0 | 0 | 28.0068 | 30.6326 | 25.4368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1162.99 | 1162.99 | 1162.99
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 2 | 1062.537 | 0 | 0 | -100 | 60.8911 | 450.3052 | 0 | 450.3052 | 0 | 0 | 0 |  | 25.5691 | 0 | 0 | 25.2872 | 27.3521 | 23.3601 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1062.537 | 1062.537 | 1062.537
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 3 | 896.2596 | 0 | 0 | -100 | 63.4162 | 422.8701 | 0 | 422.8701 | 0 | 0 | 0 |  | 27.9151 | 0 | 0 | 27.5385 | 31.1495 | 24.5647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896.2596 | 896.2596 | 896.2596
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 4 | 701.78 | 0 | 0 | -100 | 71.1899 | 359.7097 | 0 | 359.7097 | 0 | 0 | 0 |  | 24.2476 | 0 | 0 | 23.83 | 27.1963 | 20.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 701.78 | 701.78 | 701.78
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 5 | 797.6591 | 0 | 0 | -100 | 64.1922 | 380.9541 | 0 | 380.9541 | 0 | 0 | 0 |  | 26.4265 | 0 | 0 | 25.9987 | 29.0979 | 22.9653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 797.6591 | 797.6591 | 797.6591
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 6 | 1019.0839 | 0 | 0 | -100 | 61.1682 | 448.8158 | 0 | 448.8158 | 0 | 0 | 0 |  | 22.742 | 0 | 0 | 22.0141 | 25.5915 | 19.1521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1019.0839 | 1019.0839 | 1019.0839
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 7 | 1083.1 | 0 | 0 | -100 | 61.9874 | 499.5107 | 0 | 499.5107 | 0 | 0 | 0 |  | 24.825 | 0 | 0 | 24.1775 | 27.7775 | 20.6542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1083.1 | 1083.1 | 1083.1
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 8 | 1080.4449 | 0 | 0 | -100 | 60.5572 | 486.7896 | 0 | 486.7896 | 0 | 0 | 0 |  | 26.1988 | 0 | 0 | 25.5751 | 28.6414 | 22.8218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1080.4449 | 1080.4449 | 1080.4449
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 9 | 985.6517 | 0 | 0 | -100 | 56.2632 | 399.2826 | 0 | 399.2826 | 0 | 0 | 0 |  | 27.4344 | 0 | 0 | 26.1367 | 31.6667 | 21.2979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 985.6517 | 985.6517 | 985.6517
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 10 | 822.01 | 0 | 0 | -100 | 61.209 | 374.339 | 0 | 374.339 | 0 | 0 | 0 |  | 24.3495 | 0 | 0 | 23.7929 | 27.994 | 19.6811 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 822.01 | 822.01 | 822.01
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 11 | 867.673 | 0 | 0 | -100 | 65.1727 | 407.1497 | 0 | 407.1497 | 0 | 0 | 0 |  | 27.4654 | 0 | 0 | 27.1192 | 30.7459 | 23.9459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 867.673 | 867.673 | 867.673
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 12 | 972.0875 | 0 | 0 | -100 | 69.2096 | 500.5468 | 0 | 500.5468 | 0 | 0 | 0 |  | 26.2785 | 0 | 0 | 26.1136 | 28.7232 | 23.7703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972.0875 | 972.0875 | 972.0875
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 1 | 1173.71 | 0 | 0 | -100 | 60.3894 | 527.3441 | 0 | 527.3441 | 0 | 0 | 0 |  | 29.0019 | 0 | 0 | 28.791 | 31.3791 | 26.258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.71 | 1173.71 | 1173.71
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 2 | 1072.271 | 0 | 0 | -100 | 61.2182 | 441.1174 | 0 | 441.1174 | 0 | 0 | 0 |  | 26.0064 | 0 | 0 | 25.7863 | 27.8787 | 23.8841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1072.271 | 1072.271 | 1072.271
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 3 | 904.4799 | 0 | 0 | -100 | 63.1574 | 425.0072 | 0 | 425.0072 | 0 | 0 | 0 |  | 27.8997 | 0 | 0 | 27.5263 | 31.0691 | 24.6087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 904.4799 | 904.4799 | 904.4799
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 4 | 710.26 | 0 | 0 | -100 | 70.6509 | 361.2996 | 0 | 361.2996 | 0 | 0 | 0 |  | 24.1955 | 0 | 0 | 23.7702 | 27.2131 | 20.477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 710.26 | 710.26 | 710.26
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 5 | 804.507 | 0 | 0 | -100 | 63.9237 | 382.6174 | 0 | 382.6174 | 0 | 0 | 0 |  | 26.5735 | 0 | 0 | 26.1286 | 29.4702 | 23.1279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 804.507 | 804.507 | 804.507
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 6 | 1026.459 | 0 | 0 | -100 | 61.0275 | 451.0244 | 0 | 451.0244 | 0 | 0 | 0 |  | 23.2496 | 0 | 0 | 22.5388 | 25.9812 | 19.5267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1026.459 | 1026.459 | 1026.459
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 7 | 1090.546 | 0 | 0 | -100 | 61.6637 | 500.3182 | 0 | 500.3182 | 0 | 0 | 0 |  | 25.1601 | 0 | 0 | 24.4984 | 28.1954 | 20.8801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.546 | 1090.546 | 1090.546
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 8 | 1088.275 | 0 | 0 | -100 | 60.2147 | 487.5443 | 0 | 487.5443 | 0 | 0 | 0 |  | 26.908 | 0 | 0 | 26.255 | 29.3255 | 23.7263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1088.275 | 1088.275 | 1088.275
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 9 | 993.4916 | 0 | 0 | -100 | 55.862 | 399.5888 | 0 | 399.5888 | 0 | 0 | 0 |  | 28.1525 | 0 | 0 | 26.8414 | 32.528 | 21.4021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 993.4916 | 993.4916 | 993.4916
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 10 | 831.09 | 0 | 0 | -100 | 60.8473 | 376.2375 | 0 | 376.2375 | 0 | 0 | 0 |  | 25.2064 | 0 | 0 | 24.6362 | 28.9066 | 20.4567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 831.09 | 831.09 | 831.09
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 11 | 876.4063 | 0 | 0 | -100 | 64.9 | 409.527 | 0 | 409.527 | 0 | 0 | 0 |  | 28.1135 | 0 | 0 | 27.7682 | 31.5172 | 24.769 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 876.4063 | 876.4063 | 876.4063
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 12 | 981.8525 | 0 | 0 | -100 | 68.961 | 503.759 | 0 | 503.759 | 0 | 0 | 0 |  | 27.0616 | 0 | 0 | 26.8679 | 29.3729 | 24.4163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 981.8525 | 981.8525 | 981.8525
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 1 | 1184.401 | 0 | 0 | -100 | 60.2163 | 530.623 | 0 | 530.623 | 0 | 0 | 0 |  | 29.3095 | 0 | 0 | 29.1516 | 31.9462 | 26.6421 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1184.401 | 1184.401 | 1184.401
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 2 | 1081.9659 | 0 | 0 | -100 | 61.0244 | 443.697 | 0 | 443.697 | 0 | 0 | 0 |  | 26.768 | 0 | 0 | 26.524 | 28.9454 | 24.3228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1081.9659 | 1081.9659 | 1081.9659
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 3 | 912.7101 | 0 | 0 | -100 | 62.9026 | 427.1438 | 0 | 427.1438 | 0 | 0 | 0 |  | 28.8903 | 0 | 0 | 28.4875 | 31.664 | 25.6351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 912.7101 | 912.7101 | 912.7101
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 4 | 718.75 | 0 | 0 | -100 | 70.1237 | 362.89 | 0 | 362.89 | 0 | 0 | 0 |  | 24.7739 | 0 | 0 | 24.3287 | 27.9872 | 20.8293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 718.75 | 718.75 | 718.75
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 5 | 811.3448 | 0 | 0 | -100 | 63.6606 | 384.2811 | 0 | 384.2811 | 0 | 0 | 0 |  | 27.31 | 0 | 0 | 26.7565 | 30.0941 | 24.0078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 811.3448 | 811.3448 | 811.3448
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 6 | 1033.834 | 0 | 0 | -100 | 60.8889 | 453.2328 | 0 | 453.2328 | 0 | 0 | 0 |  | 24.0475 | 0 | 0 | 23.1366 | 26.7023 | 19.726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1033.834 | 1033.834 | 1033.834
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 7 | 1097.9919 | 0 | 0 | -100 | 61.3414 | 501.1014 | 0 | 501.1014 | 0 | 0 | 0 |  | 26.64 | 0 | 0 | 25.9657 | 29.8099 | 22.2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1097.9919 | 1097.9919 | 1097.9919
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 8 | 1096.095 | 0 | 0 | -100 | 59.8745 | 488.273 | 0 | 488.273 | 0 | 0 | 0 |  | 28.0451 | 0 | 0 | 27.2707 | 30.5174 | 24.5969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1096.095 | 1096.095 | 1096.095
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 9 | 1001.332 | 0 | 0 | -100 | 55.4637 | 399.8708 | 0 | 399.8708 | 0 | 0 | 0 |  | 29.1131 | 0 | 0 | 27.8634 | 33.4998 | 22.472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1001.332 | 1001.332 | 1001.332
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 10 | 840.17 | 0 | 0 | -100 | 60.4936 | 378.1372 | 0 | 378.1372 | 0 | 0 | 0 |  | 26.8472 | 0 | 0 | 26.3225 | 30.4318 | 22.6326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 840.17 | 840.17 | 840.17
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 11 | 885.1396 | 0 | 0 | -100 | 64.6326 | 411.9041 | 0 | 411.9041 | 0 | 0 | 0 |  | 28.8547 | 0 | 0 | 28.4998 | 32.753 | 24.7783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885.1396 | 885.1396 | 885.1396
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 12 | 991.6174 | 0 | 0 | -100 | 68.7174 | 506.9716 | 0 | 506.9716 | 0 | 0 | 0 |  | 27.7534 | 0 | 0 | 27.4921 | 30.1059 | 24.934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 991.6174 | 991.6174 | 991.6174

## Hour Data
Row Labels | Average of On-Peak Hours | Average of Off-Peak Hours |  | On-Peak | Off-Peak
2021 | 348 | 382 | Summer | 1744 | 1928
1 | 336 | 408 | Winter | 2432 | 2656
2 | 320 | 352
3 | 368 | 376
4 | 352 | 368
5 | 336 | 408
6 | 352 | 368
7 | 352 | 392
8 | 352 | 392
9 | 352 | 368
10 | 336 | 408
11 | 352 | 368
12 | 368 | 376
2022 | 346.6667 | 383.3333 | Summer | 1760 | 1912
1 | 336 | 408 | Winter | 2400 | 2688
2 | 320 | 352
3 | 368 | 376
4 | 336 | 384
5 | 352 | 392
6 | 352 | 368
7 | 336 | 408
8 | 368 | 376
9 | 352 | 368
10 | 336 | 408
11 | 352 | 368
12 | 352 | 392
2023 | 346.6667 | 383.3333 | Summer | 1760 | 1912
1 | 352 | 392 | Winter | 2400 | 2688
2 | 320 | 352
3 | 368 | 376
4 | 320 | 400
5 | 368 | 376
6 | 352 | 368
7 | 336 | 408
8 | 368 | 376
9 | 336 | 384
10 | 352 | 392
11 | 352 | 368
12 | 336 | 408
2024 | 349.3333 | 382.6667 | Summer | 1744 | 1928
1 | 368 | 376 | Winter | 2448 | 2664
2 | 336 | 360
3 | 336 | 408
4 | 352 | 368
5 | 368 | 376
6 | 320 | 400
7 | 368 | 376
8 | 352 | 392
9 | 336 | 384
10 | 368 | 376
11 | 336 | 384
12 | 352 | 392
2025 | 348 | 382 | Summer | 1744 | 1928
1 | 368 | 376 | Winter | 2432 | 2656
2 | 320 | 352
3 | 336 | 408
4 | 352 | 368
5 | 352 | 392
6 | 336 | 384
7 | 368 | 376
8 | 336 | 408
9 | 352 | 368
10 | 368 | 376
11 | 320 | 400
12 | 368 | 376
2026 | 348 | 382 | Summer | 1744 | 1928
1 | 352 | 392 | Winter | 2432 | 2656
2 | 320 | 352
3 | 352 | 392
4 | 352 | 368
5 | 336 | 408
6 | 352 | 368
7 | 368 | 376
8 | 336 | 408
9 | 352 | 368
10 | 352 | 392
11 | 336 | 384
12 | 368 | 376
Grand Total | 347.7778 | 382.5556

## DPCache_Price Data (hidden)
Scenario | RunID | BA | Area | Year | Month | Peak (MW) | Capacity (MW) | Firm Capacity (MW) | Reserve Margin (%) | Load Factor (%) | Energy (GWh) | Sales (GWh) | Purchases (GWh) | Net Generation (GWh) | Total Production Cost ($000) | Profitability ($000) | Average Production Cost ($/MWh) | Load Wt Price ($/MWh) | Optimized Production Cost ($000) | Energy Market Cost ($000) | RTC Price ($/MWh) | On-Peak Price ($/MWh) | Off-Peak Price ($/MWh) | Non-Spin Price ($/MWh) | Spin Price ($/MWh) | Reg Up Price ($/MWh) | Reg Down Price ($/MWh) | Supp Up Price ($/MWh) | Supp Down Price ($/MWh) | LOLH (hours) | LOLE (days) | EUE (MWh) | Curtailed (MWh) | Peak After EE (MW) | Peak After Solar (MW) | Peak After Batteries (MW)
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 1 | 1126.082 | 0 | 0 | -100 | 61.2158 | 512.8691 | 0 | 512.8691 | 0 | 0 | 0 |  | 26.7688 | 0 | 0 | 26.6355 | 29.1928 | 24.5294 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1126.082 | 1126.082 | 1126.082
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 2 | 1028.906 | 0 | 0 | -100 | 62.1592 | 429.7843 | 0 | 429.7843 | 0 | 0 | 0 |  | 24.8494 | 0 | 0 | 24.5618 | 27.225 | 22.1407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1028.906 | 1028.906 | 1028.906
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 3 | 868.2698 | 0 | 0 | -100 | 64.3719 | 415.8381 | 0 | 415.8381 | 0 | 0 | 0 |  | 27.5168 | 0 | 0 | 27.1243 | 30.0916 | 24.2202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 868.2698 | 868.2698 | 868.2698
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 4 | 671.79 | 0 | 0 | -100 | 73.2879 | 354.4852 | 0 | 354.4852 | 0 | 0 | 0 |  | 24.453 | 0 | 0 | 24.0027 | 27.804 | 20.3667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 671.79 | 671.79 | 671.79
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 5 | 775.5514 | 0 | 0 | -100 | 65.0866 | 375.5562 | 0 | 375.5562 | 0 | 0 | 0 |  | 25.8351 | 0 | 0 | 25.3262 | 28.0449 | 23.0872 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 775.5514 | 775.5514 | 775.5514
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 6 | 995.5994 | 0 | 0 | -100 | 61.6314 | 441.7932 | 0 | 441.7932 | 0 | 0 | 0 |  | 22.6626 | 0 | 0 | 21.7836 | 25.5266 | 18.2034 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 995.5994 | 995.5994 | 995.5994
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 7 | 1060.968 | 0 | 0 | -100 | 62.9964 | 497.2685 | 0 | 497.2685 | 0 | 0 | 0 |  | 24.9258 | 0 | 0 | 24.2725 | 28.138 | 20.8015 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1060.968 | 1060.968 | 1060.968
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 8 | 1056.795 | 0 | 0 | -100 | 61.6366 | 484.6213 | 0 | 484.6213 | 0 | 0 | 0 |  | 25.8704 | 0 | 0 | 25.1282 | 28.3149 | 22.2666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1056.795 | 1056.795 | 1056.795
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 9 | 961.281 | 0 | 0 | -100 | 57.5413 | 398.2561 | 0 | 398.2561 | 0 | 0 | 0 |  | 26.4016 | 0 | 0 | 25.3292 | 30.8442 | 20.0541 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 961.281 | 961.281 | 961.281
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 10 | 793.76 | 0 | 0 | -100 | 62.558 | 369.441 | 0 | 369.441 | 0 | 0 | 0 |  | 23.8701 | 0 | 0 | 23.3266 | 27.7673 | 19.6695 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 793.76 | 793.76 | 793.76
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 11 | 841.1653 | 0 | 0 | -100 | 66.1263 | 400.4867 | 0 | 400.4867 | 0 | 0 | 0 |  | 26.6154 | 0 | 0 | 26.2451 | 29.9677 | 22.6843 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 841.1653 | 841.1653 | 841.1653
Empire Base | 0 | Southwest Power Pool | Empire District | 2021 | 12 | 941.9561 | 0 | 0 | -100 | 70.0978 | 491.2563 | 0 | 491.2563 | 0 | 0 | 0 |  | 25.9262 | 0 | 0 | 25.6573 | 28.0475 | 23.318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 941.9561 | 941.9561 | 941.9561
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 1 | 1141.749 | 0 | 0 | -100 | 61.0346 | 518.465 | 0 | 518.465 | 0 | 0 | 0 |  | 28.0609 | 0 | 0 | 27.8916 | 30.4087 | 25.8187 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1141.749 | 1141.749 | 1141.749
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 2 | 1043.494 | 0 | 0 | -100 | 61.9463 | 434.385 | 0 | 434.385 | 0 | 0 | 0 |  | 25.4958 | 0 | 0 | 25.2509 | 27.949 | 22.798 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1043.494 | 1043.494 | 1043.494
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 3 | 880.6046 | 0 | 0 | -100 | 64.0594 | 419.6982 | 0 | 419.6982 | 0 | 0 | 0 |  | 27.5425 | 0 | 0 | 27.1211 | 30.0736 | 24.2315 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 880.6046 | 880.6046 | 880.6046
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 4 | 684.78 | 0 | 0 | -100 | 72.5247 | 357.577 | 0 | 357.577 | 0 | 0 | 0 |  | 24.1573 | 0 | 0 | 23.7428 | 27.3794 | 20.5607 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 684.78 | 684.78 | 684.78
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 5 | 785.5479 | 0 | 0 | -100 | 64.782 | 378.617 | 0 | 378.617 | 0 | 0 | 0 |  | 26.0593 | 0 | 0 | 25.512 | 28.3446 | 22.9685 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 785.5479 | 785.5479 | 785.5479
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 6 | 1005.799 | 0 | 0 | -100 | 61.4806 | 445.2273 | 0 | 445.2273 | 0 | 0 | 0 |  | 22.8993 | 0 | 0 | 22.0801 | 25.4437 | 18.8628 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1005.799 | 1005.799 | 1005.799
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 7 | 1069.452 | 0 | 0 | -100 | 62.6569 | 498.5433 | 0 | 498.5433 | 0 | 0 | 0 |  | 24.9447 | 0 | 0 | 24.3318 | 28.2534 | 21.1023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1069.452 | 1069.452 | 1069.452
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 8 | 1065.684 | 0 | 0 | -100 | 61.2665 | 485.7628 | 0 | 485.7628 | 0 | 0 | 0 |  | 26.2141 | 0 | 0 | 25.4966 | 28.4554 | 22.6008 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1065.684 | 1065.684 | 1065.684
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 9 | 970.4773 | 0 | 0 | -100 | 57.0965 | 398.9584 | 0 | 398.9584 | 0 | 0 | 0 |  | 26.7557 | 0 | 0 | 25.7727 | 30.7601 | 21.0021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 970.4773 | 970.4773 | 970.4773
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 10 | 803.84 | 0 | 0 | -100 | 61.9935 | 370.7564 | 0 | 370.7564 | 0 | 0 | 0 |  | 24.6042 | 0 | 0 | 23.9896 | 28.8094 | 20.0204 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 803.84 | 803.84 | 803.84
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 11 | 850.2451 | 0 | 0 | -100 | 65.7451 | 402.476 | 0 | 402.476 | 0 | 0 | 0 |  | 26.9369 | 0 | 0 | 26.6022 | 30.2081 | 23.1531 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 850.2451 | 850.2451 | 850.2451
Empire Base | 0 | Southwest Power Pool | Empire District | 2022 | 12 | 952.5375 | 0 | 0 | -100 | 69.7241 | 494.1266 | 0 | 494.1266 | 0 | 0 | 0 |  | 26.907 | 0 | 0 | 26.6004 | 29.1937 | 24.2717 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 952.5375 | 952.5375 | 952.5375
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 1 | 1152.2889 | 0 | 0 | -100 | 60.7473 | 520.7887 | 0 | 520.7887 | 0 | 0 | 0 |  | 27.8799 | 0 | 0 | 27.6358 | 30.4956 | 25.0679 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1152.2889 | 1152.2889 | 1152.2889
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 2 | 1052.843 | 0 | 0 | -100 | 61.6396 | 436.1068 | 0 | 436.1068 | 0 | 0 | 0 |  | 25.711 | 0 | 0 | 25.4684 | 27.734 | 23.4088 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1052.843 | 1052.843 | 1052.843
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 3 | 887.9994 | 0 | 0 | -100 | 63.6827 | 420.7336 | 0 | 420.7336 | 0 | 0 | 0 |  | 27.5201 | 0 | 0 | 27.1484 | 30.2772 | 24.0861 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 887.9994 | 887.9994 | 887.9994
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 4 | 693.27 | 0 | 0 | -100 | 71.7452 | 358.1193 | 0 | 358.1193 | 0 | 0 | 0 |  | 23.4323 | 0 | 0 | 23.033 | 26.5481 | 20.221 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 693.27 | 693.27 | 693.27
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 5 | 790.7813 | 0 | 0 | -100 | 64.4676 | 379.2897 | 0 | 379.2897 | 0 | 0 | 0 |  | 26.1274 | 0 | 0 | 25.713 | 28.7612 | 22.7298 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 790.7813 | 790.7813 | 790.7813
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 6 | 1011.6801 | 0 | 0 | -100 | 61.3126 | 446.6069 | 0 | 446.6069 | 0 | 0 | 0 |  | 22.8863 | 0 | 0 | 22.1046 | 25.463 | 18.8922 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1011.6801 | 1011.6801 | 1011.6801
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 7 | 1075.624 | 0 | 0 | -100 | 62.3147 | 498.6823 | 0 | 498.6823 | 0 | 0 | 0 |  | 24.5104 | 0 | 0 | 23.8629 | 27.9109 | 20.5292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1075.624 | 1075.624 | 1075.624
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 8 | 1072.606 | 0 | 0 | -100 | 60.9027 | 486.0148 | 0 | 486.0148 | 0 | 0 | 0 |  | 26.0709 | 0 | 0 | 25.3482 | 28.4371 | 22.3251 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1072.606 | 1072.606 | 1072.606
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 9 | 977.7917 | 0 | 0 | -100 | 56.6691 | 398.9563 | 0 | 398.9563 | 0 | 0 | 0 |  | 27.4599 | 0 | 0 | 26.4096 | 31.6339 | 21.8383 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 977.7917 | 977.7917 | 977.7917
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 10 | 812.91 | 0 | 0 | -100 | 61.5802 | 372.4402 | 0 | 372.4402 | 0 | 0 | 0 |  | 24.1619 | 0 | 0 | 23.5734 | 28.2572 | 19.3675 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 812.91 | 812.91 | 812.91
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 11 | 858.9197 | 0 | 0 | -100 | 65.4525 | 404.7725 | 0 | 404.7725 | 0 | 0 | 0 |  | 27.21 | 0 | 0 | 26.8196 | 30.3615 | 23.4316 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 858.9197 | 858.9197 | 858.9197
Empire Base | 0 | Southwest Power Pool | Empire District | 2023 | 12 | 962.3025 | 0 | 0 | -100 | 69.4649 | 497.336 | 0 | 497.336 | 0 | 0 | 0 |  | 25.8345 | 0 | 0 | 25.5995 | 28.413 | 23.2825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 962.3025 | 962.3025 | 962.3025
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 1 | 1162.99 | 0 | 0 | -100 | 60.5671 | 524.0658 | 0 | 524.0658 | 0 | 0 | 0 |  | 28.212 | 0 | 0 | 28.0068 | 30.6326 | 25.4368 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1162.99 | 1162.99 | 1162.99
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 2 | 1062.537 | 0 | 0 | -100 | 60.8911 | 450.3052 | 0 | 450.3052 | 0 | 0 | 0 |  | 25.5691 | 0 | 0 | 25.2872 | 27.3521 | 23.3601 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1062.537 | 1062.537 | 1062.537
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 3 | 896.2596 | 0 | 0 | -100 | 63.4162 | 422.8701 | 0 | 422.8701 | 0 | 0 | 0 |  | 27.9151 | 0 | 0 | 27.5385 | 31.1495 | 24.5647 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 896.2596 | 896.2596 | 896.2596
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 4 | 701.78 | 0 | 0 | -100 | 71.1899 | 359.7097 | 0 | 359.7097 | 0 | 0 | 0 |  | 24.2476 | 0 | 0 | 23.83 | 27.1963 | 20.61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 701.78 | 701.78 | 701.78
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 5 | 797.6591 | 0 | 0 | -100 | 64.1922 | 380.9541 | 0 | 380.9541 | 0 | 0 | 0 |  | 26.4265 | 0 | 0 | 25.9987 | 29.0979 | 22.9653 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 797.6591 | 797.6591 | 797.6591
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 6 | 1019.0839 | 0 | 0 | -100 | 61.1682 | 448.8158 | 0 | 448.8158 | 0 | 0 | 0 |  | 22.742 | 0 | 0 | 22.0141 | 25.5915 | 19.1521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1019.0839 | 1019.0839 | 1019.0839
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 7 | 1083.1 | 0 | 0 | -100 | 61.9874 | 499.5107 | 0 | 499.5107 | 0 | 0 | 0 |  | 24.825 | 0 | 0 | 24.1775 | 27.7775 | 20.6542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1083.1 | 1083.1 | 1083.1
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 8 | 1080.4449 | 0 | 0 | -100 | 60.5572 | 486.7896 | 0 | 486.7896 | 0 | 0 | 0 |  | 26.1988 | 0 | 0 | 25.5751 | 28.6414 | 22.8218 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1080.4449 | 1080.4449 | 1080.4449
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 9 | 985.6517 | 0 | 0 | -100 | 56.2632 | 399.2826 | 0 | 399.2826 | 0 | 0 | 0 |  | 27.4344 | 0 | 0 | 26.1367 | 31.6667 | 21.2979 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 985.6517 | 985.6517 | 985.6517
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 10 | 822.01 | 0 | 0 | -100 | 61.209 | 374.339 | 0 | 374.339 | 0 | 0 | 0 |  | 24.3495 | 0 | 0 | 23.7929 | 27.994 | 19.6811 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 822.01 | 822.01 | 822.01
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 11 | 867.673 | 0 | 0 | -100 | 65.1727 | 407.1497 | 0 | 407.1497 | 0 | 0 | 0 |  | 27.4654 | 0 | 0 | 27.1192 | 30.7459 | 23.9459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 867.673 | 867.673 | 867.673
Empire Base | 0 | Southwest Power Pool | Empire District | 2024 | 12 | 972.0875 | 0 | 0 | -100 | 69.2096 | 500.5468 | 0 | 500.5468 | 0 | 0 | 0 |  | 26.2785 | 0 | 0 | 26.1136 | 28.7232 | 23.7703 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 972.0875 | 972.0875 | 972.0875
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 1 | 1173.71 | 0 | 0 | -100 | 60.3894 | 527.3441 | 0 | 527.3441 | 0 | 0 | 0 |  | 29.0019 | 0 | 0 | 28.791 | 31.3791 | 26.258 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1173.71 | 1173.71 | 1173.71
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 2 | 1072.271 | 0 | 0 | -100 | 61.2182 | 441.1174 | 0 | 441.1174 | 0 | 0 | 0 |  | 26.0064 | 0 | 0 | 25.7863 | 27.8787 | 23.8841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1072.271 | 1072.271 | 1072.271
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 3 | 904.4799 | 0 | 0 | -100 | 63.1574 | 425.0072 | 0 | 425.0072 | 0 | 0 | 0 |  | 27.8997 | 0 | 0 | 27.5263 | 31.0691 | 24.6087 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 904.4799 | 904.4799 | 904.4799
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 4 | 710.26 | 0 | 0 | -100 | 70.6509 | 361.2996 | 0 | 361.2996 | 0 | 0 | 0 |  | 24.1955 | 0 | 0 | 23.7702 | 27.2131 | 20.477 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 710.26 | 710.26 | 710.26
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 5 | 804.507 | 0 | 0 | -100 | 63.9237 | 382.6174 | 0 | 382.6174 | 0 | 0 | 0 |  | 26.5735 | 0 | 0 | 26.1286 | 29.4702 | 23.1279 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 804.507 | 804.507 | 804.507
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 6 | 1026.459 | 0 | 0 | -100 | 61.0275 | 451.0244 | 0 | 451.0244 | 0 | 0 | 0 |  | 23.2496 | 0 | 0 | 22.5388 | 25.9812 | 19.5267 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1026.459 | 1026.459 | 1026.459
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 7 | 1090.546 | 0 | 0 | -100 | 61.6637 | 500.3182 | 0 | 500.3182 | 0 | 0 | 0 |  | 25.1601 | 0 | 0 | 24.4984 | 28.1954 | 20.8801 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1090.546 | 1090.546 | 1090.546
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 8 | 1088.275 | 0 | 0 | -100 | 60.2147 | 487.5443 | 0 | 487.5443 | 0 | 0 | 0 |  | 26.908 | 0 | 0 | 26.255 | 29.3255 | 23.7263 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1088.275 | 1088.275 | 1088.275
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 9 | 993.4916 | 0 | 0 | -100 | 55.862 | 399.5888 | 0 | 399.5888 | 0 | 0 | 0 |  | 28.1525 | 0 | 0 | 26.8414 | 32.528 | 21.4021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 993.4916 | 993.4916 | 993.4916
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 10 | 831.09 | 0 | 0 | -100 | 60.8473 | 376.2375 | 0 | 376.2375 | 0 | 0 | 0 |  | 25.2064 | 0 | 0 | 24.6362 | 28.9066 | 20.4567 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 831.09 | 831.09 | 831.09
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 11 | 876.4063 | 0 | 0 | -100 | 64.9 | 409.527 | 0 | 409.527 | 0 | 0 | 0 |  | 28.1135 | 0 | 0 | 27.7682 | 31.5172 | 24.769 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 876.4063 | 876.4063 | 876.4063
Empire Base | 0 | Southwest Power Pool | Empire District | 2025 | 12 | 981.8525 | 0 | 0 | -100 | 68.961 | 503.759 | 0 | 503.759 | 0 | 0 | 0 |  | 27.0616 | 0 | 0 | 26.8679 | 29.3729 | 24.4163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 981.8525 | 981.8525 | 981.8525
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 1 | 1184.401 | 0 | 0 | -100 | 60.2163 | 530.623 | 0 | 530.623 | 0 | 0 | 0 |  | 29.3095 | 0 | 0 | 29.1516 | 31.9462 | 26.6421 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1184.401 | 1184.401 | 1184.401
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 2 | 1081.9659 | 0 | 0 | -100 | 61.0244 | 443.697 | 0 | 443.697 | 0 | 0 | 0 |  | 26.768 | 0 | 0 | 26.524 | 28.9454 | 24.3228 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1081.9659 | 1081.9659 | 1081.9659
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 3 | 912.7101 | 0 | 0 | -100 | 62.9026 | 427.1438 | 0 | 427.1438 | 0 | 0 | 0 |  | 28.8903 | 0 | 0 | 28.4875 | 31.664 | 25.6351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 912.7101 | 912.7101 | 912.7101
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 4 | 718.75 | 0 | 0 | -100 | 70.1237 | 362.89 | 0 | 362.89 | 0 | 0 | 0 |  | 24.7739 | 0 | 0 | 24.3287 | 27.9872 | 20.8293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 718.75 | 718.75 | 718.75
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 5 | 811.3448 | 0 | 0 | -100 | 63.6606 | 384.2811 | 0 | 384.2811 | 0 | 0 | 0 |  | 27.31 | 0 | 0 | 26.7565 | 30.0941 | 24.0078 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 811.3448 | 811.3448 | 811.3448
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 6 | 1033.834 | 0 | 0 | -100 | 60.8889 | 453.2328 | 0 | 453.2328 | 0 | 0 | 0 |  | 24.0475 | 0 | 0 | 23.1366 | 26.7023 | 19.726 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1033.834 | 1033.834 | 1033.834
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 7 | 1097.9919 | 0 | 0 | -100 | 61.3414 | 501.1014 | 0 | 501.1014 | 0 | 0 | 0 |  | 26.64 | 0 | 0 | 25.9657 | 29.8099 | 22.2032 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1097.9919 | 1097.9919 | 1097.9919
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 8 | 1096.095 | 0 | 0 | -100 | 59.8745 | 488.273 | 0 | 488.273 | 0 | 0 | 0 |  | 28.0451 | 0 | 0 | 27.2707 | 30.5174 | 24.5969 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1096.095 | 1096.095 | 1096.095
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 9 | 1001.332 | 0 | 0 | -100 | 55.4637 | 399.8708 | 0 | 399.8708 | 0 | 0 | 0 |  | 29.1131 | 0 | 0 | 27.8634 | 33.4998 | 22.472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1001.332 | 1001.332 | 1001.332
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 10 | 840.17 | 0 | 0 | -100 | 60.4936 | 378.1372 | 0 | 378.1372 | 0 | 0 | 0 |  | 26.8472 | 0 | 0 | 26.3225 | 30.4318 | 22.6326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 840.17 | 840.17 | 840.17
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 11 | 885.1396 | 0 | 0 | -100 | 64.6326 | 411.9041 | 0 | 411.9041 | 0 | 0 | 0 |  | 28.8547 | 0 | 0 | 28.4998 | 32.753 | 24.7783 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 885.1396 | 885.1396 | 885.1396
Empire Base | 0 | Southwest Power Pool | Empire District | 2026 | 12 | 991.6174 | 0 | 0 | -100 | 68.7174 | 506.9716 | 0 | 506.9716 | 0 | 0 | 0 |  | 27.7534 | 0 | 0 | 27.4921 | 30.1059 | 24.934 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 991.6174 | 991.6174 | 991.6174