M E M O R A N D U M

TO:			Missouri Public Service Commission Official Case File

Case No. SA-2004-0159 – – Envirowater Company, LLC

FROM:		Dale W. Johansen – Project Coordinator

Water & Sewer Department

Paul Adam – Engineering & Management Services Dept.

Jim Merciel – Water & Sewer Dept.

Jerry Scheible – Water & Sewer Dept

/s/	Dale W. Johansen		12/29/03

Project Coordinator			   Date

/s/	Keith R. Krueger			12/29/03

General Counsel’s Office		   Date

SUBJECT:	Staff Recommendation Regarding the Application Seeking Permission, Approval, and a Certificate of Convenience and Necessity for Envirowater Company, LLC to provide sewer service in a described area in Lincoln County, MO

DATE:			December 29, 2003

### Background

On September 24, 2003, Envirowater Company, LLC (Company) filed an Application before the Commission seeking a Certificate of Convenience and Necessity to provide sewer service in Lincoln County to a new development to be known as River Bluff Subdivision.

On September 30, 2003, the Commission issued its “Order and Notice” requiring notice of the Application be sent to legislators, county officials, and newspapers serving the affected area.  This order also set October 30, 2003 as an intervention deadline for interested parties, and set December 29, 2004 as the date by which the Staff should file a recommendation.  No applications to intervene have been submitted by any party.

Also on September 30, 2003, the Commission issued an “Order Directing Filing” directing the Company to submit statements regarding unsatisfied judgments or decisions against it, past due assessments or past due annual reports, and verification by affidavit of the information in the application, to comply with rules 4 CSR 240-2.060(1)(K), (L), and (M).

On October 20, 2003 the Company submitted its Amended and Verified Application to comply with the Commission’s Order Directing Filing.

Staff's investigation

As noted at the beginning of this Memorandum, Staff members from the Engineering & Management Services and Water & Sewer Departments participated in the Staff’s investigation of the Application. All Staff participants, the participants' up-line supervisors and the assigned attorney from the General Counsel's Office were provided the opportunity to review and comment on this Memorandum prior to it being filed.  Jim Merciel of the Water & Sewer Department created the initial draft of this Memorandum and comments received from the reviewers were incorporated therein to create this final version of the Memorandum.

The Staff's investigation into the Application included a review of the Application and the supporting documentation.  Detailed information regarding each of these areas of review, and modifications to the Company’s original proposal, are set out below.

#### The Application

The Company submitted a service area map and a written description of the area proposed to be served.  The Staff believes the proposed area is reasonable, but the description is tied to a platted subdivision, and cannot be tied to section lines or survey lines as shown on a United States Geological Survey (USGS) map, or other readily available map.  The Staff has therefore requested the Company to revise the description so that the location of the area is described in relation to section lines and surveys as shown on USGS maps.  The Staff anticipates that a revised description, describing the same area as proposed in the Application will be submitted, as a part of the tariff.

The owners of the Company, who are also the subdivision developers, expect 160 customers to be connected in the first four (4) years of operation.  They are uncertain as to whether additional subdivision phases will be undertaken.

The service area will be served by gravity sewers and an extended aeration treatment facility.  As is common for new subdivisions, sewer pipelines will be contributed to the utility by the developer.  The treatment facility and land will be a capital investment made by the utility, funded initially by debt.  The estimated cost of the plant and land is $170,000.  The company has requested a $400 contribution-in-aid-of-construction charge, which for 160 customers would offset the investment by $64,000, resulting in a rate base of $106,000, or $662.50 per customer.  Revenue required for the operation is estimated to be $50,844 per year, which in turn requires a monthly residential rate of $26.48, designed on full development of the 160 lots.  The Staff and the Company arrived at this rate after discussions and modifications of estimated expenses as originally submitted.  The estimated expenses and rate calculation is shown on Attachment A – 1 of this memorandum.  The rate calculation includes depreciation rates as shown on Attachment A – 2.  The owners of the Company, as the developer, may need to subsidize the Company’s operations by paying “out-of-pocket” expenses such as the fees of the contract operator, utilities and fees until approximately one-half of the expected customers are connected and paying sewer bills.  After those numbers of customers are connected to the system, the Company’s owners may begin collecting interest, depreciation and in-house office expenses.  With regard to this matter, the Staff will recommend that the Company be required to submit semi-annual customer connection reports every six months for the first three years of operation so that the Staff may evaluate whether a review of expenses and revenues is warranted.

The Company submitted a draft tariff as a part of the Application.  It is substantially similar to the Staff’s example tariff for sewer utilities.  Since a map, service area description and rate sheet need to be included in the tariff, the Staff recommends the Company file a complete tariff after the Commission approves issuance of a Certificate of Convenience and Necessity, with language similar to that in the Company’s application.

Staff's conclusions

The Staff is of the opinion that the Company’s proposal as modified and agreed to between the Company and the Staff is reasonable.  There is a need for sewer service, in that it is required for the new subdivision.  Water service is to be provided by a public water supply district.  The Staff believes the Company has technical, managerial and financial capacity because it has an operations contract with a reputable contractor, is owned by business-oriented people who are involved with the land development business, and the sewer facilities and the Company will essentially be financed by the subdivision development venture.

Staff's recommendations

Based upon the above, the Staff recommends that the Commission issue an order that:

- Approves a Certificate of Convenience and Necessity for Envirowater Company, LLC for sewer service to its requested service area, consisting of River Bluff Subdivision in Lincoln County, Missouri;

- Requires the Company to submit a complete tariff, including language similar to the draft in its Application, a monthly rate of $26.48, and a map and service area description that is consistent with the area requested in the application;

- Approves the schedule of depreciation rates attached to this memorandum for use by the Company.

- Requires the Company to submit semi-annual customer connection reports to the Manage of the Water & Sewer Department, with the first such report to be submitted six months after the effective date of the Company’s tariff; and

- Recognizes that nothing in this Recommendation, or in any order issued by the Commission in this case, shall bind the Commission on any ratemaking issue in any future rate proceeding.

After the Company submits a complete tariff, the Staff will submit an additional recommendation regarding approval of the tariff.