### Exhibit No.:

Issues:	Losses & Jurisdictional

Allocations

Witness:	Alan J. Bax

Sponsoring Party:	MO PSC Staff

Type of Exhibit:	Direct Testimony

Case Nos.:	ER-2004-0034

& HR-2004-024

Date Testimony Prepared:	December 9, 2003

MISSOURI PUBLIC SERVICE COMMISSION

Utility Operations DIVISION

Direct Testimony

OF

Alan J. Bax

Aquila, Inc. 
d/b/a Aquila Networks--MPS
and Aquila Networks--L&P

CASE NOS. ER-2004-0034 & HR-2004-024

Jefferson City, Missouri

December 2003

TABLE OF CONTENTS

SYSTEM ENERGY LOSSES	3

JURISDICTIONAL ALLOCATIONS	5

DEMAND ALLOCATION FACTOR	6

ENERGY ALLOCATION FACTOR	8

DIRECT TESTIMONY

OF

ALAN J. BAX

AQUILA, INC.

D/B/A AQUILA NETWORKS-MPS

AND AQUILA NETWORKS-L&P

CASE NOS. ER-2004-0034 and HR-2004-0024

(CONSOLIDATED)

Q.	Please state your name and business address?

A.	Alan J. Bax, P.O. Box 360, Jefferson City, Missouri, 65102.

Q.	By whom are you employed and in what capacity?

A.	I am employed by the Missouri Public Service Commission (Commission) as a Utility Engineering Specialist III in the Energy Department of the Utility Operations Division.

Q.	Please describe your educational and work background.

A.	I graduated from the University of Missouri - Columbia with a Bachelor of Science degree in Electrical Engineering in December 1995.  Concurrent with my studies, I was employed as an Engineering Assistant in the Energy Management Department of the University of Missouri – Columbia from the Fall of 1992 through the Fall of 1995. Prior to this, I completed a tour of duty in the United States Navy, completing a course of study at the Navy Nuclear Power School and a Navy Nuclear Propulsion Plant.  Following my graduation from the University of Missouri - Columbia, I was employed by The Empire District Electric Company (Empire) as a Staff Engineer until August 1999, at which time, I began my employment with the Staff of the Missouri Public Service Commission (Staff).

Q.	Are you a member of any professional organizations?

A.	Yes, I am a member of the Institute of Electrical and Electronic Engineers (IEEE).

Q.	Have you previously filed testimony before the Commission?

A.	Yes, I have filed testimony on jurisdictional allocations and system energy losses in electric rate cases involving Missouri Public Service, at the time a division of Utilicorp United, Inc. (Case No. ER-2001-672), and Empire, (Case No. ER-2002-424).  In addition, I filed testimony on losses and jurisdictional allocations in a complaint case involving Union Electric Company d/b/a AmerenUE (Case No. EC-2002-1) and filed true-up testimony concerning jurisdictional allocations in an electric rate case involving Empire (Case No. ER-2001-299).

Q.	To which of the operations of Aquila, Inc. are you directing your testimony?

A.	My testimony concerns the electric operations of Aquila, Inc. in Missouri.

Q.	What is the purpose of your testimony?

A.	The purpose of this testimony is to recommend that the Commission adopt the system energy loss factors that I calculated for Aquila Networks – MPS (MPS) and Aquila Networks – L&P (L&P), (Schedules 1 and 2 respectively, attached to this Direct Testimony), and the jurisdictional allocation factors for demand and energy that I calculated for MPS as shown on Schedules 3 and 4 respectively, attached to this Direct Testimony.  My testimony also describes how I determined these factors.

## SYSTEM ENERGY LOSSES

- What is the result of your system energy loss factor calculation?

- As shown on Schedule 1 attached to this Direct Testimony, I have

calculated the system energy loss factor for MPS to be 0.0691, or 6.91% of MPS’s Net System Input (NSI).  Schedule 2 shows my calculated system energy loss factor for L&P to be 0.0674, or 6.74% of L&P’s NSI.

Q.	What are system energy losses?

A.	System energy losses are the energy losses that occur in the electrical equipment (e.g., transmission and distribution lines, transformers, etc.) of both MPS’s and L&P’s system between the generating sources and the customers' meters.

Q.	How are system energy losses determined?

A.	The basis for this calculation is that NSI equals the sum of “Retail Sales”, “Wholesale Sales” (as applicable), “Company Use,” and “System Energy Losses.”  This can be expressed mathematically as:

NSI = Retail Sales + Wholesale Sales + Company Use + System Energy Losses.  NSI, Company Use, Retail Sales and Wholesale Sales are known; therefore, system energy losses may be calculated as follows:

System Energy Losses = NSI – Retail Sales - Wholesale Sales – Company Use.  The system energy loss factor is the ratio of system energy losses to NSI:

System Energy Loss Factor = (System Energy Losses  NSI)

- How is NSI determined?

A.	In addition to the relationship expressed in the equation above, NSI is also equal to the sum of net generation, the net interchange and applicable resultant inadvertent flows.  Net generation is the total energy output of each generating station minus the energy consumed internally to enable its production.  Net interchange is the resultant of summing the following calculations:

  - The net of off-system purchases and sales and

  - The net of purchases and sales between divisions of Aquila Networks, Inc. (Aquila).

Inadvertent flows is the term often utilized in the electric utility industry to describe the portion of the actual physical flows on one’s electrical grid structures that are not accounted for in existing contractual and/or scheduled agreements.  The output of each generating station is monitored continuously, as is the net of affiliate and off-system purchases and sales and any resultant inadvertent flows.  I obtained this information from data supplied by Aquila in response to Staff Data Request Nos. 35, 53, 62, 63, 110, 353 and 539.

Q.	What are Retail Sales, Wholesale Sales and Company Use and how are these values determined?

A.	Retail Sales and Wholesale Sales represent the jurisdictional energy metered within a particular system.   In this case, MPS has both a wholesale and a retail jurisdiction, while L&P has only a retail jurisdiction.  Company Use is the electricity consumed at each of the non-generation facilities, such as the corporate office building.  Retail Sales and Wholesale Sales data was provided in response to Staff Data Request Nos. 54 and 353.  Company Use data was provided in response to Staff Data Request Nos. 57 and 353.

- Why are inadvertent flows only included in the calculation of MPS?

A.	In the response to Staff Data Request 63, Aquila reported the inadvertent flows reflected in Schedule 1 as pertaining to MPS and provided no information for L&P.  Upon further questioning, MPS and L&P were apparently treated as one control area, not separate divisions, in the monitoring and reporting of inadvertent flows.  I was informed it would be next to impossible to allocate the data received between MPS and L&P.  Therefore, without a means of allocating the reported information between the two operating divisions, I applied the total of the inadvertent flows to MPS.

- Which Staff witness used your calculated system energy loss factors?

A.	I provided my calculated system energy loss factors, for both MPS and L&P, to Staff witness Richard J. Campbell.

## JURISDICTIONAL ALLOCATIONS

Q.	Please define the phrase “jurisdictional allocation”.

A.	For purposes of my testimony, jurisdictional allocation refers to the process by which demand-related and energy-related costs are allocated to the applicable jurisdictions.  Demand-related and energy-related costs are divided between two jurisdictions:  retail and wholesale operations.  The application of a particular allocation factor is dependent upon the types of costs being allocated.  These calculations were performed for MPS only.  L&P has no electric wholesale customers; thus, these calculations were not necessary for that division.

## DEMAND ALLOCATION FACTOR

Q.	What is the definition of demand?

A.	Demand refers to the rate of electric energy that is delivered to a system to meet the energy requirements of its customers, generally expressed in kilowatts or megawatts, either at an instant in time or averaged over any designated interval of time.  In my analyses, I used hourly demands.

Q.	What types of costs are allocated on the basis of demand?

A.	Capital costs associated with generation and transmission plant and certain operational and maintenance expenses are allocated on this basis.  This is appropriate because generation and transmission are planned, designed and constructed to meet the anticipated demand.

Q.	What methodology did you use to determine the demand allocators?

A.	I used what is known as the Four Coincident Peak (4 CP) methodology.

Q.	What is meant by “coincident peak”?

A.	The term coincident peak refers to the load in megawatts (MWs) in each of the jurisdictions that coincides with the hour of MPS’s overall system peak recorded for each month in the test period.

Q.	Why use peak demand as the basis for allocations?

A.	Peak demand is the largest electric requirement occurring within a specified period of time (e.g., day, month, season, year) on a utility’s system.  In addition, for planning purposes, an amount must be included for meeting required contingency reserves.  Since generation units and transmission lines are planned, designed, and constructed to meet a utility’s anticipated system peak demands plus required reserves, the contribution of each individual jurisdiction to these peak demands is the appropriate basis on which to allocate the costs of these facilities.

Q.	Please describe the procedure for calculating the jurisdictional demand allocation factors using the 4 CP methodology.

A.	The allocation factor for each jurisdiction was determined using the following process:

  - Identify MPS’s peak hourly load in each month for the four - month period June 2002 through September 2002 and sum the hourly peak loads.

  - Sum the particular jurisdiction’s corresponding loads for the hours identified in #1 above.

  - Divide #2 above by #1 above.

The result is the allocation factor for the particular jurisdiction.  The sum of the demand allocation factors across all jurisdictions equals one.  The system peak and associated jurisdictional peaks where determined from information provided in the response to Staff Data Requests 52, 330 and 353.

Q.	What are the results of your calculations?

A.	As shown on Schedule 3 attached to this direct testimony, the calculated demand jurisdictional allocation factors for the updated test year are as follows:

Retail	 0.9869

Wholesale	 0.0131

Q.	Which Staff witness used your jurisdictional demand allocation factors?

A.	I provided these jurisdictional demand allocation factors to Staff witness Phillip K. Williams.

## ENERGY ALLOCATION FACTOR

Q.	What types of costs were allocated on the basis of energy?

A.	Variable expenses, such as fuel and certain operational and maintenance (O&M) costs, are allocated to the jurisdictions based on energy consumption.

Q.	How did you calculate the energy allocation factor?

A.	The energy allocation factor for an individual jurisdiction is the ratio of the annual kilowatt-hour (kWh) usage in the particular jurisdiction to the total MPS system kWh usage.  The sum of the energy allocation factors across jurisdictions equals one.  Applicable jurisdictional kWh usage totals were provided in the response to Staff Data Request Nos. 46 and 54.

- What are the calculated energy allocation factors in this case?

A.	The factors are shown in Schedule 4 and repeated here.

Retail	.9843

Wholesale	.0157

Q.	Which Staff witness used your jurisdictional energy allocation factors?

A.	I provided these jurisdictional energy allocation factors to Staff witness Phillip K. Williams.

Q.	Does this conclude your prepared Direct Testimony?

A.	Yes, it does.