Direct Testimony

ER-2002-424 (Empire District Electric Company)

ER-2004-0034 (Aquila Networks)

ER-2004-0570 (Empire District Electric Company)

Rebuttal Testimony

ER-2004-0034 (Aquila Networks)

Cross-Surrebuttal

EO-2004-0108 (Ameren)

| Empire District Electric Company |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Residential Loads |  |  |  |  |  |  |  |  |  |  |
| Normalized for 2003 |  |  |  |  |  |  |  |  |  |  |
| ER-2004-0570 |  |  |  |  |  |  |  |  |  |  |
|  | Monthly Usage (MWh) |  | Monthly Peaks (MW) |  |  |  |  |  | Load Factor |  |
| Month | Actual | Normal | Adj | % Adj | Actual | Normal | Wthr Adj | % Adj | Actual | Normal |
| Jan-03 | 193,045 | 185,123 | -7,921 | -4.10% | 444 | 438 | -6 | -1.37% | 0.58 | 0.57 |
| Feb-03 | 183,008 | 174,014 | -8,994 | -4.91% | 461 | 437 | -24 | -5.31% | 0.59 | 0.59 |
| Mar-03 | 160,463 | 159,126 | -1,337 | -0.83% | 458 | 453 | -5 | -1.04% | 0.47 | 0.47 |
| Apr-03 | 116,205 | 113,356 | -2,849 | -2.45% | 336 | 329 | -7 | -2.07% | 0.48 | 0.48 |
| May-03 | 100,721 | 105,777 | 5,056 | 5.02% | 315 | 332 | 17 | 5.40% | 0.43 | 0.43 |
| Jun-03 | 109,502 | 126,827 | 17,325 | 15.82% | 347 | 357 | 10 | 2.85% | 0.44 | 0.49 |
| Jul-03 | 163,149 | 159,668 | -3,481 | -2.13% | 388 | 395 | 8 | 1.94% | 0.57 | 0.54 |
| Aug-03 | 187,017 | 176,720 | -10,297 | -5.51% | 456 | 446 | -10 | -2.29% | 0.55 | 0.53 |
| Sep-03 | 114,397 | 130,162 | 15,765 | 13.78% | 369 | 436 | 67 | 18.04% | 0.43 | 0.41 |
| Oct-03 | 98,124 | 102,912 | 4,788 | 4.88% | 245 | 257 | 12 | 5.09% | 0.54 | 0.54 |
| Nov-03 | 105,362 | 109,686 | 4,323 | 4.10% | 293 | 290 | -2 | -0.77% | 0.50 | 0.52 |
| Dec-03 | 158,135 | 164,206 | 6,071 | 3.84% | 371 | 403 | 31 | 8.44% | 0.57 | 0.55 |
| Annual | 1,689,126 | 1,707,575 | 18,449 | 1.09% | 461 | 453 | -8 | -1.78% | 0.42 | 0.43 |
| Summer | 574,064 | 593,376 | 19,312 | 3.36% | 456 | 446 | -10 | -2.29% | 0.43 | 0.45 |
| Other | 1,115,062 | 1,114,199 | -863 | -0.08% | 461 | 453 | -8 | -1.78% | 0.41 | 0.42 |

Schedule 2

Schedule 3

| Empire District Electric Company |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Commercial Loads |  |  |  |  |  |  |  |  |  |  |
| Normalized for 2003 |  |  |  |  |  |  |  |  |  |  |
| ER-2004-0570 |  |  |  |  |  |  |  |  |  |  |
|  | Monthly Usage (MWh) |  |  |  | Monthly Peaks (MW) |  |  |  | Load Factor |  |
| Month | Actual | Normal | Adj | % Adj | Actual | Normal | Wthr Adj | % Adj | Actual | Normal |
| Jan-03 | 31,487 | 30,730 | -757 | -2.40% | 70 | 70 | 0 | -0.69% | 0.60 | 0.59 |
| Feb-03 | 31,124 | 30,254 | -870 | -2.80% | 77 | 76 | -1 | -0.81% | 0.60 | 0.59 |
| Mar-03 | 28,419 | 28,264 | -155 | -0.55% | 70 | 69 | -1 | -0.76% | 0.55 | 0.55 |
| Apr-03 | 25,085 | 24,319 | -766 | -3.06% | 71 | 57 | -14 | -19.97% | 0.49 | 0.60 |
| May-03 | 25,988 | 26,740 | 752 | 2.89% | 74 | 76 | 2 | 3.16% | 0.47 | 0.47 |
| Jun-03 | 27,170 | 29,782 | 2,611 | 9.61% | 88 | 89 | 1 | 1.15% | 0.43 | 0.47 |
| Jul-03 | 34,872 | 34,436 | -436 | -1.25% | 80 | 82 | 2 | 1.87% | 0.58 | 0.57 |
| Aug-03 | 38,056 | 36,473 | -1,583 | -4.16% | 92 | 89 | -3 | -3.16% | 0.55 | 0.55 |
| Sep-03 | 25,922 | 28,287 | 2,366 | 9.13% | 79 | 86 | 7 | 9.01% | 0.45 | 0.46 |
| Oct-03 | 25,333 | 25,928 | 595 | 2.35% | 67 | 74 | 7 | 10.96% | 0.51 | 0.47 |
| Nov-03 | 24,427 | 24,583 | 156 | 0.64% | 57 | 55 | -2 | -2.96% | 0.60 | 0.62 |
| Dec-03 | 28,261 | 29,075 | 815 | 2.88% | 63 | 66 | 4 | 6.19% | 0.61 | 0.59 |
| Annual | 346,144 | 348,872 | 2,728 | 0.79% | 92 | 89 | -3 | -3.16% | 0.43 | 0.45 |
| Summer | 126,020 | 128,979 | 2,958 | 2.35% | 92 | 89 | -3 | -3.16% | 0.47 | 0.49 |
| Other | 220,124 | 219,893 | -230 | -0.10% | 77 | 76 | -1 | -0.81% | 0.49 | 0.50 |

| Empire District Electric Company |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Space Heating Loads |  |  |  |  |  |  |  |  |  |  |
| Normalized for 2003 |  |  |  |  |  |  |  |  |  |  |
| ER-2004-0570 |  |  |  |  |  |  |  |  |  |  |
|  | Monthly Usage (MWh) |  |  |  | Monthly Peaks (MW) |  |  |  | Load Factor |  |
| Month | Actual | Normal | Adj | % Adj | Actual | Normal | Wthr Adj | % Adj | Actual | Normal |
| Jan-03 | 9,522 | 9,159 | -364 | -3.82% | 22 | 22 | -1 | -2.86% | 0.58 | 0.57 |
| Feb-03 | 9,668 | 9,267 | -401 | -4.15% | 25 | 24 | -1 | -3.59% | 0.57 | 0.57 |
| Mar-03 | 8,554 | 8,485 | -69 | -0.81% | 20 | 20 | 0 | -0.24% | 0.58 | 0.57 |
| Apr-03 | 6,564 | 6,307 | -257 | -3.91% | 17 | 14 | -2 | -12.74% | 0.55 | 0.61 |
| May-03 | 6,018 | 6,115 | 97 | 1.61% | 15 | 15 | 0 | 2.89% | 0.55 | 0.54 |
| Jun-03 | 6,338 | 6,673 | 335 | 5.29% | 16 | 17 | 0 | 2.31% | 0.54 | 0.56 |
| Jul-03 | 7,601 | 7,544 | -57 | -0.75% | 17 | 17 | 0 | 1.17% | 0.61 | 0.60 |
| Aug-03 | 8,425 | 8,249 | -177 | -2.10% | 24 | 24 | 0 | -0.98% | 0.47 | 0.46 |
| Sep-03 | 7,074 | 7,360 | 285 | 4.03% | 18 | 19 | 1 | 5.14% | 0.54 | 0.54 |
| Oct-03 | 5,713 | 5,804 | 91 | 1.60% | 14 | 15 | 1 | 4.96% | 0.55 | 0.53 |
| Nov-03 | 5,826 | 5,897 | 71 | 1.23% | 14 | 14 | 0 | -1.16% | 0.56 | 0.58 |
| Dec-03 | 7,844 | 8,226 | 382 | 4.87% | 17 | 19 | 2 | 10.07% | 0.60 | 0.58 |
| Annual | 89,148 | 89,086 | -63 | -0.07% | 25 | 24 | -1 | -3.59% | 0.40 | 0.42 |
| Summer | 29,439 | 29,825 | 387 | 1.31% | 24 | 24 | 0 | -0.98% | 0.41 | 0.42 |
| Other | 59,710 | 59,260 | -449 | -0.75% | 25 | 24 | -1 | -3.59% | 0.41 | 0.42 |

Schedule 4

| Empire District Electric Company |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Electric Building Loads |  |  |  |  |  |  |  |  |  |  |
| Normalized for 2003 |  |  |  |  |  |  |  |  |  |  |
| ER-2004-0570 |  |  |  |  |  |  |  |  |  |  |
|  | Monthly Usage (MWh) |  |  |  | Monthly Peaks (MW) |  |  |  | Load Factor |  |
| Month | Actual | Normal | Adj | % Adj | Actual | Normal | Wthr Adj | % Adj | Actual | Normal |
| Jan-03 | 33,028 | 31,790 | -1,237 | -3.75% | 78 | 77 | -1 | -1.16% | 0.57 | 0.56 |
| Feb-03 | 29,560 | 28,188 | -1,373 | -4.64% | 72 | 71 | -1 | -1.22% | 0.61 | 0.59 |
| Mar-03 | 27,787 | 27,566 | -221 | -0.79% | 68 | 67 | -1 | -1.24% | 0.55 | 0.55 |
| Apr-03 | 24,533 | 23,686 | -847 | -3.45% | 58 | 56 | -2 | -3.91% | 0.59 | 0.59 |
| May-03 | 25,401 | 25,808 | 407 | 1.60% | 58 | 59 | 1 | 1.76% | 0.59 | 0.59 |
| Jun-03 | 25,872 | 27,272 | 1,399 | 5.41% | 63 | 63 | 1 | 0.86% | 0.57 | 0.60 |
| Jul-03 | 31,065 | 30,841 | -224 | -0.72% | 61 | 62 | 1 | 1.32% | 0.69 | 0.67 |
| Aug-03 | 33,108 | 32,364 | -744 | -2.25% | 69 | 68 | -1 | -1.62% | 0.65 | 0.64 |
| Sep-03 | 26,870 | 28,093 | 1,223 | 4.55% | 64 | 67 | 4 | 6.01% | 0.59 | 0.58 |
| Oct-03 | 25,998 | 26,410 | 412 | 1.58% | 56 | 59 | 3 | 5.98% | 0.63 | 0.60 |
| Nov-03 | 25,740 | 26,044 | 304 | 1.18% | 63 | 63 | 0 | -0.49% | 0.57 | 0.58 |
| Dec-03 | 30,690 | 31,948 | 1,258 | 4.10% | 67 | 72 | 6 | 8.32% | 0.62 | 0.60 |
| Annual | 339,653 | 340,010 | 357 | 0.11% | 78 | 77 | -1 | -1.16% | 0.50 | 0.51 |
| Summer | 116,916 | 118,570 | 1,654 | 1.42% | 69 | 68 | -1 | -1.62% | 0.58 | 0.60 |
| Other | 222,737 | 221,439 | -1,297 | -0.58% | 78 | 77 | -1 | -1.16% | 0.49 | 0.49 |

Schedule 5

| Empire District Electric Company |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| General Power Loads |  |  |  |  |  |  |  |  |  |  |
| Normalized for 2003 |  |  |  |  |  |  |  |  |  |  |
| ER-2004-0570 |  |  |  |  |  |  |  |  |  |  |
|  | Monthly Usage (MWh) |  |  |  | Monthly Peaks (MW) |  |  |  | Load Factor |  |
| Month | Actual | Normal | Adj | % Adj | Actual | Normal | Wthr Adj | % Adj | Actual | Normal |
| Jan-03 | 69,122 | 68,549 | -573 | -0.83% | 132 | 132 | 0 | -0.14% | 0.70 | 0.70 |
| Feb-03 | 65,199 | 64,633 | -567 | -0.87% | 134 | 133 | -2 | -1.17% | 0.72 | 0.73 |
| Mar-03 | 66,633 | 66,221 | -411 | -0.62% | 130 | 130 | 0 | 0.02% | 0.69 | 0.69 |
| Apr-03 | 64,467 | 62,243 | -2,224 | -3.45% | 139 | 121 | -18 | -12.83% | 0.64 | 0.71 |
| May-03 | 69,806 | 70,827 | 1,020 | 1.46% | 149 | 148 | -1 | -0.53% | 0.63 | 0.64 |
| Jun-03 | 71,396 | 75,059 | 3,663 | 5.13% | 156 | 159 | 3 | 1.82% | 0.64 | 0.66 |
| Jul-03 | 87,281 | 86,616 | -666 | -0.76% | 167 | 168 | 1 | 0.42% | 0.70 | 0.69 |
| Aug-03 | 87,509 | 85,431 | -2,078 | -2.37% | 177 | 172 | -5 | -2.70% | 0.66 | 0.67 |
| Sep-03 | 69,448 | 72,960 | 3,511 | 5.06% | 153 | 163 | 11 | 7.09% | 0.63 | 0.62 |
| Oct-03 | 70,589 | 71,248 | 659 | 0.93% | 145 | 152 | 7 | 4.74% | 0.65 | 0.63 |
| Nov-03 | 69,225 | 68,843 | -382 | -0.55% | 154 | 145 | -8 | -5.33% | 0.63 | 0.66 |
| Dec-03 | 72,038 | 72,613 | 574 | 0.80% | 143 | 143 | 0 | 0.07% | 0.68 | 0.68 |
| Annual | 862,715 | 865,241 | 2,526 | 0.29% | 177 | 172 | -5 | -2.70% | 0.56 | 0.57 |
| Summer | 315,635 | 320,066 | 4,430 | 1.40% | 177 | 172 | -5 | -2.70% | 0.61 | 0.63 |
| Other | 547,080 | 545,176 | -1,905 | -0.35% | 154 | 152 | -2 | -1.00% | 0.61 | 0.62 |

Schedule 6