## General

Laclede Gas Company, as a regulated public utility, is required to maintain records of its annual property additions and retirements in accordance with “The Uniform System of Accounts”.  Further, we have the normal business requirement to be aware of the value of property owned for such purposes as paying property taxes, insuring property, determining rates of depreciation, etc.

As it would be impractical to keep records of each small piece of property owned, we are permitted to use a property accounting and records system that avoids such undue refinement.  We are compelled, however, to meet certain minimum detail requirements and also to maintain consistency in our accounting policy.

## Purpose and Scope

This catalog has been compiled to further a better understanding of our property accounting and records system and is issued as a guide to persons concerned with the requirements and use of this system.  Specifically the purposes of this catalog are:

a)	To define, or distinguish between the terms used in property accounting.

b)	To describe the various classifications of property and the accounting requirements applicable to each.

c)	To aid in the consistent identification of property.

d)	To provide a basis for the consistent assignment of costs to construction, retirement and maintenance.

The information and instructions presented in the catalog are intended to be complete but of necessity are based on our existing property and present construction and maintenance practices.  It would therefore be impractical to expect these provisions to meet all future contingencies.  Any situation not covered should be handled in accordance with the instructions of the Property Records until such time as a revision is issued.  Also, whenever strict interpretation of the provisions of this catalog would apparently violate the spirit and intent thereof, the matter should be referred to the Asset Management Department for handling as an exception to the catalog provisions.

## Correctness of Records

As in any continuing records system involving such numerous and diverse items, there is a need for periodic verification of correctness.  To meet this need, a listing of certain classification of plant in service, arranged by location, will be distributed annually for review by various departments.  Any omissions or discrepancies noted in these listings should be promptly reported to the Asset Management Department.  In addition, formal inventories will be conducted on a periodic basis as often as necessary.  Your cooperation in this program of annual review and periodic inventory is essential.

## Additions and Revisions

Any cancellation, revision or addition to this catalog shall be authorized by the Vice President – Finance.  All suggestions for improvement or requests for revision should be forwarded to the Asset Management Department.

1)	ADDITION – the purchase, construction, installation or acquisition of gas plant not previously owned.

2)	BETTERMENT – the replacement of minor items of property for the primary purpose of making the facilities affected more useful, more efficient, of greater durability or of greater capacity.

3)	BOOK COST – the amount at which property is recorded in the plant accounts without deduction of related provisions for accrued depreciation, depletion, etc.

4)	CLASSIFICATION – see “Property Classification”.

5)	COST OF REMOVAL – the cost of demolishing, dismantling, cutting off, tearing down or otherwise removing gas plant, including the cost of transportation and handling incidentals thereto.

6)	DETAIL CODE REQUIREMENTS – the specifying qualifications required in certain property classifications to distinguish and differentiate among a given class of retirement units.

7)	LOCATION CODE REQUIREMENTS – the specifying qualification required in certain property classifications to assign a specific locational identification to each retirement unit.

8)	MAINTENANCE – all current expenditures recurring from day to day and from month to month for the general upkeep of existing property without renewal of any substantial part thereof (i.e., replacement of a retirement unit), and generally all periodic repairs which are necessarily undertaken to continue the useful life of the property.  This generally will include:

a)	Direct field supervision of maintenance.

b)	Inspecting, testing, and reporting on condition of plant specifically to determine the need for repairs, replacements, rearrangements and changes and inspecting and testing the adequacy of repairs which have been made.

c)	Work performed specifically for the purpose of preventing failure, restoring serviceability or maintaining life of plant.

d)	Rearranging and changing the location of plant not retired.

e)	Repairing for reuse materials recovered from plant.

f)	Testing for, locating and clearing trouble.

g)	Net cost of installing, maintaining, and removing temporary facilities to prevent interruptions in service.

h)	Replacing or adding minor items of plant which do not constitute a retirement unit.

9)	MINOR ITEMS OF PROPERTY – the associated parts or items of which retirement units are composed.

10)	NON-SEPARABLE ITEMS – those functional units of property which cannot be separated from one another either physically or in terms of cost.

11)	PLANT ACCOUNTS – those accounts in which are recorded the original cost of property owned and used by the utility in its gas operations, having a service life of more than one year from the date of installation.

12)	PROPERTY CLASSIFICATION – a primary division of gas plant by which the records and accounting requirements are determined.  A classification may consist of a specific item such as “Automobiles” or it may consist of a functional assembly such as “Buildings”.

13)	REPLACEMENT – the purchase, construction, installation or acquisition of gas plant in place of gas plant retired, together with the removal or abandonment of the gas plant retired.

14)	RETIREMENT – the sale, removal, abandonment or destruction of gas plant or the withdrawal of gas plant from service for any cause.

15)	RETIREMENT UNIT – an item or assembly of items which is always accounted for in the gas plant accounts when they are added or removed (with or without replacement).

16)	SALVAGE VALUE – the amount received for property retired, less any expenses incurred in connection with the sale or in preparing the property for sale; or, if retained, the amount at which the material recoverable is chargeable to Materials and Supplies, or other appropriate account.

## Property Classifications

All gas plant property has been segregated into various property classifications.  The requirements of our property accounting and records system depends on which classification is involved.  These requirements are given in this catalog for each property classification along with a description that is sufficient to define the classification limits.

A classification may be composed of similar specific items such as “METERS – CUSTOMERS” or “AUTOMOBILES”, or it may consist of functional assemblies such as “BUILDINGS” or “DISTRICT REGULATOR STATIONS”.  Generally, the items or assembly of items comprising a classification are readily identifiable, perform a single operating or functional purpose and are usually added, removed or abandoned as a single item or group.

## Retirement Units

In order to avoid undue refinement in our property accounting and records system, we are permitted to consider that all gas plant additions, retirements or replacements consist of (1) retirement units and (2) minor items of property.  Retirement units are those items of property which are always accounted for in the plant accounts when they are added or removed from service (with or without replacement).  A list of applicable retirement units is given in this catalog for each property classification.  Also included is a List of General Retirement Units which are common to more than one classification.  This general list should be considered when it is referred to in the lists given for the respective classifications.

Inasmuch as retirement units have been defined as those items which are always accounted for in the plant accounts when they are added or removed from service, the predetermination of these units therefore establishes a consistent policy of cost assignment to construction, retirement and maintenance.  The retirement units listed in this catalog have been determined on the basis of the following considerations:

a)	They are readily separable from a large assembly of which they form a part.

b)	They perform a single function and are usually added, removed, abandoned or replaced as a unit.

c)	They are relatively costly compared with other items in a particular classification.

d)	They are consistent with the minimum requirements for detail prescribed by regulatory authority and our overall Company needs.

## Minor Items of Property

Minor items of property are the associated parts or items of which retirement units are composed and are generally not separately recorded or accounted for in the gas plant accounts.  Any item of property not designated as a retirement unit in this catalog shall be considered a minor item of property.

## Property Codes

The usefulness of a property records system can be most economically increased through utilization of electronic data processing equipment.  Provision has therefore been made in this catalog for the inclusion of required data processing codes.  Generally, code symbols have been assigned to such information as property classification, retirement unit, retirement unit detail, and location.

## Accounting and Work Order Requirements

The accounting and work order requirements as specified under Gas Plant Instruction 10 and 11 of the Classification of Accounts Manual have been included in this catalog.  See “Accounting for Retirement Units” and “Accounting for Minor Items” for further details.

## Addition of a Retirement Unit

When one or more retirement units are added to gas plant, the costs thereof shall be added to the appropriate gas plant account.  A construction work order is required for such action.

## Retirement of a Retirement Unit

When one or more retirement units are retired from gas plant, the book cost thereof shall be credited to the gas plant account in which the property is included.  If the retirement unit is of a depreciable class, the book cost of the unit retired and credited to gas plant, along with the cost of  removal and salvage value shall be charged to the applicable provision for depreciation.   A retirement work order is required to account for such action.

## Replacement of a Retirement Unit

When one or more retirement units are replaced, the accounting shall be as indicated above for the retirement of the old property and the addition of the new.  Both a retirement and a construction work order are required to account for such action.

Notes:

a)	It is in keeping with the intent of this catalog that property be accounted for in the smallest applicable retirement units.  It is not intended, however, to require separation of items that are integral to a larger unit or which are accessories of small relative cost.

b)	The retirement units generally include all applicable components of construction costs, including the costs of accessories not otherwise listed as units.

c)	Retirement units which include the costs of non-separable items are provided for certain types of installations.  Also includible in these units are the costs of accessories and installation pertaining to those associated units of equipment which will likely be replaced without substantially affecting the accessory items.  Examples are intraconnecting piping, supports, wiring, etc., that are solely associated with such items as meters, instruments, regulators, etc.

d)	The inclusion of a retirement unit in a classification is warranted only when its function and type is in keeping with the text of the classification description.

e)	A retirement unit should be considered as a whole for retirement purposes.  The determination of when a unit is retired should be based on its functional usefulness.  For instance, if a compressor is removed but some minor item accessories are left in place, the entire unit should be retired.

## Addition of Minor Items

When a minor item of property is added to gas plant, its cost shall be charged to the appropriate maintenance expense account except in the following cases in which the addition will be accounted for in the same manner as for the addition of a retirement unit:

a)	The installed cost of the minor item is in excess of $500.00.

b)	The installed cost of a group of like minor items added to a retirement unit or group of like retirement units is in excess of $5,000.00.

c)	The minor item of property is added to an existing retirement unit in conjunction with other work being performed on a construction work order.

## Retirement of Minor Items

When a minor item of property is retired from gas plant and not replaced, the cost of the minor item will not be credited to the plant account until the retirement unit, of which the minor item is a component part, is retired, or unless it qualifies under (c) below.  The cost of removal or salvage will be charged or credited to the appropriate maintenance expense account except in the following cases in which the removal will be accounted for by means of a retirement work order:

a)	Either the net salvage or cost of removal of the minor item is in excess of $500.00.

b)	The minor item of property is removed in conjunction with other work being performed on a retirement work order.

c)	The minor item of property is 10% of the retirement unit of which it forms a part, or $500.00, whichever is greater.

## Replacement of Minor Items

When a minor item of property is replaced independently of the retirement unit of which it forms a part, the cost incurred in such replacement shall be charged to the appropriate maintenance expense account unless a substantial betterment is involved.  In such cases of betterment, the excess cost of replacement over the estimated cost at current prices of replacing without betterment shall be charged to the appropriate gas plant account.  A betterment is considered to be substantial when such excess cost is over $500.00.  A construction work order is required to account for these substantial betterments, and the charges will be split between capital and maintenance on closing.  No retirement work order is required.

## Transfer of a Retirement Unit

Retirement Units which are physically moved from one company account and/or location to another will be accounted for by transferring the original cost of the units from the old account and/or location to the new account and/or location.

Notes:

a)	Units which require removal and installation cost of less than $500 will be retained in property at their installed cost and any cost incurred to move or install the unit will be charged to maintenance.

b)	Units which require removal and installation cost in excess of $500 will be retained in the plant accounts at their original cost (including overheads) exclusive of installation costs.  The original installation costs will be retired.  A Journal Entry 39 transfer entry will be made to properly record the new account and/or location of the unit.  Cost of removal and reinstallation will be charged to appropriate retirement and construction work orders.

## Transfer of a Minor Item

If the minor item has a value of more than $500, it will be treated separately from the remainder of the property unit, and will in effect be treated as if constituting a property unit in its own right.

Accessory Structures	03

Automobiles	06

Boilers	08

Buildings	10

Communication Equipment – Radio	12

Compressors – Electric Driven	14

Compressors – Gas Engine Driven	15

Control Systems	18

Data Processing Systems	19

District Regulator Stations	20

Gas Conditioning Equipment	23

Gauges and Instruments	24

Heaters	26

Holders	27

House Regulators	29

Laboratory Equipment	32

Land	35

Land Rights	36

Landscaping	37

Mains	40

Main Crossings	41

Measuring and Regulating Equipment	44

Meters – Customers	46

Miscellaneous Equipment	49

Non-Recoverable Gas	48

Office Equipment	50

Office Furniture and Fixtures	51

Power and Lighting Systems	56

Power Operated Equipment	58

Liquefied Petroleum Gas Storage Cavern	59

Propane Distribution Stations	60

Propane Plant Equipment	61

Reservoirs	62

Services	64

Station Piping	66

Stores Equipment	68

Street Lights	70

Telemetering Equipment	73

Tools, Shop, and Garage Equipment	76

Trailers	78

Trucks	79

Wells – Gas	84

Wells – Oil	85

Yard Improvements	90

INTANGIBLE PLANT

301.**		Organization	Land Rights	36

.00	ST CHAS

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

302.**		Franchise and Contents	Land Rights	36

.00	LACLEDE

.90	MIDWEST

MANUFACTURED GAS

PRODUCTION PLANT

304.00	LACLEDE	Land and Land Rights	Land	35

Land  Rights	36

305.00	LACLEDE	Structures and Improvements	Accessory Structures	03

Buildings	10

Landscaping	37

Yard Improvements	90

307.00	LACLEDE	Other Power Equipment	Accessory Structures	03

Control Systems	18

Power and Lighting System	56

311.00	LACLEDE	Liquefied Petroleum Gas	Accessory Structures	03

Equipment	Boilers	08

Control Systems	18

Gas Conditioning Equipment	23

Gauges and Instruments	24

Heaters	26

Main	40

Power and Lighting Systems	56

Propane Plant Equipment	61

Station Piping	66

Telemetering Equipment	73

Yard Improvements	90

311.10	LACLEDE	Propane Cavern	Cavern	59

Propane Plant Equipment	61

Yard Improvements	90

UNDERGROUND STORAGE

PLANT

350.10	LACLEDE	Land	Land	35

350.20	LACLEDE	Rights of Way	Land Rights	36

351.20	LACLEDE	Compressor Station Structures	Accessory Structures	03

Buildings	10

Landscaping	37

Yard Improvements	90

351.40	LACLEDE	Other Structures	Accessory Structures	03

Buildings	10

Landscaping	37

Yard Improvements	90

352.00	LACLEDE	Wells – Gas and Observation	Wells – Gas	84

352.10	LACLEDE	Storage Leaseholds and Rights	Land Rights	36

352.20	LACLEDE	Reservoirs	Reservoirs – Natural Gas	62

352.30	LACLEDE	Non-Recoverable Natural Gas	Non-Recoverable Natural Gas	48

352.40	LACLEDE	Wells – Oil and Vent Gas	Wells – Gas	84

Wells – Oil	85

353.00	LACLEDE	Lines	Station Piping	66

354.00	LACLEDE	Compressor Station Equipment	Accessory Structures	03

Compressors-Gas Driven Engine	15

Control Systems	18

Gas Conditioning Equipment	23

Power and Lighting Systems	56

Station Piping	66

355.00	LACLEDE	Measuring and Regulating	Accessory Structures	03

Equipment	Control Systems	18

Gas Conditioning Equipment	23

Heaters	26

Measuring & Regulating Equip.	44

Station Piping	66

Telemetering Equipment	73

356.00	LACLEDE	Purification Equipment	Accessory Structures	03

Control Systems	18

Gas Conditioning Equipment	23

Heaters	26

Power and Lighting Systems	56

Station Piping	66

357.00	LACLEDE	Other Equipment	Accessory Structures	03

Control Systems	18

Gas Conditioning Equipment	23

Gauges and Instruments	24

Laboratory Equipment	32

Power and Lighting Systems	56

Station Piping	66

Tools, Shop & Garage Equip.	76

LOCAL STORAGE PLANT

360.00	LACLEDE	Land and Land Rights	Land	35

Land Rights	36

361.00	LACLEDE	Structures and Improvements	Accessory Structures	03

Buildings	10

Landscaping	37

Yard Improvements	90

362.00	LACLEDE	Gas Holders	Accessory Structures	03

Boilers	08

Control Systems	18

Heaters	26

Holders	27

Power and Lighting Systems	56

Station Piping	66

Telemetering Equipment	73

363.30	LACLEDE	Compressor Equipment	Accessory Structures	03

Boilers	08

Compressors-Electric Driven	14

Compressors-Gas Engine Driven	15

Control Systems	18

Gas Conditioning Equipment	23

Power and Lighting Systems	56

Station Piping	66

Telemetering Equipment	73

TRANSMISSION PLANT

365.72	MONAT	Rights of Way	Land Rights	36

367.70	MONAT	Mains	Mains	40

Main Crossing	41

371.70	MONAT	Other Equipment Transmission	Accessory Structures	03

Control Systems	18

District Regulator Stations	20

Gas Conditioning Equipment	23

Gauges and Instruments	24

Measuring & Regulating Equip.	44

Power and Lighting Systems	56

Telemetering Equipment	73

DISTRIBUTION PLANT

374.**		Land and Land Rights	Land	35

.00	LACLEDE		Land Rights	36

.10	ST CHAS

.60	SULLIVAN

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

375.10	LACLEDE	Structures & Improvements -	Accessory Structures	03

Measuring and Regulating	Buildings	10

Station Structures	Landscaping	37

Yard Improvements	90

375.20	LACLEDE	Structures & Improvements -	Accessory Structures	03

Service Centers and Storerooms	Buildings	10

Landscaping	37

Yard Improvements	90

375.30	LACLEDE	Structures & Improvements -	Accessory Structures	03

Garages	Buildings	10

Landscaping	37

Yard Improvements	90

375.40	ST CHAS	Structures & Improvements -	Accessory Structures	03

.60	SULLIVAN	Distribution	Buildings	10

.70	MONAT		Landscaping	37

.80	FRANKLIN		Yard Improvement	90

.90	MIDWEST

375.21	LACLEDE	Structures & Improvements - 	Accessory Structures	03

.41	ST CHAS	Distribution – Leased Property	Buildings	10

.81	FRANKLIN		Landscaping	37

Yard Improvements	90

376.**		Mains – Steel	Mains	40

.10	LACLEDE		Main Crossings	41

.11	ST CHAS

.60	SULLIVAN

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

376.**		Mains – Cast Iron	Mains	40

.20	LACLEDE		Main Crossings	41

.21	ST CHAS

.72	MONAT

376.**		Mains – Plastic, Copper	Mains	40

.30	LACLEDE		Main Crossings	41

.31	ST CHAS

.63	SULLIVAN

.73	MONAT

.83	FRANKLIN

.93	MIDWEST

378.**		Measuring and Regulating	Accessory Structures	03

.00	LACLEDE	Station Equipment – General	Control Systems	18

.10	ST CHAS		District Regulator Stations	20

.70	MONAT		Gas Conditioning Equipment	23

.80	FRANKLIN		Gauges and Instruments	24

.90	MIDWEST		Power and Lighting System	56

Telemetering Equipment 	73

379.**		Measuring & Regulating	Accessory Structures	03

.00	LACLEDE	Station Equipment – City	Control Systems	18

.10	ST CHAS	Gate Check Station	Gas Conditioning Equipment	23

.60	SULLIVAN		Gauges and Instruments	24

.70	MONAT		Heaters	26

.80	FRANKLIN		Power and Lighting Systems	56

.90	MIDWEST		Station Piping 	66

Telemetering Equipment 	73

380.**		Services – Steel	Services	64

.10	LACLEDE

.11	ST CHAS

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

380.**		Services – Plastic, Copper	Services	64

.20	LACLEDE

.21	ST CHAS

.62	SULLIVAN

.72	MONAT

.82	FRANKLIN

.92	MIDWEST

381.**		Meters	Gauges and Instruments	24

.00	LACLEDE		Meters – Customers	46

.10	ST CHAS

.60	SULLIVAN

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

383.**		House Regulators	House Regulators	29

.00	LACLEDE

.10	ST CHAS

.60	SULLIVAN

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

385.**		Commercial and Industrial	Meters – Customers	46

.00	LACLEDE	Measuring and Regulating	Telemetering Equipment	73

.10	ST CHAS	Station Equipment

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

386.**		Other Property on Customers’	Propane Distribution Sta.	60

.10	LACLEDE	Premises – Liquefied Petroleum

.20	ST CHAS	Gas Systems

.80	FRANKLIN

.90	MIDWEST

387.**		Other Distribution Equipment -	Street Lights	70

.00	LACLEDE	Street Lighting Equipment

.10	ST CHAS

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

GENERAL PLANT

389.70	MONAT	Land and Land Rights	Land	35

Land Rights	36

390.10	LACLEDE	Structures & Improvements -	Buildings	10

Leased General Office

390.**		Structures & Improvements -	Buildings	10

.70	MONAT	General Office	Landscaping	37

.80	FRANKLIN

.90	MIDWEST

390.30	ST CHAS	Structures & Improvements -	Buildings	10

.71	MONAT	Leased Property	Yard Improvements	90

.81	FRANKLIN

391.**		Office Furniture	Office Furniture & Fixture	51

.00	LACLEDE

.12	ST CHAS

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

391.**		Data Processing Systems	Data Processing Systems	19

.10	LACLEDE

.11	LACLEDE

.13	ST CHAS

.40	LACLEDE

.61	SULLIVAN

.71	MONAT

.81	FRANKLIN

.91	MIDWEST

391.**		Mechanical Office Equipment	Mechanical Office Equipment	50

.20	LACLEDE

.21	ST CHAS

.72	MONAT

.82	FRANKLIN

.92	MIDWEST

391.30	LACLEDE	Data Processing – Software	Data Processing Systems	19

392.10	LACLEDE	Transportation Equipment	Automobiles	06

.61	SULLIVAN	Automobiles

.70	MONAT

392.20	LACLEDE	Transportation Equipment	Trucks	79

.71	MONAT	Trucks

393.**		Stores Equipment	Stores Equipment	68

.00	LACLEDE

.10	ST CHAS

.60	SULLIVAN

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

394.**		Tools, Shop & Garage 	Tools, Shop & Garage Equipment	76

.00	LACLEDE	Equipment	Trailers	78

.10	ST CHAS

.60	SULLIVAN

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

395.**		Laboratory Equipment	Laboratory Equipment	32

.00	LACLEDE

.10	ST CHAS

.70	MONAT

.80	FRANKLIN

396.**		Power Operated Equipment	Power Operated Equipment	58

.00	LACLEDE		Trailers	78

.70	MONAT

396.10	LACLEDE	Power Operated Equipment -	Trucks	79

Trucks

397.**		Communication Equipment	Communication Equipment – Radio	12

.00	LACLEDE

.10	ST CHAS

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

398.**		Miscellaneous Equipment	Miscellaneous Equipment	49

.00	LACLEDE

.10	ST CHAS

.70	MONAT

.80	FRANKLIN

.90	MIDWEST

### Power Attachments – Trucks	001

Truck Bodies	002

Trucks – Complete	003

Automobiles	004

Trucks – Cab and Chassis only	005

Carriages, Floats, for equipment	006

Personnel Carriers	007

Tar Kettles	008

Tool Carts	009

Trailers, Material	010

Construction and Excavating Equipment	011

Garage Equipment	012

Trailers, Special Purpose	013

Meter/Regulator Repair Equipment	014

Machine Tools	016

Welding Equipment	017

Power Driven Hand Tools	019

Survey Equipment	020

Electric Generator and Motors, Portable	021

Compressors and Pumps, Portable	022

Test Equipment	024

Miscellaneous Tools, Shop and Garage Equipment	029

Boat	035

Material Handling Equipment	041

Industrial Furniture and Fixtures	043

Material Inspection Equipment	044

Miscellaneous Stores Equipment	049

Analytical Instruments	050

Measuring Instruments	051

Laboratory Apparatus	052

Laboratory Fixtures	054

Miscellaneous Laboratory Equipment	059

Air Compressors	061

Trenchers, small	063

Trenchers, large	064

Backfillers, Loaders, Backhoes, Tampers	066

Boring Machines	068

Cranes	070

Welders, Electric	074

Other Power Operated Equipment	079

Base Station (non-separable items)	080

Antenna, base station	081

Antenna Supporting Structure	082

Transmission Cable	083

Transmitter, Receiver, base station	084

Central Signal Equipment (non-separable items)	085

Transmitter/Receiver (car unit)	088

Monitor Receivers	089

Cleaning Equipment	090

Fire Protection Equipment	091

Kitchen Equipment	092

Lunchroom Furniture	093

Medical or Hospital Equipment	094

Miscellaneous Office Equipment	095

Photographic Equipment	096

Transmitter/Receiver (Man Unit)	097

Battery Charger	098

Miscellaneous Equipment	099

Telephone Systems	100

Accounting Machines	111

Adding Machines	112

Calculators	114

Coin, Check and Related Machines	118

Dictation Equipment	119

Drafting Equipment	120

Duplicating Equipment	121

Photo Copy Equipment, Xerox	122

Mail Handling Equipment	123

Stationery Equipment	124

Typewriters	125

Typewriters, Special	126

Time Stamp Machines	128

Other Office Equipment	199

Bookcases	201

Cabinets, Storage	202

Cabinets, Map or Plan	203

Cabinets, Office Machine	204

Cabinets, Visable Record	205

Cabinets, File	210

File Accessories	211

Chairs	220

Desks	230

Costumers, Clothes Racks	231

Lockers	233

Stools	236

Benches	239

Tables	240

Floor Covering	244

Draperies, Blinds	245

Safes	248

Other Office Furniture	299

Processing Unit – Data Processing	310

Magnetic Tape Unit – Data Processing	313

Controls – Data Processing	316

Disc Packs – Data Processing	322

Storage Protection Units – Data Processing	325

Display Station – Data Processing	328

Microfiche Viewer – Data Processing	330

Microfiche Reader/Printer – Data Processing	333

Microfiche Reproduction Equipment – Data Processing	335

Other – Data Processing	340

Software – Data Processing	342

Computer – Data Processing	350

Monitor – Data Processing	352

Printer – Data Processing	354

Other Personal Computer Equip. – Data Processing	356

Substructures – Buildings	401

Structures – Buildings under 1000 sq. ft.	403

Structures – Buildings over 1000 sq. ft. (non-separable items)	410

Walls, Interior	411

Partitions, Movable	412

Floors	415

Floors, Tile	416

Windows – All for one building	417

Ceilings	420

Ceilings (suspended, acoustical)	421

Roofs	424

Gutters, Downspouts	425

Overhead Door	426

Hoists, Cranes (part of building)	428

Platforms (part of building)	429

Docks, Runways, Ramps (part of building)	430

Stairways	432

Stacks (part of building)	433

Counters, Shelves (built-in)	434

Fire Escapes	435

Flagpoles (part of building)	436

Shutters, Storm Windows, Awnings	437

Mailchutes	438

Vaults (part of building)	439

Heating/Air Conditioning Systems (non-separable items)	440

Air Conditioner Unit	441

Cooling Tower	443

Ductwork	445

Unit Heater	446

Power and Lighting Systems – Building (non-separable items)	450

Light Fixtures	451

Plumbing/Sewer System – Building (non-separable items)	460

Sewer, Drain Piping – Buildings	461

Water Heaters, Industrial	467

Plumbing Fixtures	468

Elevator Installations – Buildings (non-separable items)	470

Barricades	476

Bridge	477

Fences	478

Flagpole (not part of building)	479

Intercommunication System	480

Retaining Walls	481

Roadways, Sidewalks, Paving	483

Yard Lighting (non-separable items)	486

Light Post	487

Ramps, Runways, Docks	491

Water Reservoirs	492

Railroad Tracks	493

Landscaping	494

Sprinkler Systems	495

Land Rights – Gas	497

Land Rights – Oil	498

Land	499

Station Piping, Steel	501

Station Piping, Cast Iron	502

Station Piping, Plastic	506

Compressors and Appurtenances (non-separable items)	510

Compressors	512

Compressor Cylinders	513

Air Intake Line, compressor	514

Air Intake Silencer, compressor	515

Pulsation Dampeners	518

Suction Piping, compressor (non-separable items)	520

Interstage Piping, compressor (non-separable items)	521

Discharge Piping, compressor (non-separable items)	522

Cooling Systems, compressor (non-separable items)	523

Fin Fan Structures	524

Coils, Tubes, fin fan units	525

Gas, Natural – Non-recoverable	526

Exhaust Systems, compressor (non-separable items)	528

Fuel Systems, compressor (non-separable items)	532

Lubrication Systems, compressor (non-separable items)	536

Power/Starting Systems, compressor (non-separable items)	538

Starting Systems, gas engine compressors (non-separable items)	540

Control Systems (non-separable items)	550

Heaters and Appurtenances (non-separable items)	551

Heaters	552

Heater Coils	553

Heater Stacks	556

Connecting Piping – Heaters (non-separable items)	560

Fuel Systems – Heaters (non-separable items)	562

Burners, Heaters	563

Odorizer Installations (non-separable items)	570

Odorizers	571

Purification Systems (non-separable items)	574

Alcohol Injection Systems (non-separable items)	578

Boiler and Appurtenances (non-separable items)	601

Boilers	602

Stacks – Boilers (not part of building)	609

Burners	617

Holders and Appurtenances (non-separable items)	629

Holder Foundation	630

Holder Guide Frames	638

Lighting Systems – Holder	642

Connecting Piping – Holders	650

Heating Systems – Holder	654

Liquid Pump Facilities (non-separable items)	664

Vaporization Facilities, Unfired (non-separable items)	666

Liquid Piping – Propane (non-separable items)	668

Vapor Piping – Propane (non-separable items)	669

Well (all non-separable items)	671

Cavern, Liquid Petroleum	672

Wells, Gas (non-separable items)	681

Wells, Oil (non-separable items)	682

Well Casing	686

Well Tubing	687

Well Head Valve Assemblies	688

Oil Well Pumps	689

Mains, Steel	701

Mains, Cast Iron	702

Mains, Copper	703

Mains, Plastic	704

Rectifiers, Mains	706

Main Crossings	708

Main Crossing Structures	709

Services, Steel	711

Services, Copper	712

Services, Plastic	713

House Regulators, single seat	720

House Regulators, single seat w/internal relief	721

House Regulators, double seat/balanced valve	722

House Regulators, miscellaneous	723

Relief Valve, ½” and larger	726

Miscellaneous Safety Valves, ½” and larger	728

Regulator Station, Pre-fab, Above ground	730

Regulator Station, Pre-fab, Underground	731

Regulator Station (non-separable items)	732

Control Line Extension	733

Vent – Complete	734

Measuring and Regulating Installation (non-separable items)	739

Propane Distribution Stations (non-separable items)	745

Meter, Outside Reading Device – AMR	747

Meter, Outside Reading Device – RE	748

Meter, Outside Reading Device – ME	749

Meters, Customers, less than 4800 CFH	750

Meters, Customers, over 4800 CFH	751

Meter Installation, Standard Cost	756

Meter Installation, Specific	757

Street Lights, complete	771

Street Light Connections	772

Transmitters	801

Timers	802

Power Supply Units	803

Controllers – Remote	804

Receivers	805

Frequency Equipment	808

Totalizing and Logging  Equipment	810

Telemetering Test Equipment	811

Femco Unit	812

Telecontrol Unit	813

Miscellaneous Telemetering Equipment	815

Air Compressors	903

Batteries, Storage	906

Blowers, Fans, Exhausters	909

Controls	911

Coupling Devices, Speed Reducers, etc.	913

Drips, 12” or larger	916

Enclosures, Minor Building, for equipment	926

Engines	927

Exciters	928

Fences, for equipment in a single classification	929

Foundations, ½ cu. yd. or larger	930

Gauges, Controllers, Instruments, over $100	931

Franchise/Organization Cost	932

Generator Sets	933

Heaters	936

Heat Exchangers	938

Hoists or Cranes	940

Insulation, Over $500	942

Meters, positive displacement (excluding customers)	946

Meter Runs, orifice	948

Motors, Air	951

Motors, Electric 1 HP and larger	954

Operators, 4” or larger valves or regulators	957

Motor, Lever	958

Orifice Fittings 4” or larger	959

Panels, Power Distribution	960

Panels, Instrument or Gauge	961

Piping	963

Platforms, Ladders, for equipment	965

Primary Power Supply for equipment	966

Pumps	968

Regulators or Power Operated Valves, 2” or Larger	970

Separators, Dehydrators and Emulsion Treaters	972

Strainers, or Filters	975

Substations, unit type	978

Switchgear Assemblies	979

Tanks 250 gal. or larger	985

Transformers	990

Valves, 16” and larger	991

Valves, 6” and larger	992

Vaults, concrete, 75 cu. ft. or larger	993

Waste gas, or flare, burners	994

Wiring	995

Accounting Machine	50	111

Adding Machine	50	112

Air Conditioner Unit	10	441

Air Compressors	General	903

Air Intake Line, Compressor	15	514

Air Intake Silencer, Compressor	15	515

Alcohol Injection System	23	578

Antenna, Base Station	12	081

Antenna Supporting Structure	12	082

Automobile	06	004

Awnings	10	437

Backfillers	58	066

Backhoes	58	066

Barricades	90	476

Base Station	12	080

Battery Charger	12	098

Batteries, Storage	General	906

Benches	51	239

Billing Machine	50	111

Blinds	51	245

Blowers	General	909

Boat	76	035

Boiler Appurtenances	08	601

Boilers	08	602

Bookcases	51	201

Boring machines	58	068

Bridge	90	477

Burners	08	617

Burners, Heater	26	563

Cabinets, File	51	210

Cabinets, Map or Plan	51	203

Cabinets, Office Machine	51	204

Cabinets, Storage	51	202

Cabinets, Visible Records	51	205

Cable, Transmission	12	083

Calculators	50	114

Carriages, for Equipment	78	006

Carriers, Personnel	78	007

### Carts, Tool	78	009

### Cavern, Liquid Petroleum	59	672

Ceilings	10	420

Ceilings (Suspended, Acoustical)	10	421

Chairs	51	220

Check Machine	50	118

Cleaning Equipment	49	090

Clothes Racks	51	231

Coils, Fin Fan Units	15	525

Coin Machine	50	118

Compressors	14-15	512

Compressors, Air	58	061

Compressor Cylinders	14-15	513

Compressors and Appurtenances	14-15	510

Compressors and Pumps, Portable	76	022

Construction Equipment	76	011

Control Line Extension	20-44	733

Control System	18	550

Controls	General	911

Controls – Data Processing	19	316

Controllers, over $100	General	931

Controllers – Remote	73	804

Cooling System, Compressor	14-15	523

Cooling Tower	10	443

Costumers	51	231

Couches	51	239

Counters (build in)	10	434

Coupling Devices, Speed Reducers, etc.	General	913

Cranes – Power Operated	58	070

Cranes (part of building)	10	428

Cranes (or Hoists)	General	940

Data Processing Equipment – Other	19	340

Dehydrator	General	972

Desks	51	230

Dictation Equipment	50	119

Disc Packs – Data Processing	19	322

Display Station – Data Processing	19	328

Docks	61	491

Docks (part of building)	10	430

Door, Overhead	10	426

Downspouts	10	425

Drafting Equipment	50	120

Draperies	51	245

Drips, 12” or larger	General	916

Ductwork	10	445

Duplicating Equipment	50	121

Economizers	08	613

Elevator Installation – Buildings	10	470

Emulsion Treater	General	972

Enclosures, Minor Buildlings, for equipment	General	926

Engines	General	927

Excavating Equipment	76	011

Exciters	General	928

Exhaust System, Compressor	15	528

Exhausters	General	909

Fans	General	909

Fax Machine	50	122

Femco Unit	73	812

Fences	90	478

Fences, for equipment in a single classification	General	929

File Accessories	51	211

Fin Fan Structures	15	524

Fire Escapes	10	435

Fire Protection Equipment	49	091

Flagpoles (not part of building)	90	479

Flagpoles (part of building)	10	436

Flare Burners	General	994

Floats, for Equipment	78	006

Floor	10	415

Floor Covering	51	244

Floor, Tile	10	416

Foundation, Holder	27	630

Foundations, ½ cu. yd. or larger	General	930

Franchise/Organization Cost	36	932

Frequency Equipment	73	808

Fuel System, Compressor	15	532

Fuel Systems – Heaters	26	562

Furniture and Fixtures, Industrial	68-76	043

Garage Equipment	76	012

Gas, Natural – Non-recoverable	48	526

Gauges, over $100	General	931

Generator – Electric, Portable	76	021

Generator Sets	General	933

Gutters	10	425

Heat Exchangers	General	938

Heaters	General	936

Heater and Appurtenances	26	551

Heater Coils	26	553

Heater Stacks	26	556

Heaters	26	552

Heating/Air Conditioning System	10	440

Heating System – Holders	27	654

Hoists (or Cranes)	General	940

Hoists (part of building)	10	428

Holder Guide Frames	27	638

Holders and Appurtenances	27	629

Hospital Equipment	49	094

Instruments, Analytical	32	050

Instruments, Measuring	32	051

Instruments, over $100	General	931

Insulation, over $500	General	942

Intercommunication System	10	480

Kettles, Tar	78	008

Kitchen Equipment	49	092

Laboratory Apparatus	32	052

Laboratory Equipment, Miscellaneous	32	059

Laboratory Fixtures	32	054

Ladders	03	490

Ladders, for Equipment	General	965

Land	35	499

Land Rights – Gas	36	497

Land Rights – Oil	36	498

Landscaping	37	494

Light Fixtures	10	451

Light Post	90	487

Lighting System – Holders	27	642

Liquid Pump Facilities	61	664

Loaders	58	066

Lockers	51	233

Logging Equipment	73	810

Lubrication System, Compressor	14-15	536

Lunchroom Furniture	49	093

Machine Tools	76	016

Magnetic Tape Unit – Data Processing	19	313

Mailchutes	10	438

Mail Handling Equipment	50	123

Main Crossings	41	708

Main Crossing Structures	41	709

Mains, Cast Iron	40	702

Mains, Copper	40	703

Mains, Plastic	40	704

Mains, Steel	40	701

Material Handling Equipment	68-76	041

Material Inspection Equipment	68	044

Measuring and Regulating Installation	44	739

Medical Equipment	49	094

Meter Installation, Specific	46	757

Meter Installation, Standard Cost	46	756

Meter Repair Equipment	76	014

Meter Runs, Orifice	General	948

Meters, Customers, less than 4800 CFH	46	750

Meters, Customers, over 4800 CFH	46	751

Meter, Outside Reading Device, AMR	46	747

Meter, Outside Reading Device, RE	46	748

Meter, Outside Reading Device, ME	46	749

Meters, Positive Displacement (excluding Customers)	General	946

Microfiche Viewer – Data Processing Equipment	19	330

Microfiche Reader/Printer – Data Processing Equipment	19	333

Microfiche Reproduction Equipment	19	335

Miscellaneous Equipment	49	099

Monitor – Data Processing	19	352

Monitor Receiver	12	089

Motors, Air	General	951

Motors – Electric, Portable	76	021

Motor, Electric 1 H.P. and larger	General	954

Motor, Lever	20	958

Odorizer Installation	23	570

Odorizers	23	571

Officer Copiers	50	121

Office Equipment (Miscellaneous Equipment)	49	095

Office Equipment – Other	50	199

Office Furniture – Other	51	299

Operators, 4” or larger valve or regulator	General	957

Orifice Fittings, 4” or larger	General	959

Other – Data Processing Equipment	19	340

Other – Personnel Computer Equipment – Data Processing	19	356

Panels, Instrument or Gauge	General	961

Panels, Power Distribution	General	960

Partitions, Movable	10	412

Paving	90	483

Personal Computer – Data Processing	19	350

Photo Copy Equipment, Xerox	50	122

Photographic Equipment	49	096

Piping	General	963

Piping, Cast Iron, Station	66	502

Piping, Compressor, Discharge	14-15	522

Piping, Compressor, Interstage	14-15	521

Piping, Connecting – Heaters	26	560

Piping, Connecting – Holders	27	650

Piping, Liquid – Propane	61	668

Piping, Plastic Station	66	506

Piping, Steel, Station	66	501

Piping, Suction, Compressor	14-15	520

Platforms (part of building)	10	429

Platforms, for equipment	General	965

Plumbing Fixtures	10	468

Plumbing/Sewer System – Building	10	460

Power Operated Equipment – Other	58	079

Power and Lighting Systems – Building	10	450

Power/Starting Systems, Compressor	14	538

Power Supply, Primary, for equipment	General	966

Power Supply, Units	73	803

Printer – Data Processing	19	354

Processing Unit – Data Processing	19	310

Propane Distribution Station	60	745

Pulsation Dampeners	14-15	518

Pumps	General	968

Pumps, Oil Well	85	689

Purification System	23	574

Railroad Tracks	03	493

Ramps	03-61	491

Ramps (part of building)	10	430

Receiver (car unit)	12	088

Receivers	73	805

Rectifiers, Mains	40	706

Regulator Repair Equipment	76	014

Regulator Station	20	732

Regulator Station, Pre-fab, above ground	20	730

Regulator Station, Pre-fab, underground	20	731

Regulators, or Power Operated Valves, 2” or larger	General	970

Regulators, House, Double Seat/Balanced Valve	29	722

Regulators, House, Miscellaneous	29	723

Regulators, House, Single Seat	29	720

Regulators, House, Single Seat w/Internal Relief	29	721

Relief Valve, ½” and larger	29	726

Retaining Walls	90	481

Roadway	90	483

Roofs	10	424

Runways	03-61	491

Runways (part of building)	10	430

Safes	51	248

Safety Valves, ½” and larger, Miscellaneous	29	728

Separator	General	972

Settees	51	239

Sewer Drain Piping – Building	10	461

Services, Copper	64	712

Services, Plastic	64	713

Services, Steel	64	711

Shelves (built in)	10	434

Shutter	10	437

Sidewalks	90	483

Signal Equipment, Central	12	085

Software – Data Processing	19	342

Sprinkler System	37	495

Stacks (part of building)	10	433

Stacks – Boilers (not part of building)	08	609

Stairs	03	490

Stairways	10	432

Stands (Tables)	51	240

Starting Systems, Gas Engine Compressors	15	540

Stationery Equipment	50	124

Stools	51	236

Storage Protection Unit – Data Processing	19	325

Stores Equipment, Miscellaneous	68	049

Storm Windows	10	437

Strainers, or filters	General	975

Street Light Connections	70	772

Street Lights, Complete	70	771

Structures – Building over 1000 sq. ft.	10	410

Structures – Building under 1000 sq. ft.	10	403

Substations, unit type	General	978

Substructures – Buildings	10	401

Survey Equipment	76	020

Switchgear Assemblies	General	979

Tables	51	240

Tampers	58	066

Tanks, 250 gal. or larger	General	985

Telemetering Equipment, Miscellaneous	73	815

Telemetering Test Equipment	73	811

Telephone Systems	12	100

Test Equipment	76	024

Time Stamp Machine	50	128

Timers	73	802

Tools, Shop and Garage Equipment, Miscellaneous	76	029

Tools – Power Driven, Hand	76	019

Totalizing Equipment	73	810

Trailers, Special Purpose	78	013

Trailers, Material	78	010

Transformers	General	990

Transmitters, (Car Unit)	12	088

Transmitter, Receiver, Base Station	12	084

Transmitter, Receiver, (Man Unit)	12	097

Transmitters	73	801

Trenchers, large	58	064

Trenchers, small	58	063

Truck Bodies	79	002

Truck – Power Attachments	79	001

Trucks – Cab and Chassis only	79	005

Trucks – Complete	79	003

Tubes, Fin Fan Units	15	525

Typewriters	50	125

Typewriters, Special	50	126

Unit Heaters	10	446

Valves, 16” and larger	General	991

Valves, 6” and larger	20	992

Valves, Power Operated, 4” or larger	General	970

Vapor Piping, Propane	61	669

Vaporization Facilities, Unfired	61	666

Vaults (part of building)	10	439

Vaults, Concrete, 75 cu. ft. or larger	General	993

Vent – Complete	20-44	734

Walls, Interior	10	411

Waste Gas Burners	General	994

Water Heater, Industrial	10	467

Water Reservoirs	03	492

Welders, Electric	58	074

Welding Equipment	76	017

Well	59-62	671

Well Casing	59-84-85	686

Well Head Valve Assemblies	84	688

Well Tubing	84-85	687

Wells, Gas	84	681

Wells, Oil	85	682

Windows – all for one building	10	417

Wiring	General	995

Yard Lighting 	90	486

## LACLEDE DIVISION

GENERAL LOCATION

St. Louis – City	1*	**	**

St. Louis – County	2*	**	**

Franklin County	3*	**	**

St. Charles County	4*	**	**

Jefferson County	5*	**	**

Cole County	9*	**	**

COMPANY STATIONS

General Offices	11	**	**

Forest Park Center	12	**	**

Meter Repair Shop	13	**	**

Catalan Station	14	**	**

Station “N”	15	**	**

Shrewsbury Center	21	**	**

Berkeley Center	22	**	**

Underground Storage Area	23	**	**

Underground Storage Area	43	**	**

Ivory (Arlee)	24	**	**

Chain of Rocks Station	25	**	**

Mackenzie Station	26	**	**

Redman Station	27	**	**

Union Road Station (Retired)	28	**	**

Jefferson City	91	**	**

Satellites

St. Louis City	19	**	**

St. Louis County	29	**	**

St. Charles County	49	**	**

## MISSOURI NATURAL DIVISION

GENERAL LOCATION

COUNTIES (Specific Property Only – Non-Mass)

Butler	1*	**	**

Iron		2*	**	**

Jefferson	3*	**	**

Madison	4*	**	**

St. Francis	5*	**	**

St. Genevieve	6*	**	**

CITY LOCATIONS (Specific Property Only – Non-Mass)

Poplar Bluff	10	1*	**

Annapolis	20	1*	**

Pilot Knob	20	2*	**

Crystal City	30	1*	**

DeSoto	30	2*	**

Festus	30	3*	**

Hematite	30	4*	**

Herculaneum	30	5*	**

Hillsboro	30	6*	**

Pevely	30	7*	**

Selma	30	8*	**

Victoria	30	9*	**

Fredericktown	40	1*	**

Deer Run	40	2*	**

Bonne Terre	50	1*	**

Desloge	50	2*	**

Elvins	50	3*	**

Esther	50	4*	**

Farmington	50	5*	**

Flat River	50	6*	**

Leadwood	50	7*	**

Leadington	50	8*	**

River Mines	50	9*	**

St. Francois	51	0*	**

Cantwell	51	1*	**

De Lassus	51	2*	**

St. Genevieve	60	1*	**

ST. CHARLES DIVISION

GENERAL LOCATION

St. Charles County	1*	**	**

O’Fallon Purchases 1973	2*	**	73

O’Fallon Purchases 1975	2*	**	75

O’Fallon Purchases 1983	2*	**	83

O’Fallon Purchases 1985	2*	**	85

O’Fallon Purchases 1986	2*	**	86

O’Fallon Purchases 1987	2*	**	87

## MIDWEST DIVISION

GENERAL LOCATION

Jefferson County	1*	**	**

## FRANKLIN COUNTY DIVISION

GENERAL LOCATION

Franklin County	1*	**	**

COMPANY BUILDINGS

General Office –

Bldg. No. 1 (720 Olive)	11	01	**

710 N. Tucker Blvd.	11	02	**

Forest Park Center –

General Area, no applicable building	12	00	**

Bldg. No. 1 (3950 Forest Park)	12	01	**

Bldg. No. 2 (4000 Forest Park)	12	02	**

Bldg. No. 3 (4040 Forest Park)	12	03	**

Bldg. No. 5 (4028 Forest Park)	12	05	**

Bldg. No. 6 (Meter Storage – Duncan Yard)	12	06	**

Bldg. No. 7 (General Storage – Duncan Yard)	12	07	**

Bldg. No. 8 (Drip Truck Garage – Duncan Yard)	12 	08 	**

Meter Repair Shop –

General Area, no applicable building	13	00	**

Bldg. No. 1 (2802 Gravois)	13	01	**

Bldg. No. 2 (2819 Gravois)	13	02	**

Catalan Station

General Area, no applicable building	14	00	**

Bldg. No. 6	14	06	**

Bldg. No. 7	14	07	**

Bldg. No. 8	14	08	**

Bldg. No. 9	14	09	**

Bldg. No. 10	14	10	**

Station “N”

General Area, no applicable building	15	00	**

Bldg. No. 1	15	01	**

Bldg. No. 2	15	02	**

Shrewsbury Center

General Area, no applicable building)	21	00	**

Bldg. No. 1 (4118 Shrewsbury)	21	01	**

Bldg. No. 2 (Garage)	21	02	**

Bldg. No. 3 (Machine Shop)	21	03	**

Bldg. No. 4 (Laboratory)	21	04	**

Bldg. No. 5 (Boiler & Pump House)	21	05	**

Bldg. No. 6 (Compressor)	21	06	**

Bldg. No. 8 (Boiler & Welding School)	21	08	**

Bldg. No. 9 (Storage)	21	09	**

Berkeley Center

General Area, no applicable building	22	00	**

Bldg. No. 1 (6400 Graham Road)	22	01	**

Bldg. No. 2 (Shop Building)	22	02	**

Bldg. No. 3 (Meter Storage)	22	03	**

Underground Storage Area

General Area, no applicable building	23	00	**

Bldg. No. 1	23	01	**

Bldg. No. 2	23	02	**

Bldg. No. 3	23	03	**

Bldg. No. 4	23	04	**

Bldg. No. 5 (Warehouse Bldg.)	23	05	**

Arlee Station

General Area, no applicable building	24	00	**

Bldg. No. 1 (Meter House)	24	01	**

Chain of Rocks Station

General Area, no applicable building	25	00	**

Bldg. No. 1 (Meter and Operator House)	25	01	**

MacKenzie Station

General Area, no applicable building	26	00	**

Bldg. No. 1 (Meter House)	26	01	**

Redman Station

General Area, no applicable building	27	00	**

Bldg. No. 1 (Regulator House)	27	01	**

9900 Clayton (Centerpoint Energy)	27 	50	**

Backup System Control Office

Satellites –

Central District

6635 Pennsylvania	19	01	**

2105 Hampton (CNG Facility at Shell)	19	02	**

4701 S. Broadway	19	03	**

8891 Hall Street	19	04	**

South District

8920 Eden	29	13	**

9321 Litzinger	29	14	**

13980 Manchester	25	15	**

Meramec Heights (Old Hyw. 21 & Rock Creek)	29 	16	**

777 Bonhomme	29	17	**

2121 Smizer Station	29	19	**

900 South Hwy Dr (LER)	29  20  **

North District

9503 Highway 67 (St. Cyr)	29	23	**

1570 Chambers	29	24	**

9200 Lackland	29	25	**

8918 Riverview	29	26	**

Disaster Recovery Site

2012 Westport Plaza	29	30	**

MAJOR ITEMS OF EQUIPMENT

Refer to Plant in Service Listings for numbers which have been

assigned to such items of equipment as:

Boilers			**

Compressors			**

Heaters			**

Holders			**

Odorizers			**

Pumps			**

Tanks			**

DEPARTMENTS

Accounting –

Customer Accounting	**	**	01

Meter Reading – Customer Accounting	**	**	02

Tax Accounting	**	**	06

Payroll	**	**	07

Asset Management	**	**	09

General Accounting	**	**	10

Management Information Services	**	**	11

Information Systems	**	**	12

Financial Reporting & Gas Accounting	**	**	13

Internal Auditing	**	**	14

Financial Services	**	**	18

Executive and Staff – Accounting	**	**	19

Information Security	**	**	21

Cashiers and Mailing	**	**	25

Collection and Credit	**	**	26

Risk & Control Services	**	**	28

Treasurer’s –

Materials Management	**	**	17

Purchasing	**	**	27

Executive and Staff – Treasurer’s	**	**	29

Marketing –

General/Special Projects	**	**	30

Market Planning	**	**	31

Utilization Engineering	**	**	32

Consumer Education	**	**	34

Commercial & Industrial Sales	**	**	35

Retail Sales (Merchandising)	**	**	36

Gas Transportation (LER)	**	**	37

Residential Sales	**	**	38

Consumer Marketing	**	**	40

Executive and Staff – Sales	**	**	41

Community Services	**	**	60

Customer Relations – General	**	**	61

Customer Advisers – Customer Relations	**	**	62

Telephone Contact – Customer Relations	**	**	63

Operations –

Distribution – General	**	**	42

Construction and Maintenance – Distribution	**	**	43

Meters – Distribution	**	**	44

Right of Way – Distribution	**	**	45

SAID – Distribution	**	**	46

Transportation – Department	**	**	47

Gas Supply – General	**	**	50

Load Dispatching – Gas Supply (System Control)	**	**	51

Mfg. and Holder Stations – Gas Supply	**	**	52

Underground Storage – Gas Supply	**	**	53

Instrumentation & Controls – Gas Supply	**	**	54

Engineering – General	**	**	56

Drafting – Engineering	**	**	57

Laboratory – Engineering	**	**	58

Load Approval – Engineering	**	**	59

Gas Diversion	**	**	64

Facilities Management	**	**	66

Executive and Staff – Operations	**	**	69

Industrial Relations –

Employment	**	**	71

Training and Safety	**	**	72

Executive and Staff – Industrial Relations	**	**	73

Corporate Communications	**	**	74

Human Resources	**	**	75

Employee Programs	**	**	76

Legal		**	**	78

Claims (Damage Prevention)	**	**	79

Planning		**	**	80

Executive and Staff – Company	**	**	89

Unassigned (in storage, no applicable department, etc.)	**	**	99

MEASURING AND REGULATION STATIONS –

## LACLEDE DIVISION

Medium Pressure to Low Pressure:

Howard & 22nd	10	10	01

Keokuk & Nebraska	10	10	02

M.L. King & Union	10	10	03

Salisbury & 20th	10	10	04

Cora & No. Market	10	10	05

O’Bear & 20th	10	10	06

Lindell & Taylor	10	10	08

Union & West Florissant	10	10	10

Goodfellow & Vernon	10	10	11

Manchester & McCausland	10	10	14

Goodfellow & Lotus	10	10	15

Humphrey & Oak Hill	10	10	16

Natural Bridge & Warne	10	10	19

Natural Bridge & Union	10	10	20

McLaran & Riverview	10	10	21

Nebraska & Sidney	10	10	22

Courtois & Pennsylvania	10	10	24

Fillmore (Dover) & Minnesota	10	10	25

Kingshighway & Schollmeyer	10	10	26

Bancroft & Hampton	10	10	28

Chouteau & Vandeventer	10	10	30

Bancroft & Kingshighway	10	10	31

Eichelberger & Hampton	10	10	32

Ivanhoe & Pernod	10	10	33

Fyler & Kingshighway	10	10	34

Evans & Sarah	10	10	35

Page & Walton	10	10	36

Forest Park & Vandeventer	10	10	38

McCausland & Tholozan	10	10	40

Arsenal & Jasper Park	10	10	41

Macklind & Nottingham	10	10	42

Olive & Vandeventer	10	10	44

Daggett & Macklind	10	10	45

Lindell & Skinker	10	10	46

Gasconade & Piedmont	10	10	48

I-44 (Ivanhoe) & Southwest	10	10	49

Holly Hills & Leona	10	10	52

January & Loughborough	10	10	54

Morganford & Taft	10	10	55

Broadway & East Railroad	10	10	56

Jefferson & Utah	10	10	57

Bates & Grand	10	10	58

Broadway & College	10	10	59

Hartford & Oak Hill	10	10	60

Kingshighway & Lindell	10	10	61

Broadway & Keokuk	10	10	63

Broadway & Catalan	10	10	64

Grand & Meramec	10	10	65

Eichelberger & Kingshighway	10	10	66

Grand & Utah	10	10	67

Cardinal & Park	10	10	68

Loughborough & Virginia	10	10	69

Arsenal & Kingshighway	10	10	71

Goodfellow & Page	10	10	72

Marcus & Natural Bridge	10	10	73

Delmar & Kingshighway	10	10	74

Tamm & Nashville	10	10	75

Delmar & Union	10	10	76

Minerva (Page) & Union	10	10	77

Grattan & Park	10	10	78

Grand & Magnolia	10	10	79

Easton & Glasgow	10	10	80

Kingshighway & Wabada	10	10	82

Cora & Lee	10	10	83

Fair & Penrose	10	10	85

Lynch & 13th	10	10	88

Lemp & Shenandoah	10	10	90

St. Louis & Sarah	10	10	91

Easton & Hamilton	10	10	92

Enright & Newstead	10	10	93

Herbert & 19th 	10	10	95

Lillian & Union	10	10	96

Columbia & Macklind	10	10	97

Phillips & Roger	10	10	98

Pernod & Regal	10	10	99

Station “G”	16	11	00

Famous & Knox	10	11	01

Riverview & West Florissant	10	11	02

Cole & 18th	10	11	03

Angelica & 20th	10	11	04

Hampton & Scanlan	10	11	07

Flad & Vandeventer	10	11	09

Hampton & Potomac	10	11	10

Magnolia & Tower Grove	10	11	11

Jamieson & Plainview	10	11	12

Chippewa & Ridgewood	10	11	13

Goodfellow & Natural Bridge	10	11	14

Garrison & Locust	10	11	20

Goode & St. Ferdinand	10	11	24

Harlan & Jordan	10	11	25

Clara & Wabada	10	11	26

Theodore & Thrush	10	11	27

Geyer & 11th	10	11	28

Flora & 39th	10	11	29

Ann & Jefferson	10	11	33

Grand & Phillips	10	11	34

Marconi & Shaw	10	11	35

Broadway & Mullanphy	10	11	37

Keokuk & Virginia	10	11	38

Lexington & Newstead	10	11	39

Penrose & Warne	10	11	40

Bates & Virginia	10	11	42

Kraft & Manchester	10	11	47

Hartford & Louisiana	10	11	49

Kingshighway & Natural Bridge	10	11	51

Delor & Gravois	10	11	52

Osceola & Virginia	10	11	53

Cherokee & 13th	10	11	63

Lynch & Missouri	10	11	64

Keokuk & Gustine	10	11	67

Theodore & Oriole	10	11	68

Thekla & Union	10	11	69

Grand & Robert	10	11	70

Intermediate Pressure to Low Pressure:

Broadway & Lorretta	20	13	01

Telegraph & West Felton	20	13	02

Bayless & Lemay Ferry	20	13	03

Gentry & Hoffmeister	20	13	04

James & Sutton	20	13	05

Big Bend & Wydown	20	13	07

Delmar & Purdue	20	13	09

Delmar & Kingsland	20	13	10

Sutter & Joseph	20	13	11

Easton & Evergreen	20	13	12

Rosebud & St. Louis	20	13	13

Pennsylvania & Robbins	20	13	15

Big Bend & Waterman	20	13	17

Ferguson & Page	20	13	18

Clyde & West Ripa	20	13	19

Olive St. Rd. & Westgate	20	13	21

Bellvue & Oakland	20	13	23

Dartmouth & Midland	20	13	24

Ferguson & Raymond	20	13	25

Del Norte & Lindbergh	20	13	26

Delmar & Melville	20	13	28

Jackson & Pershing	20	13	29

Goodfellow & West Florissant	10	13	30

Bircher & Newstead	10	13	31

Delmar & Rosedale	10	13	33

Bobring & Lemay Ferry	20	13	35

West Florissant, N. of TRRA R/W	10	13	40

Goodfellow & McLaran	10	13	49

Clayton & McCausland	10	13	50

River Roads Shopping Center (Acct. 385.00)	20	13	51

Commercial or Supply Feeder to Low Pressure:

Garrison & St. Louis	10	14	04

Garrison & Natural Bridge	10	14	05

Skinker & Maple	10	14	07

Miami & Morganford	10	14	08

Bullwer & Schiller, W.O. 60567	10	14	09

Rutger & Jefferson	10	14	10

#### Commercial or Supply Feeder to Medium or Intermediate

Pressure:  (Not Remotely Controlled)

Catalan (Supply Feeder)	14	15	01

Rosalie, N. of TRRA ROW	10	15	03

St. Louis Zoo	10	15	08

Inverness Lane, W. of Lindbergh	20	15	12

Broadway & Calvary	10	15	13

Palm & 9th	10	15	14

New Halls Ferry & Vaile	20	15	15

Larkin-Williams & 66	20	15	16

Bowles & 141	20	15	17

General Grant & Rock Hill	20	15	19

Maclane Ct. at Rott Road	20	15	20

Millbrook & Skinker	10	15	27

Channing, S. of Laclede	10	15	28

Olive St. Rd., W. of Delores	20	15	30

St. Charles Rock Road & Hwy. 270	20	15	32

W.S. of Foerster., S. of Old St. Charles Rock Road	20	15	33

P.P., Terminal R.R.& Lincoln

(Small Arms)	10	15	35

Elmsbank (P.P. Hillvale Apts.)	10	15	36

Breezy Point at Dunn Road	20	15	38

Lindbergh, S. of Old St. Charles Rock Road	20	15	41

Walnut & 22nd	10	15	42

N. Market & 2nd	10	15	46

P.P., S. of Ft. Bellefontaine Rd., W. of New Jamestown Rd.	20	15	48

Leahy Ct. and Vera Avenue	10	15	50

Treecourt Dr., S. of Treecourt Ind. Blvd.	20	15	51

Twelfth Street & Gratiot Street	10	15	53

Yarnell Road N. of Hwy I-44	20	15	58

11755 Riverview	20	15	61

12720 Bellefontaine	20	15	62

2021 New Jameston	20	15	63

6990 New Jamestown	20	15	64

15675 New Jamestown	20	15	65

15765 New Jamestown	20	15	66

6235 Blue Spruce Lane	20	15	67

16155 Old Jamestown	20	15	68

1705 New Jamestown	20	15	69

6700 Robbins Mill Road	20	15	70

6650 Robbins Mill Road	20	15	71

6600 Robbins Mill Road	20	15	72

15005 New Jamestown	20	15	73

15205 New Jamestown	20	15	74

15215 New Jamestown	20	15	75

15255 New Jamestown	20	15	76

15335 New Jamestown	20	15	77

River Des Peres, North of Gravois	10	15	79

Water St., S. of Primm St.	10	15	80

West Moore Meadows Ct. (P.P. W. of Rott Road)	20	15	81

Deer Valley Subd. (P.P. N. of Lindbergh, E. of Robbins Mill Rd)	20	15	82

Riverport Complex at Earth City

Expressway and Hwy I-70	20	15	83

General Motors Plant Complex (P.P. off Terminal R.R.)	10	15	84

Westlake Asphalt Company (P.P. S. of MO River, W. of

Lewis & Clark)	20	15	84

Hwy “T” & Woodstone Traile	20	15	86

Wild Horse & Wild Horse Creek	20	15	87

St. Alban’s Valley	20	15	88

Autumn View	20	15	89

Old Highwy 115	20	15	90

Hwy “T” & Hwy 100	20	15	91

Fred Weber	20	15	93

Highway 1W & Mueller	20	15	95

Remotely Controlled Stations:

Bellefontaine (ns. Dunn Rd., W. of Bellefontaine)	20	16	02

Bellerive (Bellerive, S. of Natural Bridge)	20	16	03

Benton Terrace (es.  Benton Terr., N. of Manchester)	10	16	04

Carrie (ns. Carrie, E. of Ouida)	10	16	05

Catalan (Supply Feeder to Medium Pressure)	14	16	07

Catalan (Com’l Feeder to Medium Pressure)	14	16	08

Chain of Rocks	25	16	09

Charbonier & Lindbergh (Hwy 67)	20	16	10

Clayton (Clayton, E. of Lindbergh)	20	16	11

Cozzens (es. Halls Ferry at Cozzens)	20	16	12

Crittenden (Jefferson, N. of Crittenden)	10	16	13

Deane (ss. Deane Ct., E. of Lindbergh)	20	16	15

Euclid (Euclid, S. of Hooke)	10	16	17

Gratiot (es. Sixth N. of Gratiot)	10	16	18

Lindbergh (ns. Hwy STT, E. of Lindbergh)	20	16	21

Link (se. Corner Link at Lackland)	20	16	22

Lorentz	10	16	23

Lotus (ss. Hamilton, N. of Lotus)	10	16	24

Lucas & Hunt (es. Lucas-Hunt, S. of West Florissant)	20	16	25

Station “N” (Supply Feeder to Com’l Feeder)	15	16	26

Station “N” (Supply Feeder to Medium Pressure)	15	16	27

Osceola (ns. Osceola, E. of Virginia)	10	16	29

Papin (ns. Papin, W. of Jefferson)	10	16	30

Parker (ns. Parker, E. of New Halls Ferry)	20	16	31

Pennsylvania (es. Pennsylvania, N. of Etzel)	20	16	32

Reavis (Reavis Barracks & MacKenzie) TP	26	16	33

Redman (Bridgevale & Cove)	27	16	34

Patterson (Meramec Measuring Station)	20	16	35

Shrewsbury (Supply Feeder to Intermediate Pressure)	21	16	37

Sidney (ss. Sidney, E. of Jefferson)	10	16	38

Ballas & Manchester	20	16	39

Tieman (es. Tieman, S. of Gravois)	20	16	40

Warson (es. Warson, S. of Olive)	20	16	42

Woodlawn (es. Woodlawn, N. of Manchester)	20	16	44

Woods Mill (es. Woods Mill -141, S. of Manchester)	20	16	45

Lindell & Union	10	16	48

Baptist Church Rd. & Lindbergh	20	16	49

Lindbergh & St. Charles Rock Rd.	20	16	50

Ivory (Arlee)	24	16	52

Ferry		10	16	53

Tower Grove	10	16	54

Shrewsbury (Com’l Feeder to Intermediate Pressure)	21	16	56

Shrewsbury Delivery Sta.	21	16	57

Catalan Delivery Sta.	14	16	58

Krams and Olive St. Road	20	16	60

Clayton & Clarkson	20	16	61

Brentwood S 3000 (Metro)	20	16	62

MEASURING AND REGULATION STATIONS – MONAT DIVISION

Commercial or Supply Feeder to Medium or Intermediate

Pressure:  (Not Remotely Controlled)

Annapolis, Front Street	20	15	00

Bonne Terre, Crabapple Subd.	50	15	02

Bonne Terre, Lake Street	50	15	03

Bonne Terre, Benham Street	50	15	04

Crystal City, 12th Street	30	15	07

Crystal City, Crystal Heights	30	15	08

Crystal City, Bailey Road	30	15	09

Crystal City, Missouri Avenue	30	15	10

Deer Run	40	15	12

Delassus	50	15	13

Desloge	50	15	14

DeSoto, Edinger Street	30	15	16

Elvins	50	15	18

Esther, Seventh Street	50	15	20

Farmington, Old Jackson Road	50	15	22

Farmington, N. Washington at Pine St.	50	15	23

Farmington, Pine St.	50	15	24

Festus, South Second St.	30	15	26

Festus, Bluff City	30	15	27

Festus, Rosemary Lane	30	15	30

Festus, County Road	30	15	31

Festus, Falls at Little Creek	30	15	33

Festus, Horine Road	30	15	32

Festus, Old State Hwy CC & Dunaway Rd	30	15	35

Flat River, Mineral Area College	50	15	39

Flat River, St. Francois St.	50	15	40

Fredericktown, N. Side of Hwy 72, West	40	15	42

Fredericktown, Alley W. of S. Main and S. of W. Main	40	15	43

Fredericktown, Corner of Marion and Marlow	40	15	44

Fredericktown, Fredericktown Business Park	40	15	45

Hematite	30	15	47

Hematite, Meyer Rd. Cedar Trail Mobile Home Court	30	15	48

Herculaneum, Old Highway U.S. 61	30	15	49

Herculaneum (Takepoint)	30	50	01

Hillsboro, Third St. Between Hwy 21 and Hickory	30	15	51

Leadwood	50	15	53

Pevely, Second St.	30	15	55

Pevely, Sunvalley & Hunter Ridge Subd.	30	70	01

Pilot Knob	20	15	57

Pevely, E. Mason	30	15	60

Poplar Bluff, Spring St.	10	15	60

Poplar Bluff, S. Second St. at N. Side of Mo. Utilities	10	15	61

Poplar Bluff, Nickey St.	10	15	62

Poplar Bluff, Highland between Meadowbrook & Parkview	10	15	63

Poplar Bluff, Velma St.	10	15	64

Poplar Bluff, North Second St.	10	15	65

Poplar Bluff, So. Side Hwy “PP” at Lurlyn La.	10	15	66

Poplar Bluff, Commerce Ave. at Fair St.	10	15	68

Poplar Bluff, Township Rd at Hwy “PP”	10	15	69

Poplar Bluff, S. of Rowe Parkway	10	15	71

Poplar Bluff, Hwy PP & Cedar	10	15	72

St. Genevieve, So. 4th St., Back of Sales Office	60	15	80

St. Genevieve, Market St., at 9th St.	60	15	81

St. Genevieve, Chadwell Sta.	60	15	82

Selma, Selma Village	30	15	85

Victoria	30	15	88

Farmington, Schwartz Road	50	55	89

MEASURING AND REGULATION STATIONS – ST. CHARLES DIVISION

Intermediate Pressure to Low Pressure:

Metering Facility – W. Side of St. Chas. Rock Rd. Bridge	10	13	01

Commercial or Supply Feeder to Medium or Intermediate

Pressure:  (Not Remotely Controlled)

St. Peters – Mexico & Church Rd	10	15	02

Algana Ct. at Cherokee Ct.	10	15	05

West Side of St. Charles Rock Road Bridge, downstream of

Laclede Gas Company’s New Metering Facilities	10	15	08

Outer Road of Hwy I-70 West of Clearview Drive	10	15	10

Private Property of San Miguel Apgs. on S.S. of South Outer

Service Rd. of Hwy I-70 and W. of San Miguel Dr.	10	15	11

Point Prairie Rd.	10	16	50

Regulator Stations St. Peters to O’Fallon – Terra & Drug Packaging	10	15	18

Old Highway 40 at Genteman Road	10	15	22

Mexico & Kindred Hill	10	15	23

Ehlmann & Shady Springs	10	15	24

Manderly Estates	10	15	25

E. Pitman & Dale	10	15	30

Guthrie & Mexico Rd.	10	15	40

370 Business Park	10	16	62

Commercial or Supply Feeder to Medium or Intermediate

Pressure:  (Remotely Controlled)

Sherman & Hwy 94	10	15	21

Jungerman Rd. & Lejer	10	15	17

Transmission Feeder to Intermediate Pressure:

(Remotely Controlled)

Williams Pipeline & Spencer Place	10	17	01

Williams Pipeline @ Hwy K	10	18	01

Measurement & Odorization Facility

Williams Pipeline & Morrison Lane (Hwy T & N)	10	18	02

## MEASURING AND REGULATING STATIONS – FRANKLIN DIVISION

9th & Roosevelt, Washington – C.F. to I.P.	10	00	01

St. Albans – T.F. to I.P.	10	00	02

County Rd., Union – I.P.	10	00	03

Bolte Lane, St. Clair – I.P.	10	00	04

Bolte Lane, Pacific – I.P.	10	00	05

Skyline Dr. – T.F. to I.P.	10	00	06

Ming Estates – T.F. to I.P.	10	00	07

Stonecrest – Wash MO – T.F. to I.P.	10	00	08

## GAS WELLS – ST. LOUIS COUNTY

Bentzen #1	23	00	01

Bentzen #2	23	00	02

Bentzen #3	23	00	03

Bentzen #4	23	00	04

Brinkmeyer #1 – UGS	23	00	05

Erwin #1	23	00	07

Erwin #2	23	00	08

Jones #1	23	00	09

Jones #2	23	00	10

Jones #3	23	00	11

Jones #4	23	00	12

Jones #5	23	00	13

Jones #7	23	00	14

Jones #8	23	00	15

Jones #9	23	00	16

Kuechler #1	23	00	17

Lange #1	23	00	20

Lange #2	23	00	21

Lange #5	23	00	22

Lange #6	23	00	23

Lange #8	23	00	24

Peimann #1	23	00	26

Peimann #2	23	00	27

Randoll #1	23	00	28

Randoll #2	23	00	29

Randoll #3	23	00	30

A. Schneider #1	23	00	31

R. Schneider #1	23	00	32

Sundermeyer #1	23	00	33

Sundermeyer #2	23	00	34

Uhlig #1	23	00	35

Brinkmeyer #3	23	00	51

Jones #6	23	00	53

Lange #7	23	00	55

Sundermeyer #3	23	00	57

Bentzen #5	23	00	59

Sandau #1	23	00	60

Sandau #2	23	00	61

Uhlig #2	23	00	62

Jones #11	23	00	63

Stoudmire #1	23	00	65

Brinkmeyer #2	23	00	71

Jones #10	23	00	83

Portland #1	23	00	85

Champ #2	23	00	95

Champ #3	23	00	96

Champ #4	23	00	97

## GAS WELLS – ST. CHARLES COUNTY

Witte #2	43	00	66

H. Brown T-4	43	00	67

H. Brown T-2	43	00	68

## OBSERVATION WELLS – ST. LOUIS COUNTY

Briscoe #2	23	20	72

Fuchs #1	23	20	73

Goris #1	23	20	74

Hammer #1	23	20	75

Hammerschmidt #1	23	20	76

Hardesty #1	23	20	77

Lange #3	23	20	78

Mueller #1	23	20	79

Twellman #1	23	20	80

Vasquez #1	23	20	81

Wolff #1	23	20	82

Minkemann #1	23	20	84

Lange #4	23	20	86

Siemsen #1	23	20	87

Jones #6	23	20	88

Lange #5	23	20	89

Wolff #2	23	20	91

Missouri Portland Cement Co. #2	23	20	92

Neihaus #1	23	20	93

MSD #1	23	20	94

## OBSERVATION WELLS – ST. CHARLES COUNTY

Cora Island T-1	43	20	01

Cora Island T-2	43	20	02

Brown T-5	43	20	03

Brown SP-6	43	20	04

Gruenwald #1	43	20	15

H. Brown D-1	43	20	70

Mintert #1B	43	20	95

Mintert #1A	43	20	96

Hawkins #1	43	20	97

Brunstein # 1	43	20	98

Witte #1	43	20	99

## OIL WELLS

Bentzen #1	23	30	02

Bentzen #2	23	30	03

Bentzen #3	23	30	04

Bentzen #4	23	30	05

Brinkmeyer #1	23	30	06

Brinkmeyer #2	23	30	07

Clark #1	23	30	08

Dowdall #1	23	30	10

Glaser-Meyer #1	23	30	14

Hermann #1	23	30	17

Jones #1	23	30	19

Kuechler #1	23	30	24

Lange #4	23	30	25

Lange #6	23	30	26

Peimann #1	23	30	27

Peimann #2	23	30	28

Sandau #1	23	30	31

Sandau #2	23	30	32

R. Schneider #1	23	30	34

R. Schneider #2	23	30	35

Uhlig #1	23	30	39

A. Sundermeyer	23	30	40

Trenton #1	23	30	45

## VENT GAS WELLS

Jones #3	23	40	21

Jones #4	23	40	22

Jones #5	23	40	23

Randall #1	23	40	29

Sammelman #1	23	40	30

Sundermeyer #1	23	40	37

Jones #7	23	40	38

Sundermeyer #2	23	40	39

## PLUGGED WELLS

Mintert #1	43	50	01

## PROPANE CAVERN	23	60	00

Main Shaft		23	60	01

Shaft #1	23	60	02

Shaft #2	23	60	03

Shaft #3	23	60	04

Shaft #4	23	60	05

Shaft #5	23	60	06

Bentzen-Barteau W-1	23	60	07

Bentzen W-2	23	60	08

DYHYDRATION PLANT	23	70	00

## UGS STRUCTURES OTHER THAN STATION STRUCTURES

Lange 2 Car Garage	23	88	00

Randoll Home	23	95	00

Bentzen Concrete Block Barn	23	97	00

### The following are to be considered as retirement units when they

occur in a classification that makes specific reference to the “List

of General Retirement Units”.

## GENERAL RETIREMENT UNITS

Air Compressors – each	903

Batteries, storage – each bank of 4 or more	906

Blower, Fan, Exhauster – each	909

Controls – each installation or assembly complete	911

Coupling Device, Speed Reducer, etc. – each	913

Drip, 12” or larger – each	916

Enclosure, minor building, etc. for equipment – each	926

Engine – each	927

Exciter – each	928

Fence, for equipment in a single classification – each installation	929

Foundation, ½ cu. yd. or larger – each	930

Gauge, Controller, Instrument – each (over $100)	931

Franchise/Organization Cost	932

Generator Set – each	933

Heater – each	936

Heat Exchanger – each	938

Hoists or Cranes – each	940

Insulation over $500	942

Meter, positive displacement (excluding customer’s) – each	946

Meter Run, orifice – each	948

Motor, Air – each	951

Motor, Electric, 1 HP and larger – each	954

Operator, for 4” or larger valve or regulator – each	957

Motor, Lever	958

Orifice Fittings, 4” or larger – each	959

Panel, power distribution – each	960

Panel instrument, control, etc. – each	961

Piping –	1.	Each complete installation or system	963

2.	Each 6” or larger header

3.	Each run in excess of the following lengths:

Under 2”: - 250 feet

2” – 4” – 100 feet

6” – 10” – 50 feet

12” or larger – 20 feet

Platform, Ladders, Stairs, for equipment – each

installation or section	965

Primary Power Supply, for equipment – each	966

Pump – each	968

Regulator or Power Operated Valve, 2” or larger – each	970

Separator, Dehydrator and Emulsion Treater – Each	972

Strainer, or Filter (over $100) – each	975

Substation, unit type – each	978

Switchgear Assembly – (Starter for LP Pump) – each	979

Tank, 250 gal. or larger – each	985

Transformer – each	990

Valve, 16” or larger – each	991

Valve, 6” and larger	992

Vault or Pit, concrete, 75 cu. ft. or larger, complete – each	993

Waste Gas or Flare Burner – each	994

Wiring – each circuit or installation complete	995

#### CLASSIFICATION DESCRIPTION

Includes installed cost of structures such as platforms, ramps,

foundations, water reservoirs, railroad tracks, etc., which serve

more than one building or equipment classification.

Does not include items which are includible with a building or

the equipment classification served.

#### RETIREMENT UNITS

Ramp or Runway – each	491	000

Foundation, ½ cu. yd. or larger – each	930	000

Water Reservoir – each	492	000

Railroad tracks – each complete installation or replacement

of 100 feet	493	000

#### DETAIL CODE REQUIREMENTS

None	***	000

#### UNITS OF MEASURE

Lineal feet – Railroad tracks

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company station			**	00	00

#### CLASSIFICATION DESCRIPTION

Includes the cost of automobiles, including accessories attached

at the time of original acquisition.

Does not include trailers, trucks, radio communication equipment

or other items which are properly includible in other classifications.

#### RETIREMENT UNITS

Automobile – each	004	***

#### DETAIL CODE REQUIREMENTS

Make and Type –

Executive Sedans	004	002

Station Wagons (any make, model)	004	006

Vans – Mini (any make, model)	004	007

Chevrolet Sedans	004	010

Ford Sedans	004	030

Company Number

#### UNITS OF MEASURE

Each

#### LOCATION CODE REQUIREMENTS

None			00	00	00

##### CLASSIFICATION DESCRIPTION

Includes installed cost of boilers, including fuel burning equipment, draft

system, piping, controls; also central accessory systems serving more

than one boiler.

Does not include boilers used primarily for heating a single building,

station piping (steam, water, etc.) not solely accessory to a boiler

installation or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system	***	***

Boiler and Appurtenances (all non-separable items) – each	601	001

Boiler – each	602	001

Draft System – Stack – each	609	002

Fuel System - Burners, complete set with controls – each	617	004

##### DETAIL CODE REQUIREMENTS

System of which a part –

Boilers and Appurtenances	***	001

Draft System	***	002

Feed Water System	***	003

Fuel System	***	004

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring, Ductwork

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Boiler number or bank with which associated					**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of each complete building, structural additions

and related equipment which is permanently attached and cannot be

removed without cutting into or otherwise impairing the building including

foundation, walls, roof, floors, ceilings, partitions, plumbing, power and

lighting, heating and air conditioning, built in counters or shelves,

permanent floor coverings, etc.

Does not include accessory structures, yard improvements or items which

serve more than one building.  Also excludes boilers not used primarily

for heating a building, temporary type minor buildings (enclosures for

equipment) and other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

See List of General Retirement Units	***	***

Substructure (Foundation, Pilings, etc.) – each	401	001

Structure, buildings under 1000 sq. ft., complete – each	403	002

Structure, buildings over 1000 sq. ft. –

Structure (all non-separable items) – each	410	002

Interior walls – each level	411	002

Partitions (movable) – all for one building	412	002

Floors, with supports – each level or work area	415	002

Floor tile – each work area	416	002

Windows – all for one building	417	002

Ceilings – each level	420	002

Ceilings (suspended, acoustical) – each work area	421	002

Roofs – each level built at one time	424	002

Gutters, Downspouts – each roof level built at one time	425	002

Overhead Door	426	002

Hoists, Cranes, when part of building – each	428	002

Platforms – each	429	002

Docks, Runways, Ramps – each	430	002

Stairways – each flight between levels	432	002

Stacks – each	433	002

Counters, Shelves, built in – each important installation	434	002

Fire Escapes – each	435	002

Flagpoles, when attached – each	436	002

Shutters, Storm Windows, Awnings – all for one building	437	002

Mailchutes – each	438	002

Vaults, complete with doors – each	439	002

Heating/Air Conditioning System (all non-separable items) – each	440	003

Air Conditioner Unit – each	441	003

Boiler, complete – each	601	003

Cooling Tower, complete – each	443	003

Ductwork – each level	445	003

Unit Heater – each	446	003

Power and Lighting System (all non-separable items) – each	450	004

Generator Sets, complete – each	933	004

Light Fixtures – each work area	451	004

Panels, Power distribution – each	960	004

Primary Power Supply System – each	966	004

Substation – each	978	004

Wiring, complete – each level	995	004

Plumbing/Sewer System (all non-separable items) – each	460	005

Piping – each system or each 2” or larger run in excess

of 250 feet	963	005

Sewer, Drain Piping – each system	461	005

Tank (250 gal. or larger) – each	985	005

Water Heaters (industrial type) – each	467	005

Plumbing Fixtures – each washroom	468	005

Elevator Installation (all non-separable items) – each	470	006

Other

Intercommunication System	480	099

##### DETAIL CODE REQUIREMENTS

System or Category of which a part –

Substructure	***	001

Structure	***	002

Heating/Air Conditioning	***	003

Power and Lighting	***	004

Plumbing/Sewer	***	005

Elevators	***	006

Others (describe)	***	099

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring, Ductwork

Cubic Yards – Substructure, Structure concrete or stone

Square feet – Floor tile, Walls, Ceilings

Each – all others

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building number				**

Floor or level of building (when applicable)					**

No applicable level					00

First Floor					01

Second Floor					02

Third Floor					03

Etc.					**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of telephone systems and radio communications

system equipment including antennas, transmission cables, base stations,

mobile units, consoles, etc.

Does not include intra-station loudspeaker or intercom systems, tele-

metering equipment or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

Base Station Installation (all non-separable items) – each	080	000

Antenna – each	081	000

Antenna Supporting Structure – each	082	000

Transmission (coaxial) cable – each installation or run	083	000

Transmitter, Receiver – each	084	000

Enclosure (minor building) for equipment – each	926	000

Foundations, ½ cu. yd. or larger – each	930	000

Generator Sets, complete – each	933	000

Central Signal Equipment (all non-separable items) – each	085	000

Mobile, Portable Units –

Transmitter/Receiver (Car Unit) complete – each	088	000

Monitor Units – each	089	000

Transmitter, Receiver (Man Unit)	097	000

Battery Charger	098	000

Telephone Systems – each	100	000

##### DETAIL CODE REQUIREMENTS

Serial Number (when applicable)

##### UNITS OF MEASURE

Lineal feet – Cable Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**	00

##### CLASSIFICATION DESCRIPTION

Includes installed cost of electric motor driven gas compressors including

prime movers, intra-connecting piping, cooling systems, starting systems,

and other associated equipment.  Also central accessory systems serving

more than one compressor.

Does not include gas or steam driven compressors.  Also excludes station

piping, primary power supply systems, major control systems or other

items which are properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system	***	***

Compressor and Appurtenances (all non-separable items) – each	510	001

Compressor, with or without prime mover – each	512	001

Compressor cylinder – each	513	001

Pulsation Dampener – each	518	001

Suction Piping Installation (all non-separable items) – each	520	003

Interstage Piping Installation (all non-separable items) – each	521	004

Discharge Piping Installation (all non-separable items) – each	522	005

Cooling System Installation (all non-separable items) – each	523	006

Lubrication System Installation (all non-separable items) – each	536	009

Power/Starting System Installation (all non-separable items) – each	538	011

##### DETAIL CODE REQUIREMENTS

System or Category of which a part –

Compressor and Appurtenances	***	001

Suction Piping	***	003

Interstage Piping	***	004

Discharge Piping	***	005

Cooling System	***	006

Lubrication System	***	009

Power/Starting System	***	011

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring

Each – all other

LOCATION CODE REQUIREMENT (See Index to Location Codes)

Company Station			**

Building in which located				**

Compressor number or bank with which associated					**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of gas engine driven gas compressors including prime

movers, intra-connecting piping, fuel systems, starting systems, cooling

systems and other associated equipment, also central accessory systems

serving more than one compressor.

Does not include electric or steam driven gas compressors.  Also excludes

station piping, major control systems or other items which are properly

includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system.	***	***

Compressor and Appurtenances (all non-separable items) – each	510	001

Compressor, with or without prime mover – each	512	001

Compressor cylinder – each	513	001

Air Intake Line – each run	514	001

Air Intake Silencer – each	515	001

Pulsation Dampener – each	518	001

Suction Piping Installation (all non-separable items) – each	520	003

Interstage Piping Installation (all non-separable items) – each	521	004

Discharge Piping Installation (all non-separable items) – each	522	005

Cooling System Installation (all non-separable items) – each	523	006

Fin Fan Structure – each	524	006

Coils or Tubes, complete set – each	525	006

Exhaust System Installation (all non-separable items) – each	528	007

Fuel System Installation (all non-separable items) – each	532	008

Lubrication System Installation (all non-separable items) – each	536	009

Starting System Installation (all non-separable items) – each	540	010

##### DETAIL CODE REQUIREMENTS

System or Category of which a part –

Compressor and Appurtenances	***	001

Suction Piping	***	003

Interstage Piping	***	004

Discharge Piping	***	005

Cooling System	***	006

Exhaust System	***	007

Fuel System	***	008

Lubrication System	***	009

Starting System	***	010

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Compressor number or bank with which associated					**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of control, alarm, shutdown, etc. systems of a major

nature of which pertain to equipment of more than one classification

including piping, tubing, wiring, instruments, regulators, etc.

Does not include minor systems which pertain to equipment of a single

classification.  Also excludes telemetering equipment, station piping or

other items which are properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system.	***	***

Control System (all non-separable items) – each	550	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**	00

##### CLASSIFICATION DESCRIPTION

Includes cost of each principal item or set of data processing equipment

as typified by the following list of retirement units.  Does not include

equipment of small cost (less than $150- Hardware Only).

##### RETIREMENT UNITS - HARDWARE

Processing Unit	310	000

Magnetic Tape Unit	313	000

Controls	316	000

Disc Packs/Storage Tape	322	000

Storage Protection Units	325	000

Display Station	328	000

Microfiche Viewer	330	000

Microfiche Reader/Printer	333	000

Other	340	000

Computer - Desktop	350	000

Computer – Laptop	350	100

Computer – Server	350	200

Monitor	352	000

Printer	354	000

Other – Network (describe)	356	000

RETIREMENT UNITS – SOFTWARE

Miscellaneous	342	000

Microsoft Office XP Pro	342	001

Lotus – Notes/Domino	342	002

WRQ Reflections for IBM	342	003

WinZip	342	004

Adobe Acrobat	342	005

Microsoft Office Pro 2003	342	006

Microsoft Windows Server	342	007

##### DETAIL CODE REQUIREMENTS

Company Number (when applicable)

Serial Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Department to which assigned					**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of distribution system regulator stations including

regulators, fittings, valves, gauges, vaults, vents, supports, controls, connect-

ing piping solely associated with these stations and other related items.

Does not include telemetering equipment, gas piping or mains not solely

appurtenant to a station, customers’ regulators, city gate or station

regulator installations or other items which are properly includible in

other classifications.

##### RETIREMENT UNITS

Regulator Station, Prefabricated, complete – each

Above ground	730	000

Underground	731	000

Regulator Station

Regulator Station (all non-separable items) – each	732	000

Control Line Extension	733	000

Fence	929	000

Gauge, controller or instrument – each	931	000

Motor, Lever – each	958	000

Piping, each complete system or runs in excess of the following:	963	000

Under 2” – 250 feet

2” – 4” – 100 feet

6” – 10” – 50 feet

12” or larger – 20 feet

Regulator, 2” or larger – each	970	000

Valve, 6” and larger – each	992	000

Vault, 75 cu. ft. or larger, complete each	993	000

Vent, complete – each	734	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Lineal feet – Piping, Control Line Extension

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station (when applicable)			**

Regulator Station number				**	**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of gas conditioning equipment such as oil foggers,

odorizers, purification systems, alcohol injection systems, etc.

Does not include minor installations which are accessory to equipment of

another classification such as separators at a gas well or other items that

are properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system.	***	***

Odorizer Installation (all non-separable items) – each	570	002

Odorizer – each	571	002

Purification System (all non-separable items) – each	574	003

Alcohol Injection System (all non-separable items) – each	578	004

##### DETAIL CODE REQUIREMENTS

Type system of which a part –

Odorizer Installation	***	002

Purification System	***	003

Alcohol Injection System	***	004

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Installation Number (Odorizers only)					**

##### CLASSIFICATION DESCRIPTION

Includes cost installed of gauges and instrument such as recording and

indicating gauges, controllers, emcorrectors, when not includible in other

classifications including hook-up piping and wiring, supports, etc.

Does not include telemetric equipment, laboratory instruments, gauges

mounted on panels, regulator station gauges or other items which are

properly includible in other classifications.  Also excludes gauges of

small cost (less than $100).

##### RETIREMENT UNITS

Gauge or Instrument Installation

Enclosure, Minor Building, etc., for Equipment – each	926	000

Gauge or Instrument – each	931	***

Piping, 2” and smaller – 250 feet	963	000

##### DETAIL CODE REQUIREMENTS

Type (Gauges and Instruments only) –

Pressure Indicating	931	01*

Pressure Recording	931	02*

Controller	931	03*

Pressure – Volume Recording	931	04*

Pressure Correcting	931	05*

Pressure – Temperature Correcting	931	06*

Temperature Recording	931	07*

Other (describe)	931	99*

Manufacturer (Gauges and Instruments only) –

American	931	**1

Bristol	931	**2

Foxboro	931	**3

Minneapolis-Honeywell	931	**4

Rockwell	931	**5

Others (describe)	931	**9

Serial Number

##### UNITS OF MEASURE

Lineal feet – Piping

Each – Gauge or Instrument

LOCATION CODE REQUIREMENTS (See Index to Location Only)

Company Station			**

Building in which located				**	00

##### CLASSIFICATION DESCRIPTION

Includes installed cost of direct or indirect type gas fired heaters such as

water heaters, pipeline heaters, propane vaporizers, etc., including connecting

piping, fuel system, controls, etc., also includes central accessory systems

serving more than one heater.

Does not include steam boilers, space heaters, portable heaters, major

control systems or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system.	***	***

Heater and Appurtenances (all non-separable costs) – each	551	001

Heater – each	552	001

Heater Coils, complete set – each	553	001

Heater Stack – each	556	001

Connecting Piping (all non-separable costs) – each	560	002

Fuel System (all non-separable costs) – each	562	003

Burners, complete set with controls – each	563	003

##### DETAIL CODE REQUIREMENTS

System of which a part –

Heater and Appurtenances	***	001

Connecting Piping	***	002

Fuel System	***	003

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Heater number or bank with which associated					**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of water-seal gas storage or relief holders including

foundation, tank, frame, lifts, crown, heating system, intra-connecting piping,

minor alarm or control systems and other related equipment.

Does not include LPG or natural gas storage vessels or tanks, station piping,

boilers or water heaters, major control systems or other items which are

properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system.	***	***

Holder and Appurtenances (all non-separable costs) – each	629	001

Holder Foundation, any size – each	630	001

Holder, over 100 MCF

Holder Guide Frame – each	638	001

Lighting System – each	642	001

Connecting Piping (all non-separable items) – each	650	002

Holder Heating System (all non-separable items) – each	654	003

##### DETAIL CODE REQUIREMENTS

System of which a part –

Holder and Appurtenances	***	001

Connecting Piping	***	002

Holder Heating System	***	003

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Holder number or bank with which associated					**

##### CLASSIFICATION DESCRIPTION

Includes cost of regulators, relief valves and other devices used to control

the pressure of gas delivered to customers, whether in service or held in

reserve, including cost of initial badging and testing.

Does not include installation costs of house regulators, instruments,

district or station regulators or other items which are properly includible

in other classifications.

##### RETIREMENT UNITS

House Regulators – each

Single Seat	720	***

Single Seat with internal relief	721	***

Double Seat/Balanced Valve	722	***

Miscellaneous (describe)	723	***

Relief Valve, ½” and larger – each	726	***

Miscellaneous Safety Valves, ½” and larger	728	***

##### DETAIL CODE REQUIREMENTS

Connecting Pipe Size –

¾”	***	100

¾” x 1”	***	200

1”	***	300

2”	***	400

3”	***	500

4”	***	600

6”	***	700

Other Sizes (describe)	***	900

##### UNITS OF MEASURE

Each

##### LOCATION CODE REQUIREMENTS

None			00	00	00

##### CLASSIFICATION DESCRIPTION

Includes installed cost of each principal item or set of general laboratory

equipment such as balances, ovens, centrifuges, test rigs, calorimeters,

graviometers, rotameters, spectroscopic equipment, hoods, sinks,

counters, etc.

Does not include items which are not readily identified or inventoried

as typified by the following list of items not to be capitalized, nor items

of small cost (less than $500).  Also excludes furniture, tools, etc. of a

general nature, sinks or counters that are integral to a building, or other

items which are properly includible in other classifications.

##### RETIREMENT UNITS

Analytical Instruments – each	050	000

(Includes chromatographs, spectroscopes, gas analysis sets,

titration apparatus, etc.)

Measuring Instruments – each	051	000

(Includes rotameters, pyrometers, meter provers, potentio-

meters, barometers, thermometers, calorimeters, gravitometers,

viscosimeters, etc.)

Laboratory Apparatus – each	052	000

(Includes scales, balances, ovens, centrifuges, exhaust

hoods, constant temperature baths, etc.)

Laboratory Fixtures – each or each section	054	000

(Includes bins, racks, counters, sinks, cabinets, etc.)

Miscellaneous Laboratory Equipment – each	059	000

(Includes items such as motors (when separable), pumps,

compressors, tanks, timers, special test assemblies, etc.)

##### DETAIL CODE REQUIREMENTS

Serial Number (when applicable)

##### UNITS OF MEASURE

Each or Each Set

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**	00

##### TYPICAL ITEMS NOT TO BE CAPITALIZED

Beakers

Bottles

Bunsen burners

Flasks

Funnels

Gloves

Hoses

Hydrometers

Masks

Monometers

Pitot tubes

Stands

Tapes, measuring

Tubing

##### CLASSIFICATION DESCRIPTION

Includes all applicable costs of land owned in fee.

Does not include yard improvements, grading occasioned by the building

of a structure or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

Land – Acquisition, sale, disposition of any quantity	499	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Acre – land

LOCATION CODE RQUIREMENTS (See Index to Location Codes)

Company Station			**	00	00

##### CLASSIFICATION DESCRIPTION

Includes all applicable costs of rights, interests and privileges in land or

structures owned by others such as leaseholds, rights of way and

easements.

Does not include clearing or grading of land in which a right in land

exists.

##### RETIREMENT UNITS

Land Right – Gas Acquisition, sale, expiration, etc., of each right	497	000

Land Right – Oil Acquisition, sale, expiration, etc., of each right	498	000

Franchise/Organization Cost	932	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Each – Land Right

LOCATION CODE REQUIREMENS (See Index to Location Codes)

Company Station			**	00	00

##### CLASSIFICATION DESCRIPTION

Includes initial costs of improving the established grade of land at

Company structures or stations with grass, trees, shrubbery, etc.  Also

includes costs of sprinkling systems.

Does not include retaining walls, walks or roads, yard lighting,

landscaping of a minor nature (less than $1,000 at any one time) or

other items which are properly includible in other classifications.

##### RETIREMENT UNITS

Landscaping – each installation for a single structure or station	494	000

Sprinkler System, complete – each	495	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Each lot – Landscaping

Each – Sprinkler system

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building with which associated				**	00

##### CLASSIFICATION DESCRIPTION

Includes installed cost of gas distribution mains including pipe fittings,

valves, drips, anodes, casing pipe, insulators, etc.  Also includes certain

cost of bell joint clamps and similar additions or betterments to existing

mains (see notes below).

Does not include individual replacements of valves (under 16”), drips,

anodes, insulators, etc., the replacement cost of which is chargeable to

maintenance.  Also excludes costly aerial or submerged main crossings,

station piping or other items which are includible in other classifications.

##### RETIREMENT UNITS

Mains, Steel – Add, remove or abandon any length	701	***

Replace in excess of 20 feet

Mains, Cast Iron – Add, remove or abandon any length	702	***

Replace in excess of the following:

3”, 4”, 6” – 2 existing pipe lengths

(approx. 8’ – 20’ per length)

8” and larger – 1 existing pipe length

(approx. 8’ – 20’ per length)

Mains, Copper – Add, remove or abandon any length	703	***

Replace in excess of 20 feet

Mains, Plastic – Add, remove or abandon any length	704	***

Replace in excess of 20 feet

Valves, 16” and larger – each	991	000

Rectifiers, complete with transformer or other power

facility, including ground bed – each	706	000

##### DETAIL CODE REQUIREMENTS

Nominal Pipe Size – Mains and Valves only

1 ¼” (Note prior to 1947 only)	***	001

2” and smaller	***	002

3”	***	003

4”	***	004

5”	***	005

6”	***	006

8”	***	008

10”	***	010

12”	***	012

13”	***	013

14”	***	014

16”	***	016

18”	***	018

20”	***	020

22”	***	022

24”	***	024

26”	***	026

30”	***	030

##### UNITS OF MEASURE

Lineal feet – Mains

Each – Valves, Rectifiers

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

NOTE:	Any major program of planned betterment by the addition of valves,

anodes or similar minor item appurtenances to existing mains,

shall be treated in accordance with the instructions given for the

addition of minor items.  (See “Accounting for Minor Items”.)

##### CLASSIFICATION DESCRIPTION

Includes installed cost of costly aerial or submerged gas main crossings,

including pipe, fittings, valves, supports, weights, anchors and other

accessories.  Crossings shall include all facilities from bank to bank; or

where special provisions such as concrete anchors or block valves are

installed, the crossing shall include all facilities between and including

these extremes.

Does not include normal cased or buried crossings of highways, railroad

tracks, small creeks, etc., or overhead crossings under 200 feet in length

which use existing structures for support.

##### RETIREMENT UNITS

Main Crossing – each	708	000

Valves, 16” and larger – each	991	000

Main Crossing Structure (when separable) – each	709	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Lineal feet – Main Crossing

Each – Valves, Crossing Structure

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

##### CLASSIFICATION DESCRIPTION

Includes costs of customers’ meters, including badging and initial testing

whether in service or held in reserve.  Also includes installation costs

including installation labor, piping, supports, cocks, etc., which may be

either directly accumulated or a standard cost estimate depending on

meter size and type.  Standard cost installations are includible for each

applicable meter whether in service or held in reserve.

Does not include house regulators, instruments or gauges, station meters

or other items which are properly includible in other classifications.

##### RETIREMENT UNITS

Meter, outside reading device, A.M.R. (Trace)	747	***

Meter, outside reading device, R.E.	748	***

Meter, outside reading device, M.E.	749	***

Meter, Customers, less than 4800 CFH capacity with ½” W.C.	750	***

pressure drop, to which standard installation costs apply –

each

Meter, Customers, over 4800 CFH capacity with 1” W.C.	751	***

pressure drop, to which specific installation costs apply –

each

Meter Installation, Standard Cost, to be added and retired

with each applicable meter – each	756	***

Meter Installation, Specific over 4800 CFH Capacity – each	757	***

##### DETAIL CODE REQUIREMENTS

Type of Meter –

Tinned Case	***	1**

Iron Case	***	2**

Steel Case	***	4**

TURBO	***	5**

Aluminum Case – Standard	***	6**

Aluminum Case – Temperature Compensated	***	7**

Rotary	***	8**

Other (describe)	***	9**

Size Group (excluding rotary meters) –

Under 150 CFH (2B Tin)	750	101

150 CFH – 174 CFH (5B Tin)	750	102

(00 EMC Iron)	750	202

(150 Alum)	750	602

175 CFH – 224 CFH (5A EMC)	750	103

(0 EMC, 1 EMC, 1 IC 5 BIC Iron)	750	203

(175 ST Steel)	750	403

(175 Alum, R 200)	750	603

(176 Alum)	750	703

225 CFH – 299 CFH (5M Tin)	750	104

(225, 240, 250, J250 275 Alum)	750	604

(226 Alum)	750	704

300 CFH – 374 CFH (10 Tin)	750	105

(340 Alum)	750	605

375 CFH – 449 CFH (425 Tin)	750	106

(25 IC, 3 AIC Iron)	750	206

(415 Alum, 425 Alum)	750	606

(426 Alum)	750	706

450 CFH – 599 CFH (20 Tin)	750	107

600 CFH – 749 CFH (30 Tin)	750	108

(30 IC, 35 IC Iron)	750	208

750 CFH – 999 CFH (2 ½ IC Iron)	750	209

(1600, 750, 630, 800 Alum)	750	609

(801 Alum)	750	709

(8C)	750	809

1000 CFH – 1249 CFH

(80 IC Iron)	750	210

(1000, 1200, 1400, 5A Alum)	750	610

1250 CFH – 1749 CFH (60 Tin)	750	112

(3 IC Iron)	750	212

(3000, 3100 Alum)	750	612

(3101 Alum)	750	712

1750 CFH – 2499 CFH (100 Tin)	750	114

(4 IC Iron)	750	214

(5000 Alum)	750	614

(5101, 5001 Alum)	750	714

2500 CFH – 3999 CFH (200 Tin)	750	116

(250 IC, 4 ½ IC Iron)	750	216

(6100 Alum)	750	616

(6101 Alum)	750	716

4800 CFH – 5999 CFH (5 IC, 500 IC Iron)	751	219

(10000, 10100 Alum)	751	619

(10101 Alum)	751	719

Size (rotary meters under 4800 CFH) –

(1.5M125, 2M125)	750	829

(3 M)	750	830

Size (rotary meters over 4800 CFH)

(5 M 125)	751	831

(7 M)	751	832

(11 M)	751	833

(16 M)	751	834

(23 M)	751	836

(38 M)	751	838

(56 M)	751	840

(102 M)	751	841

(3 ½ x 10)	751	853

(4 x 12)	751	854

(5 x 15)	751	855

(6 x 18)	751	856

(8 x 24)	751	858

(10 x 30)	751	860

Others (describe)	***	*69

Size (turbo meters over 4800 CRH)

T-18	751	518

T-30	751	530

T-60	751	560

T-140	751	590

##### UNITS OF MEASURE

Each – Meter, Meter Installations

##### LOCATION CODE REQUIREMENTS

None				00	00	00

##### CLASSIFICATION DESCRIPTION

Includes cost of each principal item or set of equipment which is not

properly includible in other classifications such as kitchen equipment,

medical equipment, lunchroom equipment, photographic equipment,

cleaning equipment, etc.

Does not include items which are not readily identified or inventoried

as typified by the following list of items not to be capitalized, nor

items of small cost (less than $500).  Also excludes items which are

properly includible in other classifications.

##### RETIREMENT UNITS

Cleaning Equipment – each

(Includes vacuum cleaners, buffers or polishers, etc.)	090	000

Fire Protection Equipment – each

(Includes extinguisher carts, hose cards, etc.)	091	000

Kitchen Equipment – each

(Includes coffee makers, ranges, sinks, refrigerators,

dish washers, cabinets, disposals, etc.)	092	000

Lunchroom Furniture – each

(Includes tables, chairs, couches, serving counters, etc.)	093	000

Medical or Hospital Equipment – each

(Includes tables, cabinets, sterilizers, special instrument

sets, etc.)	094	000

Miscellaneous Office Equipment – each

(Includes air conditioners, portable heaters, fans, radios,

television sets, drinking fountains, etc.)	095	000

Photographic Equipment – each

(Includes cameras, projectors, projection screens,

enlargers, etc.)	096	000

Miscellaneous Equipment – each

(Includes lawn care equipment, recreational equipment,

training equipment and other items not elsewhere

includible)	099	000

DETAIL CODE REQUIREMENTS

Company Number (when applicable)

Serial Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Department to which assigned					**

##### TYPICAL ITEMS NOT TO BE CAPITALIZED

Brushes

Buckets

Chairs, folding

Dishes

Fire Extinguishers, hand

First Aid Kits

Flatware

Ladders

Pots, Pans, etc.

Rakes, Spades

Tables, folding

##### CLASSIFICATION DESCRIPTION

Includes cost of gas in underground reservoirs, including depleted gas

or oil fields and other underground caverns or reservoirs used for the

storage of gas which will not be recoverable.

##### RETIREMENT UNITS

Non-recoverable natural gas	526	000

##### DETAIL REQUIREMENTS

None

##### UNITS OF MEASURE

MCF

##### LOCATION CODE REQUIREMENTS

Company Station			**

##### CLASSIFICATION DESCRIPTION

Includes cost of each principal item or set of mechanical office equipment

as typified by the following list of retirement units.

Does not include items which are not readily identified or inventoried

as typified by the following list of items not to be capitalized, nor items

of small cost (less than $500).  Also excludes lunchroom equipment,

cleaning equipment, fans, cameras or other items which are properly

includible in other classifications.

##### RETIREMENT UNITS

Adding Machines, Electric – each	112	2**

Make (See Detail Code Requirements)

Calculators, Electric – each	114	2**

Make (See Detail Code Requirements)

Coin, Check and Related Machines – each	118	***

Coin Changer	118	100

Check Endorser	118	200

Check Signer	118	300

Check Writer	118	400

Dictation Equipment – each	119	***

Dictating Machine	119	1**

Transcribing Machine	119	2**

Drafting Equpment – each	120	***

Drafting machine	120	100

Survey Equipment	120	300

Duplicating Equipment – each	121	***

Office Copiers	121	1**

Blue Print Machine, Ozalid	121	200

Photo Copy Equipment, Xerox	122	***

Copying Machine	122	400

Fax Machine	122	500

Mail Handling Equipment – each	123	***

Envelope Opener	123	100

Jogger	123	400

Postage Meter	123	500

Postal Scale	123	600

Sealing and Stamp Affixing Machine	123	700

Stationery Equipment – each	124	***

Binding machine	124	100

Tape Shooter	124	500

Typewriters, Manual – each	125	1**

Make (See Detail Code Requirements)

Typewriters, Portable – each	125	2**

Make (See Detail Code Requirements)

Typewriters, Electric – each	125	3**

Make (See Detail Code Requirements)

Typewriters, Special – each	126	***

Word Processor	126	300

Time Stamp Machines – each	128	000

Other Office Equipment – each principal item or set	199	000

##### DETAIL CODE REQUIREMENTS

Company Number (when applicable)

Serial Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Department to which assigned					**

##### TYPICAL ITEMS NOT TO BE CAPITALIZED

Dispensers, soap, towel, tape

Erasing Machines

Fire Extinguishers, hand

Lettering Instruments and Guides

Paper Cutters, portable

Paper Punches, portable

Rubber Stamps

Staplers, portable

Tape Measures

##### CLASSIFICATION DESCRIPTION

Includes cost of each principal item or set of office furniture as typified

by the following retirement unit list.

Does not include items which are not readily identified or inventoried

as typified by the following list of items not to be capitalized, nor items

of small cost (less than $100).  Also excludes lunchroom furniture,

radios, and other items which are properly includible in other classifica-

tions.

##### RETIREMENT UNITS

Bookcase, complete – each	201	00*

Cabinets, Storage – each	202	***

Single Door	202	01*

Double Door	202	02*

Cabinets, Map or Plan – each	203	***

Drawer type	203	01*

Shelf type	203	02*

Tube type	203	03*

Rack type	203	04*

Cabinets, Office Machine – each	204	00*

Cabinets, Visible Record – each	205	***

Rol-Dex Units	205	01*

Other (describe)	205	99*

Cabinets, File – each	210	***

3 x 5 Card	210 	1**

4 x 6 Card	210	2**

5 x 8 Card	210	3**

6 x 9 Card	210	4**

Tab Card	210	5**

Letter Size	210	6**

Legal Size	210	7**

Vertical	210	8**

Miscellaneous (describe)	210	9**

One Drawer	210	*1*

Two Drawer, etc.	210	*2*

Other (describe)	210	*9*

File Accessories – each	211	00*

Chairs – each	220	***

Swivel, with arms	220	01*

Swivel, without arms	220	02*

Guest, with arms	220	03*

Guest, without arms	220	04*

Lounge	220	05*

Other (describe)	220	99*

Desks – each	230	***

Flat Top, Single Pedestal	230	1**

Flat Top, Double Pedestal	230	2**

Typewriter	230	3**

Miscellaneous (describe)	230	9**

45 inch length	230	*1*

50 inch length	230	*2*

60 inch length x 30” width	230	*3*

60 inch length x 34” width	230	*4*

66 inch length	230	*5*

72 inch length	230	*6*

Other sizes (describe)	230	*9*

Costumers, Clothes Racks – each	231	***

Costumer, Tree style	231	01*

Costumer, Valet	231	02*

Lockers	233	00*

Stools – each	236	***

Drafting	236	01*

Other	236	02*

Benches, Settees, each	239	***

Bench	239	01*

Settee	239	02*

Tables – each	240	***

Drafting	240	1**

Conference	240	2**

Office	240	3**

Other	240	9**

50 inch length	240	*1*

60 inch length x 30” width	240	*2*

60 inch length x 34” width	240	*3*

66 inch length	240	*4*

72 inch length	240	*5*

Other Sizes (describe)	240	*9*

Floor Covering – each work area	244	00*

Draperies, Blinds – each work area	245	***

Draperies	245	01*

Venetian Blinds	245	02*

Safes – each	248	00*

Other Office Furniture – each principal item or set	299	00*

##### DETAIL CODE REQUIREMENTS

Material of which primarily constructed –

Metal	***	**1

Wood	***	**2

Upholstered or fabric	***	**3

Other (describe)	***	**9

Company Number

##### UNITS OF MEASURE

Square Yard – Floor Coverings

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Department to which assigned					**

TYPICAL ITEMS NOT TO BE CAPITALIZED

Ash trays

Benches, locker room

Blackboards, Bulletin Boards

Chairs, folding

Desk Pads or Tops

Dispensers, soap, towel, tape

Floor Pads

Lamps

Mirrors

Paintings

Partitions, desk or file drawer

Picture Frames

Slip Covers

Smokers Tables, folding

Trays, letter

Waste Cans

##### CLASSIFICATION DESCRIPTION

Includes installed cost of power and lighting systems including incoming

services, substations, transformers, switchgear, distribution panels and

cabinets, wiring.

Does not include equipment control wiring, starting systems, building

power and light systems, yard lighting or other items which are properly

includible in other classifications.

##### RETIREMENT UNITS

Primary Power Service – each	966	***

Substation – each	978	***

Transformer – each	990	***

Switchgear Assembly – each	979	***

Panel – each	960	***

Gauge or Instrument – each	931	***

Generator – each	933	***

Wiring – each circuit or installation complete	995	***

Foundation, ½ cu. yd. or larger, for equipment – each	930	***

##### DETAIL CODE REQUIREMENTS

Type of Installation –

Primary Power Supply	***	001

Standby Power Supply	***	002

Power Distribution System	***	003

Other (describe)	***	009

##### UNIT OF MEASURE

Lineal feet – wiring Each – all other

##### LOCATION CODE REQUIREMENTS

Company Station			**

Building in which located				**	00

##### CLASSIFICATION DESCRIPTION

Includes cost of power operated equipment used in construction or repair

work such as trenchers, cranes, welders, backhoes, backfillers, tractors

including all accessories acquired for use with such equipment.  Includes

primarily such large units as are generally self-propelled or mounted on

moveable equipment.

Does not include trucks, trailers, small power tools, garage or shop equip-

ment or other items which are properly includible in other classifications.

##### RETIREMENT UNITS

Air Compressors – each	061	000

Trenchers, small (8” normal max. trench width) – each	063	000

Trenchers, large (over 8” normal trench width) – each	064	000

Backfillers, Loaders, Backhoes, Tampers – each	066	000

Boring Machines – each	068	000

Cranes – each	070	000

Welders, electric – each	074	000

Other Power Operated Equipment – each	079	000

##### DETAIL CODE REQUIREMENTS

Company Number

Serial or Engine Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

00	00	00

##### CLASSIFICATION DESCRIPTION

Includes the cost of constructing mined liquefied petroleum gas storage

caverns including wells kept open and used for observation.

Does not include propane equipment or other items which are properly

includible in other classifications.

##### RETIREMENT UNITS

Liquefied Petroleum gas storage cavern (all non-separable items) –

each	672	***

Observation Well	671	***

Well Casing	686	***

##### DETAIL CODE REQUIREMENTS

None

##### UNITS OF MEASURE

Lineal feet – casing

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Well number with which associated				**	**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of storage and vaporization equipment used in

the utility distribution of propane including tanks, vaporizers, piping,

supports and other associated equipment.

Does not include propane distribution mains, services, meters, etc.,

propane peak shaving equipment or other items which are properly

includible in other classification.

##### RETIREMENT UNITS

See List of General Retirement Units for each station	***	***

Propane Distribution Station (all non-separable items) – each	745	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Lineal feet – piping

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

General Location –

St. Louis – City			10	00

St. Louis – County			20	00

Propane Station Number –

Shaw’s Garden West Subdivision					03

Wildhorse Farm					04

##### CLASSIFICATION DESCRIPTION

Includes installed cost of equipment to store and vaporize liquid petroleum

derivatives for peakshaving purposes, including piping, meters, tanks,

wiring, controls, unfired vaporizers, etc., to the point where the vapor is

combined with natural gas.

Does not include stations for direct distribution of propane, gas fired

vaporizations/heaters, fences, yard lighting or other items which are

properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each system	***	***

Liquid Pump Facilities (all non-separable costs) – each	664	003

Vaporization Facilities (all non-separable costs) – each

(except direct fired vaporizers/heaters)	666	004

Liquid Piping System (all non-separable costs) – each	668	005

Vapor Piping System (all non-separable costs) – each	669	006

##### DETAIL CODE REQUIREMENTS

System of which a part –

Liquid Pumps	***	003

Vaporizers	***	004

Liquid Piping	***	005

Vapor Piping	***	006

##### UNITS OF MEASURE

Lineal feet – Piping, Wiring

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Building in which located				**

Tank, Vaporizer, Pump, etc., with which associated					**

##### CLASSIFICATION DESCRIPTION

Includes costs to prepare underground reservoirs for the storage of natural

gas; including plugged, fresh water, disposal and solution wells; and

other related costs to prepare reservoirs.

Does not include injection/withdrawal, observation and oil wells or other

items which are properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units	***	***

Reservoirs (all non-separable costs) – each	670	***

Well (all non-separable costs) – each	671	***

Well Casing, complete for one well – each	686	***

Well Tubing, complete for one well – each	687	***

Well Head Valve Assembly – each	688	***

##### DETAIL CODE REQUIREMENTS

None

##### UNITS OF MEASURE

Lineal feet – Piping, Casing, Tubing

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Well number with which associated				**	**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of service piping from the connection on the main to,

but not including, the connection with the meter installation including pipe

or tubing, cocks, boxes, saddles, tees, supports, anodes, etc.  Also includes

small regulators (less than 2” size) installed as part of the service for the

primary purpose of limiting the pressure on the service.

Does not include regulators which are installed in a service for the primary

purpose of limiting the pressure delivered to the consumer, regulators 2”

and larger, or other items which are properly includible in other classifica-

tions.

##### RETIREMENT UNITS

Services, Steel – Add, replace or abandon 10 feet or more of

service pipe or any complete service	711	000

Services, Copper – Add, replace or abandon 10 feet or more of

service pipe or any complete service	712	000

Services, Plastic – add, replace or abandon 10 feet or more of

service pipe or any complete service	713	000

##### UNITS OF MEASURE

Lineal feet – Services

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

##### CLASSIFICATION DESCRIPTION

Includes installed cost of station piping in buildings or yards including

pipe, fittings, valves, anodes, supports and other accessories.

Does not include intraconnecting piping solely associated with equipment

in other classifications, piping systems which make up a separate

classification or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

See List of General Retirement Units	***	***

Station Piping –

1.  Each complete installation or system

2.  Each 6” or larger header

3.  Each run in excess of the following lengths:

Under 2”       – 250 feet

2” – 4”          – 100 feet

6” – 10”        –   50 feet

12” or larger –   20 feet

Steel	501	***

Cast Iron	502	***

Plastics	506	***

##### DETAIL CODE REQUIREMENTS

Type service in which employed –

Gas – over 750 psig	***	1**

Gas – over 300 psig to 750 psig	***	2**

Gas – Supply Feeder System	***	3**

Gas – Commercial Feeder System	***	4**

Gas – Intermediate or Medium Pressure System	***	5**

Steam	***	6**

Water	***	7**

Other (describe)	***	9**

Nominal Pipe or Tube Size – Piping only

2” and Smaller	***	*02

3”	***	*03

4”	***	*04

5”	***	*05

6”	***	*06

8”	***	*08

10”	***	*10

12”	***	*12

16”	***	*16

18”	***	*18

20”	***	*20

24”	***	*24

30”	***	*30

Other Sizes (describe)	***	*99

UNITS OF MEASURE

Lineal feet – Piping

Each – all other

LOCATION CODE REQUIREMENTS (See Index To Location Codes)

Company Station			**

Building in which located				**	00

##### CLASSIFICATION DESCRIPTION

Includes cost of each principal item or set of fixtures and equipment used

for receiving, shipping, handling and storage of materials and supplies as

typified by the following list of retirement units.

Does not include items which are not readily identified or inventoried

as typified by the following list of items not to be capitalized, nor items

of small cost (less than $500).  Also excludes furniture, fixtures and

equipment of a general office nature, bins or platforms that are integral

to a building or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

Material Handling Equipment – each	041	000

(Includes hoists, hand trucks, lift trucks, conveyor systems,

etc.)

Industrial Furniture and Fixtures – each	043	000

(Includes work benches, bins and shelving, storage

cabinets, scales, pipe racks, tool chests, etc.)

Material Inspection Equipment – each	044	000

Miscellaneous Stores Equipment – each	049	000

##### DETAIL CODE REQUIREMENTS

Company Number (when applicable)

Serial Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station (when permanently located)			**

Building Number (when permanently located)				**

Department to which assigned					**

##### TYPICAL ITEMS NOT TO BE CAPITALIZED

Barrels

Block and Tackle

Brushes

Buckets

Cans

Fire Extinguishers, hand

Gloves

Goggles

Hand Tools

Ladders

Measuring Tapes

Pallets

Skids

Tarpaulins

##### CLASSIFICATION DESCRIPTION

Includes installed cost of street lights owned by the Company and

connections for unmetered street lights.

##### RETIREMENT UNITS

Street Light, complete – each	771	000

Street Light Connection – each	772	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

##### CLASSIFICATION DESCRIPTION

Includes installed cost of each principal item of telemetering or supervisory

control transmitters, receivers, power supply units, totalizing equipment,

panel boards and associated items.

Does not include panel boards primarily provided for other purposes or

other items which are properly includible in other classifications.

##### RETIREMENT UNITS

Transmitter – each	801	***

Timer – each	802	***

Power Supply Unit – each	803	***

Controller – each	804	***

Receiver – each	805	***

Panel Board – each or each section	961	***

Enclosure, for equipment – each	926	***

Frequency Equipment – each	808	***

Totalizing and Logging Equipment – each	810	***

Femco Unit	812	***

Telecontrol Unit	813	***

Telemetering Test Equipment – each	811	***

Primary Power Service – each	966	***

Miscellaneous Telemetering Equipment – each	815	***

##### DETAIL CODE REQUIREMENTS

Serial Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station, when applicable			**

Regulator Station or Meter Station Number				**	**

##### CLASSIFICATION DESCRIPTION

Includes cost of each principal item or set of tools, implements and

equipment used in construction, repair work, general shops and garages

as typified by the following list of retirement units.

Does not include items which are not readily identified or inventoried

as typified by the following list of items not to be capitalized, or items

of small cost (less than $500).  Also excludes major items of power

operated equipment, trailers, stores equipment, office equipment of a

general nature or other items which are properly includible in other

classifications.

##### RETIREMENT UNITS

Construction and Excavating Equipment – each	011	000

(Includes boring machines, pipe pushers, paving breakers,

concrete cutters, trench bridges, pipe bending machines,

shelters, power threading machines, pipe drilling, tapping

and completion machines, valve lubricators, etc.)

Garage Equipment – each	012	000

(Includes motor testers, battery charges, auto lifts, paint

spray booths, grease machines, tire changing sets,

purchased special tool sets, gasoline dispensing pump,

gasoline storage tanks, etc.

Meter/Regulator Repair Equipment – each	014	000

(Includes meter cleaners, furnaces, paint spray booths,

troughs or vats, test stands, etc.)

Machine Tools – each	016	000

(Includes lathes, drilling machines, facing machines,

nipple machines, grinders, furnaces, forges, etc.)

Material Handling Equipment – each	041	000

(Includes hoists, derricks, winches, hand trucks, pipe

tongs and slings, conveyor systems, etc.)

Welding Equipment – each	017	000

(Includes pipe cutting/bevelling machines, complete

gas welding rigs, line-up clamps, etc.)

Power Driven Hand Tools – each	019	000

(Includes electric or air driven grinders, buffers,

drills (over ½”), spray guns, hammers, scalers, impact

wrenches, stud drivers, etc.)

Survey Equipment – each	020	000

(Includes transits, levels, etc.)

Electric Generators and Motors, Portable – each	021	000

Compressors and Pumps, Portable – each	022	000

Industrial Furniture and Fixtures – each	043	000

(Includes work benches, bins and shelving, storage

cabinets, scales, pipe racks, tool chests, etc.)

Test Equipment – each	024	000

(Includes voltmeters, ammeters, holliday detectors,

leak detectors, explosimeters, pipe locators, etc.)

Boat	035	000

Miscellaneous Tools, Shop and Garage Equipment – each	029	000

##### DETAIL CODE REQUIREMENTS

Company Number (when applicable)

Serial Number (when applicable)

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station (when permanently located)			**

Building Number (when permanently located)				**

Department to which assigned					**

##### TYPICAL ITEMS NOT TO BE CAPITALIZED

Anvils

Bags – gas main

Barrels

Bars – boring, pry, etc.

Bits, drill, etc.

Block and Tackle

Brushes – wire, paint, etc.

Buckets – tar, water

Cans – gasoline, etc.

Chisels

Cutters – pipe, bolt, wire, etc., hand

Die Heads

Drills, hand

Drills, electric – ½” and smaller

Flares

Fire Extinguishers, hand

First Aid Kits

Gauges – indicating, tire, etc.

Gloves

Goggles

Hand Pumps

Hammers, hand

Hoses

Jacks

Ladders

Lanterns

Lights – warning

Levels

Lubricators, hand guns or pumps

Masks

Measuring Tapes

Paint Brushes

Pipe Cutters, benders, etc., hand

Plugs – wood, rubber, climax, etc.

Post Hole Digger, hand

Propane Bottles, 100 lbs. capacity or smaller

Propane Torches

Salamanders

Saws

Screwdrivers

Shell Cutters

Shovels

Signs, warning

Soldering Irons

Stock and Die Sets

Stoppers

Tampers, hand

Tarpaulin

Torches – welding, propane, etc.

Vises – pipe, machinists, wood, etc.

Wrenches – hand

##### CLASSIFICATION DESCRIPTION

Includes cost of trailers or other towed vehicles such as tool carts, pipe

trailers, personnel carriers, equipment floats, carriages and special

purposes trailers such as water trailers, and all accessories.

Does not include trucks, equipment units carried by trailers or other

items which are properly includible in other classifications.

##### RETIREMENT UNITS

Carriages, Floats, etc., for equipment – each	006	000

Personnel Carriers – each	007	000

Tar Kettles – each	008	000

Tool Carts – each	009	000

Trailers, Material – each	010	000

Trailers, Special Purpose – each (describe)	013	000

##### DETAIL CODE REQUIREMENTS

Company Number

##### UNITS OF MEASURE

Each

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

00	00	00

##### CLASSIFICATION DESCRIPTION

Includes cost of trucks and all accessories attached at the time of  original

acquisition.

Does not include truck mounted compressors, welders, etc., radio

communication equipment or other items which are properly includible

in other classifications.

##### RETIREMENT UNITS

Power Attachment, winches, tail gate, etc. (when separable) – each	001	***

Truck Body (when separable) – each	002	***

Truck – Complete	003	***

Truck – Cab and Chassis only	005	***

##### DETAIL CODE REQUIREMENTS

Type –

Compressor – Utility	***	0**

Dump	***	1**

Leak	***	3**

Van	***	4**

Pick-Up	***	5**

Platform	***	6**

Stake	***	7**

Welder	***	8**

Others (describe)	***	9**

Capacity –

½ Ton	***	*1*

¾ Ton	***	*2*

1 Ton	***	*3*

1 ½ Ton	***	*4*

2 Ton	***	*5*

2 ½ Ton	***	*6*

3 Ton	***	*7*

Others (describe)	***	*9*

Make –

Chevrolet	***	**1

Dodge	***	**2

Ford	***	**3

International	***	**4

GMC	***	**5

Others (describe)	***	**9

Company Number

Serial Number

##### UNITS OF MEASURE

Each

##### LOCATION CODE REQUIREMENTS

None			00	00	00

##### CLASSIFICATION DESCRIPTION

Includes installed cost of underground storage injection/withdrawal,

observation or test wells including clearing and grading, drilling costs,

casing, tubing, well head assemblies, piping and other related items.

Does not include oil wells, gathering lines, roadways, fences or other

items which are properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each well	***	***

Well, Gas (all non-separable costs) – each	681	***

Well Casing, complete for one well – each	686	***

Well Tubing, complete for one well – each	687	***

Well Head Valve Assembly – each	688	***

##### DETAIL CODE REQUIREMENTS

None

##### UNITS OF MEASURE

Lineal feet – Piping, Casing, Tubing

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Well number with which associated				**	**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of oil wells including clearing and grading, drilling

costs, casing, tubing, oil well pumps, sucker rods, storage tanks, piping

and other related items.

Does not include gas storage wells, roadways, fences or other items

which are properly includible in other classifications.

##### RETIREMENT UNITS

See List of General Retirement Units for each well	***	000

Well, Oil (all non-separable costs) – each	682	000

Well Casing, complete for one well – each	686	000

Well Tubing, complete for one well – each	687	000

Oil Well Pump, with or without driver – each	689	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Lineal feet – Piping, Casing, Tubing

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**

Well number with which associated				**	**

##### CLASSIFICATION DESCRIPTION

Includes installed cost of above ground improvements of a permanent

nature installed on owned or leased lands such as sidewalks, area paving,

drives, fences, retaining walls, yard lighting, etc.  Also includes initial

application of surface dressings such as gravel, stone, etc.

Does not include railroad tracks, grading, sprinkler systems or other

items which are properly includible in other classifications.

##### RETIREMENT UNITS

Barricades – each	476	000

Bridge	477	000

Fences –

Masonry walls – 25 lineal feet	478	100

Metal fences, with gates – 50 lineal feet	478	200

Wood fences, with gates – 100 lineal feet	478	300

Flagpole, complete – each	479	000

Retaining Walls – 25 lineal feet	481	000

Roadways, Sidewalks, Paving –

Roadways – 25 lineal feet	483	100

Sidewalks – 100 lineal feet	483	200

Area Paving – 2500 sq. ft.	483	300

Yard Lighting (all non-separable costs) – each installation	486	000

Light Post, complete with fixture – each	487	000

Wiring, each circuit or installation, complete	995	000

Transformer – each	990	000

##### DETAIL CODE REQUIREMENTS

None	***	000

##### UNITS OF MEASURE

Lineal feet – Fences, Retaining Walls, Roadways, Sidewalks,

Wiring

Square feet – Area Paving

Each – all other

LOCATION CODE REQUIREMENTS (See Index to Location Codes)

Company Station			**	00	00