#### TITLE 20 – DEPARTMENT OF COMMERCE AND INSURANCE

##### Division 4240 – Public Service Commission Chapter 21 – Resource Planning for Electric Utilities

| Title |  | Page |
| --- | --- | --- |
| 20 CSR 4240-21.010 | General Provisions |  |
| 20 CSR 4240-21.015 | Electric Utility Resource Planning Definitions |  |

20 CSR 4240-21.020

Filing Schedule, Filing Requirements and Proceeding Requirements

Requirements

20 CSR 4240-21.025	Standards and Dataset Management

20 CSR 4240-21.030	Load Forecasting Requirements

20 CSR 4240-21.035	Supply-Side Resource Analysis

20 CSR 4240-21.040	Transmission and Distribution Analysis

20 CSR 4240-21.050	Demand-Side Resource Analysis

20 CSR 4240-21.055

Distributed Energy Resource Analysis and Reporting Requirements

20 CSR 4240-21.060

Alternative Resource Plan and Preferred Resource Plan Requirements

Requirements

20 CSR 4240-21.065	Implementation Plan Development and Reporting

##### 20 CSR 4240-21.010 General Provisions

PURPOSE: This rule establishes the general provisions for Chapter 21, Resource Planning for Electric Utilities, and details the requirements found in section 393.1900, RSMo.

- Applicability.

  - All rules under Chapter 21, Resource Planning for Electric Utilities shall apply to all electric utilities.

- Resource Planning Objectives.

  - It is the responsibility of each electric utility to stay informed on evolving resource planning issues and to consider and analyze these issues in a timely manner in its integrated resource plan.

  - The requirements under Chapter 21 establish minimum standards to govern resource planning, including:

    - The pre-IRP proceeding, as outlined in section 393.1900.1, RSMo;

    - The IRP filing requirements; and

    - Implementation plan status reports as outlined in this chapter.

  - The commission shall review an electric utility’s integrated resource plan to determine if the preferred resource plan appropriately addresses the balancing factors:

    - Resource adequacy to serve anticipated peak electric load and seasonal peak demand forecasts, applicable planning reserve margin, local clearing requirements, and the role of energy and capacity markets;

    - Reliability;

    - Rate impacts;

    - The availability for purchase from third parties of affordable and reliable generation, together with any required transmission;

    - Overall cost-effectiveness in providing service;

    - Commodity price risks;

    - Diversity of supply-side resources;

    - Competitive pricing;

    - Participation in regional transmission organization markets; and

    - Compliance with applicable state and federal environmental regulations.

##### 20 CSR 4240-21.015 Electric Utility Resource Planning Definitions

PURPOSE: This rule defines terms used in the rules comprising Chapter 21, Resource Planning for Electric Utilities.

- Accredited capacity means the deliverable or firm capacity value as determined and assigned to a resource by the appropriate regional transmission organization or independent system operator (RTO/ISO) for determining resource adequacy.

- Alternative resource plan means a schedule of a combination of supply-side, demand-side, and distribution and transmission resource additions and retirements developed and analyzed by an electric utility as part of its integrated resource plan to meet its load serving obligations or, with respect to the commission's order to be issued in 20 CSR 420-21.020(2)(B)12, a set of conditions used to describe such a schedule (e.g., retirement of an existing resource by a certain date, inclusion or exclusions of certain supply-side, or demand-side resources).

- Annual energy usage means the total amount of energy used by an electric utility and its customers as metered by the appropriate RTO/ISO over a three hundred sixty-five (365)-day time period.

- Appliance saturation means the statistical measure of the percentage of homes or businesses that possess a specific type of electric or gas appliance, such as central air conditioning, electric water heater, gas furnace, and a smart thermostat, within an electric utility’s service territory. Appliance saturation, along with the Unit Energy Consumption (UEC) for each appliance, is used as an independent variable in end-use forecasting models.

- Appropriate regional transmission organization or independent system operator (RTO/ISO) means the Midcontinent Independent System Operator (MISO), or any successor organization, or the Southwest Power Pool (SPP), or any successor organization the electric utility is a member of.

- Approved preferred resource plan means the alternative resource plan presented by the electric utility in its integrated resource plan as its preferred resource plan, which has been found by the commission to be a reasonable and prudent means for the electric utility to meet its load serving obligations.

- Avoided demand cost means a component of total avoided cost which represents the portion of an electric utility's marginal cost savings that results from reducing the peak demand by season, measured in kilowatts (kW), thereby eliminating or deferring the need for capacity investments for generation, transmission and distribution or the corresponding market-based equivalents of those costs.

- Avoided energy cost means a component of total avoided cost which represents the portion of an electric utility's marginal cost savings that results from reducing the overall energy consumption, measured in kilowatt-hours (kWh), thereby reducing the

utility’s fuel costs, emission allowance costs, and other variable operation and maintenance costs of generation facilities, adjusted to reflect energy losses on the transmission and distribution systems, or the corresponding market-based equivalents of those costs.

- Avoided costs means the cost savings obtained by substituting demand-side programs for existing and new supply-side resources. Avoided costs include avoided utility costs resulting from demand-side programs' energy savings and demand savings associated with generation, transmission, and distribution facilities including avoided probable environmental compliance costs.

- Balancing factors means the factors, as outlined in 20 CSR 4240-21.010(2)(C), that should be balanced in the development of an alternative resource plan.

- Base-case load forecast means the forecast generated by using the most probable values, generally those representing a fifty percentile (50%) probability, for each independent variable contained in a forecast model and based on the electric utility’s native forecast adjusted for existing and separately identified existing large load.

- Candidate resource options means the potential demand-side resource options and potential supply-side resource options that advance to be included in one (1) or more alternative resource plans.

- Capacity means the maximum capability to continuously produce and deliver electric power via supply-side resources or the avoidance of the need for this capability by demand-side resources.

- Capacity expansion model means optimization software used in developing the IRP filing to plan the least cost portfolio of supply-supply side and demand-side resources to be utilized over the planning horizon to meet demand, reliability, and policy goals.

- Coincident peak means the demand at the time the system experiences maximum demand during the applicable time period. Coincident peak may refer to the peak of a specific customer, customer class, or component of the system relative to the electric utility or the electric utility’s peak relative to the appropriate RTO/ISO depending on the situation being considered.

- Critical uncertain factor means any uncertain factor that is likely to materially affect the outcome of the resource planning decision.

- Degree-days means a measure of how extreme the weather is at a location is relative to a standard temperature, typically sixty-five degrees (65°) Fahrenheit. There are two types of degree-days, heating and cooling degree-days. Heating degree-days (HDD) are determined from the average daily temperature (T) (daily maximum temperature

plus daily minimum temperature divided by two (2)) using the formula HDD = the maximum of 65 – T and zero (0). Cooling degree-days (CDD) are determined by the formula CDD = the maximum of T – 65 and zero (0).

- Demand means the electrical power consumed at a given point in time measured in kilowatts (kW).

- Demand-side program means an organized process for packaging and delivering to a particular market segment a portfolio of end-use measures that is broad enough to include at least some measures that are appropriate for most members of the target market segment.

- Demand-side resources means resources designed to reduce electricity consumption, particularly during peak demand times, and can include energy efficiency programs and demand response programs.

- Demand response program means a strategy used to manage electricity demand by encouraging consumers to adjust usage patterns based on the price of electricity.

- "Describe" mean: . the provision of information in the technical volume(s) of the quadrennial compliance filing, in sufficient detail to reasonably inform the stakeholders how the electric utility complied with each applicable requirement of chapter 21, why that approach was chosen, and the results of its approach. The description in the technical volume(s), including narrative text, graphs, tables, and other pertinent information, shall be written in a manner that reasonably allows a stakeholder to thoroughly assess the electric utility’s applicable analysis and each of its components.

- "Document" means the provision of all of the supporting information relating to an analysis.

- Descriptive statistics means a set of brief values that describes a data set’s central tendency and dispersion, including but not limited to its mean, median, mode, maximum, minimum, and standard deviation.

- Distributed energy resources (DER) means any resource located on the distribution system, any subsystem thereof or behind a customer meter. DER includes but is not limited to energy storage systems, solar photovoltaic systems, and electric vehicle charging systems.

- Distributed Energy Resource Aggregation (DERA) means the assembly of a portfolio of DERs from one or more entities that are managed collectively by a single entity (i.e. aggregator) to provide energy, capacity, and/or ancillary services to the wholesale electricity market. The aggregator acts as the single point of contact, controlling the aggregated resources in response to market signals.

- Distributed generation means a grid connected electrical generation system that is sized based on local load requirements and distributed primarily to the local load. Examples of different types of distributed generation include solar photovoltaic, wind, and combined heat and power.

- Econometric methodology means the use of statistical models such regression models, time series methods, statistically adjusted end use (SAE) models, or hybrid models that integrates end-use determinants with econometric, time-series, or other statistical methods.

- Electric utility means an electrical corporation as defined in section 386.020, RSMo, but shall not include an electrical corporation as described in section 393.110.2, RSMo.

- Electrification means replacing or converting energy-consuming devices, systems, or processes that use non-electric sources of energy with electrically powered equivalents.

- Energy service means the specific need that is served by the final use of energy, such as lighting, cooking, space heating, air conditioning, refrigeration, water heating, or motive power.

- Energy storage system (ESS) means a system capable of capturing energy, storing it, and dispatching the energy back into the bulk power system or the electric utility’s distribution system, and accredited by the appropriate RTO/ISO in resource adequacy determinations. ESS may be considered a transmission or generation asset.

- End-use forecasting means a bottom-up load forecasting methodology that breaks down total customer energy consumption (sales and demand) into specific, functional end uses (e.g., space heating, cooling, water heating, lighting, or industrial processes) and projects each of those uses separately into the future.

- End-use measure means an energy-efficiency measure or an energy-management measure.

- Energy means the total amount of electric power that is generated or used over a specified interval of time measured in kilowatt-hours (kWh).

- Energy efficiency measure means any device, technology, or operating procedure that makes it possible to deliver an adequate level and quality of end-use energy service while using less energy that would otherwise be required.

- Expected accredited capacity means the electric utility’s expectation of accredited

capacity in each and every future year, by season, of the planning horizon.

- Expected unserved energy means the statistical expectation of the amount of energy per year that an electric utility will be unable to supply its native load without importing emergency power.

- Firm transmission service means the transmission service that is intended to be available at all times to the maximum extent practicable, subject to an emergency or an unanticipated failure of a facility.

- Forecast period means an amount of time over which a forecast is made that may have a length that is greater than that of the planning horizon.

- Generation attribute means the capacity, energy, and other generating unit capabilities used in regional energy and capacity markets to differentiate services that can be provided by various types of generating units.

- Generation technology means various methods and technologies that an electric utility plans to use to generate electricity.

- Historical period means the ten (10) most recent years, or the period of time used as the basis of the electric utility’s forecast, whichever is longer.

- Implementation period means a four (4) year period that ends three hundred and sixty-five (365) days after the electric utility’s next commission- scheduled IRP filing.

- Implementation plan means the supply-side resources or quantity of supply-side resources by supply-side resource type, or both, to be constructed or acquired as part of the preferred resource plan over the implementation period and any other information required in accordance with 20 CSR 4240-21.065.

- Information means any fact, relationship, insight, estimate, or expert judgment that narrows the range of uncertainty surrounding key decision variables or has the potential to substantially influence or alter resource planning decisions.

- Integrated resource plan (IRP) means the document in accordance with section 393.1900.2, .3, which addresses the requirements outlined in section 393.1900 and this chapter.

- Large load means an electric utility’s qualifying threshold amount of annual peak demand as defined in its commission approved tariffs in accordance with section 393.130, RSMo.

- Large load metrics means the following metrics that together describe whether, when, and to what level large load projects materialize and use electricity over time:

  - Project realization means the schedule of dates upon which large load projects included in the load forecast are placed into permanent service.

    - Permanent service date means the date when a large load will be placed into commercial operation, including anticipated delays.

  - Load ramping means the monthly or annual forecast of demand during the period between the date permanent service is supplied to the project and reaching full forecast peak load.

  - Load realization means the peak load once new large load projects have fully ramped from the permanent service date to maximum operation and may be expressed as a percentage of requested or contract peak load.

  - Load factor means the actual energy use as a proportion of potential energy used based on continuous energy demand at the customer's peak demand.

  - Load shape means detailed energy use information such as a monthly and/or hourly schedule.

- Legal mandates means applicable state and federal executive orders, legislation, court decisions, and applicable state and federal administrative agency orders, rules, and regulations affecting electric utility, loads, resources, or resource plans.

- Limited inquiry means a certificate of convenience and necessity proceeding where

the commission’s inquiry shall be limited as outlined in section 393.1900.5.(1) RSMo.

- Load-building program means an organized promotional effort by the electric utility to persuade energy-related decision-makers to choose electricity instead of other forms of energy for the provision of energy service or to persuade existing customers to increase their use of electricity, either by substituting electricity for other forms of energy or by increasing the level or variety of energy services used. This term is not intended to include the provision of technical or engineering assistance, information about filed rates and tariffs, or other forms of routine customer service.

- Load impact means the change in energy usage and the change in diversified demand during a specified interval of time due to the implementation of a demand-side resource.

- Load management means the process of balancing the supply of electricity on the network with the electrical load by adjusting or controlling the load rather than the generating station.

- Load profile means a plot of hourly demand versus chronological hour of the day from the hour ending 1:00 a.m. to the hour ending 12:00 midnight.

- Local clearing requirements means the minimum amount of capacity needed to ensure reliability within a specific local resource zone or reserve zone. It shall be calculated consistent with the appropriate RTO/ISO requirements.

- Long-run means an analytical framework within which all factors of production are variable.

- Loss of load expectation (LOLE) means the measure of how often, on average, the available generation capacity is likely to fall short of the load demand.

- .

- Maximum achievable potential means energy savings and demand savings relative to an electric utility’s baseline energy forecast and baseline demand forecast, respectively, resulting from expected program participation and ideal implementation conditions. Maximum achievable potential establishes a maximum target for

demand-side savings that an electric utility can expect to achieve through its demand-side programs and involves incentives that represent a very high portion of total program costs and very short customer payback periods. Maximum achievable potential is considered the hypothetical upper-boundary of achievable demand-side savings potential, because it presumes conditions that are ideal and are not typically observed.

- Missouri Energy Efficiency Investment Act (MEEIA) means the state law established in 393.1075 RSMo.

- MEEIA demand-side resources means demand-side resources proposed as a program in accordance with the commission’s MEEIA Rules, 20 CSR 4240-20.092, 20 CSR 4240-20.093, and 20 CSR 4240-20.094.

- Net system load means the hourly electric supply necessary to meet the energy demands of the electric utility’s customers and the electric utility’s own internal needs net of station use.

- Nominal dollars means future or then current dollar values that are not adjusted to remove the effects of anticipated inflation.

- Non-coincident peak means the highest energy consumed by a specific customer, a customer class, or a component of the system over a short time period, typically either fifteen (15) or thirty (30) minutes for specific customer or one (1) hour at the system level that occurs at any time during a specified billing period or interval, regardless of the system’s total load.

- Non-MEEIA demand-side resources means demand-side resources proposed as a program in accordance with the commission’s Promotional Practice Rules, 20 CSR 4240-3.150 and 20 CSR 4240-14.

- Participant means an energy-related decision-maker who implements one (1) or more end-use measures as a direct result of a demand-side program.

- Participant costs test  means a test of the cost-effectiveness of demand-side programs that measures the eco nomics of a demand-side program from the perspective of the customers participating in the program.

- Planning horizon means a future time period of a minimum of sixteen (16) years from the electric utility’s IRP filing year over which the costs and benefits of alternative resource plans are evaluated.

- Planning reserve margin means the capacity determined by the appropriate RTO/ISO for which an electric utility must have equal to or greater than accredited capacity for the applicable time period.

- Preferred resource plan means the alternative resource plan that is contained in the integrated resource plan that has been selected by the electric utility to represent the most prudent and reasonable alternative resource plan to meet its load serving obligations.

- Pre-IRP proceeding means the proceeding initiated when the electric utility files the pre-IRP minimum filing requirements and concludes with a commission order specifying the alternative resource plans, scenarios, sensitivities, and relevant emerging factors.

- Probable environmental compliance cost means the expected cost to the electric utility of complying with new or additional environmental legal mandates, taxes, or other requirements that, in the judgment of the electric utility decision-makers, may be imposed at some point within the planning horizon which would result in compliance costs that could have a significant impact on electric utility rates.

- Production cost model means a software tool used to simulate the hourly operation of electric systems to determine the costs associated with electricity production

based on various inputs such as supply-side resources, load forecasts, and operational constraints.

- Public counsel means the Office of Public Counsel of the state of Missouri or its designated representative.

- Rate class or customer class means as those terms are defined in an electric utility’s tariff. Generally, rate classes or customer classes include residential, small general service, large general service, and large power service, but may include additional classes. Each rate class includes all customers served under all variations of the rate schedules available to that class.

- Realistic achievable potential means energy savings and demand savings relative to an electric utility’s baseline energy forecast and baseline demand forecast, respectively, resulting from expected program participation and realistic implementation conditions. Realistic achievable potential establishes a realistic target for demand-side savings that an electric utility can expect to achieve through its demand-side programs and involves incentives that represent a moderate portion of total program costs and longer customer payback periods when compared to those associated with maximum achievable potential.

- Relevant emerging factors means a list of new or evolving topics where the commission in the pre-IRP proceeding has determined that additional research and knowledge is needed and that should therefore be addressed in the electric utility's IRP.

- Relevant future timeframe means the planning horizon defined in section (69).

- Renewable energy means electricity generated from a source that is classified as a renewable energy source under a state or federal renewable energy standard to which the electric utility is subject.

- Resource means supply-side resources and demand-side resources.

- Resource planning means the process by which an electric utility evaluates and chooses the appropriate mix and schedule of supply-side, demand-side, and distribution and transmission resource additions and retirements to provide the public with an adequate level, quality, and variety of end-use energy services.

- Resource type means the fuel or source used for energy generation, including but not limited to natural gas, coal, oil, solar, wind, nuclear, hydroelectric, geothermal, and pumped storage hydroelectric system.

- Seasonal coincident peak means the total electric demand of the electric utility system, a customer class, or a specific zone, that occurs at the exact hour of the highest overall system demand within a defined seasonal period (typically Summer, Fall, Winter, or Spring). It is a time-differentiated measure used to determine capacity obligations and to allocate fixed costs.

- Scenario means a set of input assumptions and constraints.

- Sensitivity means a model run that changes a single key input to understand how that input affects or drives results across scenarios.

- Service territory means the area in which the electric utility has been approved by the commission to provide electrical service to customers.

- Staff means the staff of the Missouri Public Service Commission.

- Stakeholder means staff, public counsel, and any person or entity granted intervention in the pre-IRP proceeding or IRP filing at issue.

- Subjective probability means the judgmental likelihood that the outcome will actually occur.

- Sufficient capacity means owned or contracted-for capacity that meets the planning reserve margin or successor metric established by the appropriate RTO/ISO or established by the commission if the electric utility is not a participant in a regional transmission organization or independent system operator.

- Supply-side resource means any device or method by which an electric utility can provide to its customers an adequate level and quality of electric power supply, including distributed energy resources.

- System needs means, but is not limited to, peak capacity, energy requirements, and reserve-margin requirements; regulatory compliance, reliability, environmental or renewable-energy standards compliance, and system flexibility.

- Technical potential means energy savings and demand savings relative to an electric utility’s baseline energy forecast and baseline demand forecast, respectively, resulting from a theoretical construct that assumes all feasible measures are adopted by customers of the electric utility regardless of cost or customer preference.

- Total resource cost test means a test of the cost-effectiveness of demand-side programs  that compares the sum of avoided utility costs plus avoided probable environmental costs to the sum of all incremental costs related to the end-use measures that are implemented due to the program or related to the rates (including both electric utility and participant contributions), plus utility costs to administer, deliver, and evaluate each demand-side program to quantify the net savings obtained by substituting the demand-side program for supply-side resources.

- Transmission losses means the amount of real power, expressed as a percentage, that is lost in transmission facilities, when delivering energy to load.

- Uncertain factor means any event, circumstance, situation, relationship, causal linkage, price, cost, value, response, or other relevant quantity which can materially affect the outcome of resource planning decisions, about which electric utility planners and decisionmakers have incomplete or inadequate information at the time a decision must be made.

- Utility costs means the costs of operating the electric utility system and developing and implementing an alternative resource plan that are incurred and paid by the electric utility. On an annual basis, utility cost is synonymous with electric utility revenue requirement.

- Utility cost test means a test of the cost effectiveness of demand-side programs that compares the avoided utility costs to the sum of all electric utility incentive payments, plus utility costs to administer, deliver, and evaluate each demand-side program to quantify the net savings obtained by substituting the demand-side program for supply-side resources.

##### 20 CSR 4240-21.020 Filing Schedule, Filing Requirements, and the Integrated Resource Plan Proceeding

PURPOSE: This rule specifies the filing schedule, filing requirements, and the schedule of the integrated resource plan proceeding for an electric utility’s Integrated Resource Plan and details the requirements found in Section 393.1900 of the Missouri Revised Statutes.

- Each electric utility shall file an integrated resource plan (IRP) as required by section 393.1900.2, .3 every four (4) years, or as otherwise ordered by the commission, by the first business day in October of the specified year. Each electric utility shall file its initial IRP filing on the following schedule:

  - Union Electric Company d/b/a Ameren Missouri, or its successor, October 2029;

  - Evergy Metro d/b/a Evergy Missouri Metro, or its successor, October 2030;

  - Evergy Missouri West d/b/a Evergy Missouri West or its successor, October 2030; and

  - The Empire District Electric Company d/b/a Liberty, or its successor, October 2031.

- Pre-IRP Proceeding.

  - A pre-IRP proceeding, as outlined in section 393.1900.1., RSMo, shall be conducted to:

    - Establish, pursuant to section 393.1900.1(4), a commission-prescribed set of alternative resource plans, as well as any commission-prescribed scenarios and sensitivities, that an electric utility shall analyze in its IRP filing,

    - Specify factors that the electric utility may take into account in analyzing the alternative resource plans the commission established under section (2)(A)1; and

    - Specify relevant emerging factors that an electric utility shall examine in its in its IRP filing

The alternative resource plans established under this section (2) shall be analyzed in addition to those determined through capacity expansion modeling as required by 20 CSR 4240-21.060 or otherwise established by the electric utility for analysis in its IRP filing.

  - The pre-IRP proceeding shall commence forty-five (45) days prior to filing the pre-IRP minimum filing requirements. To commence the pre-IRP proceeding, the electric utility shall:

    - File notice in the docket of the upcoming activities, as outlined in paragraphs (2)(B)3. and (2)(B)5.; and

    - Directly notify all intervenors in the electric utility’s most recent general rate case and most recent IRP case of the upcoming activities, as outlined in paragraphs (2)(B)3. and (2)(B)5.

    - Following the notification by the electric utility, the commission will issue notice of the case and establish a time period for intervention.

    - One (1) month prior to filing the pre-IRP minimum filing requirements, the electric utility shall meet with stakeholders to present the preliminary pre-IRP minimum filing requirements and public engagement plan for stakeholder feedback.

    - The electric utility shall file the pre-IRP minimum filing requirements no less than seventeen (17) months prior to the IRP filing date as outlined in section (1), with the exception of the first IRP under subsection (1)(A), for which the electric utility shall file the pre-IRP minimum filing requirements no less than twenty-six (26) months prior to the IRP filing date.

    - Within one (1) month of the electric utility filing the pre-IRP minimum filing requirements, the electric utility shall:

    - Hold public engagement meetings to provide the opportunity for public input into the electric utility's resource planning process.

    - File a notice summarizing the feedback received from the public engagement efforts, including a description of how the electric utility may incorporate or consider the feedback in the electric utility’s IRP filing submitted pursuant to section (1).

    - Hold presentations and a series of technical sessions with stakeholders to present the pre-IRP proceeding minimum filing requirements, obtain stakeholder feedback , and develop or refine the proposed inputs and assumptions.

    - Within three (3) months of the electric utility’s filing the pre-IRP minimum filing requirements, the stakeholders and the electric utility must determine if they are able to reach consensus on the topics outlined in subsection (2)(A).

    - The stakeholders and the electric utility shall achieve one of the following outcomes—

      - If consensus is achieved, the stakeholders and the electric utility shall file with the commission the proposed agreed upon alternative resource plans for analysis, the scenarios and sensitivities as inputs for the electric utility’s development of alternative resource plans, relevant emerging factors, and any modifications to the previously filed pre-IRP proceeding minimum filing requirements, submitted pursuant to paragraph (2)(A)1.; or

      - If consensus is not achieved, any party may request a hearing for commission determination on unresolved issues.

    - No later than eight (8) months after the electric utility files the pre-IRP minimum filing requirements, in accordance with paragraph (2)(A)1., the commission shall issue an order establish and specifying the items addressed in section (2)(A).

    - If the electric utility, staff, or public counsel becomes aware of any information that impacts or could impact any direction provided in the commission’s order, issued pursuant to paragraph (2)(F)5., the electric utility, staff, or public counsel shall:

      - Notify the stakeholders and electric utility within fourteen (14) days of becoming aware of the impact; and

      - Convene an additional technical session with the stakeholders and the electric utility, if necessary, with the goal of jointly recommending a resolution to the commission, or notifying the commission that no recommendation is necessary or that a resolution could not be reached.

  - The pre-IRP minimum filing requirements shall include the following:

    - Identification of required and proposed planning reserve margins anticipated over the relevant future timeframe;

    - Identification of current or proposed local clearing requirements anticipated over the relevant future timeframe;

    - Identification of existing federal and state environmental regulations, laws, or rules by resource type and an explanation of how those regulations, laws, or rules apply to the electric utility;

    - Identification of significant proposed federal and state environmental regulations, laws or rules, and an explanation of how those regulations, laws, or rules apply to the applicable resource type, and a description of the expected timeframe when each proposed regulation, law or rule will take effect;

    - Load forecasts for monthly system energy and monthly non-coincident peak over the planning horizon;

    - Identification of anticipated critical uncertain factors based on annual updates prepared by the electric utility in accordance with 20 CSR 4240-21.065(2)(B)2. or 20 CSR 4240-22.080, including descriptive statistics and probability distribution;

    - Identification of reasonable supply-side and demand-side resources that could address the need for additional energy and capacity including, but not limited to:

      - Type and description of technology for proposed supply-side or demand-side resources;

      - Projected load impact due to load-building programs, such as electrification or economic development projects; and

      - Projected load management and demand response savings;

    - Identification of projected range of total costs of different types of technologies and fuels used for existing and future electric generation, including information on the electric utility’s availability of different types of fuels. Total costs shall:

      - Include capital, fixed and variable operation and maintenance costs, fuel, and any other costs that are relevant for the particular technology; and

      - Reflect costs developed or incurred no more than 12 months prior to the pre-IRP minimum requirements filing date;

    - Considerations for developing alternative resource plans, scenarios, sensitivities, and relevant emerging factors, for stakeholder discussion, as required in paragraph (2)(A)3.;

    - The comprehensive database required pursuant to 20 CSR 4240-21.030(1)(B);

    - A capacity balance forecast, included herein, provided in the following specified form:

    - The base-case capacity balance forecast shall include the existing supply-side resources through the currently expected life of each asset or contract, expected load growth over the planning horizon without additions of large load customers, and no resource additions.

    - The large load addition capacity balance forecast shall include:

      - Existing supply-side resources through the currently expected life of each asset or contract;

      - Expected load growth over the planning horizon with additions of large load customers that have the required probability of interconnection pursuant to 20 CSR 4240-21.030(6)(D)4., and no resource additions; and

      - Any other information the commission may order.

The minimum filing requirements may consist of values and information for the items specified above from the electric utility's most recent IRP filing (and, in the case of the electric utility's first IRP proceeding, its most recent triennial IRP and change in preferred resource plan filing), provided, that to the extent the electric utility, as part of its ongoing resource planning efforts or because of a material condition or event that necessitates a change, has updated such values or information, as applicable, as of the time of its filing of the minimum filing requirements, such updated values or information, as applicable, shall be used.

- IRP Filing Content.

  - The electric utility’s IRP filing shall demonstrate compliance with the provisions of Chapter 21 and section 393.1900, RSMo, and shall include at a minimum—

    - A letter of transmittal;

    - An executive summary;

    - Technical volumes; and

    - Such other information or format as the commission may order.

  - The electric utility’s IRP filing letter of transmittal shall:

    - Express commitment to the preferred resource plan and its implementation plan; and

    - Be signed by an officer of the electric utility having the authority to bind and commit the electric utility to the implementation plan for the preferred resource plan, if the commission determines the preferred resource plan to be reasonable and prudent in whole or in part.

  - The electric utility’s IRP filing executive summary shall—

    - Provide the electric utility’s justification of the preferred resource plan and

implementation plan;

    - Be suitable for distribution to the public in electronic format;

    - Be organized by and summarize the contents of the technical volumes and include:

      - A brief introduction describing the electric utility, its existing supply-side resources and transmission and distribution facilities, existing purchase power arrangements, existing demand-side programs, and the electric utility’s reasoning for selecting the preferred resource plan, and the strategy for the implementation plan;

      - The following for each rate class and for the total of all rate classes:

        - The base-case load forecasts for peak demand and for energy for the planning horizon, with and without utility demand-side resources, and

        - A listing of the economic and demographic assumptions associated with the base-case load forecast as specified in 20 CSR 4240-21.030(4); and

      - The electric utility’s preferred resource plan shall—

        - Provide a summary of the preferred resource plan to meet expected energy service needs for the planning horizon, clearly showing the

distributed energy resources, demand-side and supply-side resources, including additions and retirements for each resource type;

        - Identify the critical uncertain factors affecting the preferred resource plan;

        - Specify the existing legal mandates and approved cost recovery mechanisms, and include the following performance measures for each year of the planning horizon:

          - Estimated annual revenue requirement;

          - Estimated level of average retail rates by rate class for the first eight (8) years of the plan and the percentage of change from the prior year;

          - Estimated company financial ratios as specified in 20 CSR 4240-21.060(1)(C)3; and

          - A description of the major research projects and programs the electric utility will continue or commence during the implementation period.

  - The electric utility’s IRP filing technical volumes shall—

    - Describe the assumptions, inputs, and decisions, and document the analysis, the electric utility utilized in developing the alternative resource plans (in addition to those established in the pre-IRP proceeding), selecting the

electric utility’s preferred resource plan, and developing its implementation plan;

    - Be organized by chapters corresponding to 20 CSR 4240-21.025 through 20 CSR 4240-21.060 and 20 CSR 4240-21.065(1) and include all documentation and information specified in 20 CSR 4240-21.025 through 20 CSR 4240-

21.065(1), respectively;

    - Include the capacity balance forecast, in the specified form included herein, for the preferred resource plan and each alternative resource plan the electric utility considered;

    - Include a discussion of:

      - Any differences between the information ordered by the commission in section (2)(B)12. and the information used by the electric utility in its IRP, along the reason for those differences;

      - Identify the naming convention of the alternative resource plans selected and identify the alternative resource plan that the electric utility selected as the preferred resource plan; and

      - Address relevant emerging factors ordered by the commission under section (2)(B)12.

- Cost Updates to the electric utility’s IRP Filing.

  - If the cost estimates the electric utility submitted in the IRP filing have materially changed, an electric utility may submit an update to the IRP filing on or before one hundred fifty (150) calendar days from the submittal date of the IRP filing.

  - If the electric utility submits a cost update to the IRP filing, then the electric utility shall:

    - Submit the cost updates in a format with sufficient detail to identify any changes in cost and an explanation of any other impacts over the planning horizon for costs specified in 20 CSR 4240-21.060 and 20 CSR 4240-

21.065(1).

    - Notify the stakeholders no more than ten (10) days after the electric utility identifies that a cost update is needed. The electric utility shall convene discussions on the potential for requesting a modified procedural schedule to accommodate the additional review.

- Potential Modifications to An Electric Utility’s Approved Preferred Resource Plan.

  - Proposed changes or unforeseen events may require changes to the electric utility’s approved preferred resource plan or the implementation plan. If, between IRP filings, the electric utility’s implementation plan becomes materially inconsistent with the approved preferred resource plan, or if the electric utility determines that the approved preferred resource plan or implementation plan is no longer appropriate, either due to the range identified pursuant to 20 CSR 4240-21.060(4)(E)2.A. being exceeded or for other reasons, the electric utility shall:

    - File a notification in the IRP docket within thirty (30) days of the electric

utility’s determination of such change; and

    - Serve notice to stakeholders in the most recent IRP docket.

  - The electric utility’s notification shall include:

    - A description of all changes to the approved preferred resource plan and the associated implementation plan;

    - The impact of each change on the annual revenue requirement;

    - The impact of the change on the financial performance measures specified in 20 CSR 4240-21.060(1)(C)3.; and

    - Any impact to the performance measures specified in the last IRP filing pursuant to 20 CSR 4240-21.060(1);

  - If the electric utility contends that, despite the proposed changes to its preferred resource plan identified in subsection (5)(A), certain supply-side resources previously identified by the commission as eligible for limited inquiry CCN remain materially consistent with the approved preferred resource plan the electric utility shall include in its notification:

    - Identification of such supply-side resources or quantities by supply-side resource type;

    - Supporting explanation; and

    - Discussion of any impact on the electric utility’s ability to timely meet

customer energy needs if such supply-side resources are delayed.

  - Within twenty (20) days after the electric utility’s notification in accordance with subsection (5)(B), any stakeholder may respond to the electric utility’s notice.

  - Unless otherwise ordered by the commission, within sixty (60) days of the electric

utility’s filing of the notice required in subsection (5)(B), the limited inquiry shall

be unaffected by the filing of the notice for the specified supply-side resources or specified quantities of supply-side resource types that the electric utility identified as remaining materially consistent with the approved preferred resource plan.

##### 20 CSR 4240-21.025 Standards and Dataset Management Requirements

PURPOSE: This rule establishes data standards and data set management requirements and specifies minimum standards for the documentation of all data, assumptions, methods, and analytical tools used in the planning process submitted as part of Chapter 21, Resource Planning for Electric Utilities, and details the requirements found in Section 393.1900, Missouri Revised Statutes.

- The electric utility shall include sufficient detail and documentation in its integrated resource plan that establishes and demonstrates to the commission’s satisfaction how the electric utility developed the alternative resource plans, and the selection process and rationale for the preferred resource plan. The content of the

- electric utility’s IRP filing must enable the commission to evaluate the soundness, reliability, and transparency of the data, assumptions, methods, and analytical tools used in the planning process.  The content of any analysis submitted in the IRP filing docket by any other party thereto or on its behalf must enable the commission to evaluate the soundness, reliability, and transparency of the data, assumptions, methods, and analytical tools used in such analysis and underlying any other plans advocated for by such a party.

- Datasets.

  - The electric utility shall generally describe all datasets used in each IRP filing and provide documentation underlying them to the extent reasonably necessary to understand the electric utility’s forecast and planning conclusions.  Any other party to the IRP filing docket shall also generally describe all datasets used in any analysis submitted the party or on its behalf and provide documentation underlying them to the extent reasonably necessary to understand its analysis and conclusions

  - The electric utility shall align common datasets for use in its transmission system planning, distribution system planning, and generation planning to the extent reasonably possible.

- Workpapers.

  - The electric utility and all parties to the IRP filing docket shall provide all workpapers utilized to support the claims, data, figures, tables, and graphics included in the IRP filing. The electric utility’s workpapers shall be-

    - Clearly labeled with descriptive and consistent file names;

    - Provided in searchable electronic formats with all formulas, cell references, and data links intact,; and

    - Reproducible, transparent, and consistent with the stated assumptions used in their development

  - The electric utility shall provide a process flow diagram that provides graphical representation of the interaction between inputs, modeling software, and results that is produced in support of the IRP filing. The electric utility shall provide a reasonably detailed narrative description of the steps reflected in the process flow diagram so that reviewers understand the logical flow from data through the decision-making process to plan recommendations.  Any party to the IRP filing docket that submits or has submitted on its behalf alternative plan recommendations shall provide the same diagram and description as required of the electric utility to support its alternative recommendations.

  - The electric utility shall provide a summary workbook that indicates the workpapers provided in support of the IRP filing. All other parties to the IRP filing docket shall submit workpapers in support of their responses to or proposed alternatives to the plans reflected in the electric utility's IRP filing.

  - The electric utility and all parties to the IRP fiing docket shall provide justification for any assumptions made in the workpapers and citations for any hardcoded numbers.

  - For all materials used to support the electric utility’s IRP filing, whether produced by the electric utility, its affiliates, outside entities, or contractors, the electric utility shall provide:

    - The entire document; and

    - All supporting workpapers.

The same requirements shall apply to materials used to support filings of other parties to the IRP filing docket in response to the electric utility's IRP filing.

- Plots.

  - The electric utility shall label each plot included in the IRP filing as a stand-alone figure, and shall label the axis with the units of measure.

  - The electric utility shall provide the data in each plot in tabular form in the workpapers.

  - All other parties to the IRP filing docket shall also label each plot and provide the data contained in or underlying that party's responses to the electric utility's IRP filing in the same manner required of the electric utility in sub-subsections (A) and (B).

  - The electric utility shall number, reference, and explain all plots and data tables in the text of the technical volumes.

- Citations within text.

  - The electric utility shall describe and document all scenario and sensitivity assumptions, data inputs, modeling assumptions, modeling files and results, together with reasonable documentation of the same, and shall also  and provide a reasonably detailed narrative outlining the rationale for inclusion or exclusion to enable stakeholder review, replication, and independent evaluation.

  - For every data point referenced in the IRP filing, the electric utility shall provide a specific citation to the underlying workpaper file name, and tab from which the data was sourced.

- The electric utility and any other party to the IRP docket shall include an indication of whether relevant costs and benefits in their respective filings are expressed in real or nominal dollars.

- Within two (2) business days of the electric utility submitting the IRP filing, the electric utility shall make available to stakeholders all data, modeling inputs, assumptions, and results for the alternative resource plans pursuant to 20 CSR 4240-21.060(4) and for all risk scenarios and sensitivity analyses pursuant to 20 CSR 4240-21.060(4).

- Subject to their ability to securely receive and house the same, the electric utility shall provide staff and public counsel reasonable access to modeling software, tools, & standards the electric utility used for the purpose of verifying results or performing independent modeling runs, as the

commission designated in conformance with section 393.1900.1(5) RSMo.

##### 20 CSR 4240-21. 030 Load Forecasting Requirements

PURPOSE: This rule establishes minimum standards for the collection, maintenance, and updating of historical data, and for the documentation of all inputs, assumptions, and methodologies used in load forecasting. Forecasts prepared under this rule shall provide reliable and transparent projections of future energy and capacity needs, including load management, demand response, electrification impacts, and peak demand reduction, found in Section 393.1900 of the Missouri Revised Statutes.

- Load Forecasting Inputs and Assumptions.

  - The electric utility shall develop load forecasts using the best available, transparent, and verifiable data. Where reliable data is not available, the electric utility may use estimates only for variables, provided that the electric utility fully justifies and clearly documents the estimates.

  - The electric utility shall maintain and annually update a comprehensive database of historical energy usage and demand across its service territory covering at least the most recent five (5) years for hourly data and twenty (20) years for monthly data preceding the IRP filing year. The electric utility shall include in the database all customer classes and capture hourly and monthly energy consumption, monthly customer counts, monthly peak demand levels (coincident and non-coincident peaks by customer class), and annual peak demand (reported separately for summer and winter for both coincident and non-coincident peaks by customer class). The electric utility shall provide access to these inputs to the stakeholders pursuant to 20 CSR 4240-21.025(7).

  - The electric utility shall weather normalize all weather-sensitive historical load data using statistical methods, and clearly describe the methodology employed, including the treatment of temperature, degree days, or other relevant weather variables. The electric utility shall describe and document the statistical fit, significance, and justification for all variables.

  - The electric utility shall use historical load and weather data to determine the relationship between load and weather variables, including temperature or degree-days. The electric utility shall weather normalize forecasted loads to reflect normal weather conditions derived from these relationships. The electric utility shall describe and document the methodology, data sources, variables, and statistical results of each input.

  - Where employing end-use forecasting, the electric utility shall use the most current available data on appliance saturation, efficiency trends, and customer adoption of new technologies, including distributed energy resources (DER) and demand-side measures

  - The electric utility shall include data for population, households, employment, income, economic growth, or other economic or demographic drivers that materially influence load.

  - The electric utility shall include data for applicable federal, state, and local laws, regulations, and policies that affect energy consumption, including energy efficiency standards, electrification initiatives, and decarbonization requirements.

  - The electric utility shall include data and assumptions regarding DER that materially affect system load. The electric utility shall document current penetration rates, forecasted adoption, and the resulting impact on load shapes and net demand as further defined in 20 CSR 4240-21.055.

  - The electric utility shall ensure the forecast is generally aligned with the energy efficiency potential assessment, including alignment of baseline conditions such as new housing and commercial building starts, appliance saturations, employment growth, federal standards, building codes, and program offerings.

  - The electric utility shall provide explicit data on anticipated adoption of electric vehicles  and other electrification technologies and the documentation of expected penetration rates, charging or usage profiles, seasonal impacts, and the resulting effects on system load and system non-coincident peak.

  - The electric utility shall ensure the forecast considers the effects of electricity prices, real price of competitive energy sources, and rate design on customer usage. The electric utility shall include the price elasticity of demand, and the impacts of approved rate structures such as time-of-use rates, demand charges, and dynamic pricing mechanism.

  - The electric utility shall provide descriptive statistics for key data inputs.

- Forecasting Methodology.

  - The electric utility shall develop its load forecast using transparent, reproducible, and well-documented methods, including a complete description of the forecasting models, the methodology, key assumptions, input variables, data sources, and outputs, along with the rationale for the chosen approach. The electric utility shall provide a detailed description to permit independent replication and evaluation as outlined in 20 CSR 4240-21.025.

(B)	The electric utility shall, at minimum:

- Develop customer class level load forecasts using an econometric methodology as the primary framework; and

- When the electric utility uses end-use determinants, the electric utility shall demonstrate that appliance saturation, efficiency trends, technology adoption, electrification, and customer behavior are explicitly represented in the model.

(C)	The electric utility may employ a non-econometric approach, such as engineering-based models, machine learning models, or other statistical methods, provided that the approach is clearly distinguished from econometric methodologies.

(D) The electric utility shall capture key load drivers, including economic conditions, weather, technology adoption, and policy impacts.

- If the electric utility employs an alternative approach, the electric utility shall:

  - Describe the model structure and functional form and provide the data inputs and documentation of their source;

  - Explain how the methodology differs from an econometric methodology; and

  - The electric utility shall explain how the resulting forecast achieves a level of rigor, transparency, and detail that is comparable to an econometric load forecast; and shall describe the advantages, tradeoffs, and limitations of the selected methodology and any documentation relied upon to determine them.

(E)The electric utility shall provide a comprehensive list of all independent variables used in the model. For each variable the electric utility shall:

  - 1.	Provide the definition, unit of measure, data source, historical period covered, forecast values, and forecast method; and

  - 2.	Explain the relevance of each variable to load growth and describe how each variable was incorporated into the forecast.

(F) The electric utility shall describe the equations, algorithms, or statistical methods used to relate independent variables to load.

(G) The electric utility shall explicitly identify and justify any transformations, such as logarithmic, polynomial, or interaction terms.

(H) The electric utility shall describe the estimation techniques used to determine model parameters, including regression methods, statistical procedures, or simulation techniques and include:

  - 1.	Parameter estimates with standard errors, significance levels, and statistical goodness-of-fit measures; and

  - 2.	Description of any calibration methods used to align model results with historical load data, and present the diagnostic tests to demonstrate model validity.

(I) The electric utility shall describe how the model incorporates weather variables, and captures the sensitivity of load to key weather variables such as temperature, and degree-days.

(J) The electric utility shall identify and quantify all adjustments made outside of model results;

  - 1.	Provide the basis, justification, methodology, and quantitative effect on forecast outcomes; and

  - 2.	Present adjustments alongside the unadjusted model results for comparison.

(K) The electric utility shall provide full documentation of all methodologies, assumptions, and data sources sufficient for replication, as outlined in 20 CSR 4240-21.025. Additionally:

  - 1.	The electric utility shall validate the forecast results through benchmarking against historical load patterns and against any available independent forecasts published by regional transmission organizations, government agencies, or other credible sources;

  - 2.	The electric utility shall describe and document a retrospective analysis of past forecasts and an evaluation of forecast accuracy; and

  - 3.	The electric utility shall provide a forecast of net system load profiles for each year of the planning horizon. The electric utility shall ensure

the net system load forecast is consistent with the electric utility’s forecasts of monthly energy and peak demands at the time of summer and winter system peaks for each customer class.

- Forecast Period.

  - The electric utility shall prepare forecasts of system peak load and energy consumption under reasonable scenarios.

  - The electric utility shall express forecasts on an hourly, monthly, and annual basis, and shall report these forecasts separately for each customer class, as well as for the total system.

  - The electric utility shall extend the forecasts at least sixteen (16) years beyond the electric utility’s IRP filing year and shall present annual energy consumption and system non-coincident peak demand.

- Base-Case Load Forecast.

  - The electric utility shall prepare and file a base-case load forecast representing the electric utility’s best estimate of future system load under a reasonable scenario, using the most probable values, generally those representing a fifty percentile (50%) probability, for each independent variable contained in the forecast model and based on the electric utility’s native forecast adjusted for existing and separately identified existing large load.

  - The electric utility’s base-case load forecast shall:

    - Assume normal weather conditions for all components;

    - Incorporate the load impacts of implemented demand-side programs that are in effect at the time of the IRP filing; and

    - Exclude the load impacts of proposed demand-side programs and separately present this data in the demand response forecast.

  - The electric utility shall develop the base-case load forecast using the data inputs in section (1) and forecasting methodology required under section (2). The electric utility shall use the base-case load forecast as the reference case for all scenario and sensitivity analysis.

  - The electric utility shall complete the following for the base-case load forecast:

    - Describe and document forecasts of the hourly load profile for each of the electric utility’s customer classes, and for the system as a whole, based on at least the most recent five

(5) historical years and covering the first five (5) years of the forecast period. These forecasts must reflect daily load patterns, seasonal variability, and separately identify the influence of DER, electrification, and currently approved electric utility sponsored programs for energy efficiency and demand response.

    - Describe and document forecasts of monthly and annual energy consumption for the system and for each customer class, for every year within the planning horizon. The electric utility shall disaggregate these forecasts by jurisdictional components. These forecasts

shall be disaggregated by jurisdictional components or the electric utility shall provide a justification why disaggregation is not applicable.

    - Describe and document forecasts of monthly peak demand for each customer class and for the system as a whole, for every year of the planning horizon. For each of these forecasts, the electric utility shall provide both coincident and non-coincident peak demand by customer class. The electric utility shall disaggregate these forecasts by jurisdictional components or the electric utility shall provide a justification why disaggregation is not applicable.

    - Explain how the forecast incorporates the effects of economic and demographic drivers, which may include, but are not limited to, electricity prices, real price of competitive energy sources, income, population, and employment. The electric utility shall specify that the methodology explicitly models these factors, or shall explain how these effects were otherwise accounted for.

    - Explain how the forecast incorporates the impacts of applicable legal mandates, regulatory requirements, and policy-driven incentives and mandates that influence the adoption of alternative technologies, electrification of end uses, and energy efficiency measures. The electric utility shall reflect anticipated customer behavior, technology adoption, and evolving load shapes consistent with legal mandates in the forecast.

    - Provide estimates of the monthly cooling, heating, and non-weather-sensitive components of weather-normalized load by class for the base year of the forecast.

    - Identify and explain any judgmental adjustments applied to statistical or model outputs, including the factors considered, rationale, and their quantitative effect.

    - Provide graphical plots of the following:

      - Class-level monthly energy consumption and coincident peak demand for the historical period and forecast period;

      - Actual and weather normalized coincident peak demand for the historical period; and

      - Net system load profiles for the summer and winter peak day for the base year as well as for forecast years four (4), eight (8), and sixteen (16), at a minimum. The electric utility shall include additional years in supporting workpapers.

    - Explain how the forecast is consistent with historical consumption patterns, end uses, and efficiency trends identified in the electric utility’s prior filings. If the electric utility’s base-case load forecast differs from recent previous forecasts the electric utility submitted to the commission, the electric utility shall explain the differences.

    - Explain how the base-case load forecast incorporates a large load forecast as described in section (6).

- Large Load Database

  - The electric utility shall collect and maintain a large load database consisting of:

    - Anonymized project identifier;

    - Large load project’s industry type;

    - Large load project’s anticipated service location; and

    - Large load metrics defined in 20 CSR 4240-21.015(50).

  - The electric utility shall categorize the maturity of large load projects by the following phases:

    - Utility and RTO study phase. Large load projects in this phase have submitted any required information, preliminary agreements, and deposits in compliance with the electric utility’s approved tariffs and business practices; and/or have been submitted to the RTO for additional study;

    - Construction Agreement Phase. Execution phase. Large load projects in this phase have executed relevant construction agreements and made any required payments, but have not yet executed an electric service agreement;

    - Execution phase. Large load projects in this phase have completed steps 1 and 2 and executed an electric service agreement.;

    - Initial project permanent service date. Large load projects in this phase receive retail electric service but have not reached full forecast peak load; and

    - Load ramping complete. Large load projects in this phase have reached full forecast peak load.

- Large Load Forecast.

  - The electric utility shall describe and document distinct forecasts representing large load scenarios that are reasonably anticipated to materially affect the system load shape or resource needs for the planning horizon.

  - The electric utility shall describe how large load forecasts are not double counted in the base-case load forecast.

  - The electric utility shall provide the large load forecast as a separate, additive component.

  - For each large load scenario, the electric utility shall—

    - Utilize the large load database in section (6);

    - Describe the methodology, data sources, and assumptions used to forecast load along with a justification showing that assumptions are reasonable, transparent, and based on the best available information;

    - For the first five (5) years of the planning horizon, construct large load scenarios based upon the assigned project maturity phases outlined in subsection (6)(B) including at minimum—

      - A high probability scenario that reflects only those projects that meet the criteria stated in paragraphs (5)(B)3., (5)(B)4. and (5)(B)5;5

      - A medium probability scenario that reflects only those projects that meet the criteria stated in paragraphs (5)(B)2., (5)(B)3., (5)(B)4. and (5)(B)5;

      - A low probability scenario that reflects only those projects that meet the criteria stated in paragraphs (5)(B)1., (5)(B)2., (5)(B)3., (5)(B)4. and (6)(B)5; and

      - Any scenarios determined to be significant from the electric utility perspective, or as ordered by the commission.

    - For years beyond the first five (5) years of the planning horizon, large load forecasts shall be constructed to forecast growth;

    - Describe how large loads will participate in demand response, load management, or flexibility programs, including technical capabilities, contractual commitments, and expected contributions to coincident peak reduction; and

    - Describe how the forecast incorporates weather variables and other variables that impact load, including normal conditions, extreme events, and the sensitivity of load to key weather variables such as temperature, or degree-days.

- Analysis of Load-Building Programs.

  - If the electric utility intends to continue existing load-building programs or implement new ones, the electric utility shall analyze these programs in the context of one (1) or more of the alternative resource plans developed pursuant to 20 CSR 4240-21.060(2), including the preferred resource plan selected pursuant to 20 CSR 4240-21.060(5) as part of its risk and uncertainty analysis pursuant to 20 CSR 4240-21.060(4).

  - The electric utility shall use the same modeling procedure and assumptions described in 20 CSR 4240-21.060(4) in the analysis. The electric utility shall describe and document its analysis of load-building programs, including the following elements:

    - Estimation of the impact of load-building programs on the electric utility’s seasonal non-coincident peak, as defined by the appropriate RTO/ISO and energy usage;

    - A comparison of annual rates in each year of the planning horizon for the resource plan(s) with and without the load-building program;

    - A comparison of the probable environmental compliance costs of the resource plan(s) in each year of the planning horizon with and without the proposed load-building program;

    - A calculation of the performance measures and risk by year; and

    - An assessment of any other aspects of the proposed load-building programs that affect the public interest.

- Sensitivity Analysis and Scenario Development.

  - The electric utility shall submit a comprehensive set of load forecasts that reflect sensitivity analysis and scenario development. The electric utility’s analyses shall demonstrate the robustness of resource planning under uncertainty and ensure that system resources are adequate across a wide range of plausible futures. At a minimum—

    - The electric utility shall quantify the sensitivity of its base-case load forecast to changes in key independent variables, which may include, but are not limited to, economic growth, electricity prices, customer adoption of new technologies, energy efficiency improvements, and electrification of end uses. For each sensitivity, the electric utility shall isolate the impact of a single driver, with results expressed as percentage changes in non-coincident peak and energy consumption relative to the base-case load forecast.

    - The electric utility shall evaluate the sensitivity of system peak load forecasts to extreme weather conditions, such as sustained heat waves or prolonged cold snaps, and shall quantify the incremental peak load attributable to these stress conditions, including, but not limited, a scenario that includes a ninety percent (90%) probability of load under those extreme conditions.

    - The electric utility shall develop, in addition to the base-case load forecast, at least two bounding scenarios under normal weather assumptions—

      - High-growth scenario that reflects accelerated economic expansion, rapid electrification, or large load additions; and

      - Low-growth scenario that reflects slower economic conditions, delayed technology adoption, or higher-than-expected energy efficiency penetration.

##### 20 CSR 4240-21.035 Supply-Side Resource Analysis

PURPOSE: This rule establishes minimum standards for the scope and level of detail required in supply-side resource analysis.

- Screening Analysis Inputs.

  - The electric utility shall identify and evaluate a variety of potential supply-side

resource options for purposes of resource planning, which the electric utility can reasonably expect to use, develop, implement, or acquire. Potential supply-side

resource options include but are not limited to:

    - Full or partial ownership of new plants using existing generation technologies;

    - Full or partial ownership of new plants using new generation technologies, including technologies expected to become commercially available within the planning horizon (e.g., a technology for which an operational pilot of 10 MW or greater is currently in operation or advanced stages of development);

    - Renewable energy resources on the electric utility-side of the meter, including a wide variety of renewable generation technologies;

    - Technologies for distributed generation;

    - Technologies for storage;

    - Purchased power from bi-lateral transactions and from organized capacity and energy markets;

    - Upgrading of the transmission and distribution systems as identified in 20 CSR 4240-21.040;

    - Life extension and refurbishment of assets at existing generating plants, including but not limited to, mothballing;

    - Enhancement of the emission controls at existing generating plants; and

    - Generating plant efficiency improvements which reduce the electric utility’s own use of energy.

  - In identifying and evaluating potential supply-side resources, the electric utility shall describe and document its existing supply-side resources including but not limited to:

    - Unit characteristics;

    - Current and expected accredited capacity by season;

    - Licensing status;

    - Current depreciation rates for each generating unit;

    - Currently expected retirement dates; and

    - If applicable, any remaining useful life of each generating unit.

  - In identifying and evaluating potential supply-side resources, the electric utility shall describe and document a variety of potential supply-side resource options including but not limited to anticipated:

    - Unit characteristics and attributes;

    - Accredited capacity by season;

    - Licensing, permitting, and construction timelines;

    - Useful life; and

    - Potential risks and constraints.

  - The electric utility shall describe and document its analysis including provision of cost and performance information sufficient to fairly analyze and compare each of these existing and potential supply-side resource options established in

subsection (1)(A), including, but not limited to, those attributes needed to individually assess the following cost categories by resource:

    - Capital cost, including, for capital projects that are reasonably expected to result in the extension of the retirement date of each generating unit;

    - Fixed and variable operation and maintenance costs;

    - Probable environmental compliance costs; and

    - Unit characteristics and attributes.

- Screening Analysis and Data Provision.

  - The electric utility shall indicate which potential supply-side resource options it considers to be preliminary supply-side candidate resource options. Any electric utility using the preliminary screening analysis to identify preliminary supply-side candidate resource options shall rank all preliminary supply-side candidate

resource options based on estimates of the electric utility costs with and without probable environmental compliance costs.

  - The electric utility shall provide a summary table showing the following for each potential supply-side resource option:

    - The electric utility’s costs associated with existing supply-side resources that may be subject to changes in configuration or operation during the planning horizon, including changes in environmental controls or retirement dates;

    - The cost for each potential supply-side resource option;

    - An assessment of whether each potential supply-side resource option qualifies as a renewable energy resource; and

    - Explain which potential supply-side resource options are eliminated from further consideration and justification for their elimination.

  - The electric utility shall describe and document its analysis of each existing and potential supply-side resource option. The analysis shall include but not be limited to:

    - Cost rankings of each potential supply-side resource option which shall be based on estimates of the installed capital costs plus fixed and variable operation and maintenance costs;

    - and

    - A listing of potential environmental legal mandates which may be imposed at some point within the planning horizon, including:

      - The probable environmental compliance costs of each potential supply-side resource option, which shall be quantified by estimating the cost to the electric utility to comply with such environmental legal mandates that may be imposed;

      - A list of environmental pollutants for which, in the judgment of the

electric utility decision-makers, legal mandates may be imposed during

the planning horizon which would result in compliance costs that could significantly impact electric utility rates;

      - A subjective probability that represents electric utility decision-maker’s judgment of the likelihood that legal mandates requiring additional levels of mitigation will be imposed at some point within the planning horizon; and

      - The electric utility’s expected mitigation cost, based on these probabilities, for each identified pollutant.

  - The electric utility shall describe and document its analysis of the interconnection pursuant to 20 CSR 4240-21.040(1)(G) and any other transmission requirements

associated with the preliminary supply-side candidate resource options identified in subsection (2)(A).

  - The electric utility’s analysis shall include the identification of transmission constraints, as estimated pursuant to paragraph 20 CSR 4240-21.040(1)(A)2.,

whether within the appropriate RTO/ISO footprint, on an interconnected RTO/ISO, or a transmission system that is not part of an appropriate RTO/ISO. The electric utility shall ensure that its analysis reflects a transmission network that is capable of reliably supporting the

preliminary supply-side candidate resource options under consideration, that the costs of the transmission system investments associated with preliminary supply-

side candidate resource options, as estimated pursuant to subsection 20 CSR 4240-21.040(1)(G), are properly considered and provide an adequate foundation of basic information for decisions to include, but not be limited to, the following:

    - Joint ownership or participation in supply-side resources construction projects;

    - Construction of wholly owned supply-side resources;

    - Participation in major refurbishment, life extension, upgrading, or retrofitting of existing supply-side resources;

    - Improvements on the electric utility’s transmission and distribution system to increase efficiency and reduce power losses;

    - Acquisition of existing supply-side resources; and

    - Opportunities for new long-term power purchases and sales, and short-term power purchases that may be required for bridging the gap between other supply-side resource options, both firm and non-firm, that are likely to be available overall or part of the planning horizon.

  - The electric utility’s analysis shall include the identification of any output limitations imposed on existing or new supply-side resources due to transmission and/or

distribution system capacity constraints, to ensure that supply-side candidate resource options are evaluated in accordance with any such constraints.

- Candidate Resource Options.

  - The electric utility shall identify preliminary supply-side candidate resource options which are not eliminated as supply-side candidate resource options. The supply-

side candidate resource options that the electric utility passes on for further evaluation in the integration process shall represent a wide variety of supply-side

resource options with diverse fuel and generation technologies, including a wide range of renewable technologies and technologies suitable for distributed generation.

  - The electric utility shall describe and document its process for identifying and analyzing potential supply-side resource options and preliminary supply-side candidate resource options and for choosing its supply-side candidate resource options to advance to the integration analysis.

  - The electric utility shall indicate which, if any, of the preliminary supply-side candidate resource options identified in subsection (2)(A) are eliminated from

further consideration on the basis of the interconnection and other transmission analysis and shall explain the reasons for their elimination.

  - The electric utility shall include the cost of interconnection and any other

transmission requirements, in addition to the electric utility cost and probable environmental compliance cost, in the cost of supply-side candidate resource

options advanced for purposes of developing the alternative resource plans required by 20 CSR 4240-21.060(2).

  - The electric utility shall develop, describe and document ranges of values and probabilities for several important uncertain factors related to supply-side

candidate resource options. These cost estimates shall include, at a minimum, the following elements, as applicable to the supply-side candidate resource option:

    - Fuel price forecasts, including fuel delivery costs and pipeline interconnection costs if applicable, over the planning horizon for the appropriate type and

grade of primary fuel and for any alternative fuel that may be practical as a contingency option;

    - Estimated capital costs including engineering design, construction, testing, startup, and certification of new facilities or major upgrades, refurbishment, or rehabilitation of existing facilities;

    - Estimated annual fixed and variable operation and maintenance costs over the planning horizon for new facilities or for existing facilities that are being

upgraded, refurbished, or rehabilitated;

    - Forecasts of the annual cost or value of emission allowances to be used or produced by each generating facility over the planning horizon, if applicable;

    - Annual fixed charges for any facility to be included in the rate base, or annual payment schedule for leased or rented facilities; and

    - Estimated costs of interconnection or other transmission requirements associated with each supply-side candidate resource option.

  - The electric utility shall consider the impact of implementing alternative fuel options for supply-side candidate resource options on the assumptions.

##### 20 CSR 4240-21.040 Transmission and Distribution Analysis

PURPOSE: This rule specifies the minimum standards for the scope and level of detail required for the electric utility’s transmission and distribution network analysis.

- Transmission Analysis Requirements.

  - The electric utility shall describe the adequacy of its existing transmission system including:

    - Age, condition, and efficiency level of its existing transmission system; and

    - All known transmission constraints due to real power, reactive power, and power quality under current peak demand.

  - The electric utility shall describe the adequacy of its existing transmission system with any projects anticipated to be completed under, using at a minimum, the following scenarios:

    - High-growth scenario load forecast at year five (5) pursuant to 20 CSR 4240-21.030(8)(A)3.A..;

    - Low-growth scenario load forecast at year five (5) pursuant to 20 CSR 4240-21.030(8)(A)3.B.; and

    - Scenarios the electric utility selects to stress-test its transmission system.

  - The electric utility shall describe and reasonably document the identification, timing, and cost of planned actions and transmission system upgrades over the implementation

period; including those actions and upgrades that:

    - Maintain a viable, reliable, and/or resilient transmission network;

    - Affect supply-side resources that were evaluated pursuant to 20 CSR 4240-21.035(1);

    - Relate to the retirement of existing supply-side resources; and

    - Are planned by the appropriate RTO/ISO primarily for economic reasons that may impact the alternative resource plans of the electric utility.

  - The electric utility shall develop and provide a hosting capacity map to identify areas on its transmission system that may be suitable for new load or new

generation sources. The electric utility may satisfy this requirement using similar maps hosted by the respective RTO/ISO.

  - The electric utility shall estimate the portion and amount of costs and revenues of proposed regional transmission upgrades that would be allocated to the electric utility over the implementation period.

  - The electric utility shall estimate the amount of revenue requirement of regional transmission assets that would be allocated under the respective ISO/RTO tariff based on load to the electric utility .

  - The electric utility shall provide an analysis for consideration pursuant to 20 CSR 4240-21.035(1)(D) that identifies the physical transmission upgrades needed to interconnect generation, facilitate power purchases and sales, and otherwise maintain a viable, reliable, and/or resilient transmission network, including:

    - A list of the transmission upgrades needed to physically interconnect a generation source within the appropriate RTO/ISO footprint;

    - A list of the transmission upgrades needed to enhance deliverability from a point of delivery within the appropriate RTO/ISO including requirements for firm transmission service from the point of delivery to the electric utility’s load and requirements for financial transmission rights from a point of delivery within the appropriate RTO/ISO to the electric utility’s load;

    - A list of transmission upgrades needed to physically interconnect a generation source located outside the appropriate RTO/ISO footprint;

    - A list of the transmission upgrades needed to enhance deliverability from a generator located outside the appropriate RTO/ISO footprint, including

requirements for firm transmission service to a point of delivery within the appropriate RTO/ISO footprint and requirements for financial transmission rights to a point of delivery within the appropriate RTO/ISO footprint;

    - The estimated total cost of each transmission upgrade; and

    - .

  - The electric utility may use the ISO/RTO transmission expansion plan or its equivalent to satisfy the provisions of this Section (1) in whole or in part if all the following conditions are satisfied:

    - The electric utility actively participates in the development of the plan; and

    - The electric utility reviews the ISO/RTOs overall expansion plans each year to assess whether the plans, in the judgment of the electric utility decisionmakers, are in the best interest of Missouri customers.

- Distribution Analysis Requirements.

  - If needed to inform preparation of the IRP filing, the electric utility shall describe and reasonably document the adequacy of its existing distribution system including:

    - Age, condition, and efficiency level of its existing distribution system; and

    - All known distribution constraints, including constraints due to real power, reactive power, and power quality, under current peak demand; and

    - All known distribution constraints, including constraints due to real power, reactive power, and power quality, under reasonably anticipated additions to peak demand .

  - The electric utility shall describe and document the identification, timing, and cost of planned actions and distribution system upgrades over the implementation

period; including those actions and upgrades that:

    - Maintain a viable distribution network;

    - Affect supply-side resources that were evaluated pursuant to 20 CSR 4240-21.035(2); and

    - Enable future cost-effective distributed energy resources evaluated under 20 CSR 4240-21.055.

  - The electric utility shall develop and provide a hosting capacity map to identify areas on its distribution system that may be suitable for distributed energy resources.

- Advanced transmission and distribution network technologies.

  - The electric utility shall assess advanced transmission and distribution

technologies that may become available during the planning horizon and facilitate or expand the availability and cost effectiveness of demand-side resources or supply-side resources.

  - The cost benefit analysis of advanced transmission and distribution technologies shall be separately identifiable in the analyses required in section (1) and section

- and include:

  - A description of the electric utility’s efforts at incorporating advanced grid technologies into its transmission and distribution networks; and

  - A description of the impact of the implementation of transmission and distribution advanced grid technologies on the selection of a resource acquisition strategy.

- The electric utility shall develop, describe and document an avoided transmission capacity cost and an avoided distribution capacity cost based upon investments in transmission assets or distribution assets that can be reasonably avoided due to implementation of demand-side management programs.

- The avoided transmission and distribution capacity costs are components of the avoided demand cost pursuant to 20 CSR 4240-21.050(1)(A)2.

##### 20 CSR 4240-21.050 Demand-Side Resource Analysis

PURPOSE: This rule specifies the principles by which potential demand-side resource options shall be developed and analyzed by electric utilities for cost effectiveness, and requires the selection of demand-side candidate resource options that shall be included in the integrated resource plan.

- Demand-Side Resources Optimization.

  - In order to properly optimize the amount of demand-side resources, the electric utility shall designate all Missouri jurisdictional demand-side resources as

candidate resource options in its capacity expansion model on the basis of estimated seasonal energy, seasonal demand savings and expected program costs.

    - Avoided costs from the immediately prior quadrennial IRP filing (or triennial, if applicable) may be used to satisfy Sections 3(B) and 3(C) in this chapter, for the purposes of developing different combinations of demand-side resources as candidate options in the analysis for the IRP filing in question.

  - The electric utility shall model Missouri Energy Efficiency Investment Act (MEEIA) demand-side resource options separately from non-MEEIA demand-side resource options.

  - For determining the optimal amount of demand-side resources, the electric utility shall exclude distributed energy resources that are included in the 20 CSR 4240-

21.055 analysis as a demand-side resource.

- MEEIA Demand-Side Resources.

  - The electric utility shall conduct, describe and document market research studies, customer surveys, test marketing programs, and other activities as necessary to estimate the maximum achievable potential, technical potential, and realistic

achievable potential of each potential demand-side resource option.

  - The electric utility shall develop the information necessary to design and implement cost-effective demand-side programs—

    - The electric utility shall design the research activities to provide a solid

foundation of information applicable to the electric utility about how and by whom energy-related decisions are made, and about the most appropriate and cost-effective methods of influencing these decisions in favor of greater long-run energy efficiency and energy management impacts. The electric utility may compile existing data or adopt data developed by other entities,

including government agencies and other utilities, as long as the electric utility verifies the applicability of the adopted data to its service territory;

    - The electric utility shall provide copies of completed market research studies, customer surveys, pilot programs, pilot rates, test marketing programs, and other studies as required by this rule and descriptions of those studies that are planned or in progress and the scheduled completion dates;

    - The electric utility shall identify the time periods of energy and demand savings that are most likely to coincide with reductions, deferrals, or avoided investments;

    - The electric utility shall identify demand-side program savings for the season identified where there is a near-term need; and

    - The electric utility shall complete an assessment of how the interactions

between end-use measures, when bundled with other end-use measures in the potential demand-side program, would affect the stand-alone end-use measure impact estimates.

  - The electric utility shall identify potential demand-side resources from which demand-side candidate resource options will be identified for the purposes of developing the alternative resource plans. A potential MEEIA demand-side resource consists of a demand-side program designed to modify the net

consumption of electricity on the retail customer's side of the electric meter, including but not limited to energy efficiency measures, rate management,

demand response, and interruptible or curtailable load. For each MEEIA demand-side resource, the electric utility shall provide:

    - The targeted class of customers;

    - List of proposed measures and rates, if applicable;

    - Expected life of the measure and duration of impact;

    - All major end uses, including the end uses which are to be considered in the electric utility’s load pursuant to 20 CSR 4240-21.030;

    - An itemized list by year of all expected costs of the program, including, but not limited to, incentives, administration, and evaluation;

    - An estimate of revenue impacts on the electric utility of the demand-side resource, excluding the impacts of a Demand-Side Investment Mechanism; and

    - The electric utility shall report the total resource cost test as a measure of system-wide economic efficiency; the electric utility shall also report the participant cost test and utility cost test to assess the impact to participants and non-participants, respectively.

  - The electric utility shall provide all documentation, including any prior evaluations, to substantiate the assumptions in subsection (4)(B).

  - The electric utility shall identify and provide details concerning all demand response programs registered with the electric utility’s appropriate regional transmission organization or independent system operator.

- The electric utility shall describe and document the evaluation of each potential demand-side program developed pursuant to section (4), including:

  - In each year of the planning horizon, the electric utility shall calculate the benefits of each potential demand-side program as the cumulative seasonal coincident

peak demand reduction multiplied by the seasonal avoided demand costs plus the cumulative energy savings multiplied by the avoided energy costs. The electric utility shall perform the calculations both with and without the avoided probable environmental compliance costs. The electric utility shall describe and document the methods, data, and assumptions used to develop the avoided costs.

  - The electric utility’s avoided demand cost shall correspond to the expected costs of  generation, transmission, or distribution investments or the corresponding market-based equivalents of those costs that can be

reduced, deferred, or avoided as a result of demand-side program implementation.

  - The electric utility’s avoided energy cost shall include the fuel costs, emission allowance costs, and other variable operation and maintenance costs of

generation facilities, adjusted to reflect energy losses on the transmission and distribution systems, or the corresponding market-based equivalents of those costs.

  - The electric utility’s avoided probable environmental compliance costs shall

include the effects of the probable environmental compliance costs calculated pursuant to subsection (5)(A)., on the electric utility avoided demand cost and the electric utility avoided energy cost.

- The total resource cost test and electric utility cost test shall be used to evaluate the cost effectiveness of the potential demand-side programs.

  - For the total resource cost test, in each year of the planning horizon—

    - The costs of each potential demand-side program shall be calculated as the sum of all incremental costs of end-use measures that are implemented due to the program (including both electric utility and participant contributions) plus electric utility costs to administer, deliver, and evaluate each potential demand-side program; and

    - For purposes of this test, the costs of potential demand-side programs shall not include lost revenues or electric utility incentive payments to customers.

  - For the electric utility cost test, in each year of the planning horizon—

    - The costs of each potential demand-side program shall be calculated as the sum of all electric utility incentive payments plus electric utility costs to administer, deliver, and evaluate each potential demand-side program;

    - For purposes of this test, the costs of potential demand-side programs shall not include lost revenues; and

    - The costs shall include, but separately identify, the costs of any rate of return or incentive included in the electric utility’s recovery of demand-side program costs.

  - The electric utility shall provide results of the total resource cost test and the electric utility cost test for each potential demand-side program evaluated pursuant to subsection (5)(A) and (B) of this rule, including a tabulation of the beneﬁts (avoided costs), demand-side resource costs, and net beneﬁts or costs.

  - If the electric utility calculates values for other tests to assist in the design of demand-side programs, the electric utility shall describe and document the tests and provide the results of those tests.

  - The electric utility shall describe and document how it performed the cost effectiveness assessments pursuant to section (4) of this rule, and shall describe and document its methods and its sources and quality of information.

  - The electric utility shall describe and document all differences in the treatment of energy and demand reductions associated with demand-side resources utilized in appropriate regional transmission organization or independent system operator forecasting and the assumptions utilized for the IRP ﬁling

##### 20 CSR 4240-21.055 Distributed Energy Resource Analysis and Reporting Requirements

PURPOSE: This rule specifies the minimum standards for the scope and level of detail required for distributed energy resource analysis.

- Distributed Energy Resource (DER) Adoption Potential Study.

  - The electric utility shall describe and document, at a minimum, potential DER and DER aggregations within the electric utility’s service territory over the planning horizon to demonstrate compliance with 20 CSR 4240-21.060.

  - With respect to all DERs, except electric utility-incentivized DER, the electric utility may satisfy the study requirement by relying upon assessments developed as part of the electric utility’s supply-side resource analysis pursuant to 20 CSR 4240-21.035, the electric utility’s transmission and distribution analysis pursuant to 20 CSR 4240-21.040, and/or the electric utility’s demand-side resource analysis pursuant to 20 CSR 4240-21.050, provided that references to such analyses are

included in the study.

  - The electric utility shall include relevant cost effectiveness tests, if and as

included in demand-side resource analyses, in the electric utility’s DER Adoption Potential Study.

- Evaluating DERs as part of the IRP Filing.

  - If not fully covered by the electric utility’s DER Adoption Potential Study, the

electric utility shall include in the IRP filing the methodologies used to develop low, medium, and high DER penetration scenarios separately for DERs the electric utility sponsors and those that are non-electric utility sponsored, including:

    - Subjective probabilities;

    - Adoption rates;

    - Geographic deployment assumptions;

    - DER and DER aggregation load profiles; and

    - Any other relevant assumptions factored into the DER penetration scenario.

  - The electric utility shall describe and document the evaluation of the DER

penetration scenarios developed in subsection (3)(A) and integration of DER and DER aggregations onto the electric utility’s distribution system.

  - The electric utility’s evaluation shall consider system reliability, beneficial modification of customer energy consumption, potential need for additional distribution assets, and changes to supply-side resources additions.

  - The electric utility shall provide an estimate of the reduction or increase in transmission and distribution line losses as a result of DER deployment. The electric utility may focus its analysis on portions of its transmission and

distribution systems based on factors including, but not limited to, the need for location-specific upgrades.

##### 20 CSR 4240-21.060 Alternative Resource Plan and Preferred Resource Plan Requirements

PURPOSE: This rule requires the electric utility to develop, analyze, and evaluate alternative resource plans, including the selection of a preferred resource plan, as required under Section 393.1900 of the Missouri Revised Statutes. It establishes minimum standards for the scope and level of detail necessary for transparent, data-driven resource planning that ensures reliable and affordable electric service through cost-effective and flexible resource portfolios. The rule further requires the identification and quantification of critical uncertain factors and risks affecting plan performance.

- Specification of Performance Measures.

  - The electric utility shall use the performance measures specified in subsection (1)(C) at the appropriate stages of the IRP analysis to judge the relative performances of alternative resource plans.

  - All electric utility performance measures shall be transparent, reproducible, and provide an objective comparison of the alternative resource plans analyzed in the electric utility’s integrated resource plan.

  - The electric utility’s performance measures shall include the following, at a minimum:

    - Reliability metrics that demonstrate the adequacy, flexibility, and operational reliability of the resource portfolio, which may include but which are not limited to:

      - Loss of Load Expectation (LOLE), expressed in days per year;

      - Expected Unserved Energy (EUE), expressed in megawatt-hours per year;

      - Total portfolio reserve margin; and

      - Any other generation attributes as required by the appropriate RTO/ISO or legal mandates.

    - Quantitative cost metrics, which may include but which are not limited to:

      - Net present value of revenue requirements, with and without any authorized financial or performance incentives for demand-side resources;

      - Levelized customer rates;

      - Maximum single-year rate

      - change; and

      - Metrics that assess market exposure, including dependence on volatile fuel prices and market purchases.

    - Current and forecasted annual financial or other credit metrics, not necessarily based on the electric utility’s financial plan, that assess the electric utility’s ability to finance and sustain the implementation of an alternative resource plan.

    - Environmental and policy metrics including measures of environmental impact and policy compliance, including, but not limited to:

      - Probable environmental compliance costs;

      - Probable policy costs, such as the Missouri Renewable Energy Standard or any state or federal net-zero policy; and

      - Cumulative emissions of regulated pollutants;

    - Other metrics the commission orders as appropriate for assessing the performance of alternative resource plans as part of the pre-IRP proceeding; and

    - Other metrics the electric utility believes are appropriate for assessing the performance of alternative resource plans including the rationale for the additional metrics.

- Development of Alternative Resource Plans.

  - The electric utility shall identify, describe and document the specific generation attributes that are required to provide sufficient capacity and energy resources in order to satisfy forecasted system needs, including forecasted planning reserve margins and the electric utility’s share of local clearing requirements, to the extent any share in that shortfall is not hedged, applicable in each season of each year for the planning horizon.

  - The electric utility shall identify, describe and document all uncertain factors, assumptions and risks that could materially affect the performance of alternative resource plans over the planning horizon. These shall include, but are not limited to—

    - Load:

      - The range of future load growth represented by the low-case and high-case load forecasts;

      - Changes in industrial and large loads to the extent that differences in large loads are not reflected in different ARPs or in contingency plans;

      - Future load impacts of demand-side programs; and

      - Increased load from any load-building programs, as identified in 20 CSR 4240-21.030(8).

    - Costs and Financial Impacts:

      - Future interest rate levels and other credit market conditions that can

affect the electric utility’s cost of capital and access to capital;

      - Fuel prices;

      - Siting, interconnection, and permitting costs and schedules for new supply-side resources and supply-side-related transmission facilities for the electric utility, for the appropriate RTO/ISO, and/or other transmission systems;

      - Construction costs and schedules for new generation and generation-related transmission facilities for the electric utility, for the appropriate RTO/ISO, and/or other transmission systems;

      - Fixed operation and maintenance costs for new and existing supply-side resources; and

      - Electric utility marketing, and delivery costs for demand-side programs.

    - Operational Factors:

      - Purchased power availability, terms, cost, optionality, and other benefits;

      - Equivalent or full-and partial-forced outage rates for new and existing supply-side resources;

      - Price of emission allowances, including, at a minimum, any regulated pollutants; and

      - Change in reliability requirement or reserve margin.

    - Potential future changes in legal mandates;

    - Any other uncertain factors that the electric utility determines may be critical to the performance of alternative resource plans; and

    - Any other uncertain factors the commission orders the electric utility to analyze for assessing uncertainty with respect to scenarios or alternative resource plans as part of the Pre-IRP proceeding.

  - The electric utility shall develop and describe alternative resource plans, in addition to the alternative resource plans ordered by the commission pursuant to 20 CSR 4240-21.020(2). Collectively the electric utility’s alternative resource plans shall demonstrate a reasonable range of strategies, including timing of resources, to meet the system needs identified under subsection (2)(A).

  - The electric utility shall provide a clear explanation of the methodology used to develop each alternative resource plan, including how scenarios were defined and how assumptions were applied.

  - Each electric utility’s alternative resource plan shall reasonably consider the balancing factors.

  - Each alternative resource plan shall include—

    - Consistent, transparent, and verifiable assumptions and at a minimum meet the needs identified in subsection (2)(A);

- Resources from the comprehensive set of candidate resources as developed pursuant to 20 CSR 4240-21.035(4) and demand-side resources from 20 CSR 4240-21.050;

- All existing supply-side resources, together with any planned retirements, life extensions, environmental retrofits, or major refurbishments known or expected at the time of the IRP filing; and

- Demand savings, energy savings, and program costs for previously approved demand-side programs.

- The electric utility shall use a capacity expansion model to develop alternative resource plans based on uncertain factors identified as critical in its last IRP filing, or as ordered by the commission, for the following scenarios—

  - A base scenario that represents the most probable outcome for each uncertain factor included in the model;

  - Additional scenarios that represent a reasonable high and low value for each included uncertain factor while keeping the values of the other uncertain factors at base levels; and

  - Additional scenarios the electric utility chooses to examine, or as ordered by the commission during the pre-IRP proceeding.

- The electric utility shall describe how it evaluated the adequacy of the capacity expansion modeling by addressing—

  - How the electric utility uses its capacity expansion optimization software for the development of alternative resource plans;

  - How the model identifies least-cost resource combinations under binding operational and reliability constraints;

  - How reserve margins are enforced in the model and how it is consistent with enforcement by the appropriate RTO/ISO along with an explanation of the possible penalties and negative outcomes for not meeting those requirements;

  - Whether supply-side resource selection results are sensitive to fuel and technology cost assumptions;

  - The degree to which the model’s capacity expansion logic is stable under

multiple sensitivities; and

  - How candidate resources are screened, shortlisted, and represented in the optimization process.

- The electric utility shall describe any known limitations of the modeling tools and explain their potential effect on the results of the analysis.

- For each alternative resource plan developed with the use of a capacity expansion model, the electric utility shall provide the following information:

  - A description of each alternative resource plan, including the type and size of each demand-side resource and supply-side resource addition;

  - Sequence and schedule for the retirement of existing supply-side and demand-side resources; and

  - Sequence and schedule for the acquisition of each new supply-side resource and demand-side resource.

- The electric utility may utilize alternative modeling techniques in addition to the requirements in subsection (2)(G) to develop additional alternative resource plans.

- For any alternative resource plan developed without the use of a capacity expansion model, the electric utility shall provide the following information designated over the planning horizon—

  - Describe the alternative resource plan and schedule of new additions and retirements as required in subsection (2)(J);

  - Justify why alternative resource plans developed without the use of a capacity expansion model were developed:

  - Clearly state the system needs being addressed and the rationale for each;

  - For each environmental compliance or policy need driven by legal mandates—

    - A citation for each applicable statute, administrative code, or regulatory or judicial order;

    - A brief, clear explanation of how the proposed resource or portfolio helps meet the cited requirement, including the specific time-period during which compliance is necessary;

    - The discrete time-period during which the need is forecasted; and

  - For each anticipated environmental compliance or policy need not driven by legal mandates—

    - A brief, clear explanation of how the proposed resource helps meet the requirement, including the specific time-period during which compliance is necessary; and

    - The discrete time-period during which the need is forecasted;

- The electric utility’s alternative resource plans developed at this stage shall not include load-building programs, which the electric utility shall analyze as required by 20 CSR 4240-21.060(2)(B)(1).

- Analysis of Alternative Resource Plans.

  - The electric utility may perform an analysis of the alternative resource plans developed under section (2) over the planning horizon to further refine the set of alternative resource plans to be included for risk analysis pursuant to section (4).

  - The electric utility’s analysis shall—

    - Treat supply-side and demand-side resources on a logically consistent and economically equivalent basis, such that the same types or categories of costs, benefits, and risks shall be considered and such that these factors shall be quantified at a similar level of detail and precision for all resource types; and

    - Use a capacity expansion model, a production cost model, and any other model the electric utility deems appropriate for this analysis. Models shall be integrated or sequentially linked, to evaluate the operational performance of each plan.

      - The production cost model shall simulate hourly system operation over a representative period, accounting for transmission constraints, renewable variability and fuel dispatch economics,

      - The electric utility shall describe how the modeling tools used are appropriate for the system size, complexity, and market participation of

the electric utility and are consistent with current industry

practices,

      - The electric utility shall use consistent modeling software, input data, and scenario structures across all alternative resource plans, unless deviations are justified, described and documented,

      - All models shall be capable of evaluating fuel diversity, demand-side participation, market transactions, and appropriate RTO/ISO participation, and

      - The electric utility shall describe the model structure, optimization methods, and algorithms used for capacity expansion and production cost analysis.

  - Based on the analysis conducted in subsection (4)(B), the electric utility shall describe the methodology and the results of the analysis of the alternative resource plans developed in section (2), including—

    - A table summarizing each alternative resource plan’s performance measures over the planning horizon, as set forth in section (1), except for the following performance measures:

      - Reliability metrics specified in subparagraphs (1)(C)1.A., (1)(C)1.B., and (1)(C)1.C.; and

      - Quantitative cost metrics specified in subparagraphs (1)(C)2.C., (1)(C)2.D., and (1)(C)2.E.;

    - If the electric utility performs a screening analysis of the alternative resource plans based on the performance measures and determines that any alternative resource plans could be eliminated from further consideration and analysis, the electric utility shall provide justification for the elimination. Alternative resource plans ordered by the commission in accordance with 20 CSR 4240-21.020, or alternative resource plans created in accordance with paragraphs (2)(G)(1) and (2)(G)(2) shall not be eligible to be eliminated from further consideration; and

    - The electric utility shall include, for each remaining alternative resource plan, graphical plots over the planning horizon of the following information—

      - The combined impact of all demand-side resources on the base-case load forecast of seasonal peak demands;

      - The composition, by demand-side measure and program, of the assumed demand savings by demand-side resources, by season;

      - The composition, by supply-side resource, of the accredited capacity supplied to the transmission system provided by supply-side resources;

      - The composition, by supply-side resource or DER, of the capacity supplied directly to the distribution system provided by supply-side resources or DER.

  - The combined impact of all demand-side resources on the base-case load forecast of annual energy usage;

    - The composition, by supply-side resource, of the annual energy supplied to the transmission system, less transmission losses;

    - Annual emissions of regulated environmental pollutants;

    - Annual probable environmental compliance costs; and

    - Resulting capacity balance forecast, in the specified form included herein.

- Risk and Uncertainty Analysis.

  - The electric utility shall identify a comprehensive list of the risks and uncertainties associated with each alternative resource plan. The

electric utility’s analysis shall evaluate the potential variability in cost, performance, and reliability outcomes arising from critical uncertain factors, and determine the robustness and flexibility of each alternative resource plan across a range of plausible outcomes.

  - The electric utility shall justify and describe the methodology used to conduct its risk and uncertainty analysis.

    - The electric utility’s justification shall include a clear explanation of the selected analytical framework, modeling tools, probability techniques, and data sources used to evaluate risk.

    - The electric utility shall identify how the chosen approach captures the range, probability, and interactions of critical uncertain factors.

    - The electric utility’s methodology shall be reproducible, transparent, and consistent with the analytical assumptions used in the development and evaluation of the alternative resource plans.

  - The electric utility shall conduct a sensitivity analysis to evaluate how variations in the uncertain factors affect the performance measures of each alternative resource plan. The electric utility shall describe and document and provide a summary statement of the risk scenarios and the results of the sensitivity analysis.

  - The electric utility shall model a representative set of risk scenarios reflecting a range of plausible futures, incorporating each of the uncertain factors identified in subsection (2)(B).

    - The electric utility shall support each performance measure with quantitative analysis to the extent practicable and with qualitative justification where necessary.

    - The electric utility shall perform additional sensitivity analysis to test the effects of—

      - Risk scenarios that isolate the contribution of each uncertain factor identified in subsection (2)(B);

      - ;

      - ; and

      - Any relevant emerging factors the commission has ordered as part of the pre-IRP proceeding.

  - The electric utility shall identify, describe all critical uncertain factors identified based on the sensitivity analysis and other factors.

    - Based on the critical uncertain factors, the electric utility shall conduct a risk analysis.

    - Based on the risk analysis, for each critical uncertain factor, the electric utility shall—

      - Specify the range of potential outcomes and probability distribution used;

      - Describe the data sources and assumptions supporting that range and provide any documentation relied upon for the assumptions;

      - Provide justification for inclusion or exclusion of each variable; and

      - Describe the impacts and interrelationships of critical uncertain factors using a correlation matrix.

  - The electric utility shall analyze and report LOLE and EUE metrics for year (5) of the planning horizon for each alternative resource plan that has undergone risk analysis.

  - The electric utility shall provide a table that includes each alternative resource plan that has undergone risk analysis, summarizing each alternative resource plan’s performance measures, as set forth in section (1).

  - After the risk analysis is completed, the electric utility shall identify the top alternative resource plans that the electric utility assesses best balance of the balancing factors.

  - If during the risk analysis, the electric utility determines that any of the top alternative resource plans identified in subsection (1)(H) would result in estimated financial ratios below investment -grade in any year, the electric utility shall explain why it would be reasonable to proceed with such alternative resource plan and the steps the electric utility would take to mitigate or address this risk.

- Evaluation and Selection of the Preferred Resource Plan.

  - The electric utility shall select a preferred resource plan from among the alternative resource plans analyzed in section (4) and pursuant to section 393.1900, RSMo.

  - Contingency Analysis.

    - The electric utility shall develop a contingency analysis of the preferred resource plan to address significant deviations from base assumptions, which may include but not limited to—

      - Market price changes for key components of selected resource types;

      - Market price changes for capacity, energy, and ancillary services;

      - Changes to tax incentives for selected resource types;

      - Restrictions on generation output from selected supply-side resource types;

      - Load assumptions; and

      - Ongoing litigation regarding existing resources.

    - Based on the contingency analysis, the electric utility shall—

      - Identify and describe the expected risk mitigation strategies that may be employed as a result of the contingency analysis; and

      - Identify the alternative resource plans that would best satisfy the performance measures in response to the contingency analysis.

  - The electric utility’s evaluation shall integrate the results of the risk and uncertainty analysis and contingency analysis and shall demonstrate the relative strengths and weaknesses of the preferred resource plan under expected and stressed system conditions.

    - The electric utility shall not rely on a single performance metric as the sole determinant in selecting a preferred resource plan.

    - The electric utility shall include a graphical comparison showing the preferred resource plan’s performance relative to each alternative resource plan across each performance measure and risk scenario.

    - The electric utility shall clearly identify tradeoffs among performance measures and explain how the preferred resource plan balances the balancing factors.

    - The electric utility shall demonstrate that the preferred resource plan remains robust under the sensitivity and scenario analyses conducted pursuant to section (4) and identify any conditions under which the plan would require reconsideration or adjustment.

  - Respecting its internal decision-making process, the electric utility shall for selecting the preferred resource plan, the electric utility shall:

    - Describpe the decision criteria, weighting factors, or scoring methods used to rank or compare plans;

    - Provide a summary of key findings from quantitative analysis and documentation underlying the analysis and stakeholders’ feedback that influenced preferred resource plan selection;

    - Explain how the preferred resource plan reflects the electric utility’s

judgment regarding acceptable levels of risk, reliability, and rate impact;

    - Specify the ranges or combinations of outcomes for the critical uncertain factors that define the limits within which the preferred resource plan is judged to be appropriate and explain how these limits were determined;

    - Provide an assessment of whether, and under what circumstances, other uncertain factors associated with the preferred resource plan could materially affect the performance of the preferred resource plan relative to alternative resource plans;

    - Quantify the expected value of better information concerning the critical uncertain factors that affect the performance of the preferred resource plan, as measured by the net present value of utility revenue requirements; and

    - Provide a tabulation of the key quantitative results of that analysis conducted under paragraph (5)(D)6. and a discussion of how those findings will be incorporated in ongoing research activities.

  - The electric utility shall summarize the results of its evaluation for the top alternative resource plans using a comparative scorecard or equivalent matrix that presents all of the performance measures and risk scenarios in a clear, reproducible format. The scorecard shall—

    - Display both expected values and measures of risk or variability for each metric;

    - Identify tradeoffs among cost, reliability, risk, and environmental outcomes;

    - Clearly distinguish modeled results from qualitative assessments;

    - .

  - The electric utility shall quantify the forecasted rate impacts of the top alternative resource plans, based on the scorecard required in subsection (5)(E), including the preferred resource plan, over the planning horizon.

    - Annual rate impact estimates, specified in subparagraph (1)(C)2.D., shall include:

      - Base rates and fuel cost components;

      - Anticipated changes in revenue requirements;

      - Estimated annual percentage change in rates ;

  - The electric utility shall provide the value for each cost related performance measure by end-point in its work papers.

##### 20 CSR 4240-21.065 Implementation Plan Development and Reporting Requirements

PURPOSE: This rule specifies the requirements for the development of an implementation plan for the electric utility’s preferred resource plan pursuant to Sections 393.1900.4 and 393.1900.5, of the Missouri Revised Statutes and sets forth requirements for reporting.

- Implementation Plan Development.

  - The electric utility shall develop an implementation plan for its preferred resource plan, which shall be filed as part of its IRP filing, as required in 20 CSR 4240-21.020(3).

  - The electric utility shall describe, to the extent known at the time of filing, features for each supply-side resource, or specified quantities of supply-side resources by resource type for which construction is expected to begin during the implementation period, in its implementation plan and any documentation relied on respecting those features, including:

    - Capacity;

    - Location;

    - Acquisition approach;

    - Estimated schedule to bring the supply-side resource on-line;

    - Regional transmission organization or independent system operator (RTO/ISO) generation interconnection agreement status and expected finalization date;

    - Estimated capital, operation, and maintenance costs;

    - Any other attributes that may be applicable or unique to the supply-side resource;

    - A detailed description of the supply-side resource;

    - A schedule for all acquisition or engineering and construction phases;

    - Identification of critical paths and major milestones, including decision points for committing to major expenditures;

    - Identification of any environmental permits, granted or planned;

    - Detailed cost estimates, covering all engineering and construction phases, including:

      - Expected transmission interconnection costs and potential for increased costs,

      - Expected fuel supply interconnection costs, and

      - Expected fuel costs and expected alternative fuel costs.

      - The level of detail shall be sufficient to individually assess the economic feasibility of the supply-side resource.

      - The source of any cost information, including copies of procurement documents, construction or purchase agreements shall be provided.

      - Performance information for the supply-side resource, including those related to existing supply-side resources, needed to individually assess the following cost categories by resource:

        - Capital cost, including, for capital projects that are reasonably expected to result in the extension of the retirement date of each generating unit;

        - Fixed and variable operation and maintenance costs;

        - Probable environmental compliance costs; and

        - Unit characteristics and attributes.

  - The utility shall provide the following documentation as a part of the technical volume describing its implementation plan:

    - A description of competitive procurement policies the electric utility uses in the development, planning, engineering, construction and acquisition of supply-side resources.

    - Plans for implementing demand-side resources, including expected requests for approval of programs pursuant to the Missouri Energy Efficiency Investment Act.

    - The electric utility’s process for monitoring the critical uncertain factors on an ongoing basis and reporting the impact of significant changes in a timely

fashion to those managers or officers who have the authority to initiate corrective actions when the specified limits for uncertain factors are exceeded.

    - The electric utility’s process for monitoring the progress made implementing the preferred resource plan in accordance with the schedules and milestones set out in the implementation plan and for reporting significant deviations in a timely fashion to those managers or officers who have the authority to initiate corrective actions to ensure the supply-side resources are implemented as scheduled.

    - A summary and overall explanation comparing the resource-related investment levels reflected in the general categories of capital expenditure contained in the electric utility’s five (5)-year capital investment plan submitted under section 393.1400.4, RSMo, and the investment levels underlying the electric utility’s preferred resource plan.

    - Short-term capacity needs.

      - For short-term capacity needs forecasted within the implementation

period, the electric utility shall develop short-term alternatives sufficient to maintain reliability until long-term resources are available.

      - For each short-term alternative, the electric utility shall describe and provide supporting documentation relied upon together with a a summary table including the:

        - Cost of acquisition, including contract payments, fuel, operations, and any associated ancillary services;

        - Operational characteristics, including expected availability, reliability, ramp rates, start-up and shut-down times, and any limitations on continuous operation;

        - Term of the resource, including contract length, start and end dates, and any provisions for renewal, extension, or early termination; and

        - Analysis of the risk and uncertainty, including potential variability in availability, fuel supply, or market pricing.

      - The electric utility shall not exclude from consideration any

economically feasible short-term alternative capacity resource without documented justification.

    - The electric utility shall provide a schedule and description of ongoing and planned research activities to update and improve the quality of data used in load analysis and forecasting.

- Implementation Plan Status Report.

  - The electric utility shall submit an implementation plan status report by February 15 following the commission’s order for the applicable electric utility’s IRP filing and every year thereafter, or more frequently if the commission orders it.

  - The implementation plan status report shall include, but is not limited to:

    - Status of the electric utility’s approved preferred resource plan;

    - Status of the filed critical uncertain factors pursuant to 20 CSR 4240-21.060(5)(E), including a discussion of any significant deviations from the forecasted values for each critical uncertain factor;

    - Any changing conditions or potential changing conditions that may impact any aspect of the implementation plan or the preferred resource plan;

    - The electric utility’s progress in implementing each supply-side resource or quantity of resources by type identified in its implementation plan, which shall include viability metrics

including qualitative and quantitative measures that assess the practicality and readiness of each resource identified in the implementation plan. This shall include:

      - Siting and permitting feasibility, including interconnection, transmission access, transmission constraints, and availability of fuel;

      - Updated project costs as described in paragraph (1)(C)4.;

      - Construction and acquisition timelines;

      - Supply chain and workforce availability;

      - Alignment with the electric utility’s implementation schedule and procurement capabilities;

      - Scope changes to any resource; and

      - Environmental compliance costs;

    - For each short-term capacity resource identified pursuant to paragraph (1)(D)5., the electric utility shall provide an updated summary table as required by subparagraph (1)(D)5.B.;

      - Any information the commission orders; and

      - Any other information the electric utility determines is appropriate.