M E M O R A N D U M

TO:		Missouri Public Service Commission Official Case File,

Case No. GA-2005-0107 Missouri Gas Energy, a division of Southern Union Company

FROM:	James A. Gray, Energy Department - Tariffs/Rate Design

Warren Wood 12/17/04        		 	      /s/ Thomas R. Schwarz, Jr.  12/17/04

Energy Department/Date	        	     	       General Counsel’s Office/Date

SUBJECT:	Staff Recommendation On Missouri Gas Energy’s Application For A Certificate Of Public Convenience And Necessity

DATE:	December 16, 2004

On October 21, 2004, Missouri Gas Energy (MGE or Company), a division of Southern Union Company, filed an APPLICATION (Application) with the Missouri Public Service Commission (Commission).  The Application requests that the Commission grant MGE a certificate of public convenience and necessity (CCN) authorizing it to construct, install, own, operate, control, manage and maintain a natural gas distribution system to provide gas service in Greene County, Missouri, as an expansion of its existing certificated area.  On October 26, 2004, the Commission issued an ORDER AND NOTICE, which allowed any intervenors to file by November 29, 2004.  On December 13, 2004, MGE filed a MOTION FOR WAIVER AND SUPPLEMENT TO APPLICATION (Motion), which requested a waiver from Commission Rules to estimate the revenues and expenses for the next three (3) years and to provide additional information about the construction material.

MGE is requesting a CCN adjacent to MGE’s presently certificated service area in Greene County, to provide service to one proposed gas customer.  MGE plans to extend service to the customer pursuant to its service extension policy detailed in its Commission approved tariff.  The extension proposes to utilize customary state highway, railroad, and county rights of way.  There is no opposition to the project.

MGE’s Motion requests a waiver from Commission Rule 4 CSR 240-3.205(1)(A)(5), which requires the following:  “A feasibility study containing plans and specifications for the utility system and estimated cost of the construction of the utility system during the first three (3) years of construction; plans for financing; proposed rates and charges and an estimate of the number of customers, revenues and expenses during the first three (3) years of operations.”  MGE did estimate the initial cost of construction; however, MGE’s Motion requests a waiver in estimating the revenues and expenses for the first three (3) years of operation.  MGE is requesting the waiver because any feasibility study would involve only one customer and that customer is paying the entire initial cost of the project through the customer deposit pursuant to MGE’s tariff.  Staff agrees that conducting a detailed three (3) year estimate of revenues and expenses for one customer would be of little benefit.

The Staff has reviewed this Application and Motion.  Staff feels that granting this Application would be in the public interest for the following reasons:

1.   MGE is willing and able to provide the requested service under existing tariff provisions,

2.  Extending gas service would not jeopardize natural gas service to the Company’s currently                   existing customers,

- No intervenors have objected to this certificate request,

- MGE anticipates using the customary state highway, railroad, and county rights of way,

- The costs will be paid through customer deposits,

- No new franchises are required.

Therefore, Staff recommends that the Commission approve MGE’s Motion  and Application  and grant MGE a certificate to serve the requested area in Greene County, Missouri.  Staff also recommends the Company file a revised tariff sheet reflecting this proposed CCN in this case within thirty (30) days of the Commission’s Order approving this Application.

The Staff has verified that MGE has filed its annual report and is not delinquent on any assessment.  Staff is not aware of any other matters before the Commission that are affected by this filing; however, the following Cases involving MGE are open at this time:

GR-2001-382				GC-2004-0023			GC-2005-0075

GR-2002-348				GC-2004-0216  			GU-2005-0095

GR-2003-0330			GC-2005-0008  			GR-2005-0104

GO-2004-0195  			GO-2005-0019

Other Pending ACA Cases:

GR-98-167

GR-2000-425

GR-99-304

Copies:	Director - Utility Operations Division

Director - Utility Services Division

General Counsel

Manager - Financial Analysis Department

Manager - Procurement Analysis Department

Manager - Energy Department

Michael R. Noack, Manager Pricing & Regulatory Affairs (MGE)

Dean L. Cooper – Attorney with Brydon, Swearengen & England P.C. (MGE)

Office of the Public Counsel